## Sheet1
Software component | Description
stepcraft.py | A python library to control the positioning device. It contains definitions for navigating and homing the device.
OctControl.cpp | C++ code derived from the Software Development Kit (SDK) distributed with the OCT system. This has to be compiled using VisualStudio 2017, PythonC/API and the SDK.
ImagesAcquisition.py | A Python library containing the commands for taking OCT scans in selected positions and defining the scan tiling pattern.
ImagesAcquisition.ipynb | Jupyter notebook used to navigate the positioning device, acquire OCT scans and for automated image acquisition.
OctCorrection.py | A Python library defining the functions used for the correction of the raw OCT images and background subtraction.
OctProcessing.py | A Python library containing the functions to calculate and stitch elevation maps.
OctProcessing.ipynb | Jupyter notebook to visualize, correct and process OCT scans. This also contains an example data analysis (calculation of biovolume).