# Submission ID #: 59358

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18104238

Title: A Practical Guide for the Production and PET/CT Imaging of 68Ga-DOTATATE for Neuroendocrine Tumors in Daily Clinical Practice

Authors and Affiliations: Else A. Aalbersberg, Martine M. Geluk-Jonker, Chelvi Young-Mylvaganan, Linda J. de Wit-van der Veen, and Marcel P.M. Stokkel

Department of Nuclear Medicine, Netherlands Cancer Institute

# Corresponding Author:

Else A. Aalbersberg

e.aalbersberg@nki.nl

Tel: +31-20-512-2281

Email addresses for Co-authors:

mm.jonker@nki.nl

c.mylvaganan@nki.nl

l.vd.veen@nki.nl

m.stokkel@nki.nl

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

2.1., 2.2., 2.4., 3.4., 3.8., 4.4.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.4., 3.8.

5. Will the filming need to take place in multiple locations? Y, multiple rooms same building

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Else Aalbersberg: This protocol facilitates the synthesis and quality control of gallium-DOTATATE and the subsequent acquisition of a gallium-DOTATATE positron emission tomography-computed tomography, or PET/CT, scan [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Else Aalbersberg: The main advantage of this technique is that it provides gallium-DOTATATE of a high quality within a timeframe suitable for working with an isotope with a short half-life [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

# (Editor: I’m not sure if this shot was filmed. If it was, the authors did not indicate who delivered it)

  - Author Name: Demonstrating the procedure will be Ilse van Beelen-Post and Marien Dekker, Nuclear Medicine Technologists from my laboratory. [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

# Section - Protocol

- 68Ga-DOTATATE Labeling

  - At least two hours before patient administration, place the gallium-68 labeling kit on the labeling module according to the manufacturer’s specifications [1] and place the materials in the correct position [2].

    - WIDE: Talent placing kit onto module Talent placing kit on module

    - MED: Talent placing manifold(s) onto module unit Talent placing materials in the correct position

  - Attach the solutions provided in the gallium-68 labeling kit to the manifolds [1] and, in a sterile environment, attach the sterile vial with the non-vented filter to the output of the labeling module [2].

    - MED: Talent attaching solution(s) to manifold(s)

    - CU: Vial being attached to output

  - Place the vial in a lead shield sufficient for positron emitters [1] and attach the output of the 68-gallium-68-germanium generator to the input of the labeling module [2].

    - CU: Vial being placed into shield

    - MED: Talent attaching output to input

  - Dissolve 50 micrograms of peptide analog into 1.5 milliliters of 1.5-molar HEPES (HEE-pees) buffer solution provided in the kit [1] and transfer the peptide to the reaction vial [2].

    - MED: Talent adding peptide to HEPES, with peptide and HEPES stock containers visible in frame TEXT: i.e., HA-DOTATATE (DOTA-3-iodo-Tyr3-octreotate) or DOTATATE (DOTA-0-Tyr3-octreotate)

    - MED: Talent adding peptide to vial

  - Close the lead shielding around the labeling module [1] and start the production of the gallium-68-DOTATATE (“Doe-tah-tate”) via the tablet computer attached to the labeling module [2].

    - MED: Talent closing shield (Author Comment: Shot added to show the final set-up in close up)

2.5.1a. [Added Shot]: CU: Final set up

    - MED-over the shoulder: Talent starting production, with monitor visible in frame

  - When the synthesis is finished, remove the needles with filters from the glass vial [1] and close the lead shield around the vial [2].

    - CU: Needles being removed

    - MED: Talent closing shield

  - Place the vial in a dose calibrator to measure the activity of gallium-68-DOTATATE [1] and note the activity reference time [2].

    - MED: Talent placing vial in calibrator

    - MED: Talent checking watch/clock

  - Then, in a sterile environment, remove 0.5 milliliters of the labeled peptide from the vial for quality control [1] and prepare syringes for the patient administration [2].

    - MED: Talent adding aliquot to new container

    - MED: Talent loading syringe

- 68Ga-DOTATATE Quality Control

  - To confirm the quality of the synthesized peptide before the administration, visually inspect the final 68Ga-DOTATATE product [1] to ensure that it is a colorless liquid without any particles [2].

    - WIDE: Talent visually inspecting product

    - CU: Shot of product as colorless liquid w/o particles

  - Use a pH indicator strip to measure the pH of the solution [1]. The pH should lie between 6.5 and 7.5 [2].

    - MED: Talent dipping strip into solution

    - CU: Shot of pH strip next to legend

  - Next, to measure the gallium-68 colloids, add 500 microliters of water to 20 microliters of the labeled peptide [1] and homogenize the colloid solution with careful shaking of the vial [2].

    - MED: Talent adding peptide to water

    - CU: Vial being shaken

  - Next, add 5 microliters of the gallium-68 colloids about 1.5 centimeters from the bottom of a 7-centimeter-long, 1-centimeter-wide strip of instant thin-layer chromatography-silica gel glass fiber paper [1] and place the paper in a tube containing 2 milliliters of a 50:50 methanol to 1-molar ammonium acetate solution, taking care that the peptide does not come into contact with the solution [2].

    - CU: GC being added to bottom of strip

    - CU: Strip being placed into solution

  - Close the tube to prevent evaporation [1] and wait several minutes [2] … until the solvent has traveled at least 5 centimeters above where the peptide was applied [3].

    - MED: Talent closing tube

    - MED: Talent looking at watch/clock

    - CU: Shot of solvent at 5 cm above peptide

  - Next, cut the paper in half and place the bottom [1] and upper halves in separate tubes [2].

    - MED: Talent cutting paper

    - CU: Papers being placed into tubes

  - Then place the tubes in a well counter [1] and determine the number of counts in each vial in the 400-600 electronvolt energy window for 30 seconds to determine the colloid percentage [2].

    - MED: Talent placing tube(s) into well counter

    - CU: Readout of number of counts in at least one vial

  - To determine the 68-gallium ions, dilute 10 microliters of the peptide-EDTA solution in 1 milliliter of sterile water [1] and place the solution in a well counter to determine the number of counts in the 400-600 electronvolt energy window for 30 seconds [2].

    - MED: Talent adding solution to water

    - MED: Talent placing solution into well counter

  - Dilute 20 microliters of gallium-68-DOTATATE in 1 milliliter of 5 millimolar EDTA [1] and slowly flush a C-18 cartridge with 1 milliliter of 100% ethanol [2] followed by 1 milliliter of sterile water [3].

    - MED: Talent adding peptide to EDTA, with peptide and stock EDTA containers visible in frame

    - MED: Talent flushing cartridge with ethanol, with ethanol container visible in frame

    - CU: Cartridge being flushed with water

  - Rinse the sample tube with 1 milliliter of water [1] and flush the wash through the column into the collection tube [2].

    - MED: Talent rinsing sample tube

    - CU: Wash being flushed through column into collection tube

  - Place the collecting tube, the empty sample tube, and the syringe in a well counter [1] and determine the number of counts in each material in the 400-600 electronvolt energy window for 30 seconds to estimate the ion percentage [2].

    - MED: Talent placing materials into well counter

    - CU: Readout of count(s)

  - The radiopharmaceutical purity can then be determined by calculating the total amount of gallium-68-DOTATATE according to the formula [1-TXT].

    - BLACK TEXT ON WHITE BACKGROUND: Purity = (100 – colloids) x (100 – ions/100) (Author Comment: Screen movie (screen 3-12-1) of this has been uploaded to project page)

- 68Ga-DOTATATE Administration and Positron-Emission Tomography/Computed Tomography (PET/CT) Imaging

  - If the radiopharmaceutical purity is at least 91%, obtain a short medical history of the Patient after checkin [1-TXT], taking care to inquire about the date of the last somatostatin analog administration [2]. This is not a contraindication for 68Ga-DOTATATE imaging but should be noted [3].

    - WIDE: Talent asking Patient questions about medical history TEXT: Patient should check in 60 min before PET/CT

    - MED: Talent asking Patient about date/Patient indicating date on calendar

    - MED: Talent writing down date in notes

  - When the Patient is ready, place an intravenous cannula in the arm [1] and flush the catheter with saline to verify placement of the cannula [2].

    - MED: Talent placing cannula

    - CU: Catheter being flushed

  - Forty-five minutes prior to the or PET/CT imaging, inject 100 megabecquerels of gallium-68 into the cannula [1].

    - CU: 68Ga-DOTATATE being delivered

  - Place Patient with the arms above their head on the PET/CT scanner [1] and instruct the Patient to remain still throughout the exam [2].

    - MED: Talent helping Patient put arms above head [Shots 4.4.1 and 4.4.2 combined]

    - MED: Talent instructing Patient not to move

  - When the Patient is in position, acquire a survey image [1] and select the scan area from the pituitary gland to the mid-thigh [2].

    - MED: Talent acquiring survey image, with monitor visible in frame [Shots 4.5.1 and 4.5.2 combined]

    - SCREEN: To be provided by Authors: Scan area being selected (Author Comment: Not possible due to restrictions on computer. Film shot made of placing the patient in the correct position with laser cross.)

  - Perform a low-dose CT scan with 40 milliamps, 140 electronvolts, and 5-millimeter slices for attenuation correction and anatomical correlation [1].

    - SCREEN: To be provided by Authors: Parameters being set (Author Comment: Not possible due to restrictions on computer. Film shot made of this step.)

  - Then, starting at the head of the patient, perform a PET scan with 150 seconds per bed position [1].

    - MED: Bed moving/mock PET scan being performed

# Section – Results

- Results: Representative 68Ga-DOTATATE PET/CT Imaging

  - Here a representative gallium-68-DOTATATE PET-CT scan without evidence of disease is shown [1].

    - LAB MEDIA: Authors: please upload the image from Figure 2 without the arrows, outlines, and texts

  - The physiological uptake can be observed [1] in the liver and the spleen [2].

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize liver (yellow outline in original image)

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize spleen (dark blue outline in original image)

  - Gallium-68-DOTATATE is excreted by the kidneys [1] and is therefore visible in the urinary tract [2].

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize kidneys (red outlines in original image)

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize bladder (light blue outline in original image)

  - Here images from a patient with a primary tumor in the pancreas are shown [1].

    - LAB MEDIA: Authors: please upload the image from Figure 3 without the arrows: JoVE Video Editor: please add arrows/emphasize tumor as indicated in original Figure 3

  - This patient was administered a lower dose of gallium-68-DOTATATE due to a delay in the production of the labeled peptide, which led to less activity being present in the patient and to more noisy images [1].

    - LAB MEDIA: Authors: please upload the image from Figure 4A without the arrows: JoVE Video Editor: please emphasize area emphasize by red arrow in original Figure 4A

  - Here an image with a motion artifact can be observed [1].

    - LAB MEDIA: Authors: please upload the image from Figure 4B without the arrow: JoVE Video Editor: please emphasize area emphasize by red arrow in original Figure 4B

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Else Aalbersberg: The timing is critical for this protocol due to the short half-life of the gallium-68, which is 68 minutes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Else Aalbersberg: As this protocol makes use of the positron emitting isotope gallium-68, adequate radiation protective measures should be taken to keep the radiation exposure of personnel as low as reasonably achievable [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera