## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1" Achromatic doublet | Thorlabs | AC254-060-A-ML | Collimator
1" Achromatic doublet | Thorlabs | AC254-100-A-ML | L1,L2
1" Achromatic doublet | Thorlabs | AC254-300-A-ML | TL
1" Broadband Dielectric Mirrors | Thorlabs | BB1-E02-10 | M1~M7
1" Cylindrical Lenses | Thorlabs | LJ1363RM-A | CL1
1" Cylindrical Lenses | Thorlabs | LJ1695RM-A | CL2
1" square kinematic mount | Edmund Optics | 58-857 | For dichroic mirror mounting
1" Threaded Cage Plate | Thorlabs | CP02 | For holding other lenses
2" Achromatic doublet | Thorlabs | AC508-150-A-ML | L3
2" Achromatic doublet | Thorlabs | AC508-400-A-ML | L4
2" Threaded Cage Plate | Thorlabs | LCP01 | For holding L4
2" Threaded Cage Plate | Thorlabs | LCP01T | For holding L3
2% Bis Solution | Bio Rad | 64085292 | hydrogel component
20 nm fluorescent beads | Thermo Fisher | F8782 | For testing imaging
30 mm Cage Right-Angle Kinematic Mirror Mount | Thorlabs | KCB1 | For objective & camera mounting
30mm Cage System Iris | Thorlabs | CP20S
3-Axis NanoMax Stage | Thorlabs | MAX311D
40% Acrylamide Solution | Bio Rad | 64148001 | hydrogel component
405 nm laser | Cobolt | Cobolt 06-MLD
50x TAE buffer | Bio-Rad | 161-0743 | hydrogel component
561 nm laser | Cobolt | Cobolt 06-DPL
638 nm laser | Cobolt | Cobolt 06-MLD
Ammonium persulfate | Sigma | A3678-25G | hydrogel component
Beam alignment tool | custom made
BNC terminal blocks | Natural Instruments | BNC-2110
Cage plate with M9 x 0.5 internal threads | Thorlabs | CP1TM09 | For holding aspheric lens
Cage System Rods | Thorlabs | SR series
Cell culture & smFISH |  |  | See a reference [11]
Double side tape | Scotch | 515182 | Flow chamber
Epoxy | Devcon | 14250 | Flow chamber
Galvo mirror | Thorlabs | GVS211 | GM
Galvo System Linear Power Supply | Thorlabs | GPS011
Half wave plate | Thorlabs | WPH10M-405/561/633 | Power adjustment
long-pass dichroic mirror | Chroma | T550lpxr | For combining lasers
Microscope slides | Fisherbrand | 12549-3 | Flow chamber
Mikroskopische Deckglaser | Hecht Assistent | 990/5024 | Flow chamber
Mounted Frosted Glass Alignment Disk | Thorlabs | DG10-1500-H1-MD | For double pinhole system
Mounted rochester aspheric lens | Thorlabs | A230TM-A
Multi-band dichroic mirror | Semrock | Di03-R405/488/561/635-t3 | DM; 3 mm thickness
Multi-band filter | Semrock | FF01-446/523/600/677-25 | BF
Multimode fiber | Thorlabs | M31L02 | MMF
N,N,N',N'-tetramethyl ethylenediamine | Sigma | T7024-25ML | hydrogel component
NI-DAQ board | Natural Instruments | PCI-6733
Ø1" Kinematic Mirror Mount | Thorlabs | KM100 | For holding mirrors
Objective lens | Olympus | PLANAPO N 60X | 60X 1.45NA oil
Pedestal Base Clamping Forks | Newport | 9916
Pedestal Pillar Posts | Thorlabs | RS1P8E
Piezo controller | Thorlabs | BPC303
Polarized beam splitter | Thorlabs | PBS251 | For combining lasers
RMS-SM1 adapter | Thorlabs | SM1A3TS | For objective lens
Rod holder | custom made
Rotation cage mount | Thorlabs | RSP1/CRM1/CRM1P | For HWP & cylindrical lens mounting
sCMOS camera | Andor | Zyla-4.2P-CL10
Shearing interferometer | Thorlabs | SI100 | Beam collimation test
Single mode fiber | Thorlabs | P5-405BPM-FC-2 | SMF
SM1 Lens Tubes | Thorlabs | SM1S25 | For double pinhole system
SM1 Slotted Lens Tube | Thorlabs | SM1L30C | For double pinhole system
Stage mount | custom made
threaded fiber adapter | Thorlabs | SM1FC
Z-Axis Translation Mount | Thorlabs | SM1Z | Fiber coupling

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #VALUE! | #REF! | #REF! | #VALUE! | #REF! | AAAAAH384Q8=