Rebuttal letter.

Page 1 addresses editorial comments, and pages 2 & 3 address reviewer comments.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

We have checked the manuscript again and not found any spelling or grammatical errors.

• Protocol Detail: Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. Some examples of missing items are listed below. Please double check all your protocol steps and ensure that the manuscript matches the video.

We believe that button clicks and software actions are not constructive for the reader, as these vary substantially between versions and systems, whereas the physical aspects do not. We have added details to acquisition specifics that should allow methodology, platform, and system independence.

1) 5.1: how is the image acquired? Mention magnification, type of microscopy and any relevant settings.

The method of image acquisition is not key, simply that it is fluorescence microscopy, of which confocal microscopy is employed and subset thereof. We have added this in the protocol, and provided details about minimum resolution required.

2) Please ensure that all specific details from the video are mentioned in the manuscript (the manuscript should be able to serve as a standalone article). Examples of missing items: 05:44-06:09, 06:18-07:20, 07:32-07:45, etc.

We have corrected these in the manuscript.

3) Please be consistent with naming between the manuscript text and video (For eg, in section 1.2 you use “silicone” in the manuscript and PDMS in the video.

Silicone is more general term for PDMS, but we have now specified PDMS throughout.

4) 1.3.2: details provided here don’t match the video.

We have corrected these in the manuscript.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Figure 1 is similar to that published in our previous manuscript (Yoshie et al Biophysical Journal 2018), however, it was newly created by the authors for this JoVE manuscript, and thus is not a reproduction, or modification of a reproduction.

• Video Comment: at 13:31 - Please remove the 'www.jove.com' from the bottom of the title card, since the video wasn't produced by JoVE.

We have removed this.

Comments from Peer-Reviewers: 


Reviewer #1: 
The authors present a high throughput traction force assay fabricated with silicone rubber. In the last two decades, the key role of cell mechanics in health and disease (e.g. cancer) has spurred the development of several tools to measure forces at single cell level and at optical resolution. However, such tools generally lack any true high throughput capability and have been mainly used by specialist biophysics lab rather than biology/pharmacology groups. The present contractile force screening assay highly contributes to overcoming these limitations and its power is exemplified by quantifying changes in the mechanical response of epithelial cells after induction of EMT through TGF-β.

We thank the reviewer for their positive appraisal.

The authors are encouraged to address the following points:
*Line 57: "Unlike pillar-PDMS based approaches that have a modulus in the GPa range". It is not clear to which approaches the authors refer to. The common PDMS micropillar/micropost arrays are prepared using 10:1 base:curing agent ratio (e.g. Sylgard 184) that confers a modulus in the MPa range for the bulk array. By properly tuning the geometry (pillar length and diameter), the effective stiffness that cells sense on top of the pillars is in the 10-150 kPa range (e.g. as described in Ghibaudo et al. Soft Matter 2008 - Ladoux group). Therefore the authors are encouraged to clarify their sentence.

We regret the typo of GPa, which should indeed read as MPa; this has been corrected, and we thank the reviewer for pointing this out. We are indeed referring to approaches such as that referenced by the reviewer, where the pillar geometry results in a given stiffness, from a MPa modulus.  As any technique has its merits and drawbacks, and the discontinuous nature of pillar-based TFM has both, we are simply differentiating our approach from those to prevent confusion regarding the use of PDMS in TFM, as virtually all PDMS applications in TFM employ Sylgard 184.

*While it is clear from the video, the protocol reads confusing on which PDMS kit is being used. Readers that are mainly familiar with the Sylgard 184 kit (base and curing agent) might get confused when reading Part A and Part B (of GEL-8100?) followed by the addition of curing agent (from Sylgard 184?).

We agree with the reviewer and had omitted the specifications based on our understanding of JoVE’s request to leave out product names, however, these are specified in the list of materials.  Nevertheless, to prevent confusion, we have specified these names in the protocol, and that the general approach is a combination of two commercially available kits.

*The glass coverslip is 1 mm thick. This prevents the use of high NA oil immersion objectives for high resolution imaging. The achievable resolution is clearly enough to calculate the force fields, whereas insufficient to resolve subcellular structures such as focal adhesions. In the "Limitations of the method" section, the authors should address whether it is possible to use thinner coverslips (#0, 1, 1.5).

We have added a comment in the text. While it is not the goal of this protocol to resolve subcellular structures, and so it is somewhat beyond the scope to address this, we have made multi-well plates with coverslips, as it is technically possible, but we do not pursue it as it is problematic in this approach for several reasons, and thus not recommended for a high-throughput general contractility assay for which this is designed.  First, the general fragility of coverslips, particularly in a large format, results in a large percent of breakage in fabrication.  Second, immersion objectives require immersion fluid, and using this over a large area again is problematic. TFM with PDMS on coverslips is performed by the authors and others, but not employing this current multiwell high-throughput methodology for the above reasons.

*Statistical tests of data in Figure 5 are necessary to support the significant change in the mechanical response as claimed in the manuscript.

We have quantified statistical significance using the Kruskal Wallis test, which does not assume a normal distribution, and have added this information in Figure 5.

*Figure 6 should contain also a representative image of an optimal experiment.

We have added this as Figure 6C&D.

*To achieve surface coating, would it be possible to use UV/Ozone treatment instead of Sulfo-SANPAH? Please address this point in the manuscript.

While we believe that there are likely many methods to functionalize the surface, in this protocol we report sulfo-Sanpah as it has been the most reliable method.  Plasma cleaning is discouraged as it creates a silicon dioxide layer and visibly damages the surface. We have added a note to this effect in the text.


Reviewer #2:
Manuscript Summary:
The protocol is very clear and easy to follow with the video and the manuscript. Overall, I think it is very useful protocol to perform high-throughput TFM. I like the strategy presented for making the plates; however, it's unclear how traction stress measurements will be affected by the multi-well plate format. It would be helpful to include information about data acquisition, including limitations in resolution and drift correction. It's unclear how accurate the measurements are, directly comparing single well traction to multi-well plate format might clear this up.

We thank the reviewer for their comments.

Major Concerns:
The paper doesn't include some essential information. Questions below address these points.
1. What is the size range for the synthesized beads that are being used?
2. What is the objective magnification? If air vs oil/water objective will provide any distinct advantage?
3. What is the UV exposure time used for the reported experiment to activate sulfo-sanpah?
4. Table 1 is missing from the document.
5. Will the thickness of the glass plate interfere with image resolution at higher magnifications. Discussion of image resolution seems important.
6. Is the final PDMS coated plate able to be autoclaved? Sterility would be a concern unless the whole process is performed in a sterile environment.
7. Data analysis would be problematic if there is high amount of stage drift between initial acquisition and cell detachment, as each point would have to be corrected for. However, with adequate software this drift should be able to be corrected post acquisition. Some discussion of difficulties in multiwell plate analysis would be helpful.

Author replies:

1. Beads are polydisperse and approximately 300nm- this has been added to the manuscript

2. A 10x air objective is used, this has been added to the manuscript. Most immersion objectives are not suitable due to a) the small working distance offered, requiring the substrate and plate to be thinner increasing fragility and bending, b) the necessity of immersion fluid being applied over a large surface causes problems with dripping.

Employing immersion optics and higher magnification could provide up to approximately 3-fold improvements in resolution, but would not result in qualitative changes, and is better suited for lower throughput sub-cellular studies.

3. We have added a note in the text- in our application we have used 10-15 min at a distance of 5 cm. These values may vary depending on effective illumination power.

4. We regret the omission. Thank you- Table 1 has been added.

5. The thickness of the glass does not interfere with 10x objective usage. We have added notes in the manuscript on image resolution and size.

6.  The PDMS may be autoclaved, however, this damages the fluorescence of the beads, and catastrophically damages the well-divider employed here.  The plate is recommended to be sterilized under biosafety cabinet UV light as described in Section 3.1

7. Dedrift software accommodates for this, provided that the drift distance is not overly large; in our usage, 90 microns seems to be a practical limit.  This limit may be increased by imaging a larger field of view, and increasing the search window size.