# Submission ID #: 59372

# Scriptwriter Name: Petti Pang

# Project Page Link: http://www.jove.com/files_upload.php?src=18108508

# Title: Isolation of Papillary and Reticular Fibroblasts from Human Skin by Fluorescence-activated Cell Sorting

# Authors and Affiliations:

Ana Korosec*, Sophie Frech*, Beate M. Lichtenberger

Skin & Endothelium Research Division, Department of Dermatology, Medical University of Vienna

*Equal contribution

# Corresponding Author:

# Beate M. Lichtenberger

Skin & Endothelium Research Division

Department of Dermatology

Medical University of Vienna

Lazarettgasse 14, 1090 Vienna, Austria

# beate.lichtenberger@meduniwien.ac.at

# Email addresses for Co-authors:

# ana.korosec@meduniwien.ac.at

# sophie.frech@meduniwien.ac.at

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.1; 2.2/3; 3.2; 3.3; 4.6.1

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.6.1 (setting of FACS gates)

5. Will the filming need to take place in multiple locations? Y

If yes, how far apart are the locations? different rooms within the same building

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Beate Lichtenberger: This protocol facilitates the isolation of functionally distinct fibroblast subsets from human skin by FACS Sorting based on their cell surface marker expression [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Beate Lichtenberger: For the first time, papillary and reticular fibroblasts can be isolated directly from the skin without in vitro manipulation. This is a huge advancement compared to previously established isolation methods using explant cultures [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Sophie Frech: Dermal fibroblast subsets harbor distinct functions. With this tool it is possible to investigate functional differences in skin pathologies, including cancer or inflammatory skin diseases [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Ana Korosec: Since handling of the human tissue requires some practice to attain satisfactory cell yields, we’d like to provide a visual demonstration to facilitate and accelerate this process [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the Medical University of Vienna.

# Section - Protocol

- Sectioning of Human Skin Dermis into Papillary and Reticular Layers

  - To prepare full thickness dermis, place a piece of human skin on a thick filter paper, with the epidermis facing downwards [1]. Hold the epidermis tightly with forceps and scrape off the subcutaneous fat layer with a scalpel [2]. Then slice the tissue into 5 millimeter wide strips before putting them into a Petri dish [3].

    - MED: Talent places a piece of skin on a thick filter paper, with the epidermis facing downwards

    - CU: Close up of the epidermis as it is held on the edges with forceps and the subcutaneous fat layer is scraped off with a scalpel

    - CU: Close up of the tissue as it is sliced into 5 mm wide strips and placed in a Petri dish

  - To section the dermis into papillary and reticular layers, place a piece of skin on a thick filter paper, with the epidermis facing upwards [1]. Hold the skin tightly on its edges with forceps and slice out a section of 300 micrometer thickness with an electric dermatome [2].

    - MED: Talent places a piece of skin on a thick filter paper, with the epidermis facing upwards

    - CU: Close up of the skin as it is sliced with an electric dermatome

  - Transfer the first layer, consisting of epidermis and papillary dermis, to a Petri dish [1]. Then, proceed immediately to separate the epidermis and dermis, or add 1x PBS to keep the tissue from drying out [2].

    - MED: Talent transfers the first layer, consisting of epidermis and papillary dermis, to a Petri dish

    - CU: Close up of the tissue as PBS is added

  - Next, adjust the dermatome to a cutting thickness of 700 micrometers and slice the remaining dermis [1]. Place the upper slice, which is defined as the upper reticular dermis, in a separate Petri dish [2].

    - MED: Talent adjusts the dermatome to 700um

    - CU: Close up of the upper slice as it is placed in a Petri dish

  - Subsequently, scrape away the subcutaneous fat layer with a scalpel from the residual lower reticular dermal layer and discard it [1]. Collect the lower reticular dermis in another Petri dish [2]. Proceed immediately to enzymatic digestion procedure, or add 1x PBS to keep the tissue from drying out [3].

    - CU: Close up of the subcutaneous fat layer as it is scraped away

    - CU: Close up of the lower reticular dermis as it is placed in another Petri dish

    - MED: Talent adds PBS to the tissue

- Separation and Enzymatic Digestion of Epidermis and Dermis

  - To perform enzymatic digestion, place the 5 millimeter skin stripes, or the epidermis/papillary dermis, with the epidermis facing upwards in a Petri dish with 10 milliliters of the dissociating enzyme solution [1]. Then, incubate the Petri dish at 37 degrees Celsius for 1 hour [2-TXT].

    - MED: Talent places the tissues in a Petri dish of dissociating enzyme solution

    - MED: Talent places the dish in the incubator. Text: 37 ̊ C, 1 h

  - After incubation, transfer the epidermis/papillary dermis to the Petri dish’s lid [1]. Separate the epidermis from the upper dermis with two forceps, each holding the edge of the dermis [2].

    - MED: Talent transfers the epidermis/papillary dermis to the Petri dish’s lid

    - CU: Close up of the sample as the epidermis is separated from the upper dermis

  - Subsequently, mince each dermal layer as thoroughly as possible. The smaller the pieces, the better the tissue digestion [1]. Then, prepare the digestion mix [2-TXT].

    - CU: Close up of the sample as it is minced

    - MED: Talent adding the last component to the digestion mix. Text: See the accompanying manuscript for digestion mix’s composition

  - Transfer the minced tissue with 10 millimeters of the prepared digestion mix into a 50 millimeter tube [1]. Incubate the tissue at 37 degrees Celsius for 1 hour under agitation [2-TXT]. Invert the tube several times during digestion [3].

    - MED: Talent places the sample into a 50mL tube

    - CU: Close up of the sample as it is placed in water bath under agitation. Text: 37 ̊ C, 1 h

    - MED: Talent inverting the tube

- Preparation of Single Cell Suspension and Erythrocyte Lysis

  - To prepare single cell suspension, stop enzymatic tissue digestion by adding 10 milliliters of fibroblast medium to the digested tissue on ice [1]. Next, pour the contents of each tube through a regular sterile stainless tea strainer and collect the cell suspension in a clean Petri dish [2].

    - MED: Talent adding 10 mL of fibroblast medium to the digested tissue on ice

    - MED: Talent pours the contents of each tube through a regular sterile stainless tea strainer and collect the cell suspension in a clean Petri dish

  - Wash the strainer with medium and mash the undigested tissue pieces with the edge of a syringe-plunger [1]. Afterwards, pipette the collected cell suspension through a 70 micrometer cell strainer into a 50 millimeter tube [2]. Rinse the cell strainer with medium and collect flow through into the same tube [3].

    - MED: Talent washes the strainer with medium and mashes the undigested tissue pieces with the edge of a syringe-plunger

    - CU: Close up of the cell strainer as the sample is pipetted through it into a 50 mL tube

    - CU: Close up of the cell strainer as it is rinsed with medium

  - Then, centrifuge the tube at 500 x g at 4 degrees Celsius for 10 minutes [1-TXT]. Remove supernatant and wash the cell pellet with 5 milliliters of fibroblast medium [2]. Repeat the centrifugation step again [3].

    - MED: Talent places the tube in the centrifuge. Text: 500 x g, 4 °C, 10 min

    - MED: Talent removes supernatant and washes the cell pellet with 5 mL of fibroblast medium

    - MED: Talent taking the tube out of the centrifuge

  - Afterward, remove the supernatant and resuspend the pellet in 1 milliliter of ACK erythrocyte lysis buffer [1-TXT]. Leave the cells in lysis buffer for approximately 1 minute at ambient temperature [2].

    - CU: Close up of the sample as the supernatant is removed and the pellet is resuspended. Text: See the accompanying manuscript for lysis buffer’s compositions

    - CU: Close up of the sample as it is placed aside

  - Then, stop lysis by adding 9 milliliters of 1x PBS with 10% FCS [1]. Centrifuge the tube again at 500 x g at 4 degrees Celsius for 5 minutes and discard the supernatant subsequently [2-TXT].

    - MED: Talent adds 9 mL of PBS to the sample

    - MED: Talent places the tube in the centrifuge and transfers the sample into 5 mL FACS tubes.  Text: 500 x g, 4 °C, 5 min

  - After the cells have been stained for FACS-sorting following standard protocols [1], sort three fibroblast subpopulations into separate microcentrifuge tubes filled either with 350 microliters of lysis buffer for RNA isolation or 350 microliters of fibroblast growth medium for cell culture [2]. Invert the tubes immediately and either put the lysis buffer tubes into liquid nitrogen or put them on ice [3].

    - MED: Talent shows how to set gates

    - CU: Close up of the tubes as they are placed into the sorter

    - MED: Talent inverts the tubes and places them on ice

- Culturing of Fibroblasts and Adipogenesis Assay

  - Following FACS, spin the cells down at 500 x g for 3 minutes at 4 degrees Celsius [1-TXT]. Then, plate equal amount of cells in fibroblast growth medium in a 24-well cell culture dish, and leave them to grow until they reach 70% confluency [2].

    - MED: Talent places the sample in the centrifuge. Text: 500 x g, 4 °C, 3 min

    - MED: Talent plates the cells in a 24-well cell culture dish

  - Next, replace the cultured cell medium with adipocyte differentiation medium and let the cells differentiate for 14 days [1-TXT]. At differentiation day 14, fix the cells with 4% PFA for 20 minutes [2]. Wash the wells with 60% isopropanol and let it evaporate completely [3].

    - MED: Talent replaces the cultured cell medium with adipocyte differentiation medium. Text: See the accompanying manuscript for details

    - CU: Close up of the cells as PFA is added

    - CU: Close up of the wells as they are washed

  - Then, stain the cells with 5 millimolars of filtered Oil Red O for 20 minutes [1]. After 20 minutes, wash the stained cells four times with distilled water [2]. Image the cells immersed in water with an inverted microscope at 10x magnification with transmitted light [3].

    - CU: Close up of the cells as they are stained

    - MED: Talent washes the stained cells with distilled water

    - MED: Talent places the cells under the microscope

# Section – Results

- Results: FAP+CD90-, FAP+CD90+ and FAP-CD90+ Fibroblasts Differ in Dermal Localization, Gene Expression and Functionality

# Authors, please upload subfigures of Figure 4 (i.e. 4A, 4B, 4C) to this link: https://www.jove.com/account/file-uploader?src=18108508. Thank you.

  - This protocol enables the identification of three fibroblast populations in human skin which presents with different intradermal localization, gene expression profiles and functions [1]. FAP+CD90- are enriched in the papillary dermis whereas FAP+CD90+ and FAP-CD90+ are more abundant in the reticular dermis [2].

    - LAB MEDIA: Figure 4A – Video editor, please show all panels

    - LAB MEDIA: Figure 4A – Video editor, please emphasize the second and third panels

  - All three sorted subpopulations display typical fibroblast morphology upon culture for 7 days [1]. Interestingly, they behave differently in an adipogenesis assay. After 14 days in culture, FAP+CD90- do not differentiate into adipocytes while FAP+CD90+ and FAP-CD90+ readily undergo adipogenesis [2].

    - LAB MEDIA: Figure 4B – Video editor, please show left panels

    - LAB MEDIA: Figure 4B – Video editor, please add right panels

  - Gene expression profiling shows that FAP+CD90- cells express high levels of markers commonly attributed to papillary fibroblasts, such as CD26, NTN and PDPN [1], while CD90+ cells express the known reticular markers, such as CD36, ACTA2 and PPARγ at high levels. We conclude that FAP+CD90- cells belong to the papillary and CD90+ cells belong to the reticular lineage [2].

    - LAB MEDIA: Figure 4C - Video editor, please show top panels

    - LAB MEDIA: Figure 4C - Video editor, please add bottom panels

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ana Korosec: Digestion works best if the dermal pieces are thoroughly minced and incubated in a sufficient amount of digestion medium [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sophie Frech: Dermal fibroblast subsets are functionally diverse under homeostatic conditions. Exploring their function in the context of disease pathogenesis will pave the way for new diagnostic and therapeutic interventions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.