# Submission ID #:  59387

# Scriptwriter Name: Michael Linnes

# Project Page Link:  http://www.jove.com/files_upload.php?src=18113083

# Title: Single-Molecule Tracking Microscopy - A Tool for Determining the Diffusive States of Cytosolic Molecules

# Authors and Affiliations:   Julian Rocha1, Andreas Gahlmann1,2

1Department of Chemistry, University of Virginia, Charlottesville, Virginia, USA

2Department of Molecular Physiology & Biological Physics, University of Virginia School of Medicine, Charlottesville, Virginia, USA

# Corresponding Author:

Andreas Gahlmann

ag5vu@virginia.edu

# Email addresses for Co-authors:

Julian Rocha	(jr5ud@virginia.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  Y

Can you record movies/images using your own microscope camera? (Y/N) Y

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

3.1, 3.2, 3.4, 3.5, 4.1, 4.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

Depending on how well the sample was prepared, it can occasionally be difficult to find a desirable field-of-view as described in step 4.5.

5. Will the filming need to take place in multiple locations? (Y/N)

N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements:

# Why is your protocol significant?

  - Julian Rocha: 3D single-molecule tracking can determine the subcellular locations and motion behaviors of individual proteins. Observing a protein’s motion in a living cell provides important insights about its interaction with binding partners in its native environment.

# What is the main advantage of this technique?

  - Andreas Gahlmann: The method presented here provides a general framework for analyzing single-molecule tracking data to resolve the diffusive states of biological molecules. It can be applied to both 2D and 3D trajectories of biomolecules that are confined to arbitrarily shaped cell volumes.

# Section - Protocol

- Microscope Preparation

  - After depositing fluorescent bead and a pre-prepared agarose pad as described in accompanying text protocol, place it on a microscope coverslip [1] and secure the coverslip to the microscope sample holder [2]. The sample holder is then mounted onto an inverted fluorescence microscope [3].

    - MED: Talent deposits the fluorescent bead solution onto the agarose pad and sets it into the microscope coverslip.

    - CU: Talent secures the coverslip to the microscope sample holder.

    - CU: Talent places oil on the objective lens and secures the holder onto the microscope.

  - Then, initialize the graphical user interface of the microscope. [1] Here, custom-written software in MATLAB is used for instrument control.[2]

    - MED Over the Shoulder: Talent starts the GUI

    - SCREEN: To be provided by the authors – Screen capture video as talent opens the software. Authors, please upload this screen capture to your project page.

  - Initialize the camera’s software, HCImage Live. In the Capture tab under the Camera Control section, set the exposure time to 0.03 seconds. Then, click Live to begin a live feed of the camera.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Click the appropriate “open laser” button on the GUI interface to unblock the laser and excite the fluorescent beads on the agarose pad.  View the fluorescence emission on the camera using live-stream mode. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Adjust the X and Y positions of the microscope stage by clicking the ‘XY-Pos’ arrows under the Micro-Positioning Stage section of the user interface to position at least one fluorescent bead in the center of the field-of-view. If necessary, alter the step size by clicking on the drop-down box below the arrows. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Next, adjust the Z position of the microscope stage by clicking the Z-Pos arrows under the Nano-Positioning Stage section. Set the orientation of the double-helix point-spread-function of the fluorescent bead to be vertical. This vertical orientation is defined as the starting point in the Z-calibration. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Scan 30 steps above and below the starting Z position in 50 nanometer increments.  Record 10 frames at each step using an exposure time of 0.03 seconds. To start the automated data acquisition, click on GO under Z-Calibration. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

- Y. enterocolitica Culture Preparation

  - Centrifuge 1 milliliter of heat shocked Y. enterocolitica culture at 5,000 x gravity for 3 minutes at room temperature.[1-TXT] Then, remove the culture and discard the supernatant.[2]

    - MED: Talent places culture into centrifuge and begins described spin TEXT: See text protocol for culture details

    - CU: Talent removes the supernatant

  - Wash the pellet 3 times with 1 milliliter of M2G media. [1] After the final rinse, re-suspend the pelleted bacteria in 250 microliters of M2G Media. [2]

    - CU: Talent washes the cell pellet with 1 mL of media

    - ECU: Talent resuspends pellet with 250 mL of media

  - Next, add fluorescent beads to use as fiducial markers. [1] The fluorescent bead solution should be added so that there are only 1 to 2 beads per field of view when viewed in the microscope.[2]

    - MED: Talent adds beads

    - ECU: Talent mixes the beads

  - Gently mix the suspension by vortexing to separate any aggregated cells and plate 1.5 microliters of the suspension onto a 1.5 to 2% agarose pad made with M2G.[1]

    - CU: Talent plates the suspension as described

# Author comment: Step 3.5.1 (and part of step 3.4.1) is visually the same as step 2.1.1. Therefore these steps were only filmed once.

  - Then, invert the pad and place it on an ozone-cleaned microscope cover slip.[1-TXT]

    - CU: Talent places pad on the coverslip TEXT: Pretreat the cover slip for 30 min to reduce inherent fluorescence background

- Data Acquisition

  - Add a drop of immersion oil onto the microscope objective…[1] and place the sample holder onto microscope’s stage and secure it in place.[2]

    - CU: Talent adds drop of oil

    - CU: Talent secures sample holder into place.

  - Initialize the graphical user interface to control the microscope’s camera, sample stage, and excitation lasers and then initialize the camera software. In the Capture tab under the Camera Control section, set the exposure time to 0.025 seconds and then click Live to begin a live feed of the camera. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Adjust the X and Y positions of the microscope stage by clicking the XY-Pos arrows under the Micro-Positioning Stage section to scan around the sample and find a field of view with an appropriately dense population of bacterial cells. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Julian Rocha: “To maximize data throughput, cell density on the coverslip should be as high as possible, without the cells overlapping or touching each other. The FOV should also include at least 1 fluorescent bead as a fiducial marker so that the stage drift can be measured while the data are acquired.”[1]

    - INTERVIEW: Author says above statement interview style

  - Next, adjust the Z position of the microscope stage by clicking the Z-Pos arrows under the Nano-Positioning Stage section so that the fluorescent bead’s double-helix point-spread-function lobes are vertical. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Then, go to Sequence and select Scan Settings, change the number of frame counts to 20,000. Next, choose a save destination folder by clicking on the button labelled with 3 dots. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Finally, click Start to collect up to 20,000 camera frames using a short exposure time of 0.025 seconds. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - When finished, block the laser illumination by clicking the appropriate “close laser” button in the graphical user interface. Then, collect 200 frames of dark images using the same exposure time. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Check the box next to Thorlabs LED and then click Toggle Mirror Up. This will turn on the LED light above the specimen and switch the microscope from the fluorescence pathway to the phase contrast pathway. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Initialize the data acquisition software of the phase contrast pathway and press the Start/Stop Live Display button to view a live feed from the camera. Then, click Capture and go to Save Image to collect a phase contrast image of the cells in the current field-of-view. [1-TXT]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.TEXT: Image up to 3 fields of view per sample slide, then exchange for a fresh sample. - Video Editor: Show text overlay with last sentence

- Data processing

  - Fit the fluorescent bead for use as a fiducial marker.  Find and fit all localizations in all camera frames using the template thresholds as described in the text protocol. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs step representative of the fitting process. Authors, please upload this screen capture to your project page.

  - Under the Localize DHPSF SMs section of the Easy-DHPSF GUI, click Run to fit single-molecule signals. Then, click OK on the following pop-up windows to keep the default settings. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Andreas Gahlmann: “The software will find single-molecule fluorescence signals that resemble the double-helix point-spread-function and attempt to fit them using a double-Gaussian model. As the script runs, the user will see a display of the raw image data, as well as an image of the successfully fitted single-molecule signals.”[1]

    - INTERVIEW: Author says the above statement interview style

- Data Post-processing - Overlay of Outlines

  - Using custom-written software in MATLAB, start by manually selecting 5 control point pairs in the pop-up window by roughly estimating and clicking on the cell poles of the same five cells in both the single-molecule localization data and cell outlines. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Delete cells containing fewer than 10 localizations and remove cells that are positioned partially outside the field-of-view. Then, delete any additional unwanted cells in the pop-up window by clicking inside of their cell outline. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

  - Finally, assign localizations that reside within the boundary of a cell’s outline to that cell. Discard any localizations not located within any cell outline. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above step in the order listed. Authors, please upload this screen capture to your project page.

# Section – Results

- Results:  Determining the Diffusive States of YscQ

  - A critical factor for the successful application of this protocol is to ensure that single-molecule signals are well-separated from each other. If there is more than one fluorescing molecule in a cell at the same time, then localization could be incorrectly assigned to another molecules’ trajectory.

    - LABMEDIA: Supplementary Mov. 1 - Video Editor: Slow this down to ½ or ¼ speed and play on a loop

  - This protocol works to eliminate the linking problem by discarding any trajectories for which two or more localizations are simultaneously present in the same cell. Thus, if single-molecule signals are too dense, a large amount of data is automatically discarded during processing.

    - LABMEDIA: Supplementary Mov. 2- Video Editor: Slow this down to ½ or ¼ speed and play on a loop

  - Depending on the expression levels of the fluorescently labeled fusion proteins, approximately 200 to 3,000 localizations can be generated per cell. [1] These localizations can yield between 10 and 150 trajectories.[2]

    - LABMEDIA: Figure 2a

    - LABMEDIA: Figure 2b

  - A large number of trajectories are necessary to produce well-sampled distributions. Shown here is the histogram apparent diffusion coefficients for close to 80’000 single-molecule trajectories of the Y. enterocolitica Type 3 secretion protein YscQ labeled with the fluorescent protein eYFP. [1]

    - LABMEDIA: Figure 3.1

  - YscQ binds to membrane-embedded injectisomes, resulting in a fraction of molecules, about 24%, that do not diffuse, as indicated by the distribution shown in black.

    - Figure 3.2

  - The remaining YscQ molecules freely diffuse in the cytosol. Using the method described here, it was determined that unbound YscQ molecules exist in at least 3 distinct diffusive states. This conclusion was reached by fitting the distribution of apparent diffusion coefficients with a library of simulated distributions with known diffusion coefficients.

    - LABMEDIA: Figure 3 (original figure shown in the paper)

# Section - Conclusion

- Conclusion Interview Statements:

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Julian Rocha: When attempting to resolve multiple diffusive states, several thousand single-molecule trajectories should be collected to ensure that the apparent diffusion coefficient distributions are sampled very well.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Andreas Gahlmann: Single-molecule tracking can be performed in wild-type cells or in genetic deletion mutants to determine whether specific diffusive states manifest only when a given molecular binding partner is present.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Julian Rocha: By resolving the diffusive states of cytosolic proteins and protein complexes using 3D single-molecule tracking, researchers can determine where, when, and how oligomeric protein complexes form in living cells.

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Andreas Gahlmann: Working with high power laser sources and live human pathogens can be extremely hazardous. Appropriate laser safety and biosafety protocols should always be followed.