## Sheet1
Name of Material/Equipment | Company | Catalogue Number | Comments/Description
[1-13C]Pyruvic Acid | Sigma-Aldrich, St. Louis, MO, USA | 677175
10mm NMR Tube | Norell, Inc., Morganton NC, USA | 1001-8
De-ionized water
Ethylenediaminetetraacetic acid disodium salt dihydrate (EDTA) | Sigma-Aldrich, St. Louis, MO, USA | E5134
HyperSense Dynamic Nuclear Polarizer | Oxford Instruments, Abingdon, UK |  | Includes the following: "DNP-NMR Polarizer" software used to control and monitor the whole DNP polarizer; "RINMR" used to monitor the solid state polarization levels; "HyperTerminal" used to communicate the DNP software with the RINMR software that monitors the solid state polarization level. Also includes the MQC bench top spectrometer to monitor the liquid state polarization in conjunction with it own RINMR software
MATLAB R2017b | MathWorks, Natick, MA |  | Include scripts for non-linear fitting of magnetization decay over time and T1 NMRD analysis of hyperpolarized pyruvic acid.
OX063 Triarylmethyl radical | Oxford Instruments, Abingdon, UK
pH meter - SympHony | VWR International, Mississauga, ON., Canada | SB70P
ProHance | Bracco Diagnostics Inc. |  | Gadoteridol, Gd-HP-DO3A
Pure Ethanol (100% pure) | Commercial Alcohols, Toronto, ON, Canada | P016EAAN
Shim Coil |  |  | Developed in-house
Sodium Chloride | Sigma-Aldrich, St. Louis, MO, USA | S7653
Sodium Hydroxide | Sigma-Aldrich, St. Louis, MO, USA | S8045
SpinMaster FFC2000 1T C/DC | Stelar s.r.l., Mede (PV) Italy |  | Includes the software "AcqNMR" that is used to set experimental parameters, monitor the tuning and matching of the RF coil, loading different pulse sequences, calibrate flip angle, data acquisition and curve fitting, among other functions. Also includes a depth gauge, some weights and a depth stopper.
Trizma Pre-Set Crystals (pH 7.6) | Sigma-Aldrich, St. Louis, MO, USA | T7943