# Submission ID #: 59401

# Scriptwriter Name: Leila Shokri

# Videographer Name: Kristoffer Hamilton

# Film date: 02/12/2019

# Project Page Link: http://www.jove.com/files_upload.php?src=18117353

# Title: 3D Printed Porous Cellulose Nanocomposite Hydrogel Scaffolds

# Authors and Affiliations:

Sahar Sultan1, Aji P. Mathew1

1Department of Materials and Environmental Chemistry, Stockholm University, Sweden

# Corresponding Author:

# Aji P. Mathew		aji.mathew@mmk.su.se

# Email addresses for Co-authors:

# Sahar Sultan 		sahar.sultan@mmk.su.se

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.1, 2.3, 5.4, 6.1, 6.2, 7.6-7.8

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.3, 5.4

5. Will the filming need to take place in multiple locations? N

The locations are apart by 2-3 minutes of walk.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)

  - Aji Mathew: This is the first report on 3D printed nanocellulose hydrogel scaffolds with gradient pore structures and mechanical properties that can be used to mimic natural structures as cartilage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sahar Sultan: The advantages of using 3D printing technique are customization and design freedom that opens up unlimited opportunity of fabricating new and unexplored geometric designs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)

  - Aji Mathew: This method can be extended to bone regeneration simply by tailoring the stiffness of the scaffold or to drug delivery systems by incorporating the drug molecules during ink preparation. It can also be use on other applications as water purification filters where hierarchical pore structure and wet stability are needed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sahar Sultan: This protocol is user friendly and new comers can easily reproduce the results. The choice of the slicing software and the nozzle movement have significant impact on your final product [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- 3D Printing Scaffolds

  - To begin, prepare 40 milliliters of hydrogel ink by mixing 11 percent by weight CNC, 6 percent by weight SA and 12 percent by weight gel in a polystyrene container [1-TXT].

    - MED: Talent mixes all the reagents. TEXT: CNC: Cellulose Nanocrystal Video editor: Please show text overlay when VO says, “CNC”. TEXT: CNC/SA/Gel/Water: 6.87/1.50/1.50/90.12

  - Heat the mixture to 40 °C and mix with a spatula until a smooth paste is obtained [1].

    - MED: Talent heats the mixture and mixes with a spatula.

  - Transfer the mixture into a 60-milliliter syringe [1]. Next, with the help of a mechanical clamp, pass the mixture through a series of nozzles with different diameters into another 60-milliliter syringe. Repeat the process until smoothly extruded filaments of hydrogel ink are obtained [2-TXT] [3].

    - CU: Talent transfers the mixture into a 60-ml syringe.

    - CU: Talent uses a mechanical clamp to attach couple of nozzles and passes the mixture through them into another 60-ml syringe. TEXT: Start with nozzle with biggest diameter of 800 µm, followed by 600 µm, and 400 µm. [Author note: Only one nozzle of diameter 400 um was shot. Instead, all three nozzels were shown with marked labels in one extra shot. Use the shot in which pink nozzle is marked as 400 um]

    - ECU: Show smoothly extruded filaments of hydrogel ink.

  - Gently centrifuge the syringe filled with the hydrogel ink at 4000 x g to remove trapped air [1].

    - MED: Talent closes the centrifuge lid and presses the start button.

  - From the SD card, select the saved files for uniform and gradient porosity scaffolds and start printing [1-TXT]. If needed, adjust the speed and flow rate accordingly [2-TXT].

    - CU: Talent selects the saved files and starts printing.

    - MED: Talent adjusts the speed and the flow rate. TEXT: For small pore size, use fast speed (50 mm/s) and low flow rate (70%)

- Crosslinking of 3D Printed Scaffolds

  - To crosslink the scaffold after the 3D printing is complete, gently add drops of 3 percent by weight calcium dichloride solution to the scaffold until it becomes completely wet. Wait for 5 minutes [1].

    - CU: Talent gently adds drops of CaCl2 solution to the scaffold. Show a timer set to count down from 5 minutes in the shot.

  - Very carefully transfer the scaffold from the printer bed to a 50-milliliter container filled with 3 percent by weight calcium dichloride solution. Leave it overnight [1].

    - MED: Talent transfers the scaffold from the printer to a 50-ml container filled with CaCl2 (container is marked with 3 wt% CaCl2)

  - Wash thoroughly with distilled water [1] and transfer the scaffold to a 50-milliliter container filled with 3 percent by weight glutaraldehyde solution (pronounced: “glu·​tar·​al·​de·​hyde”). Leave it overnight [2].

    - MED: Talent washes the scaffold with distilled water.

    - MED: Talent transfers the scaffold to a 50-ml container filled with glutaraldehyde (container is marked with 3 wt% glutaraldehyde).

  - Wash thoroughly [1] and store the 3D printed scaffold in distilled water [2].

    - MED: Talent washes the scaffold with distilled water.

    - MED: Talent transfers the scaffold to a 50-ml container filled with water (container is marked with dH20). [Author comment: From 3.2.1 until 3.4.2 was shot in one-step. Three containers were placed on the table and scaffold was transferred from one container to another. The same text can appear to support the actions.  Figure 1c can also be shown].

- Compression Testing

  - To test the compression  For compression testing, fill the container equipped with submersible compression base plate with 2 liters of water and start the heating system to reach 37 °C [1-TXT] [2].

    - MED: Talent fills the container equipped with submersible compression base plate with 2L of water. TEXT: With 100 N load cell in water at 37 °C Video editor: Please show text overlay when VO says, “To test the compression testing”.

    - MED: Talent starts the heating system.

  - Initialize Bluehill Universal software and set up the testing method [1]. Select rectangular specimen geometry and choose the option to enter dimensions before testing each sample [2]. Set the strain rate to 2 milliliter per minute and end of result as 80% compressive strain together with 90 N force [3].

    - SCREEN/MED: Talent initializes the software and sets up the testing method.

    - SCREEN/MED: Talent selects the required adjustments.

    - SCREEN/MED: Talent adjusts the strain rate and the end of result. [Author note: The already made method was shown for each section].

  - In the Measurement section, select force, displacement, compressive stress and compressive strain [1]. Choose the option to export data as text files for future plotting [2].

    - SCREEN/MED: Talent selects force, displacement, compressive stress and compressive strain in the “Measurement” section.

    - SCREEN/MED: Talent chooses the option to export data as text files. [Author note: The already made method was shown for each section].

  - Set the zero extension point by using the jog controls to lower the crosshead plate as close as possible to the base plate [1]. Measure and record the dimensions of the samples to be tested [2].

    - ECU/CU: Talent presses buttons communicating to the machine to lower the crosshead plate as close as possible to the base plate.

    - MED: Talent uses a digital Vernier caliper to measure and to record the dimensions of the sample.

  - When the water temperature reaches to 37 °C, place the sample on the base plate [1]. Secure the sample by moving the crosshead plate so that it starts to touch the sample [2] [3].

    - MED: Talent looks at the display mounted on the heating system to check the water temperature and places the sample on the base plate.

    - ECU/CU: Talent moves the crosshead plate so that it touches the sample.

    - LM: Figure 1d.

  - Move the water bath up, so that the plates with the sample in-between them are immersed in water [1]. Enter sample name and dimensions and start the test [2].

    - ECU/CU: Talent opens the valve of compressed air to move the water bath up, so that the plates and the sample are immersed in water.

    - MED: Talent enters the sample name and the dimensions and starts the test.

  - After the test is complete, first move the water bath down and then raise the crosshead plate [1].

    - ECU: Talent moves the water bath down and then raises the crosshead plate.

  - Remove the sample and its pieces, if any, clean both the plates and load a new sample.

    - ECU: Talent removes the sample and cleans the plates.

  - After all the samples are tested, export the raw data [1]. Plot compressive stress versus compressive strain curves [2] and determine the compressive tangent modulus at strain values of 1 to 5 percent and 25 to 30 percent [3].

    - SCREEN/MED: Talent exports the raw data.

    - SCREEN/MED: Talent plots a compressive stress versus compressive strain curve.

    - SCREEN/MED: Talent determines the compressive tangent modulus at strain values1-5 % percent and 25-30 %.  [Author note: No exporting and plotting was shot. Instead software screen was shot. Figure 4a can be shown and arrows can point 1-5 % and 25-30 % strain].

# Section – Results

- Results: 3D Printing of Porous Cubic Scaffolds using CNCs Based Nanocomposite Hydrogel Ink

  - CNCs based nanocomposite hydrogel ink shows a strong non-Newtonian shear thinning behavior with a five order of magnitude drop of the apparent viscosity [1].

    - LM: Figure 2a). Video editor: Please emphasize the drop if it is possible. [Author comment: Figure 2 can be used with both values displacing on the image].

  - The hydrogel ink exhibits a viscoelastic solid behavior, as the storage modulus is an order of magnitude greater than the loss modulus at low shear stress.

    - LM: Figure 2b). Video editor: Please emphasize the blue graph when VO says: “storage modulus” and the red graph when VO says: “loss modulus”.

  - At low strain rates of 1 to 5 percent, the compressive modulus is similar for all types of porous scaffolds in comparison to the reference scaffold with no porosity, showing that the elastic nature of the hydrogel ink is preserved even in the presences of the macropores [1] [2].

    - LM: Figure 3. Video editor: Please emphasize 3b), 3c), and 3d) panels when VO says: “all types of porous scaffolds” and 3a) panel when VO says: “reference scaffold with no porosity”.

    - LM: Figure 4a). Video editor: Please emphasize the (1-5 %) range of the curves (part of curves that overlap).

  - However, at high strain rates of 25 to 30 percent, the highest modulus is obtained for reference scaffold with no porosity [1]. As soon as the pore size increases, the modulus decreases, due to the decrease in density …indicating the expected relationship between porosity of the scaffolds and the corresponding mechanical properties [2].

    - LM: Figure 4a). Video editor: Please emphasize the end of the black curve (25-30% range).

    - LM: Figure 4a). Video editor: Please emphasize the end of the green, blue, and red curves (25-30% range).

  - Furthermore, the compressive modulus of the 3D hydrogel scaffolds increases as the compression rate increases exhibiting and mimicking the viscoelasticity of natural cartilage tissues. [1].

    - LM: Figure 4b).

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera)

  - Sahar Sultan: Step: 2.3. The homogeneous and continuous flow of the ink during printing is the most important thing [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Aji Mathew: Yes, this method will help researchers to expand to other applications by using nanocellulose hydrogel as the 3D printable platform. For example, we have already developed nanocellulose based hybrids for controlled drug release following this procedure [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.