# Submission ID #: 59438

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18128638

Title: Robust Comparison of Protein Levels Across Tissues and Throughout Development Using Standardized Quantitative Western Blotting

*These authors contributed equally to the work

Authors and Affiliations: Yu-Ting Huang1,2, Dinja van der Hoorn1,2,*, Leire M. Ledahawsky1,2,*, Anna A. L. Motyl1,2,*, Crispin Y. Jordan1, Thomas H. Gillingwater1,2, and Ewout J. N. Groen1,2

*These authors contributed equally to the work

1Centre for Discovery Brain Sciences, The University of Edinburgh

2Euan MacDonald Centre for Motor Neurone Disease Research, The University of Edinburgh

# Corresponding Author:

Ewout J. N. Groen

e.groen@ed.ac.uk

Email addresses for Co-authors:

yhuang2@ed.ac.uk

d.vanderhoorn@ed.ac.uk

leire.ledahawsky@ed.ac.uk

anna.motyl@ed.ac.uk

crispin.jordan@ed.ac.uk

t.gillingwater@ed.ac.uk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

2.2., 2.4., 5.1., 5.2.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

5. Will the filming need to take place in multiple locations? Different rooms same building

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Dinja van der Hoorn: This protocol can be used to address important questions in fundamental and clinical research by looking at protein expression levels across different tissues and time points [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Anna A. L. Motyl: To perform reliable quantitative western blotting, we combine a fluorescent total protein stain with an internal loading control, overcoming limitations that arise when comparing various tissues under different experimental conditions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the internal ethics committee at the University of Edinburgh and were performed in concordance with institutional and UK Home Office regulations.

# Section - Protocol

- Protein Extraction

  - To extract proteins from snap-frozen cell or tissue samples, thaw the minus 80-degree Celsius samples on ice [1] before washing the samples as appropriate according to the Table [2].

    - WIDE: Talent placing sample(s) on ice

    - LAB MEDIA: Table 1

  - Using a hand-held electric homogenizer with a polypropylene pestle, homogenize the washed samples [1], rinsing the pestle in double-distilled water and drying with a clean tissue between samples [2].

    - CU: Tissue being homogenized MC: 2.2.1+2.2.2 all in one shot

    - MED: Talent washing pestle

  - Leave the samples on ice for 10 minutes, followed by centrifuging the samples. [1-TXT].

    - MED: Talent placing sample(s) in centrifuge TEXT: 10 min, >10,000 x g, 4 °C

  - Then transfer the protein sample-containing supernatant to a new tube on ice without disturbing the pellet [1].

    - CU: Supernatant being pipetted into tube

- Quantification and Normalization of Protein Concentration

  - For quantification of the protein concentration, set up bovine serum albumin standards at increasing concentrations in triplicate [1] and add 1 microliter of each protein sample in duplicate to the appropriate wells of a 96-well optical plate [2].

    - WIDEMED: Talent adding BSA to well(s), with BSA container visible in frame

    - MED: Talent adding protein sample to well(s), with protein sample container visible in frame

  - Incubate the protein on a sixty-degree Celsius heat block for 10 minutes or longer if the protein concentration is expected to be low [1] and measure the absorption at 560 nanometers on a plate reader [2].

    - MED: Talent placing plate onto heat block

    - CU: Plate being loaded onto plate reader

  - Export the plate reader measurements [1] and calculate the protein concentration by comparing the average absorbance values of each sample to a standard curve obtained using the protein standard [2].

    - MED: Talent exporting plate reader measurements, with monitor visible in frame

    - SCREEN: To be provided by Authors: Standard curve being generated

  - To normalize the amount of protein, prepare dilutions of the protein samples in sample buffer and ultrapure water [1] and incubate the samples in a 70-degree Celsius heat block for 10 minutes [2].

    - MED: Talent adding sample(s) to ultrapure water and sample buffer

      - ADDED shot: CU: of 3.4.1

    - Wide: Talent placing samples onto heat block

      - ADDED shot: MED: of 3.4.2

  - Then place the samples on ice [1] before vortexing and briefly centrifuging [2].

    - CU: Sample(s) being placed onto ice

    - MEDCU: Talent placing sample(s) into centrifuge

- Protein Sample Gel Electrophoresis and Protein Transfer

  - For electrophoresis, set up a precast 4-12% Bis-Tris gradient gel in the gel electrophoresis chamber system [1] and load 3.5 microliters of a protein standard into the well [2].

    - WIDEMC: Talent adding gel to chamber system

    - MED: Talent adding protein ladder to well(s)

  - When using an internal standard for between-membrane normalization, load an amount that is equal to the other samples into the first 3 wells next to the protein ladder [1] and load 30 micrograms of each sample into the remaining wells [2].

    - CU: Sample(s) being added to well(s) next to protein ladder 4.2.1+4.2.2, all in one shot

    - CU: Sample(s) being added to remaining well(s)

  - Then run the samples through the stacking gel at 80 volts for 10 minutes followed by 150 volts for an additional 45-60 minutes [1].

    - MED: Talent connecting gel to cables and/or Talent running gel

  - At the end of the electrophoresis, to assemble the transfer stack, place the protein gel onto the bottom stack containing the polyvinylidene difluoride membrane [1] followed by the filter paper [2].

    - CU: Gel being placed onto PVDF 4.4.1+4.4.2, all in one shot

    - CU: Filter paper being placed onto gel

  - Use the blotting roller to remove any air bubbles [1-TXT] and place the top stack on top of the filter paper [2] before rolling the stack again to remove air bubbles [3].

    - CU: Filter paper being rolled TEXT: Caution: Use gentle pressure to avoid gel deformation 4.5.1-4.5.3, all in one shot

    - CU: Top stack being placed

    - CU: Top stack being roller

  - Transfer the whole stack into the transfer device with the electrode on the left side of the device [1] and place the gel sponge on top of the stack so that the sponge is aligned with the corresponding electrical contacts on the device [2].

    - MED: Talent placing stack into device

    - CU: Sponge being placed on top of stack

  - After closing the lid, select and start the appropriate program [1].

    - MED: Talent selecting/starting program

  - At the end of the program, cut the membrane to the gel size [1] and wash the cut membrane quickly with double-distilled water before continuing with the total protein stain [2].

    - CU: Membrane being cut

    - MED: Talent adding membrane to double-distilled water

- Total Protein Staining

  - For total protein staining, roll the membrane into a 50-milliliter tube with the protein side facing inwards [1] and label the membrane with 5 milliliters of protein stain solution on a roller for 5 minutes a room temperature in a fume hood [2-TXT].

    - WIDE: Talent rolling membrane into tube

    - MED: Talent adding protein stain to tube, with protein stain solution container visible in frame TEXT: See text for all solution/reagent preparation details

  - At the end of the incubation, wash the membrane quickly with 5 milliliters of wash solution [1], returning the tube briefly to the roller between washes [2], followed by a brief rinse with ultrapure water [3].

    - MED: Talent adding wash solution to tube, with wash solution container visible in frame 5.2.1-5.2.3, all in one shot

    - MED: Talent placing tube onto roller

    - MED: Talent adding water to tube

  - Add 3 milliliters of blocking buffer to the membrane [1] and return the membrane to the roller for 30 minutes at room temperature [2].

    - CU: Blocking buffer being added to membrane

    - CU: Tube on roller

  - Replace the blocking buffer with the primary antibody of interest at the appropriate, optimized concentration [1] and incubate the membrane on the roller overnight at 4 degrees Celsius [2].

    - MED: Talent adding antibody to tube, with antibody container visible in frame

    - MED: Talent placing tube onto roller

  - The next day, wash the membrane six times for 5 minutes with fresh Authors: what volume PBS per wash on the roller at room temperature [1].

    - MED: Talent adding PBS to tube, with PBS container visible in frame

  - After the last wash, incubate the membrane with the appropriate secondary antibody solution on the roller for 1 hour at room temperature [1] followed by three washes for 30 minutes per wash [2].

    - MED: Talent adding antibody to tube, with antibody container visible in frame 5.6.1+5.6.2, all in one shot

    - MED: Talent placing tube onto roller

  - After the last wash, dry the membrane [1] and use aluminum foil to keep the membrane protected from light [2].

    - MED: Talent drying membrane/placing membrane to dry

    - CU: Membrane being covered with foil

- Image Acquisition and Western Blot Analysis

  - For image acquisition, place the membrane on the scanner with the protein side facing down [1] and select the scanning area in the software [2].

    - WIDE: Talent placing membrane onto scanner

    - SCREEN: To be provided by Authors: Scanning area being selected

  - Then acquire images in both channels and export the images to an appropriate image analysis program [1].

    - SCREEN: To be provided by Authors: Image(s) being acquired, then images being exported

  - Display the 700-nanometer channel to show the total protein staining result and select Analysis and Add Rectangle to define the area of interest for normalization [1].

    - SCREEN: To be provided by Authors: 700-nm channel being selected, then Analysis and Add Rectangle being selected

  - Then copy and paste the first rectangle area onto each individual sample to ensure the defined region is the same size for all of the analyzed lanes [1].

    - SCREEN: To be provided by Authors: First rectangle being copied and pasted

  - To quantify the protein concentration in each lane, copy the results from both the total protein stain and the protein of interest to a spreadsheet program [1] and determine the highest total protein stain signal [2].

    - MED-over the shoulder: Talent copying data into spreadsheet program, with monitor visible in frame

    - SCREEN: To be provided by Authors: Highest TPS being indicated/selected

  - Then divide each total protein stain signal value by this value to obtain the normalized protein loading value and divide the 800-nanometer signal value from each individual sample by its corresponding normalized protein value to calculate the relative protein expression ratio in different samples [1].

    - SCREEN: To be provided by Authors: At least one TPS value being divided by highest TPS value, then 800-nm signal value being divided by corresponding normalized protein value

# Section – Results

- Results: Representative Quantification of Mouse Total Protein Stain and Protein of Interest Levels

  - In these representative Western blots, proteins extracted from tissues obtained from postnatal day 5 mice [1] are compared to proteins extracted from 10-week-old adult mice [2].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1C

  - Quantification of the fluorescence intensity of the total protein stain was achieved by measuring the fluorescence intensity inside the rectangle box on each lane [1].

    - LAB MEDIA: Figures 1A and 1C: JoVE Video Editor: please add Figure 1B next to Figure 1A and Figure 1D next to Figure 1C as in original Figure 1

  - When whole lanes are analyzed, the fluorescence intensity remains relatively similar across samples [1], indicating that using the total protein stain for normalization is suitable for this purpose [2].

    - LAB MEDIA: Figure 1A and 1B: JoVE Video Editor: please emphasize rectangles/lanes in Figure 1B

    - LAB MEDIA: Figure 1A and 1B: JoVE Video Editor: please emphasize a.u. column of table

  - The fluorescent total protein stain can also be used to compare protein levels at different developmental time points [1].

    - LAB MEDIA: Figure 2A

  - For example, although survival motor neuron protein levels clearly decrease with age in mice [1], the total protein stain quantification remains constant [2].

    - LAB MEDIA: Figure 2B: JoVE Video Editor: please emphasize rectangles/lanes 123, then lanes 456, then lanes 789

    - LAB MEDIA: Figure 2B: JoVE Viddeo Editor: please emphasize a.u. column of table

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Leire Ledahawsky: The use of internal standards, fluorescence-based normalization, and adequate statistics increases the robustness of the complex protein expression analysis across different conditions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Yu-Ting Huang: This protocol adds to traditional western blot techniques, overcoming the issues of appropriate loading controls and comparisons across experimental batches and providing flexibility for protein expression analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Yu-Ting Huang: This approach can be extended to comparing protein expression under other experimental conditions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera