# Submission ID #: 59446

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18131078

# Title: Real-time In vitro Monitoring of Odorant Receptor Activation by an Odorant in the Vapor Phase

# Authors and Affiliations: Claire A. de March1, Yosuke Fukutani1,2, Aashutosh Vihani1,3, Hitoshi Kida1,4, Hiroaki Matsunami1,3,5,6

1Department of Molecular Genetics and Microbiology, Duke University Medical Center, Durham, NC, USA

2Department of Biotechnology and Life Science, Tokyo University of Agriculture and Technology, Tokyo, Japan

3Department of Neurobiology, Duke University Medical Center, Durham, NC, USA

4Department of Mechanical Systems, Engineering, Tokyo University of Agriculture and Technology, Tokyo, Japan

5Institute of Global Innovation Research, Tokyo University of Agriculture and Technology, Tokyo, Japan

6Duke Institute for Brain Sciences, Duke University, Durham, NC, USA

# Corresponding Author:

# Claire A. de March

# claire.de.march@duke.edu

# Hiroaki Matsunami

# hiroaki.matsunami@duke.edu

# Email addresses for Co-authors:

# fukutani@cc.tuat.ac.jp

# aashutosh.vihani@duke.edu

# kidahitoshi1028@gmail.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?

Yes but not complex, we just evaluate cell health and confluence.

Can you record movies/images using your own microscope camera?  N

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Microscope Leica

REF 090-131.001

2. Does your protocol include software usage?  Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Steps:

4.2, 5.2, 5.3, 6.2, 6.3, 6.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Steps 6.2 and 6.3 (odorant stimulation) are the most critical steps of the procedure since they required a strict timing and they are the original part of the protocol. We assure its success by preparing all solutions in advance and by using timers.

5. Will the filming need to take place in multiple locations? Y

If yes, how far apart are the locations?

The filming will take place in our cell culture room and in the plate reader room which are close to each other on the same floor.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Hiroaki Matsunami: Our protocol enables to measure detection and discrimination of volatile odors with a panel of odorant receptors. This method opens up the possibility to develop odorant receptor-based biosensors [1].

    - INTERVIEW

  - Claire A. de March: This technique allows real-time in vitro monitoring of odorant receptor activation upon odorant molecules in vapor phase. It fills gaps between in vitro and in vivo approaches [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Aashutosh Vihani: This method can be used to understand the kinetics of events that lead to odor perception, including the role of the mucosal metabolic enzymes [1].

    - INTERVIEW

# Section - Protocol

- Hana3A Cells Culture

  - To begin, prepare M10 (pronounce as M-ten) and M10PSF (pronounce as M-ten-P-S-F) according to the manuscript [1]. Cells are cultured in 10 milliliters of M10PSF at 37 degrees Celsius and 5% carbon dioxide [2].

    - WIDE: Talent prepares medium at the bench.

    - MED: Talent take the dish out of the incubator, and shows the dish containing cell culture.

  - Observe the culture dish under a phase-contrast microscope [1]. When it reaches 100% confluence [2-TXT] split the cells to a lower concentration by aspirating the media and washing the cells gently with 10 milliliters of PBS [3-TXT].

    - MED: Talent places the dish under microscope, and observes. Videographer: Take multiple shots, as this will be used later.

    - SCOPE: Talent shows 100% confluence. TEXT: approximately 1.1 x 107 cells

    - CU: Talent removes media and adds PBS. TEXT: PBS: phosphate-buffered saline

  - Then, aspirate the PBS and add 3 milliliters of Trypsin EDTA (pronounce as E-D-T-A) [1-TXT]. Let it react for approximately 1 minute, until the cells dissociate from the dish [2]. Add 5 milliliters of M10 to inactivate the trypsin, and pipet up and down to detach the cells attached to the dish [3].

    - MED: Talent removes PBS and adds Trypsin EDTA. TEXT: Trypsin-EDTA: Trypsin-Ethylene Diamine Tetraacetic Acid Videographer: Take multiple shots, as this will be used later.

    - CU: Shot of the plate showing the cells dissociating.

    - CU: Talent adds M10 and pipets up and down.

  - Transfer the 8 milliliters of the cell suspension from the dish to a 15-milliliter tube [1], and centrifuge the tube at 200 times g for 5 minutes [2]. Aspirate the supernatant and resuspend the cells into 5 milliliters of M10PSF by pipetting up and down to break any cell mass [3]. Avoid creating bubbles in the tube [4].

    - MED: Talent transfers from dish to tube.

    - MED: Talent puts the tube in centrifuge. Videographer: Take multiple shots, as this will be used later.

    - CU: Talent aspirates supernatant, and adds medium to pipet up and down. Videographer: Take multiple shots (CU and MED), as this will be used later.

    - CU: Shot of the tube with no bubbles.

  - To obtain 20% confluence of cells, transfer 1 milliliter of the resuspended cells solution in a new 100-millimeter cell culture dish and add 9 milliliters of fresh M10PSF [1]. Incubate at 37 degrees Celsius and 5% carbon dioxide [2]. This dish seeded at 20% confluence will reach 100% confluence in 48h.

    - MED: Talent transfers cell solution to new dish and adds medium.

    - MED: Talent places the dish into incubator.

- Preparation of the Cells for Transfection

  - Place the dish under a phase-contrast microscope to observe [1]. Take 1/10 of the 100% cell confluence culture dish [2-TXT] Aspirate the media and wash the cells gently with 10 milliliters of PBS [3]. Then treat the cells with EDTA and M10, centrifuge, and treat again with M10PSF as previously did [4].

    - Use 2.2.1.

    - SCOPE: Talent shows 100% confluence, and takes 1/10. TEXT: Approximately 1.1 x 106 cells are needed for one 96 well plate.

    - CU: Talent aspirates media and adds PBS. Author comment: 3.1.2 and 3.1.3 are same as 2.2.2 and 2.2.3

    - Use 2.3.1, 2.4.2 and 2.4.3 (MED) with split screen from left to right

  - To realize one 96-well plate, add 500 microliters from the 5 milliliters of resuspended cells to 5.5 milliliters of fresh M10PSF [1]. Mix the cells and M10PSF without generating air bubbles [2].

    - MED: Talent transfers cell suspension to fresh medium.

    - CU: Talent mixes solution without generating bubbles.

  - Pipette 50 microliters of the diluted suspended cells into each well of the 96-well plate using a multichannel pipette [1]. Incubate overnight at 37 degrees Celsius and 5% carbon dioxide [2].

    - MED: Talent uses multichannel pipette to add solution to well plate.

    - MED: Talent places the plate in an incubator.

- Plasmid Transfection

  - First, place the 96-well plate cultured overnight under a phase-contrast microscope [1], observe the cell confluence and make sure it is between 30% and 50% [2].

    - WIDE: Talent places the plate under a microscope.

    - SCOPE: Talent shows the confluence between 30-50%.

  - Prepare a first transfection mix in a 1.5 milliliter tube that contains the plasmids common to the entire plate according to the manuscript [1-TXT]. Rho-pCl (pronounce as Ro P-C-I) is an empty vector negative control, while Olfr1377 (pronounce as O-L-F-R 1-3-7-7) is a positive control known to respond to the tested odorant acetophenone. Split the mix in two transfection mix containing one of the control plasmid.

    - MED: Talent prepares mix containing the common plasmids. TEXT: Glosensor protein, RTP1S

    - Talent splits the mix in two separate well of a reservoir.

    - Talent adds one of the remaining plasmid in each reservoir well TEXT: OR (odorant receptor), and Rho-pCI

  - Prepare a second transfection mix containing 500 microliters of MEM (pronounce as M-E-M) and 20 microliters of Lipofectamine 2000 (pronounce as two thousand) reagent [1]. Add the half of the second mix to the each reservoir well, and gently mix by pipetting up and down [2]. Incubate the tube for 15 minutes at room temperature [3].

    - MED: Talent prepares second mix.

    - CU: Talent adds solution in the two different reservoir well and mixes.

    - MED: Talent starts timer.

  - Add 5 milliliters of M10 (pronounce as M-ten) for one 96-well plate. Add 2.5 milliliters into each reservoir well and mix gently [1]. Replace the M10PSF in the previously platted 96-well plate by 50 microliters of the final transfection media [2]. Incubate overnight at 37 degrees Celsius and 5% carbon dioxide [3].

    - MED: Talent adds solution and mixes.

    - [Added Shot] Talent split the prepared media into the reservoir wells

    - MED: Talent discards the medium in the plate and adds in the prepared media.

    - MED: Talent places the plate into an incubator.

  - Then, open the door of the luminometer, and insert the tube connected to the vacuum pump [1]. Vacuum the chamber of the luminometer overnight [2].

    - MED: Talent opens the door of luminometer and inserts tube.

    - MED: Talent starts the vacuum.

- Substrate Incubation

  - After transfection, observe the 96-well plate under a phase-contrast microscope to assure a cell confluence between 60% and 100% [1]. Prepare the stimulation solution of Hank’s Balanced Salt Solution containing 10 millimolar of HEPES (pronounce as hee-pees) and 5 millimolar of D-glucose [2-TXT].

    - SCOPE: Talent shows confluence between 60-100%.

    - MED: Talent prepares solution. TEXT: HEPES: hydroxyethyl piperazineethane sulfonic acid

  - Remove the transfection medium from the 96-well plate and wash the cells by adding 50 microliters of fresh stimulation solution to each well [1]. To dilute the Glosensor cAMP (pronounce as C-A-M-P) reagent solution, pipette 2.75 milliliters of the stimulation solution to a 5 milliliter tube, and add 75 microliters of the cAMP reagent solution [2].

    - CU: Talent removes medium and adds fresh solution to each well.

    - MED: Talent prepares solution.

  - Remove the stimulation solution from the wells and add 25 microliters of diluted cAMP reagent solution to each well [1]. Incubate the 96-well plate at room temperature in a dark and odor-free environment for 2 hours [2].

    - CU: Talent removes solution and adds fresh solution to each well.

    - WIDE: Talent places the plate in a drawer.

- Odorant Stimulation and Data Analysis

  - First, dilute the odorant acetophenone at 1% in 10 milliliters of mineral oil and cap the tube [1] [2-LM]. Before the end of the cAMP reagent incubation time, add 25 microliters of the odorant solution to each well in a new 96-well plate [3].

    - MED: Talent prepares odorant in oil in a reservoir.

    - Figure 2A – Video editor: Use Figure 2A as an inset.

    - CU: Talent adds odorant solution to well of a new plate.

  - Then, place this odorant plate in the luminometer chamber for 5 minutes, to equilibrate the chamber with volatile odorant molecules [1-TXT] [2-LM]. Set the luminometer to record the luminescence with 0 second of delay during 20 cycles of 90-second plate measurement, with 0.7 seconds of interval between cycles [3].

    - MED: Talent places the plate into the chamber and starts timer. TEXT: No luminometer recording is required here.

    - Figure 2B – Video editor: Use Figure 2B as an inset.

    - CU: Talent sets the luminometer. Close up of the settings.

  - Right before reading the plate, remove the odorant plate from the chamber [1]. In the 96-well plate containing the transfected cells, add 25 microliters of odorant in the space between the wells [2] [3-LM], and quickly put the plate into the chamber [4]. Start the luminescence measurement of all wells for 20 cycles within 30 minutes [5].

    - MED: Talent takes the plate out of the chamber.

    - CU: Talent adds odorant in the space between wells.

    - Figure 2C – Video editor: Use Figure 2C as an inset. Keep it until 6.3.4. Emphasize the purple area between circles in 6.3.3.

    - MED: Talent puts the plate into chamber.

    - CU: Talent presses on the luminometer to start.

    - [Added Shot] Real-time luminescence recording is shown on the computer screen

  - After the luminescence measurement, remove the remaining odorant inside the luminometer by vacuuming odorants in the reading chamber extensively for at least 2 hours [1]. Replace with fresh air by sending compressed air for 5 minutes before incubating the next odorant to avoid cross contamination of odor volatiles [2].

    - MED: Talent connects vacuum to remove odorant in the chamber.

    - MED: Talent supplies compressed air to the chamber.

  - To begin data analysis, export the data from the luminometer software [1]. Average the replicates of the same OR (pronounce as O-R) for each recording time [2] [3-LM]. To calculate the normalized OR response to any eventual control, divide the Empty vector averaged value to the OR averaged value at each recording time [4].

    - MED: Talent operates on the computer to export data in excel.

    - SCREEN: Talent does the average in excel.

    - Figure 3A– Video editor: Use Figure 3A as an inset.

    - SCREEN: Talent divides control value to OR averaged value in excel.

  - Normalize the each OR response to their basal activity by dividing the averaged OR response at 0 second to each recording time response [1]. To obtain a single OR response value for the curve of each OR, sum all the luminescence values of each recording time for each OR in under to obtain the area under the curve [2].

    - SCREEN: Talent normalizes each OR response in excel.

    - SCREEN: Talent does the summation for each OR response in excel.

# Section – Results

- Results: Real-time Activation and Dose Dependent Responses

  - In this experiment, the real-time activation of mice ORs (pronounce as O-R) upon vapor odorant stimulus was monitored over 20 measurement cycles [1]. An empty vector control was used to assure that the odorant-induced activities of the tested ORs were specific [2].

    - Figure 3B– Video editor: Use Fig3b_2.tif. emphasize the three upper lines with black circles, grey squares, and grey triangles.

    - Figure 3B– Video editor: emphasize the lowest line with light grey triangles.

  - The data for each well were first normalized to the empty vector control averaged value for each cycle [1]. Then, to compare different ORs responses, the data were normalized to the OR levels of basal activity in this assay [2].

    - Figure 3B

    - Figure 3C– Video editor: Use the updated Figure 3C with the y axis ranging between 0-20.( Fig3C_2.tif)

  - Single activation values for each OR were computed by calculating [1] the area under the curve [2] for each OR by summing the emission values of all measurement cycles [3].

    - Figure 3D

    - Figure 3D – Video editor: Emphasize the “AUC” area in the inset.

    - Figure 3D

  - Additionally, dose-dependent responses can be measured using increasing odorant doses. The response of Olfr1377 (pronounce as O-L-F-R 1-3-7-7) to acetophenone stimulation at five concentrations was recorded [1]. Only the three higher concentrations were able to activate Olfr1377 [2].

    - Figure 4

    - Figure 4– Video editor: Emphasize the three upper lines and the first three labels 100, 10-2, 10-4 in Figure 4A, and emphasize the last three columns in Figure 4B.

  - The pure compound stimulation shows a tendency to decrease the OR response over time, likely due to cell toxicity [1].

    - Figure 4– Video editor: Emphasize Figure 4A, and emphasize the black circle line and the first label 100

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Claire A. de March: During this step, you should add the diluted odorant between the well and be prepared to start quickly the recording of the plate. The time between odorant addition and monitoring should be minimized and constant between two experiments [1] [2].

    - Use 6.3.2

    - INTERVIEW

  - Claire de March: Hana3a cells are biohazardous material so remind to dispose the cells in the appropriate dispensaries [1].

    - INTERVIEW