# Submission ID #: 59447

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18131383

Title: PARbars: Cheap, Easy to Build Ceptometers for Continuous Measurement of Light Interception in Plant Canopies

Authors and Affiliations: William T. Salter1, Andrew M. Merchant1, Matthew E. Gilbert2, and Thomas N. Buckley2

1School of Life and Environmental Sciences, Sydney Institute of Agriculture, The University of Sydney

2Department of Plant Sciences, University of California, Davis

# Corresponding Author:

# William T. Salter

# william.salter@sydney.edu.au

Email addresses for Co-authors:

andrew.merchant@sydney.edu.au

megilbert@ucdavis.edu

tnbuckley@ucdavis.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.4., 2.7., 2.10., 2.11., 2.14.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.10. The most difficult step is the soldering of the photodiodes to the wires. To ensure success it is essential that solder flux is applied to the photodiode tabs and wires prior to soldering, and that the soldering iron has heated up properly.

2.11. Subsequent testing of the connectivity of each photodiode should be performed.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - William Salter: Our handmade ceptometers allow us to continuously measure the transmission of light through plant canopies. These measurements can then be used to estimate canopy properties, such as LAI and PAI [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - William Salter: PARbars are much lower cost compared to commercial ceptometers, making it feasible to produce them in large numbers and to deploy them in the field for extended periods of time [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Photosynthetically Active Radiation Ceptometer (PARbar) Construction

  - To construct a continuously logging ceptometer, begin by drilling one 4-millimeter-diameter hole 20 millimeters from each end of a white, 1200- x 30- x 4.5-millimeter acrylic diffuser bar [1] and drilling and tapping threaded holes 20 millimeters from each end of a section of aluminum U-bar [2].

    - WIDE: Talent drilling hole in acrylic bar

    - CU: Hole being drilled/tapped in U-bar

  - Then drill and tap threaded holes into the base of the aluminum U-bar to suit the mounting hardware [1].

    - MED: Talent drilling/tapping holes

  - Next, straighten two 1.25-meter lengths of 1.25-millimeter-diameter bare copper wires one at a time by securing one end to a vice [1] and the other end within the grips of a hand drill [2] and turning on the drill at low speed [3].

    - MED: Talent securing wire to vice or clamp

    - MED: Talent securing wire to drill

    - CU: Drill being turned on/wire being straightened

  - Use a fine-tip permanent marker to mark the intended locations of the photodiodes along the edge of the diffuser [1], beginning with the first photodiode position at 13.5 centimeters from one end of the diffuser [2] and the other positions located every 2 centimeters between the first diode and the far end of the diffuser [3].

    - MED: Talent marking location(s)

    - CU: Shot of mark 13.5 cm from end of diffuser Video Editor: please emphasize 13.5 cm distance from end of diffuser to first mark

    - CU: Shot of other positions already marked/positions being marked

  - Center one photodiode on the diffuser bar with its electrical connection tabs pointing toward the sides of the bar [1] and place the wire underneath one of the tabs [2] to mark the position of the first copper wire on the diffuser [3].

    - CU: Photodiode being centered on diffuser bar

    - CU: Wire being placed under tab

    - CU: Position being marked

  - Mark the position of the wire at the center and at the opposite end of the bar in the same manner [1] before using cyanoacrylate glue to secure the first straightened copper wire to the diffuser along the marks [2].

    - MED: Talent marking center or end position

    - CU: Wire being glued along marks

  - Use the glue to secure 50 photodiodes face-down along the diffuser at the marked 20-millimeter intervals [1], taking care that the diodes are in the center of the diffuser and arranged all in the same orientation [2] such that the large tab sits on the copper wire and the small tab sits opposite the wire [3].

    - MED: Talent adding glue to diffuser

    - CU: Diode(s) being placed

    - ECU: Shot of large tab on wire and small tab opposite the wire

  - William Salter: All of the photodiodes must be arranged in the same orientation, as this is indicative of their polarity. We strongly advise double-checking the orientation of each photodiode prior to their gluing and soldering [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Place the second copper wire such that it sits under each of the smaller tabs of the photodiodes [1] and secure the wire to the diffuser with more cyanoacrylate glue [2].

    - CU: Wire being placed

    - CU: Wire being glued

  - Using a solder flux pen, wet both tabs of one photodiode [1] and the adjacent and underlying wires with the flux [2] and use a fine-tipped soldering iron set to a 350-400-degree Celsius temperature to solder each tab of the diode to the underlying copper wires [3].

    - CU: Tab(s) being wet

    - CU: Wire(s) being wet

    - CU: Tab(s) being soldered

  - Shine a light onto each photodiode from the opposite surface through the diffuser bar to test the solder connections [1] and use a multimeter to check for a voltage signal for each diode across the wires [2].

    - CU: Light being shined

    - CU: Voltage signal being checked

  - Optionally, solder a 1.5-ohm low temperature coefficient precision resistor in parallel across the copper wires [1] and solder the male end of a waterproof direct current connector to the ends of the copper wires [2].

    - CU: Resistor being soldered across wires

    - CU: Male end being soldered to wire ends

  - Use glue-lined heat shrink tubing to seal the connections [1] and apply a bead of silicone sealant to the surface of the diffuser near the edge to create a continuous silicone barrier around the circuitry on the diffuser [2].

    - CU: Connection being sealed

    - CU: Bead being applied

  - Inspect the bead closely to ensure that no air gaps remain between the silicone and the diffuser bar [1-TXT]. Once the sealant has cured, fill the well with epoxy resin [2].

    - MED: Talent inspecting bead OR ECU: Shot of bead TEXT: Gaps permit epoxy leakage

    - CU: Well being filled

  - Allow the resin to harden overnight [1] before using a razor blade to remove the silicone sealant [2].

    - CU: Shot of hardened resin

    - CU: Sealant being removed

  - Use M4 bolts to bolt the diffuser to the pre-threaded aluminum U-bar [1] and use masking tape to secure the diffuser to the aluminum along its whole length [2].

    - MED: Talent bolting diffuser to U-bar

    - MED: Talent securing diffuser to aluminum

  - Fill the void inside the ceptometer with polyurethane foam filler [1]. Allow the filler to set overnight [2] and remove the masking tape [3].

    - CU: Void being filled

    - CU: Shot of set filler

    - CU: Tape being removed

  - Then solder the female end of the direct current connector to a length of two-conductor cable [1] and seal the connections with glue-lined heat shrink [2].

    - CU: Female end being soldered

    - CU: Connection being sealed

- PARbar Calibration and Installation

  - To calibrate the photosynthetically active radiation ceptometer, or PARbar (“par-bar”), against a quantum sensor, connect both sensors to a datalogger [1] and set the sensors outside in full sun on a level plane [2].

    - WIDE: Talent connecting sensors to datalogger or voltmeter

    - MED: Talent placing sensors on level plane in full sun

  - Record the outputs of both of the sensors across a period during which the solar radiation varies widely [1-TXT] and determine the calibration factor for the PARbar as the slope of a linear regression of PAR reported from the quantum sensor [2] versus the raw voltage output [3].

    - MED: Talent recording output(s) TEXT: e.g. during full diurnal cycle

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize x-axis

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize y-axis

  - To infer the effective plant area index, install one PARbar above the canopy, taking care that it is not shaded by any light-absorbing elements within the canopy [1], and install another below all of the light-absorbing elements for which the absorptance will be measured [2]. In the field, both PARbars should be aligned at a 45-degree angle to the planting rows [3].

    - MED: Talent installing PARbar above canopy

    - MED: Talent installing PARbar below elements

    - CU: Photo of PARbar at 45° angle in the field (Author Comment: Due to the time of year we had no wheat growing outside in the field so this demonstration was conducted on plants in pots however a photo has been uploaded of the PARbar at 45° in the field for shot 3.3.3.)

  - Confirm that the upper PARbar does not shade the lower PARbar [1] and level both PARbars with a spirit level [2].

    - MED: Shot of both PARbars/Talent checking PARbars

    - CU: One PARbar being leveled

  - Then connect the PARbars to the datalogger [1] and convert the differential voltage output to PAR using the calibration factor previously determined for each PARbar [2].

    - MED: Talent connecting one PARbar to datalogger or voltmeter

    - LAB MEDIA: Figure 3A

# Section – Results

- Results: Representative PARbar Calibration and Output Data Collection

  - The differential voltage output of a PARbar is linearly proportional to the PAR output from a quantum sensor [1].

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize data line

  - In this representative experiment, PARbars were deployed in wheat canopies and logged every 20 seconds across the development of the plants [1].

    - LAB MEDIA: Figure 3

  - These data illustrate a typical diurnal time course of the canopy light environment collected using a PARbar on a clear sunny day [1].

    - LAB MEDIA: Figure 3A

  - Note that bias that can be introduced by taking instantaneous ceptometry measurements at various times of day [1].

    - LAB MEDIA: Figures 3B and 3C

  - For example, the wheat plots used for the collection of this data had a row planting orientation due north-south, with the transmission of light to the lower canopy peaking at 12:30 [1].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize grey area bordered by dotted verical lines

  - If an instantaneous measurement were to be taken at this point, the effective plant area index would be underestimated [1], whereas if a measurement were taken in the morning [2] or afternoon it may be overestimated [3].

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize peak at about 12:30

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize data from about 8-10

    - LAB MEDIA: Figure 3C: JoVE Video Editor please emphasize data from about 15-18

  - Weatherproof PARbars can also be deployed in the field for long time periods [1]. For example, to monitor how the canopy light environment changes as plants develop [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4A: JoVE Video Editor please emphasize data line

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - William Salter: Check all of the soldering connections with a light prior to their sealing in epoxy, as after the epoxy is applied to the circuitry, the circuitry cannot be removed (Step: 2.10) [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - William Salter: PARbars can be installed in the field for extended periods of time, allowing researchers to monitor the canopy development in a way previously not possible using expensive commercial ceptometers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera