# Submission ID #: 59448

# Scriptwriter Name: Michael Linnes

# Project Page Link: http://www.jove.com/files_upload.php?src=18131688

# Title: Excitation-Scanning Hyperspectral Imaging Microscopy to Efficiently Discriminate Fluorescence Signals

# Authors and Affiliations: Joshua Deal1,2,3, Andrea Britain2,3, Thomas Rich2,3, Silas Leavesley1,2,3

1Department of Chemical and Biomolecular Engineering 2Center for Lung Biology 3Department of Pharmacology, University of South Alabama, AL, USA

# Corresponding Author:

Silas J Leavesley	(leavesley@southalabama.edu)

Tel: (251) 460-6160

# Email addresses for Co-authors:

Joshua Deal	 	(jad1103@jagmail.southalabama.edu)

Andrea Britain		(abritain@southalabama.edu)

Thomas Rich		(trich@southalabama.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) No.

2. Does your protocol include software usage? (Y/N) Yes.

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Steps 2.1, 2.2, and 2.3. Essentially, showing the microscope setup.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Steps 2.7 and 2.9. Ensuring the correct exposure time across the entire wavelength range can be difficult. Checking the intensity in the areas with the most intense signal at each wavelength before data collection is vitally important to ensure that areas of the image are not oversaturated.

5. Will the filming need to take place in multiple locations? Yes. All in the same building less than 50 yards apart, with the possible exception of holding the interviews at a more scenic location outside.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements:

# Why is your protocol significant? OR What key questions can this method help answer?

  - Joshua Deal: This protocol is significant as it describes a method which can be used to separate several fluorescence signals in a single sample.

# What is the main advantage of this technique?

  - Joshua Deal: Compared to traditional methods, excitation-scanning can increase the speed of the experiment and improve the sensitivity of the data.

OPTIONAL Interview Statements:

# Can this method be applied to any other systems?

  - Silas Leavesley: By using different illumination sources, such as a supercontinuum laser, this method may be applicable to spinning disk or laser scanning confocal microscope systems.

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Silas Leavesley: When performing excitation-scanning spectral imaging microscopy, it is important to check that the excitation peak of each fluorescent label occurs at a different wavelength.

# Section - Protocol

- Excitation-Scanning Hyperspectral Imaging Microscopy

  - To begin, set up an inverted fluorescence microscope and camera as described in the text protocol. [1-TXT] [2-TXT]

    - WIDE: Talent stands at the microscope and turns it on. TEXT: *See text protocol for details

    - Talent adjusts the beamsplitter, objective, and directs the image into the camera. TEXT: 495 nm dichroic filter cube; 60x water objective; sCMOS camera

  - Then, load the sample on the stage. [1-TXT]

    - Talent loads the sample onto the stage. TEXT: *See text protocol for details on sample preparation

  - From the drop-down menu of the Micro-Manager main window, select 475 nanometers for initial sample viewing. Then, double-click the box next to Exposure and enter 100 to set the exposure time at 100 milliseconds.  Finally, click Live to view the sample. [1]

    - SCREEN: Authors have submitted screen capture video Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 1:03-1:30

  - Now, click on Auto, the automatic intensity viewing range button, to bring the minimum and maximum values into meaningful visual ranges. [1]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 1:31-1:35

  - Next, use the microscope’s focus knobs to focus on the sample… [1] Once in focus, adjust the position of the sample so that its edge is in the center of the field of view… Then, fine tune the focus. The sample is in focus when the edge features in the image appear sharp. [2]

    - Talent looks at sample on screen while focusing using the microscope’s focus knobs

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 1:35-2:20

  - Now, open the Multi-Dimensional Acquisition tool. In the menu, click the Load button and choose a preset setting containing an appropriate wavelength range for spectral acquisition. [1-TXT]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 2:25-3:05 TEXT: See text protocol for details on setting up spectral presets

  - Once the acquisition settings are confirmed, move to a blank region of the sample and click Acquire! to collect a spectral image stack containing background and noise to use for subtraction later. [1]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 3:23-4:45

  - Then, move about the sample to find the brightest regions. Samples are likely to have more intense fluorescence away from the edge of the sample… Once the brightest region is located, take a single image stack. [1]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 4:51-5:40

  - Load the acquired image into ImageJ and use ImageJ’s measure function to confirm that no wavelengths contain overexposed pixels. If a reduced exposure time is necessary due to overexposure, the background image should be retaken with the new exposure time as well. [1]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 5:41-6:52

  - Joshua Deal: If any of the images were found to contain the upper detection limit of the camera, adjust the exposure time of the spectral scan to ensure that the maximum signal throughout the spectral range does not exceed the dynamic range of the camera. [1]

    - INTERVIEW: Author says the above statement interview style

  - With an appropriate exposure time now determined, place an unlabeled sample onto the stage. Acquire spectral image data from the unlabeled sample to determine if there is any underlying autofluorescence. [1-TXT]

    - SCREEN: Authors have submitted screen capture video: Filename: Background and Autofluorescence (Steps 2.1 through 2.11). Time: 6:55-8:00 TEXT: Use an identical wavelength range and settings for the remaining acquisitions

  - Then, place a single-labeled sample on the stage. [1] Acquire spectral image data from each of the single-labeled samples to use as spectral controls to build the spectral library. Perform the scan for each control sample using an identical wavelength range, exposure time, and camera settings.[2]

    - Talent places sample on the stage

    - SCREEN: Authors have submitted screen capture video: Filename: Single Label Control (Step 2.12). Time: 2:00-2:45.

  - Next, place a slide containing the experimental sample on the microscope.  Select a field of view that has appropriately labeled cells and acquire the spectral image data from the sample using the determined acquisition settings. [1-TXT]

    - SCREEN: Authors have submitted screen capture video:  Filename: Experimental Sample (Step 2.12.1). Time: 0:28-2:28  TEXT: Sample: Human airway smooth muscle cells;  nuclear label; mitochondrial label

- Image Analysis

  - Correct images to a flat spectral response by subtracting the background spectrum from the sample image and multiplying the image by the correction coefficient. Here, a MATLAB script is used to quickly process the images. [1]

    - SCREEN: Authors have submitted screen capture video: Filename: Subtraction and Correction (Step 3.1). Time: 0:00-1:38 TEXT: Download MATLAB code from the University of South Alabama Bioimaging Resources website

  - Next, generate the spectral library.   For best results, normalize each endmember to the wavelength band of greatest intensity by determining which wavelength band has the most intense value and dividing the measurement at each wavelength band by that maximum value. [1-TXT] Then, save the spectral data as a .dat file. [2]

    - SCREEN: Authors have submitted screen capture video: Filename: Generate Spectral Library (Step 3.2). Time: 0:00-3:15 TEXT: *See text protocol for details

    - SCREEN: Authors have submitted screen capture video: Filename: Making the dat file (Step 3.2). Time: 0:08-0:32

  - When complete, unmix the spectral image data. The unmixing step will generate an abundance image for each fluorescent label, where abundance is the amount of relative fluorescence signal in the image from the respective label. [1-TXT]

    - SCREEN: Authors have submitted screen capture video: Filename: Unmixing1 (Step 3.3). Time: 0:00-3:13 and Unmixing2 (Step 3.3). Time: 1:24-1:35 TEXT: Download unmixing MATLAB code from the University of South Alabama Bioimaging Resources website   - Video Editor: Place the 2nd video “Unmixing2” directly at the end of “Unmixing1”

  - Next, open each unmixed image to visually inspect the distribution of pure components.

    - SCREEN: Authors have submitted screen capture video: Filename: Inspect1 (Steps 3.4-3.5). Time: 0:00-1:00

  - Compare the magnitude of the error image to those of the unmixed images. If the magnitude of the error image is similar to the unmixed abundance images, signals in the spectral image data may not be accurately accounted for.

    - SCREEN: Authors have submitted screen capture video: Filename: Inspect1 (Steps 3.4-3.5). Time: 1:05-1:34

  - Finally, check that there are no unidentified residual structures by comparing the error image to the unmixed images.

    - SCREEN: Authors have submitted screen capture video: Filename: Inspect2 (Step 3.6). Time: 0:00-0:45

# Section – Results

- Results: Excitation-Scanning Hyperspectral Imaging

  - When performed correctly, the spectral unmixing process allows separation of a spectral image stack into respective contributions from each fluorescence label. Here, an unmixed spectral image set, with individual images highlighting [1] airway smooth muscle cell autofluorescence… [2] a GCaMP probe… [3] and a mitochondrial label. [4]

    - LABMEDIA: Figure 6 E,F,G

    - LABMEDIA: Figure 6 E,F,G – Video Editor: Highlight Figure 6G

    - LABMEDIA: Figure 6 E,F,G – Video Editor: Highlight Figure 6E

    - LABMEDIA: Figure 6 E,F,G – Video Editor: Highlight Figure 6F

  - There is high error associated with the nuclear and perinuclear regions of the cells, indicating that the measured spectra of those regions are not well accounted for by the spectra in the spectral library. [1]

    - LABMEDIA: Figure 6 D,H – Video Editor  – Video Editor: Highlight Figure 6D

  - Pure spectra, collected from labeled cells that are also autofluorescent, will likely contaminate the spectral profile for the pure component. [1] Here, one can see the difference of unmixing with “pure” spectra contaminated with autofluorescence [2] versus the corrected pure spectra after scaled subtraction. [3]

    - LABMEDIA: Figure 10 BCD/FGH – Video Editor: Show Figure 10 BCD on the top and Figure 10 FGH on the bottom.  Label the top row “Before Subtraction” and the bottom row “After Subtraction”

    - LABMEDIA: Figure 10 BCD/FGH – Video Editor: Highlight the top row

    - LABMEDIA: Figure 10 BCD/FGH – Video Editor: Highlight the bottom row

# Section - Conclusion

- Conclusion Interview Statements:

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Joshua Deal: (Steps 2.1.1, 2.2, 2.7, 2.9, and 2.10) Proper data acquisition is essential when imaging sensitive samples as they may only survive a single imaging session unlike the background and controls which may be re-imaged. Ensure that the proper hardware and acquisition settings are predetermined as much as possible.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Joshua Deal: As a next step, videos created from time-lapse data acquired using this system can be used to track fluorescence sources in discrete locations over time, such as second messenger signal localization.

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Joshua Deal: Take care when using powerful light sources to avoid eye exposure. Also, be sure to wear proper gloves when handling biological labels.