# Submission ID #: 59455

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18133823

Title: Multi-Locus Variable-number Tandem-Repeat Analysis of the Fish-Pathogenic Bacterium Yersinia ruckeri by Multiplex PCR and Capillary Electrophoresis

Authors and Affiliations:  Snorre Gulla1, Saima Nasrin Mohammad1, Duncan John Colquhoun1,2

1Norwegian Veterinary Institute, Fish health research group, Oslo, Norway

2University of Bergen, Bergen, Norway

# Corresponding Author:

Snorre Gulla

snorre.gulla@vetinst.no

# Email addresses for Co-authors:

saima-nasrin.mohammad@vetinst.no

duncan.colquhoun@vetinst.no

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

None in particular.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

None in particular.

5. Will the filming need to take place in multiple locations? (Y/N)

If yes, how far apart are the locations?

N (that is, different rooms within the same building will be used)

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Duncan Colquhoun: This MLVA genotyping protocol has greatly increased our understanding of the epizootiology and global population structure of Yersinia ruckeri an internationally important fish-pathogenic bacterium [1].

    - INTERVIEW

  - Duncan Colquhoun: Compared to previously established Yersinia ruckeri typing schemes, it offers a very high strain-resolution. The procedure is simple, cheap, and awards portable results that can be readily compared across laboratories [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Snorre Gulla: The technique greatly improves diagnostic specificity and enables infection tracing. For instance, we can now often distinguish virulent Yersinia ruckeri clones existing against a backdrop of non-virulent, environmental strains [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Snorre Gulla: Demonstrating the first half of the procedure will be Saima Nasrin Mohammad, a technician in our laboratory, while I myself will demonstrate the rest of the procedure.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Section - Protocol

- Bacterial Cultivation and Extraction of Genomic DNA

  - To begin, use sterile inoculation loops to sow out Yersinia ruckeri (pronounce as yer-sin-ea ruck-er-i) pure cultures on any suitable agar type on Petri dishes [1-TXT] and incubate at 22 degrees Celsius for 1 to 2 days, or 15 degrees Celsius for 3-4 days [2].

    - MED: Talent spreads culture on one Petri dish, discards the loop, stacks Petri dish on top of previously prepared dishes, and picks up a new loop and Petri dish before starting the same procedure on the next culture. TEXT: 5% bovine blood agar

    - MED: Talent places box stacked with prepared Petri dishes into incubator, and adjusts temperature.

  - After that, using inoculation loops, pick a single representative colony from each Petri dish [1], and transfer to 1.5 milliliter centrifuge tubes containing 50 microliters of ultrapurified water to resuspend [2]. Vortex briefly [3], and incubate for 7 minutes on a heating block at 100 degrees Celsius [4].

    - CU: Talent picks a colony.

    - CU: Talent transfers to tube with water, and suspends.

    - MED: Talent vortexes and places the tube onto rack with previously prepared tubes.

    - WIDE: Talent walks over to pre-heated heating block, load the tubes and starts timer.

  - Then, centrifuge at 16,000 g for 3 minutes [1] and use a pipette to carefully transfer the supernatant template DNA into empty 1.5 milliliter centrifuge tubes [2-TXT]. Proceed to next step or store the DNA at minus 20 degrees Celsius [3].

    - MED: Talent places the tubes into centrifuge.

    - CU: Talent transfers supernatant from one of the tubes into another tube. TEXT: template DNA

    - MED: Talent places rack containing all the tubes in a freezer.

- Multiplex PCR Setup and Cycling Conditions

  - To prepare master mixes, first calculate reagent volumes according to the number of bacterial samples to be analyzed, also accounting for one negative and one positive control and a final 10% surplus volume as detailed in the manuscript [1]. Note that different primer concentrations are used [2-LM]

    - SCREEN: Screen showing excel spreadsheet with example calculations already plotted.

    - Table 1 – Video editor: emphasize row 5-9, 10-14 with different colors. Circle cells E5-E9 and E10-E14, one group after another group.

  - In two separate centrifuge tubes, one per PCR assay, add Multiplex PCR Plus Master Mix, primers and RNase-free water [1].

    - CU: Talent adds solutions into two tubes.

  - Vortex the prepared master mixes gently at low speed [1], and then distribute 22 microliters of each master mix separately into individual wells on either PCR strips or plates [2].

    - MED: Talent vortexes the tubes.

    - CU: Talent adds mixes into PCR strips/wells.

  - Then, add 3 microliters of the prepared DNA template to each well containing master mix. Two wells per bacterial sample; one for each assay [1]. Use DNA from a verified Yersinia ruckeri strain for positive control [2], and ultrapurified water for negative control [3]. Seal and centrifuge briefly [4].

    - CU: Talent adds DNA template into each well.

    - MED: Talent adds positive control to two wells.

    - MED: Talent adds negative control to two wells.

    - MED: Talent seals tubes and puts them into centrifuge.

  - Load prepared reactions onto a PCR thermal cycler [1] and set up the program according to the manuscript [2]. The program will complete in less than 3 hours [3].

    - MED: Talent places sealed strips/plates into PCR thermal cycler.

    - CU: Talent sets the program on the cycle. Close up of the screen.

    - MED: Shot of the PCR cycler.

- PCR Amplicon Confirmation by Gel Electrophoresis

  - According to the manufacturer’s recommendations, add agarose gel powder in 1 times TBE-buffer to reach 1.5 weight volume percent, and heat to dissolve [1-TXT] . Prior to casting, chill the dissolved gel solution briefly under running water, add 5 microliters of fluorescent nucleic acid dye per 50 microliters of gel solution and mix [2].

    - MED: Talent adds powder into solution, and places the flask in microwave to heat. TEXT: TBE: tris-borate-EDTA

    - MED: Talent chills flask under running water, adds dye and mixes.

  - Assemble and level the casting tray. Add combs as appropriate for the number of samples [1]. Pour the gel solution into the cast and wait for it to solidify [2].

    - MED: Talent assembles cast.

    - MED: Talent pours solution into the cast.

  - After that, submerge the cast containing the gel in 1 times TBE-buffer in a gel electrophoresis system [1]. Mix 5 microliters of the PCR products together with 2 microliters of loading dye in new PCR strips [2-TXT], and transfer 5 microliters of the mixture to the wells in the gel [3]. Save at least one well empty [4].

    - MED: Talent submerges the cast with the gel in buffer in GE system.

    - MED: Talent takes the PCR product out from the cycler, and mixes solutions in a PCR strip/plate. TEXT: PCR products can be stored at 4°C.

    - CU: Talent adds solutions to gel wells.

    - MED: Shot of the wells, showing first well empty.

  - Add 5 microliters of DNA ladder in the empty well for reference [1]. Plug in the electrodes, and run the gel at 110 volts [2] per 15 centimeters for approximately 1 hour [3]. Use a UV-based gel imaging system to verify the presence of multiple bands representing PCR amplicons [4].

    - CU: Talent adds reference solution to the first gel well.

    - MED: Talent plugs in electrodes, and adjusts settings on power supply.

    - MED: Shot of the band migrating in the gel.

    - MED: Talent places the gel in an imaging system and takes picture.

- Capillary Electrophoresis Setup and Run Conditions

  - Following confirmation of PCR amplicons, use new PCR strips or plates to dilute PCR products 1:10 in purified water [1]. Seal, vortex and centrifuge briefly [2].

    - MED: Talent uses a pipet to add PCR products and water to unused wells at a 1:10 ratio.

    - MED: Talent seals the strip/plate, vortexes, and places into centrifuge. Focus on the strip/plate.

  - While working in a fume cupboard, prepare a master mix [1] in a centrifuge tube, consisting of formamide and reference size standard solution. According to the number of PCR products to be analysed, use reagent volumes as detailed in the manuscript [2-TXT]. Allow a 10% surplus volume [3].

    - WIDE: Talent approaches the fume hood with diluted PCR products.

    - MED: Talent adds two solutions (formamide and size standard) into a tube. TEXT: CAUTION: Mixing formamide with water generates TOXIC formic acid.

    - CU: Talent shows the tube.

  - Vortex briefly [1] and distribute 9.5 microliters into individual wells on a PCR plate appropriate for the available capillary electrophoresis system, and then add 0.5 microliters of diluted PCR product [2]. Seal and centrifuge briefly [3].

    - MED: Talent vortexes the tube containing the master mix.

    - MED: Talent transfers two solutions (master mix and PCR product) into each well.

    - MED: Talent seals the plate and places into centrifuge. Focus on the plate.

  - Then, load the plate containing the samples into a PCR thermal cycler [1], and denature the samples at 95 degrees Celsius for 3 minutes before cooling to 4 degrees Celsius indefinitely [2].

    - MED: Talent places the plate into PCR cycler

    - CU: Talent adjusts settings on the cycler. Close up of the screen.

  - Centrifuge at 1000 g for 1 minute [1], carefully remove sealing, and load the plate onto a calibrated capillary electrophoresis system according to the manufacturer’s instructions [2].

    - MED: Talent places the plate in centrifuge.

    - MED: Talent takes out the plate from centrifuge, removes sealing and assembles for placement in CE system.

  - Run fragment analysis capillary electrophoresis using reagents as appropriate for the apparatus of choice, and adjust the run conditions according to the description in the manuscript [1].

    - MED: Talent adjusts settings on the computer, with view of the screen.

- VNTR (Variable-Number Tandem-Repeat) Size Calling, Repeat Count Calculation and MLVA (Multi-Locus Variable-Number Tandem-Repeat Analysis) Profiling

  - For Yersinia ruckeri VNTR (pronounce as V-N-T-R) capillary electrophoresis size calling, first import capillary electrophoresis result files into GeneMapper 5 software [1]. Set Analysis Method to Microsatellite Default and select the appropriate product choice under Size Standard, then, press the Analyze button [2].

    - SCREEN: Talent imports result files.

    - SCREEN: Talent selects analysis method and Size Standard choice and presses Analyze button.

  - Through the Size Match Editor, verify the correct identification of size standard fragments and rectify any visibly erroneous allocations [1].

    - SCREEN: Talent shows the size standard fragments and corrects errors.

  - Then, select the sample to be read, hit the Display Plots button [1] and press Ctrl A to enable view [2] of the Sizing Table. While in the top panel, hold down Ctrl while clicking on the five peaks representing the VNTR amplicons [3].

    - SCREEN: Talent selects sample and hits Display button.

    - CU: Talent presses Ctrl + A.

    - SCREEN: Screen shows the sizing table, while talent selects five peaks.

  - Press Ctrl G to filter the Sizing Table [1], showing only characteristics of the five highlighted peaks, and record the size calls for each VNTR locus for downstream application [2].

    - CU: Talent presses Ctrl + G.

    - SCREEN: Talent highlights column containing CE size calls.

  - In order to account for biased amplicon mobility patterns during capillary electrophoresis, calculate accurate VNTR repeat counts by employing the acquired size calls in combination with the locus-specific variables [1-LM]. The formula may be implemented in a spreadsheet template for automation [2-TXT].

    - Table 1 – Video editor: emphasize columns slope, intercept, flank size, VNTR repeat size.

    - SCREEN: Talent pastes values into excel. TEXT: VNTR repeat count=VNTR CE size call×s+i-VNTR flank sizeVNTR repeat size

  - In the spreadsheet, round calculated VNTR repeat counts off to the nearest integer prior to downstream analysis [1].

    - SCREEN: Talent rounds VNTR repeat counts.

- Minimum Spanning Tree Cluster Analysis of MLVA Data

  - In the BioNumerics software, create a new database and opt to activate the MLVA plugin [1]. In the Experiment type panel, press ‘Create new experiment type’, choose ‘Character type’ and use the default settings when asked [2]. Then select the new experiment, and add new characters for each of the ten VNTR loci, employing 0-100 as the value range [3].

    - SCREEN: Talent creates database and activates MLVA plugin.

    - SCREEN: Talent creates new Character type experiment with default settings.

    - SCREEN: Talent adds 10 VNTR characters with value ranges 0-100.

    - SCREEN: Talent imports profiles.

  - Back in the main panel, import Yersinia ruckeri VNTR repeat counts and metadata by selecting ‘import fields and characters’. Locate the file were this is stored, and make selections in the ‘Destination type’ column. For the VNTRs this means selecting the appropriate character value, while the miscellaneous metadata is classified as entry info fields [1]. The choices made may be stored as a template in order to ease the process for later.

    - SCREEN: Talent imports profiles, makes choices and saves template.

  - Select imported samples destined for MST cluster analysis and click the Create new comparison button in the Comparisons panel [1]. If desired for the visual presentation of the MST, allocate the samples to colored groups e.g. according to a particular metadata feature.[2].

    - SCREEN: Talent selects samples and creates new comparison.

    - SCREEN: Talent groups samples.

  - Then, select Advanced cluster analysis and MST for categorical data to generate an MST diagram based on the chosen samples [1]. Further modify the visual presentation of the MST by adding partitioning parameters, crosslinks, node branch labelling, etc [2-TXT].

    - SCREEN: Talent generates an MST diagram.

    - SCREEN: Talent enables the corresponding settings. TEXT: For further details on modifying options, consult BioNumerics manual.

  - If needed, export the finalized MST in a desired format using the Export image selection [1].

    - SCREEN: Talent exports the MST.

Section – Results

- Results: Gel Electrophoresis, Electropherograms, and Minimum Spanning Tree

  - Following multiplex PCR, the gel electrophoresis image [1] verifies the presence of multiple amplicons in all 12 lanes containing samples [2], with the first lane representing the DNA ladder used [3].

    - Figure 1

    - Figure 1 – Video editor: emphasize the Assay 1 and Assay 2

    - Figure 1 – Video editor: emphasize the first bp lane

  - In electropherograms resulting from capillary electrophoresis [1], the different VNTR loci can be identified according [2] to a combination of size and dye labelling [3]. Orange peaks represent the size standard employed [4].

    - Figure 2

    - Figure 2 – Video editor: emphasize green, black, blue peaks

    - Table 1 – Video editor: emphasize columns B and J

    - Figure 2 – Video editor: emphasize orange peaks

  - An example Minimum spanning tree based on MLVA profiles from Yersinia ruckeri isolates recovered from Atlantic salmon in five different Norwegian farms is shown [1]. A clear clustering tendency linked to farm origin can be observed [2].

    - Figure 3

    - Figure 3 – Video editor: emphasize light blue nodes (in diagram) and ‘Farm 1’ row (in ‘Farm identifier’ legend).

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Snorre Gulla: The identification, by MLVA, of different Yersinia ruckeri clones dominating for instance in particular geographic regions or fish species has already been exploited for improving vaccination strategies against this pathogen [1].

    - INTERVIEW