## Ark1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
22°C/15°C incubator | As preferred. | NA
5' Labeled Primer, 10K PMOL, Desalted, Dry | Thermo Fisher Scientific | 450007 | Sequences and labelling in Table 1. Prepare working aliquouts in TE-buffer.
Agarose, universal, peqGOLD | VWR | 732-2789P/732-2788 | Used during gel electrophoresis.
Avant 3500xL Genetic Analyzer | Thermo Fisher Scientific | A30469 | Used for capillary electrophoresis fragment analysis.
BioNumerics7 modules | Applied Maths | NA | Used for generating Minimum spanning trees from MLVA data.
Centrifuge(s) | As preferred. | NA
Custom DNA Oligo, 25N, Desalted, Dry | Thermo Fisher Scientific | A15612 | Sequences in Table 1. Prepare working aliquouts in TE-buffer.
DNA Gel Loading Dye (6X) | Thermo Fisher Scientific | R0611 | Loading dye used during gel electrophoresis.
Eppendorf Safe-Lock Tubes, 1.5 mL | Eppendorf | 30120086 | Centrifuge tubes used during DNA extraction.
Freezer | As preferred. | NA
Fume cupboard | As preferred. | NA
Gel electrophoresis system | As preferred. | NA
GelRed Nucleic Acid Stain, 10,000X in water | Biotium | 41003 | Fluorescent nucleic acid dye used during gel electrophoresis.
GeneMapper Software 5 | Thermo Fisher Scientific | 4475073 | Used for reading electropherograms from capillary electrophoresis.
GeneRuler 50 bp DNA Ladder, ready-to-use | Thermo Fisher Scientific | SM0373 | DNA ladder used during gel electrophoresis.
GeneScan 600 LIZ dye Size Standard v2.0 | Thermo Fisher Scientific | 4408399 | Size standard used during capillary electrophoresis.
Heating block | As preferred. | NA
Hi-Di Formamide | Thermo Fisher Scientific | 4311320/4440753 | Deionized formamide used during capillary electrophoresis. Prepare working aliquouts.
Milli-Q water | NA | NA | Purified water used during PCR and capillary electrophoresis. Standard recipe; produced in-house.
Multiplex PCR Plus Kit | Qiagen | 206151/206152
PCR thermal cycler | As preferred. | NA
POP-7 Polymer for 3500 Dx/3500xL Dx Genetic Analyzers | Thermo Fisher Scientific | A26077/4393713/4393709 | Separation matrix used during capillary electrophoresis.
Pure culture Yersinia ruckeri | NA | NA | E.g. cryopreserved or fresh.
RNase-free water | Qiagen | NA | In: Multiplex PCR Plus Kit
Tris-borate-EDTA (TBE) buffer | NA | NA | Standard recipe; produced in-house.
Trypsine soy agar/bovine blood agar | NA | NA | Standard recipe; produced in-house.
UV-based gel imaging/visualisation system | As preferred. | NA
Vortexer | As preferred. | NA