# Submission ID #: 59456

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18134128

Title: Operative Technique and Nuances for the Stereoelectroencephalographic (SEEG) Methodology Utilizing a Robotic Stereotactic Guidance System

# Authors and Affiliations:  Amir H. Faraji, Zachary C. Gersey, Danielle M. Corson, James C. Sweat, Jorge A. Gonzalez-Martinez1,2

1Department of Neurological Surgery, University of Pittsburgh Medical Center

2Epilepsy Center, University of Pittsburgh Medical Center

# Corresponding Author:

Jorge Gonzalez-Martinez

# gonzalezjo@upmc.edu

Email addresses for Co-authors:

farajia@upmc.edu

gerseyzc@upmc.edu

wagnerdm@upmc.edu

sweatj@upmc.edu

NOTE: The author list on the script doesn’t match the author list on the manuscript. The script is probably correct.

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

4.4.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.4.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Jorge Gonzalez-Martinez: The SEEG method allows the three-dimensional mapping of epileptiform activity by taking into account the primary organization of the epileptic activity, which is based on the interpretation of anatomo-electro-clinical correlations [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Amir Faraji: The main advantage of this method is the ability to precisely map epileptiform activity in the brain in a minimally invasive manner [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Stereo-Electro-Encephalography (SEEG) Preparation

  - Before beginning the SEEG procedure, help the Patient into the supine position [1].

    - WIDE: Patient getting into supine position

  - With the Patient under general anesthesia, fix the Patient’s head in a three-point fixation holder [1] and position the robot at the head of the Patient [2], such that the distance between the base of the robotic arm and the midpoint of the cranium is 70 centimeters [3].

    - Head being fixed in holder

    - Talent position robot at Patient head

    - Shot of base of arm and midpoint of cranium Video Editor: please emphasize 70-cm distance between head and base when mentioned

  - Lock the robot into position [1] and secure the three-point head-holder to the robot [2].

    - Talent locking robot position

    - Head-holder being secured

  - Using the semi-automatic laser based facial recognition system [1], register the preoperative volumetric MRI with the Patient, following all of the prompts given by the robot [2].

    - Talent at system, registering volume, with monitor visible in frame

    - SCREEN: To be provided by Authors: Volume being registered/prompts being followed

  - Use the set distance calibration tool to calibrate the laser [1] and use the laser to manually select the preset anatomical facial landmarks [2].

    - SCREEN: To be provided by Authors: Laser being calibrated

    - Laser being used to select landmarks

  - After the robot automatically scans the facial surface [1], correlate additional independent surface landmarks with the registered MRI to confirm the accuracy of the registration [2-TXT].

    - Robot scanning face

    - Talent confirm accuracy registration, with monitor visible in frame

- Bolt Implantation

  - For bolt implantation, drape the Patient in standard sterile fashion [1] and drape the robotic working arm with sterile plastic [2].

    - WIDE: Talent draping Patient

    - Arm being draped with plastic

  - Attach a drilling platform with a 2.5-millimeter working cannula to the robotic arm [1] and select the desired trajectory for each bolt to be implanted on the touch screen of the robot [2].

    - Platform being attached

    - Trajectory being selected

  - Step on the robot pedal to initiate the movement of the robotic arm to the first trajectory [1]. When the correct position is reached, the arm will be automatically locked by the robot [2].

    - Talent stepping on pedal/robotic arm moving

    - Arm moving then locking into position

  - Insert a 2-millimeter drill through the working cannula [1] and use it to create a pinhole through the entire thickness of the skull [2].

    - Drill being inserted

    - Pinhole being created

  - Open the dura with an insulated dural perforator using monopolar cautery at a low setting [1].

    - Dura being opened

  - Screw the guide bolt firmly into each pin hole [1] and use a sterile ruler to measure the distance from the drilling platform to the guide bolt [2].

    - Guide bolt being screwed

    - Distance being measured

  - Subtract this measured distance from the value of the distance “platform to target” used in planning the trajectory [1] and record the result for later use as the final length of the implanted electrode [2].

    - Talent at computer subtracting distance or using calculator or similar

    - Talent recording result on computer/into lab notebook or similar

  - Measure and note the final length of the electrode [1] and confirm that it matches the newly calculated length for the bolt [2].

    - Electrode being measured

    - Shot of electrode length being written next to bolt length

  - Then give the electrode and bolt matching labels to prevent confusion during the electrode implantation [1-TXT].

    - Shot of matching labels on electrode and bolt TEXT: Repeat for each bolt/electrode

- Electrode Implantation

  - When all of the bolts have been implanted, change surgical gloves [1] and open a new sterile field [2].

    - WIDE: Talent pulling off glove(s)

    - Talent opening new sterile field

  - Insert a 2-millimeter-diameter stylet through a guide bolt to the intended depth of the electrode as calculated after implantation of the matching bolt [1].

    - Stylet being inserted

  - Confirm that the electrode to be implanted matches the label [1] of the implanted guide bolt and remove the stylet [2].

    - Shot of electrode label

    - Stylet being removed

  - Immediately insert the electrode through the bolt [1] and screw the electrode into the bolt for fixation [2-TXT], using fluoroscopic x-ray to confirm the correct placement of each electrode after it has been implanted [3].

    - Electrode being inserted Videographer: Important/difficult step

    - Electrode being screwed into bolt Videographer: Important/difficult step TEXT: Repeat for each electrode

    - LAB MEDIA: To be provided by Authors: Fluoroscopic image of correctly implanted electrode

  - When all of the electrodes have been implanted, use a standard head bandaging technique to wrap the Patient’s head [1].

    - Head being wrapped

# Section – Results

- Results: Representative SEEG Setup

  - Here an appropriate operating room setup with a successful bolt placement [1] and a successful electrode implantation for the SEEG methodology is shown [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize bolt

    - LAB MEDIA: Figure 2

  - Single positron emission computed tomography [1] and magnetoelectroencephalography tests help in the creation of the anatamo-electro-clinical hypothesis [2].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1B

  - In these representative images, an electrode was positioned in the frontal opercular and dorsal insular area [1].

    - LAB MEDIA: Figure 1C Video Editor: please emphasize area in green line cross section in each image

  - Here a resection of the right operculum and insula in a post-operative T1 MRI is shown [1].

    - LAB MEDIA: Figure 1D Video Editor: please emphasize dark grey area in middle of brain image

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jorge Gonzalez-Martinez: The SEEG method allows the precise three-dimensional mapping of seizures using a less invasive technique of implantation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera