## Table 1
Materials | Concentration | Nucleic Acid Extraction | Detection
Equipment | Magnetic Stirrer (2 Units) | Magnetic Pipette (1 Unit) | Thermocycler (1 Unit)
| Battery (2 Units) | Solar Rotary Platform (1 Unit) | Battery (1 Unit)
| Battery/Stirrer Connectors (2 Units) | Multi-Size Tube Rack (1 Unit) | Computer
| Power Adapters (2 Units) | Timer (1 Unit) | Tube Rack (1 Unit)
| Bucket Support (2 Units) |  | 0.5 μL - 10 μL Micropipette (1 Unit)
| Rope (1 Unit) |  | 2 μL - 20 μL Micropipette (1 Unit)
Stirring Magnet (3 Units)
Tweezers (1 Unit)
Silicon Tubing (1 Unit)
Pipette Controller (1 Unit)
Marker (1 Unit)
Consumables and Reagents (for every 2 water samples/replicates) | Bucket (3 Units) | Magnetic Pipette Tips (2 Units) | 10 μL Micropipette Tips (1 box)
| pH Indicator Strips | Pasteur Pipette (2 Units) | 20 μL Micropipette Tips (1 box)
| Tape-End 10 mL Pipette (2 Units) | Binding Buffer (2 Tubes) | DNA qPCR Mix (1 Tube)
| Open-Tip 10 mL Pipette (2 Units) | Washing Buffer 1 (2 Tubes) | RNA qPCR Mix (1 Tube)
| Tape-End 50 mL Pipette (2 Units) | Washing Buffer 2 (2 Tubes) | Reverse Transcriptase Enzyme (1 Tube)
| Tape-End 100 mL Pipette (2 Units) | Washing Buffer 3 (2 Tubes) | Molecular Biology Water (1 Tube)
| Pasteur Pipette (4 Units) | Elution Buffer (2 Tubes) | HAdV Tube Strip with primers, probe and standard (1 Unit)
| Stand-Up Plastic Bag (4 Units) | Gloves (6 Pairs) | MS2 Tube Strip with primers, probe and standard (1 Unit)
| Plastic Container with 25 mL of distilled water (1 Unit) |  | Nucleic Acid Remover
| Plastic Container with 50 mL of distilled water (1 Unit) |  | Gloves (6 Pairs)
100 mL Empty Container (1 Unit)
Gloves (6 Pairs)
Process Control (2 Tubes)
Tube with 10 mL of distilled water (2 Units)
Citric Acid (1 Tube)
Sodium Hydroxide (1 Tube)
Skimmed Milk (1 Tube)
Citric Acid Sachet (1 Unit)
Distilled Water (1 500 mL Bottle)
Sample Conditioning (2 Sachets)
Preservative Solution (2 Tubes)
Neutralizing Agent (4 Sachets)