Editorial comments:
1. Please include an Acknowledgements section, containing any acknowledgments and all funding sources for this work.

We regret that this was not included earlier and have updated these sections accordingly.

2. Please include a Disclosures section, providing information regarding the authors’ competing financial interests or other conflicts of interest. If authors have no competing financial interests, then a statement indicating no competing financial interests must be included.

We regret that this was not included earlier and have updated these sections accordingly.

3. Please remove Alamar Blue from the Figures. This is a commercial term and resaurin can be used instead.

We thank the editor for yet again pointing this out and we have now removed the term throughout the manuscript and figures.

Reviewers' comments:



Reviewer #1: 
Manuscript Summary:
I thank the authors for their review of my comments and revisions to the manuscript, which I believe is significantly improved. I still have a couple of questions/comments that were not addressed at all in the revised manuscript and must be addressed prior to publication.

Specific Concerns
1. Do you measure the wet weight or thickness of the tissue for normalization purposes? This should be mentioned. Cell number can vary dramatically from one explant to the next even within a juvenile bovine knee which would also increase variability in the data.

We do in some instances measure wet weight and thickness of the tissue. However, we do not find  correlations between these parameters and the output consistent within individual knees and we therefore do not uset this for normalization in routine experiments. We do acknowledge that chondrocyte numbers may vary between explants, but we live with the variation and choose to randomize the explants and increase the number of replicates.

2. Why did you place replicated diagonally in the plate? There is no explanation for why this is done. Is this to avoid different air flows to different groups? This should be explained.

Indeed as the reviewer points out, the reasons is to minimize effects of evaporation. This notion has been added to the protocol.

Correction to protocol:  
Place replicates within each group diagonally in the culture plate to minimize the variation induced by evaporation.

3. Are you using a standard tissue processing protocol? What are the steps to the protocol? You should mention the temperatures/pressures/timing since not all labs will have this specific processor. This goes back to the size of your tissue being needed as well.

Indeed, thank you for this consideration. These steps are based on a standard tissue processing protocol and include:  

1) Dehydration with 96% ethanol for 90 min with no temperature adjustment. 
This step is repeated 3 times.

2) Ethanol clearance with toluene for 90 min with no temperature adjustment. 
This step is repeated 2 times.

3) Ethanol clearance with toluene for 90 min at 60°C.

4) Infiltration with paraffin wax for 30 min at 60°C.

5) Infiltration with paraffin wax for 60 min at 60°C.

6) Infiltration with paraffin wax for 90 min at 60°C.

# For each step, the solutions are added to the sample-chamber with slow pump-out and pump-in flows under 33-34 kPa pressure. The infiltration process is run in a pressure/vacuum cycle with a maximum vacuum of - 65 to - 70 kPa.

4. Is there subchondral bone in your samples? You mention that you use full thickness, but how do you determine that in dissection. Furthermore, if you have subchondral bone in your samples, did you decalcify samples somehow?

We thank the reviewer for the request for clarification. We do not include subchondral bone in the current model. We strive to cut as close to the calcified matrix as possible in order to get the full articular cartilage layer, without the subchondral bone. This has been clarified in the protocol.

Change to protocol:
1.1.4.	Isolate explants from the load-bearing area of the femoral condyles using a 3 mm biopsy puncher and release them from the articular surface by cutting with a scalpel parallel and as close to the subchondral bone as possible, and make sure that calcified cartilage is not included. The hard structure of the subchondral bone should ensure that explants do not contain calcified matrix. Strive for explants with uniform height.

5. 'Measurement' is spelled wrong in Figure 1.

We appreciate the correction and this has now been corrected
6. There is no explanation of the acronym 'BEX' prior to use.

We thank the reviewer for pointing this out and the term BEX have now been replaced with bovine cartilage model in all instances.


Reviewer #3: 
Manuscript Summary:
This manuscript details the protocol for the ex vivo culture of full-thickness bovine explants to study the cartilage matrix (ECM) turnover. The study uses anabolic and catabolic stimuli over a 3 week period as positive and negative controls to monitor proteoglycan release, collagen degradation and the metabolic activity of the ex vivo samples.
The manuscript is written extremely well, to a high standard of English, the protocol is very clear and sufficiently detailed for the intended readership to follow.
Although the study takes into consideration the potential of variation in the data due to initial explant size, the authors do not suggest how to prevent this or whether this could be overcome for example by weighing the samples before, during and after the study and then use this information to 'normalise' the data. The study is limited further by the use of only two biological replicates.

Major Concerns:
I have not been able to comment on most of the data provided as figures 1-5 are either illegible or blacked out completely. I am not sure if this is a technical problem however I would like to see these figures how they were intended to be represented to make definitive statements on the results obtained and conclusions drawn.

We appreciate the reviewer going through the manuscript despite not having access to figures with adequate resolution. We kindly refer the reviewer to the link in the top right corner of each figure for the high resolution version of each figure. Unfortunately the PDF generation in the submission system does not allow for embedding high resolution figures within the PDF itself. 

Minor Concerns:
Line 107-108. What is the minimum age of the bovine? Does male/female matter?

This is a good point. We use cows between the age of 1.5 and 2 years of age and have now included the minimum age in the protocol.

Corrections to protocol

1.1.2.	From the local slaughterhouse, obtain an entire fresh bovine tibio-femoral knee joint from calves between 1.5 andless than 2 years of ageold.

Line 116. I suggest recommending readers to get as close to the bone as possible/scrape scalpel across bone/cartilage interface.

This is a good point. The recommendation have been inserted in the manuscript.

Changes to protocol:

1.1.4.	Isolate explants from the load-bearing area of the femoral condyles using a 3 mm biopsy puncher and release them from the articular surface by cutting with a scalpel parallel and as close to the subchondral bone as possible, and make sure that calcified cartilage is not included. The hard structure of the subchondral bone should ensure that explants do not contain calcified matrix. Strive for explants with uniform height.
Line 118. Does the orientation make a difference? Superficial or hypertrophic side up is ok?

This is a good question; however, not one we have an answer for. The explants are not aligned in a specific orientation as it is practically difficult to in this setup since the cartilage easily floats around in the medium.
Line 122. Make bold

Corrected
Line 130. Authors state that the explants can be cultured for up to 10 weeks. Data shown is up to 3 weeks. Can a reference be included where 10 weeks was carried out using this model.

We currently have manuscript in submission including a 10 week study in human explants. We have done similar studies in bovine explants but these have not been published as of yet. We have included a reference to a conference abstract describing the 10 week human data in the discussion.

Changes to discussion:
” The length of the experiment3, the time between media changes, timing of cytokine stimulation, and treatment intervals can be adjusted to fit the hypothesized mode of action of the individual compound or mechanism.”

Line 117. Is this a simple wash or does it require some shaking/equilibration to diffuse out the medium?

We thank the reviewer for the clarifying question. This is a simple wash

Line 184. For how long can the samples be stored out of any medium before processing for embedding?

For the analysis included in this manuscript we have stored samples for up to 3 months. We have made a recommendation in the protocol

Change to protocol:

3.2.2	Dispose of the formaldehyde and add 200 µL/well PBS, cover the plate with sealing tape and store at 4 °C for histochemical analysis. We recommend performing histochemical analysis within 3 months.

Line 217. Maybe a list of abbreviations would be helpful for terms like C2M for example.

We thank the reviewer for the suggestion. However, C2M, in line with the other markers are not abbreviations but names of biomarker epitopes. That said, the name origins from type II Collagen (C2) degraded by MMPs (M), while Pro-C2 is the pro-fragment of type II collagen. AGNx1 is an aggrecan fragment generated by ADAMTS-4 and 5. The characteristics for each marker are included in description in the protocol.

Line 224. 20 hours seems like a long time to me. Can the authors confirm this isn't a typo please.

This is not a typo and is indeed correct. The low temperature and long incubation time limits background from unspecific binding of the primary antibody, which may occur with shorter incubation times at higher temperatures.

Line 242. 'aggrecanse cleavage' by…ADAMTS4/5

We agree with the reviewer that the statement is more precise and have corrected accordingly

Change to protocol:

4.3.1.	Quantify aggrecan degradation by measuring the release of the AGNx1 neo-epitope. This indirect competitive ELISA assay targets the aggrecan C-terminal peptide (NITEGE373) generated by aggrecanase ADAMTS-4 and 5 cleavage. The monoclonal antibody recognizes all fragments with an exposed NITEGE epitope. The experimental details of the assay have been published elsewhere19.

Line 255. Which MMP causes the release of this particular neo-epitope?

This epitope is generated by multiple MMPs, including MMP9, MMP12, MMP13

Line 280. What is the reason for the cold water bath before the warm water bath in line 283.

This waterbath allows for crude unfolding of the section, cutting multiple sections apart and sorting. Hereafter, the slides are transferred to the warm water bath for complete unfolding and attachment to slides.

Line 287. The use of the baskets implies the slides are being heated vertically. Is this the case? I have always performed this horizontally on hot plates to avoid slipping of samples.

As the reviewer states, these slides are indeed heated on hot plates. We refer to step 5.1.5. Following this initial heating step, which is done horizontally, the slides are indeed transferred to a 60 degree incubator stored in baskets and heated vertically. We have never experienced issues with tissue sliding off at this point.

Line 296. Please state 'in preparation for staining, pour' as this will prevent readers from immersing samples at this stage before being de-paraffinized.

We thank the reviewer for the helpful suggestion and the sentence have been corrected.

Line 308. Please state the pH of the Saf O.

We agree that the pH would help the protocol, and the pH for the different staining solutions have now been added to the protocol.

Changes to protocol:

5.2.5.	Stain the deparaffinized and hydrated slides by submerging the basket in Weigert’s Iron Hematoxylin solution (pH: 1.5) for 10 min, followed by 1 x dip in 1% HCl and rinse with running tap water for approximately 5 min or till excess color has washed away.

5.2.6.	Next, stain in 0.05% Fast Green solution (pH: 5.75) for 5 min, followed by 1 x dip in 1% CH3COOH, and stain in 0.1% Safranin O (pH: 6.5) for 20 min.

Line 322. Is the 'control without treatment' not treated with PBS or a vehicle?

Not in this setting, no. While the reviewer is correct in that vehicle in principle should be added to all wells to exclude vehicle derived effects, in this instance treatments are pre-diluted in media prior to addition. This means that PBS is diluted more than 1:1000 in this instance, and were deemed not relevant.

line 370. 'complete loss' of proteoglycans. Maybe 'no detectable levels' would be more appropriate. But if this is measuring the amount of cleaved aggrecan, this isn't measuring proteoglycan loss but more the rate of loss. Otherwise you could say the IGF treated ones had 'complete loss' from day 1.

Insert answer

Line 395. Only 2 biological replicated used for all data.

We recommend using 3 individual biological replicates as for most experiments, to ensure scientific validity. The focus in this instance is on the method itself, and we have not included extensive replication data since the results included in the manuscript are used as examples.

Full stops missing on ends of legends for fig 3, 4 & 5.

Thank you for this observant correction. Full stops have been added.

The use of cow/bovine is used interchangeable. Please be consistent.

We acknowledge the confusion. However, we use the bovine term when referring to a species origin of tissue and cow when referring to a specific animal, ie. number of knees from a certain amount of animals. We feel that this use is consistent throughout.

Line 479-480. Could the before and after wet weigh of each explant be taken to help normalise data?

It is a good suggestion, and also something that we have tried initially. However, we do not find that the wet weight at termination provides any helpful information on the molecular composition of the protein pool that feeds the  biomarker pool.