[image: image1.png]o
1 Alewife Center, Suite 200
Cambridge, MA 02140
JOURNAL OF tel. 617.401.7770, ext. 701
VISUALIZED EXPERIMENTS =~ WWW.JOVE.com






Protocol Name: High-resolution Imaging of Nuclear Dynamics in Live Cells under Uniaxial Tensile Strain
Date: 9th May 2019
Authors and Affiliations

Please fill in any missing author information not included in the video.
All author information is correctly included in the video.

Video Comments
	
	Time code
	Comment
	Requested Change

	1.
	0:07
	Onscreen text says 
“Ekta Makhija

MIT”
	Text should say 
“Ekta Makhija

BioSyM, SMART”

	2.
	4:42
	Onscreen text says 

“Set incubator: 

37o C 

95% humidity

5% CO2”
	Text should say 

“Set incubator:
37o C”


Audio Comments

	
	Time code
	Comment
	Step(s) in Shotlist 
	Rewritten Text or Corrected Pronunciation (highlight in bold)

	1.
	1:28
	Original Script Text:

“When degassing is complete, bake the samples at 80 degrees Celsius on a leveling table for between 2 and 24 hours”
	2.5
	Rewritten Script Text:
“When degassing is complete, bake the samples at 80 degrees Celsius on a leveling table for 2 hours”

	2.
	2:16
	Original Script Text: 

“Next, clean the samples by incubating them in 100% acetone for 4 to 24 hours… 100% ethanol for an additional 4 to 24 hours… and then in autoclaved water for 4 to 24 hours”
	2.9
	Rewritten Script Text: 

“Next, clean the samples by incubating them in 100% acetone for 4 hours… 100% ethanol for an additional 4 hours… and then in autoclaved water for 4 hours”

	3.
	2:39
	Original Script Text: 

“Place the cleaned samples on paraffin film backing paper inside a 150 mm diameter plastic dish and dry the sample in an 80-degree Celsius oven for 4 hours”
	2.10
	Rewritten Script Text: 

“Place the cleaned samples on paraffin film backing paper inside a 150 mm diameter plastic dish and dry the sample in an 80-degree Celsius oven for 4 hours”

	4.
	4:36
	Original Script Text: 

“Prepare the microscope incubator for live imaging by setting the incubator temperature to 37 degrees Celsius, the humidity to 95%, and the carbon dioxide levels to 5%”
	4.1
	Rewritten Script Text: 

“Prepare the microscope incubator for live imaging by setting the incubator temperature to 37 degrees Celsius”


Online Text/PDF Protocol

	
	Protocol Step
	Comment
	Requested Change (highlight in bold)

	1.
	2.5
	Step says “Leave the molds/dishes in an 80 °C oven on a leveling table for a minimum of 2 h and a maximum of 24 h.”
	Please correct to “Leave the molds/dishes in an 80 °C oven on a leveling table for 2 h.”

	2.
	2.8
	Step says “Clean the polydimethylsiloxane plates/square compartments by incubating them in 100% acetone for 4–24 h, followed by 100% ethanol for 4–24 h, followed by autoclaved water for 4–24 h.”
	Please correct to “Clean the polydimethylsiloxane plates/square compartments by incubating them in 100% acetone for 4 h, followed by 100% ethanol for 4 h, followed by autoclaved water for 4 h.”

	3.
	2.10
	Step says “Leave the polydimethylsiloxane plate in the 80 °C oven to dry for 4–24 h.”
	Please correct to “Leave the polydimethylsiloxane plate in the 80 °C oven to dry for 4 h.”

	4.
	7.1
	Step says “Turn on the microscope. Set the microscope incubator temperature to 37 °C, the humidity to 95%, and the carbon dioxide to 5%.”
	Please correct to “Turn on the microscope. Set the microscope incubator temperature to 37 °C”


[image: image1.png]