# Submission ID #: 59487

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18143583

Title: Electroretinogram Recording in Larval Zebrafish Using A Novel Cone-Shaped Sponge-Tip Electrode

Authors and Affiliations: Jiaheng Xie1, Patricia R. Jusuf1, Patrick T. Goodbourn2, and Bang V. Bui3

1School of Biosciences, The University of Melbourne

2Melbourne School of Psychological Sciences, The University of Melbourne

3Department of Optometry and Vision Sciences, The University of Melbourne

# Corresponding Author:

# Bang V. Bui

# bvb@unimelb.edu.au

Email addresses for Co-authors:

jiahengx@student.unimelb.edu.au

patricia.jusuf@unimelb.edu.au

p.goodbourn@unimelb.edu.au

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? Y, Leica M80 Stereo Microscope

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.8., 4.1.-4.3., 4.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.8.: It is important to shape the sponge tip to be ~40 microns. If the apex of the sponge cone is too big, it will block the light going through the eye to the retina.

4.2: It is important to make sure the larval eye measured does not contact any surrounding liquid.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Jiaheng Xie: This protocol helps to simplify the measurement of electroretinograms, or ERGs, in larval zebrafish, which provide an important functional readout of visual development and genetic disease models [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jiaheng Xie: The soft, sponge-tipped recording electrode used in this protocol is easy to manufacture using economical and readily available materials and avoids causing potential damage to the larval eyes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Bang Bui: The softer sponge-tipped recording electrode can help facilitate repeated ERG assessment of the same eye [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Bang Bui: Individuals new to this method may find it difficult to work under the dim red lighting conditions used throughout the procedure, but they are important for maintaining the required dark-adaptation [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the institutional animal ethics committee at the University of Melbourne.

# Section - Protocol

- Electrode Preparation

  - To prepare the cone-shaped sponge recording electrode, cut the end from a platinum electrode lead extension [1] and use a scalpel to remove 10 millimeters of the outer polytetrafluoroethylene insulation coating from the new end of the extension [2-TXT].

    - WIDE: Talent cutting end from lead extension

    - CU: Coating being removed TEXT: Caution: Do not damage inner wire of electrode lead

  - Cut a 40-millimeter piece of a 0.3-millimeter-diameter silver wire [1] and entwine the silver wire with the exposed inner wire to securely attach the wire to the electrode lead [2].

    - MED: Talent cutting wire

    - CU: Silver wire being entwined with inner wire

  - Encase the joint with insulating tape, leaving an approximately 15-millimeter length of silver wire exposed [1].

    - CU: Shot of encased joint with 15 mm of exposed silver wire

  - Immerse the exposed silver wire in normal saline [1] and connect the other end to the positive terminal of a 9-volt direct current source [2]. Author comment: (filming of red wire)

# 2.4.0 [Added Shot] WIDE: of both 2.4.1 and 2.4.2

    - MED: Talent submerging wire in normal saline

    - MED: Talent connecting end to battery terminal

  - Connect another wire to the negative terminal of the battery [1] and immerse the other end of the wire into the saline [2-TXT]. Author comment: (blue wire already in the saline)

# Author comment: Move 2.5 (connecting negative wire) above 2.4 (positive wire)

  - After 60 seconds, place the wire on absorbent tissue to dry [1].

    - MED: Talent placing wire onto tissue to dry

  - In the meantime, cut a 20- × 20-millimeter square of polyvinyl acetate sponge into a cone shape [1] and saturate the sponge in 1x Ringer’s buffer [2].

    - CU: Cone being cut

    - CU: Cone being placed into buffer, with buffer container label visible in frame

  - Under a light microscope with a scale bar on the eyepiece [1], use a scalpel blade to shape the apex of the cone to an approximately 40-micrometer diameter [2].

    - MED: Talent placing cone under microscope

    - SCOPE: Cone apex being shaped

  - Air dry the cone-shaped sponge on absorbent tissue paper until it is solid [1] before inserting the silver wire into the dried, solid, cone-shaped polyvinyl acetate sponge through the base of the cone [2], using mask tape to insulate any excess exposed metal to reduce photovoltaic artifacts [3].

    - MED: Talent placing sponge onto tissue

    - CU: Wire being inserted into sponge

    - CU: Metal being taped

  - On the day of the experiment, immerse the sponge-tipped electrode into Ringer’s buffer for 15 minutes to fully saturate the sponge

- Zebrafish and Sponge Platform Preparation

  - At least 8 hours before the recordings, place no more than 20 zebrafish larvae in a single 15-milliliter tube without a lid and wrapped in aluminum foil into a dark incubator [1].

    - WIDE: Talent placing tube into incubator

  - At the end of the incubation, pour the dark-adapted zebrafish into a Petri dish under dim red illumination from a light-emitting diode [1].

    - MED: Talent adding fish to dish

  - To prepare the sponge platform, cut a piece of polyvinyl acetate sponge roughly equal in thickness to the depth of a 35-millimeter Petri dish so that the sponge will fit snugly within the dish [1].

    - MED: Sponge being cut, with 35-mm Petri dish visible in frame

  - Make a small cut vertically through one end of the sponge to accommodate the silver wire of the reference electrode [1] and soak the sponge in goldfish Ringer’s buffer until the sponge is saturated [2].

    - CU: Sponge being cut

    - MED: Talent placing sponge into buffer, with stock buffer container visible in frame

  - Then place the sponge into a clean 35-mm Petri dish [1] and use a paper towel to absorb the extra liquid [2] until no solution exudes from the sponge in response to a light finger press [3].

    - MED: Talent placing sponge into dish

    - CU: Excess solution being absorbed with absorbent paper

    - CU: Sponge being lightly pressed to ensure there is no excess fluid

- Animal and Electrode Positioning

  - To position the animal for the experiment, use a 3-milliliter Pasteur pipette to transfer an anesthetized larva onto a 3- x 3-centimeter square of paper towel [1] and use forceps to place the square onto the moistened sponge [2].

    - WIDE: Talent placing larva onto square

# 4.1.1a [Added Shot] CU: Larva on square

    - CU: Square being placed onto sponge

  - Using a fine brush soaked in Ringer’s buffer, adjust the position of the larva with one eye facing upward and away from any liquid on the towel under the larva [1].

    - CU: Larva being positioned

  - Glaze the larval body with moisturizing eye gel to keep the animal hydrated throughout the electroretinogram recording [1] and place the dish on a small water-heated platform in front of the Ganzfeld bowl light stimulus situated inside a Faraday cage [2].

    - CU: Body being glazed

    - MED: Talent placing dish onto platform

  - Insert the reference electrode into the cut made in the platform sponge [1] and connect a commercially obtained ground electrode to the Faraday cage [2].

    - CU: Electrode being inserted into cut

    - MED and CU: Talent connecting electrode to cage

  - Attach the recording electrode to an electrode holder [1] and secure the holder to the stereotaxic arm of a micromanipulator [2].

    - MED: Talent attaching electrode to holder

    - MED: Talent securing holder to arm

  - Using a 3-milliliter Pasteur pipette, re-saturate the sponge tip of the electrode with one drop of Ringer’s solution [1] and position the microscope in the Faraday cage over the electroretinogram platform [2].

    - CU: Drop being added to sponge tip

    - MED: Talent positioning microscope over platform

  - Use the tip of an absorbent tissue to remove any excess liquid from the electrode sponge tip [1] and under the microscope position the active electrode so that the sponge tip gently touches the central corneal surface of the larval zebrafish eye [2].

    - CU: Liquid being removed

    - SCOPE: Electrode being placed onto eye

  - Then move the Ganzfeld bowl toward the sponge platform, taking care that the larva is covered by the bowl [1], and close the cage to reduce extraneous electromagnetic noise [2].

    - CU: Bowl being moved toward platform

    - MED: Talent closing cage

# Section – Results

- Results: Representative Electroretinogram (ERG) A- and B-Wave Amplitude Tracings

  - The sensitivity of the larval zebrafish retina to dimmer flashes increases with age [1], as the a- and b-waves are not recognizable at intensities lower than minus 1.61 log candela second per meter squared at 4 days post fertilization [2], while clear signals are detectable at these intensities in the older larvae [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize -1.61, -2.11 and -2.75 data points in circle data lines in both graphs

    - LAB MEDIA: Figure 2: JoVE Video Editor: please emphasize -1.61, -2.11 and -2.75 data points in square and triangle data lines in both graphs

  - The b-wave amplitude increases markedly between 4 and 5 post fertilization [1]. At 7 days the signal at 2.48 log candela second per meter squared is greater [2] compared to days 5 and 6 post fertilization [3].

    - LAB MEDIA: Figure 3B: JoVE Video Editor: please emphasize circle and square data lines

    - LAB MEDIA: Figure 3B: JoVE Video Editor: please emphasize upside down triangle data point at about 2.48 flash intensity

    - LAB MEDIA: Figure 3B: JoVE Video Editor: please emphasize square and right-side-up data point at about 2.48 flash intensity

  - A- and b-wave implicit times become significantly faster after 5 days post fertilization [1], with overall these results demonstrating a maturation in zebrafish retinal function between 4 to 7 days post fertilization [2].

    - LAB MEDIA: Figures 3C and 3D: JoVE Video Editor: please emphasize triangle and inverted triangle data lines in both graphs

    - LAB MEDIA: Figures 3C and 3D

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jiaheng Xie: To successfully perform this protocol, it is critical that the sponges are fully saturated with fluid, which helps maintain the conductivity of the recording electrode and lowers the noise level (Step: 5.8) [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jiaheng Xie: If the a-wave is of particular interest, pharmacological treatments can be applied to block the b-wave component, thus exposing the full a-wave [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera