# Submission ID #: 59488

# Scriptwriter Name: Nadeeka Dias

# Project Page Link: http://www.jove.com/files_upload.php?src=18143888

# Title: Pupillary Response as Assessment of Effective Seizure Induction by Electroconvulsive Therapy

# Authors and Affiliations: Kazuhiro Shirozu1, Keitaro Murayama2, Ken Yamaura3

# 1Department of Anesthesiology and Critical Care Medicine, Kyushu University Hospital, Fukuoka, Japan

# 2Department of Neuro-Psychiatry, Kyushu University Graduate School of Medicine, Fukuoka, Japan

# 3Department of Anesthesiology and Critical Care Medicine, Kyushu University Graduate School of Medicine, Fukuoka, Japan

# Corresponding Author:

# Kazuhiro Shirozu (shiron@kuaccm.med.kyushu-u.ac.jp)

# Email Addresses of Co-authors:

# Ken Yamaura (keny@fukuoka-u.ac.jp)

# Keitaro Murayama (keimura@npsych.med.kyushu-u.ac.jp)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (N)

2. Does your protocol include software usage? (N)

3. Which steps from the protocol section below are the most important for viewers to see? 

Steps 2.3, 3.2, 3.3, and 3.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? 

Step 3.3 Pupillary reaction measurement should be conducted immediately after electrical stimulation because pupillary reactions recover rapidly.

5. Will the filming need to take place in multiple locations? (N)

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)

  - Kazuhiro Shirozu: The efficacy of ECT has been evaluated based on electroencephalography and increases in BP or HR. However, an increasing number of patients have adapted to ECT and rates of cardiovascular disease are increasing. On the other hand, pupillary responses can reflect sympathetic nervous activity or the degree of brain damage. This proposed method might be particularly useful for patients who have been administered antihypertensive drugs during ECT [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kazuhiro Shirozu: Pupillary response measurement using an automated infrared pupillometer can be conducted in a simple, precise, and objective way and not be affected by anesthetic agents or antihypertensive drugs. Additionally, the white light used for measuring light reflexes is not overly bright and harmful for patients  [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the clinical research ethics committee of Kyushu University, Fukuoka, Japan.

# Section - Protocol

- Preparation for electroconvulsive therapy

  - Begin, by cleaning the right and left forehead and area behind the ears with an alcohol cotton swab [1].

    - MED: Show patient lying on table. Talent cleans right forehead and area behind ears with an alcohol swab.

  - Next, attach electroencephalogram, or EEG, monitors at four symmetrical points [1].

    - MED: Talent attaches the EEG monitor at one point (begin shot with other 3 points already attached.

  - Clean bilateral temples with normal saline [1], and then attach adhesive electrical stimulation pads to the bilateral temples to prevent interference in the stimulation due to hair [2-TXT].

    - MED: Talent cleans one temple with saline.

    - CU: Talent attaches one stimulation pad to the temple. 
TEXT: Stimulation pad: 4 cm × 5 cm

  - Then, attach the electrocardiogram ,or ECG, monitors at the base of the heart and cardiac apex [1], and monitor heart rate [2].

    - MED: Talent attaches ECG to base of the heart. Show ECG already attached to cardiac apex.

    - MED: Show heart rate monitor.

  - Next, prepare a tourniquet and belt it at the left thigh [1].

    - MED: Talent ties the tourniquet around the left thigh.

  - Lastly, attach two electromyogram sensors to the left anterior tibial muscle, with a distance of 5 cm, to measure generalized seizure time in the lower leg [1].

    - MED: Talent attaches one electromyogram sensor that is 5 cm away from another sensor already placed on the muscle.

- Electroconvulsive therapy procedure

  - After anesthetizing the patient [1-TXT], begin the electroconvulsive therapy or ECT procedure by using an ECT instrument set at an initial electrical stimulus dose percentage at half the value of the patient’s age [2-TXT].

    - MED: Show patient asleep on the bed. 
 	TEXT: See text protocol for anesthesia procedure.

    - MED: Talent holding the ECT instrument, sets electrical stimulus dose  percentage.
TEXT: Stimulation time is about 7-8 s.

  - Then, immediately after electrical stimulation, hold the automated infrared pupillometer over one of the patient’s eyes [1].

    - MED: Talent holds pupillometer over one of the patient’s eyes.

  - After the patient eyes are opened by examiner, press the device button, and measure maximum resting pupil size or minimum pupil size after stimulation [1].

    - CU: Talent presses button on device.

  - Next, perform controlled ventilation using a face mask with 100% oxygen until the patient begins breathing spontaneously [1].

    - MED: Perform controlled ventilation using a face mask on patient.

  - Finally, using EEG, measure ictal regularity, seizure time, and greater postictal suppression [1].

    - MED: Talent observing the EEG monitoring and taking notes.

# Section – Results

- Results: Pupillary response changed immediately after electrical stimulation

  - Results indicate that pupillary diameter was increased after electrical stimulation [1]. However, significant differences in constriction by the light reflex were caused immediately after electrical stimulation, reflecting differences in seizure efficacy induced by ECT [2].

    - LAB MEDIA: Figure 3A.  Video editor: Highlight title, then put a box around the black and grey bar above ‘just after stimulation’

    - LAB MEDIA: Figure 3B. Video editor: Highlight title, then put a box around the black and grey bar above ‘just after stimulation’

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera)

  - Kazuhiro Shirozu: For this study, automated infrared pupillometer is essential. Measurements should be conducted immediately after electrical stimulation because pupillary reactions recover rapidly. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.  Video editor: Shot corresponds to step 3.3 in protocol.

  - Kazuhiro Shirozu: For adequate seizure evaluation, pupillary reaction might be included in the future [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kazuhiro Shirozu: Pupillary reaction might be one of the evaluations for degree of epilepsy or noninduced seizure [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kazuhiro Shirozu: Hemodynamics are dynamically changed immediately after electrical stimulation. Therefore, the anesthesiologist should not excessively focus on evaluating pupillary response, but ensure there is consistent monitoring of the patient’s vital signs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.