Alisha DSouza, Ph.D.
Senior Review Editor

January 29, 2019

Dear Dr. Alisha DSouza

“Title: Pupillary response as assessment of effective seizure induction by electroconvulsive therapy”

Thank you very much for your consideration to the above-referenced manuscript. We appreciate valuable comments given by the editors and reviewers. The manuscript has been revised in accordance with the their comments. We would like to submit the revised manuscript for publication as Journal of Visualized Experiments. Changes were made in red in manuscript.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

Answer⇒We asked English editing service.

• Introduction:
1) Line 107, 108, 110, : Need references

Answer⇒We added the references.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

1) Please include an ethics statement before your numbered protocol steps indicating that the protocol follows the guidelines of your institutions human research ethics committee.

Answer⇒We added the phrase” The study protocol was approved by the institutional clinical research ethics committee of Kyushu University, Fukuoka, Japan (IRB: Clinical Research number #28-77). Although the measurement of pupillary reaction is an essential and standard clinical procedure during anesthesia, informed consent was obtained for this research. ”.

2) Mention inclusion and exclusion criteria to select subjects, and also mention if consent was obtained.

Answer⇒We added the phrase “Patients with cataract, glaucoma, intraocular lenses, or insulin-dependent diabetes mellitus were excluded because their pupillary responses may be abnormal.”.

3) 1.1: Attach where? On the patient? Which parts of the body? EEG requires clean surfaces and is done at specific points. Please mention all details to replicate the step.

Answer⇒We added the phrase “After the right and left forehead and area behind the ears are cleaned with an alcohol cotton swab, electroencephalogram (EEG) monitors are attached at four symmetrical points.”.

4) 1.2: What kind of pad? What is the intensity of stimulation?

Answer⇒We added the phrase “After bilateral temples are cleaned with normal saline, gummous electrical stimulation pads (about 4 × 5 cm) are attached to the bilateral temples to prevent interference in the stimulation due to hair. The intensity of stimulation is changed each time, according to the previous degree of inducted convulsion.”.

5) 1.3: Which 3 points? How are the contact points prepped?

Answer⇒We added the phrase “Electrocardiogram (ECG) monitors are attached at two points (base of the heart and cardiac apex) and heart rate is monitored.”.

6) 1.4: Attach how? How tight? Where exactly?

Answer⇒We added the phrase “A tourniquet is prepared and belted at the left thigh. A tourniquet is belted until 200 mmHg after the patient is asleep. Convulsion induced by ECT can be observed in the lower leg even after systemic administration of muscular relaxant.”.

7) 1.5: Where exactly? Please provide more specific details.

Answer⇒We added the phrase “Two electromyogram sensors are attached to the left anterior tibial muscle, with a distance of 5 cm, to measure generalized seizure time in the lower leg.”.

8) 2.1: How is the site prepped? What is the device measuring?

Answer⇒We added the phrase “After the forehead is cleaned with an alcohol cotton swab, a bispectral index (BIS) measurement device is attached at the patient’s forehead. BIS is used to monitor depth of anesthesia.”.

9) 2.2: How? Through a standard monitor?

Answer⇒We added the phrase “Non-invasive blood pressure is measured at the arm every 1 minute during ECT therapy.”.

10) 2.3: how? Using a clip on monitor?

Answer⇒We added the phrase “Saturation of oxygen is continuously monitored by a clip attached to the finger, and the pulse rate is monitored.”.

11) 2.4: how is this done? Please elaborate.

Answer⇒We added the phrase “The examiner holds a pupillometer over one of the patient’s eyes. After the patient opens their eyes, the examiner presses a button (Figure 1A) on the pupillometer, and measurement starts automatically. Maximum (initial) resting pupil size (MAX) and minimum pupil size after light stimulation (MIN) are automatically measured, and the constriction pupil size ratio (%constriction, [MAX-MIN]/MAX expressed as a percentage) is automatically calculated. The duration of light emission is 800 ms, and the required data can be obtained within 1 second. If the patient is unable to keep their eyes open, the examiner assists by holding the eyelid open. Although anesthetists typically measure the pupillary diameter or light reflex of patients before surgery in the operating room, cooperation with patients is needed before anesthesia induction.”.

12) 3.3: Which tourniquet?

Answer⇒We added the phrase “A tourniquet belted at the thigh is tightened to 200 mmHg.”.

13) 3.2,3.4: Mention administration routes.

Answer⇒We added the phrase “via intravenous line”.

14) 4.1: What are the dosage units? What is the max and min range? How long is the

stimulation applied for?

Answer⇒We added the phrase “Conduct ECT via bitemporal electrode stimulation using an ECT instrument. The initial electrical stimulus dose (%) was set at half the value of each individual’s age. Maximum stimulus dose is 100 %. The electrical stimulation time is about 7-8 seconds.”.

15) 4.2: Please add more details to describe how this is done.

Answer⇒We added the phrase “Immediately after electrical stimulation, the examiner holds a pupillometer over one of the patient’s eyes. At this time, if the patient closes their eyes, the examiner keeps the patient’s eyelid open. The examiner presses the button, as in step 2.4, and maximum (initial) resting pupil size (MAX) or minimum pupil size after stimulation (MIN) is measured using an automated infrared pupillometer.”.

16) 4.4? how? Needs details.

Answer⇒We added the phrase “Measurement of ictal regularity, seizure time and greater postictal suppression using EEG by the psychiatrist (Figure 3)”.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Answer⇒We appreciated your suggestion. We rephrased.

• Figures:
1) Do you have explicit permission from NeuroOptics inc to use fig 1?

Answer⇒Yes. The images are presented with the explicit permission of NeurOptics Inc.

2) Fig 2: define error bars, sample sizes, ****,***

Answer⇒We added the phrase “Sidak’s multiple-comparison post hoc test was utilized for two-way analysis of variance. ***p < 0.001, ****p < 0.0001.”.

• References:Please spell out journal names.

Answer⇒We wrote. Could you tell me how?

• Commercial Language:JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are Thymatron IV system (Somatics),

Answer⇒We rewrote.

1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

Answer⇒We added the phrase.

• Table of Materials:Please revise the table of the essential supplies, reagents, and equipment. The table should include the name, company, and catalog number of all relevant materials/software in separate columns in an xls/xlsx file. Please include items such as EEG, electric stimulator, pulse ox, etc.

Answer⇒We added the products in xls.

• Please define all abbreviations at first use.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

Answer⇒We added the supplement file.

Comments from Peer-Reviewers: 

Please note that the reviewers raised some significant concerns regarding your method and your manuscript. Please revise the manuscript to thoroughly address these concerns. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.


Reviewer #1:

Manuscript Summary:
The authors present an interesting method to measure pupillary response and pupillary mydriasis as an indicated of brain damage.

Major Concerns:
JOVE manuscripts tend to be very detailed, methodology-driven, manuscripts. This paper lacks these details. For instance more details were given about ECT, than measurement of pupil size

Answer⇒We added the phrase as pointed by editor and reviewers.

Minor Concerns:
A video would help


Reviewer #2:

Manuscript Summary:
Authors employed the pupillary responses for assessment of adequate seizure induction, and then calculated the constriction ratio. It was shown that pupillary responses immediately after electrical stimulation provide a precise assessment of the efficacy of seizure induction with electroconvulsive therapy. Research topic is interesting and meaningful. However, some major issues should be considered by authors.

Major Concerns:
1. How many patients were evaluated in this test? Authors should clarify this issue.

Answer⇒We added the phrase “We reported the relationship between the pupillary response and efficacy of ECT using this device among 13 patients (Figure 3, this figure has been modified from reprinted from Shirozu, K. et al. The relationship between seizure in ECT and pupillary response using an automated pupilometer. J Anesth. 10.1007/s00540-018-2566-9, [2018]).9”.

2. The description of ECT procedure is quite briefness, authors should describe more details.

Answer⇒We added the phrase as pointed by editor and reviewers.

3. I don't understand the definition of "constriction ratio", which is a key factor of this paper.

Answer⇒We added the phrase “Maximum (initial) resting pupil size (MAX) and minimum pupil size after light stimulation (MIN) are automatically measured, and the constriction pupil size ratio (%constriction, [MAX-MIN]/MAX expressed as a percentage) is automatically calculated.”.

4. In this paper, I didn't find the conclusion about how ECT therapy affects seizure induction by reflecting on pupillary responses.

Answer⇒We appreciated your suggestion. We wrote the phrase “we found that pupillary diameter was not changed after light stimulation, remaining enlarged when adequate seizure was induced.” In introduction and “We reported the relationship between the pupillary response and efficacy of ECT using this device among 13 patients (Figure 3, this figure has been modified from reprinted from Shirozu, K. et al. The relationship between seizure in ECT and pupillary response using an automated pupilometer. J Anesth. 10.1007/s00540-018-2566-9, [2018]).9 As shown in Figure 3A, pupillary diameter is enlarged after electrical stimulation. However, significant differences in constriction by the light reflex were caused immediately after electrical stimulation, reflecting differences in seizure efficacy induced by ECT (Figure 3B).” in results.”.


Reviewer #3:

Manuscript Summary:
Pupillary responses (light reflex) were measured for assessment of adequate seizure induction by electroconvulsive therapy using an automated infrared pupillometer immediately after electrical stimulation. Constriction ratio was calculated and compared with seizure quality.

Minor Concerns:

1. In protocol, pulse rate or heart rate should be monitored and mentioned

Answer⇒We added the phrase.

2. Line 148, 176, 177 says" either maximum or minimum pupilary diameter is measured.".but I think both are measured to calculate constriction ratio

Answer⇒We appreciated your suggestion. We added the phrase “2.4.  The examiner holds a pupillometer over one of the patient’s eyes. After the patient opens their eyes, the examiner presses a button (Figure 1A) on the pupillometer, and measurement starts automatically. Maximum (initial) resting pupil size (MAX) and minimum pupil size after light stimulation (MIN) are automatically measured, and the constriction pupil size ratio (%constriction, [MAX-MIN]/MAX expressed as a percentage) is automatically calculated.”.

3. Lines 165, 166 & 167 regarding IPPV are not very clear. Please elaborate

Answer⇒We added the phrase “After spontaneous breathing of patients ceases, the anesthesiologist performs controlled ventilation using a face mask with 100% oxygen without intubation. Perform ventilation from the point at which end-tidal carbon dioxide is 30 mmHg until electrical stimulation.10 After BIS value begins to increase, the anesthesiologist stops ventilation and psychiatrists start the ECT procedure.”.

4. Lines 213, 214 says criteria for adequate Adequate seizure status was determined using the criteria described above. But there are no criterias anywhere

Answer⇒We appreciated your suggestion. We wrote the phrase “we found that pupillary diameter was not changed after light stimulation, remaining enlarged when adequate seizure was induced.” In introduction and “We reported the relationship between the pupillary response and efficacy of ECT using this device among 13 patients (Figure 3, this figure has been modified from reprinted from Shirozu, K. et al. The relationship between seizure in ECT and pupillary response using an automated pupilometer. J Anesth. 10.1007/s00540-018-2566-9, [2018]).9 As shown in Figure 3A, pupillary diameter is enlarged after electrical stimulation. However, significant differences in constriction by the light reflex were caused immediately after electrical stimulation, reflecting differences in seizure efficacy induced by ECT (Figure 3B).” in results.

Sincerely,

Kazuhiro Shirozu, M.D., Ph.D.

********************************************

Department of Anesthesiology and Critical Care Medicine, Kyushu University,

3-1-1 Maidashi, Higashi-ku, Fukuoka, 812-8582 Japan

Phone: +81-92-642-5714

Fax: +81-92-642-5722

email: shiron@kuaccm.med.kyushu-u.ac.jp