# Submission ID #: 59545

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18161273

Title: Quantification of Proliferating Human Antigen-Specific CD4+ T Cells Using Carboxyfluorescein Succinimidyl Ester

Authors and Affiliations: Anthony R. Di Carluccio1, Eleonora Tresoldi1, Michelle So1, and Stuart I. Mannering1,2

1Immunology and Diabetes Unit, St. Vincent’s Institute of Medical Research

2Department of Medicine, University of Melbourne, St. Vincent’s Hospital

# Corresponding Author:

# Anthony R. Di Carluccio

# adicarluccio@svi.edu.au

Email addresses for Co-authors:

etresoldi@svi.edu.au

mso@benaroyaresearch.org

smannering@svi.edu.au

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

2.1.-2.3., 3.2., 3.4., 3.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

5.1. would be the the most technically challenging step, especially to users without FACS experience.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Anthony Di Carluccio: This method provides a platform for studying CD4+ T cell responses that are often weak and difficult to detect [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Anthony Di Carluccio: This protocol allows the detection, enumeration, and isolation of CD4+ T cells without knowledge of their antigen presentation, allowing the analysis of rare CD4+ T cells associated with autoimmune responses [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by St. Vincent’s Hosptial.

# Section - Protocol

- Whole Blood Peripheral Blood Mononuclear Cell (PBMC) Preparation

  - Upon obtaining the peripheral blood sample from a healthy donor, dilute the blood in PBS at an at least 1:2 ratio [1] before layering 35 milliliters of blood over 15 milliliters of density gradient medium in a 50-milliliter tube [2].

    - WIDE: Talent adding PBS to blood, with PBS container visible in frame

    - CU: Diluted blood being layered over density gradient medium.

  - Separate the cells by density gradient centrifugation [1-TXT] and remove approximately 20 milliliters of the resulting top plasma layer [2].

    - MED: Talent placing tube(s) into centrifuge TEXT: 15 min, 850 x g RT, w/o deceleration

    - CU: Shot of layers, then plasma being removed

  - Then collect the white blood cell layer, taking care to avoid the red blood cell pellet [1] and wash the cells three times in fresh PBS [2-TXT].

    - CU: WBC layer being collected

    - MED: Talent adding PBS to cells TEXT: 5 min, 550 x g, RT, x3

    - [Added Shot] Centrifugation shot.

- CD4+ T Cell Preparation

  - After counting, dilute the cells to a 1x106 peripheral blood mononuclear cell, or PBMC (P-B-M-C)/milliliters of PBS concentration [1] and add 300 microliters of cells for each control into individual 10-milliliter tubes [2].

    - WIDE: Talent adding PBS to tube, with PSB container visible in frame

    - MED: Talent adding sample to 10-mL tube

  - After topping each tube with PBS, sediment the cells by centrifugation [1-TXT] and resuspend the cells at 1 x 106 cells/milliliter of RP-5 (R-P-five) medium concentration [2].

    - MED: Talent adding tube(s) to centrifuge TEXT: 5 min, 550 x g, RT

    - CU: Shot of pellet(s) if visible, then one pellet being resuspended, with medium container label visible in frame. Author comment: Take 1= just pellet. Takes 2 and 3 = both pellet and resuspension.

  - Then plate 100 microliters of cells per control to each of three wells of a 96-well plate containing 100 microliters of RP-5 medium per well [1] and place the plate in the cell culture incubator for 7 days [1].

    - MED: Talent adding cells to well(s)

    - MED: Talent placing cells into incubator

  - Next, transfer the remaining PBMC into a new 50-milliliter tube [1] and add 1 microliter of CFSE (C-F-S-E) working stock solution per 1 milliliter of cell suspension to the side of the tube [2-TXT].

    - MED: Talent adding PBMC to tube

    - CU: CFSE being added to side of tube, with CFSE container label visible in frame TEXT: CFSE: carboxyfluorescein succinimidyl ester. Author comment: Rolling of tube included in this shot, removed inverting tube from original 3.5.1.

  - Quickly invert the tube several times to mix [1] and place the cells in the cell culture incubator for 5 minutes [2].

    - MED: Talent placing tube into incubator

  - At the end of the incubation, arrest the reaction with 5 milliliters of RP-5 medium [1] and collect the cells by centrifugation [2].

    - CU: Medium being added to cells, with medium container label visible in frame

    - MED: Talent placing tube(s) into centrifuge

  - Resuspend the pellet at 1 x 106 PBMC/milliliter of fresh RP-5 medium [1] and add 1 milliliter of cells to one 10-milliliter tube per antigen to be tested [2].

    - CU: Shot of pellet if visible, then medium being added to tube, with medium container label visible in frame

    - MED: Talent adding cells to tube(s)

  - Then add 100 microliters of cells to each of three wells per antigen of a 96-well plate well containing 100 microliters of RP-5 medium supplemented with the diluted antigen of interest per well [1] and place the plate in the cell culture incubator for 7 days [2].

    - MED: Talent adding cells to wells, with antigen container(s) visible in frame

    - MED: Talent placing plate into incubator

- CD4+ T Cell Labeling

  - To stain the CD4 (C-D-four)-positive T cell populations for flow cytometric analysis, at the end of the culture, transfer the entire volume of cells from each well into individual fluorescence-activated cell sorting, or FACS (facks), tubes [1] and wash each sample with 1 milliliter of PBS supplemented with 0.1% fetal calf serum, or FCS (F-C-S) [2].

    - WIDE: Talent adding cells to tube(s), with 96-well plate(s) visible in frame

    - MED: Talent adding PBS +FCS to tube(s), with PBS + FCS container visible in frame

    - [Added Shot] Talent adding tubes to centrifuge

  - Resuspend the pellets in an appropriate anti-human CD4 antibody in 100 microliters of PBS plus FCS per tube [1-TXT] and incubate the cells at 4 degrees Celsius for 20 minutes protected from light [2].

    - CU: Antibody being added to tube, with stock antibody container label visible in frame TEXT: Set aside unstained CFSE-labeled sample for CFSE compensation

    - MED: Talent placing tube(s) on ice/at 4 °C

  - At the end of the incubation, wash the samples in 1 milliliter of fresh PBS plus FCS per tube [1] and resuspend the pellets in 100 microliters of fresh PBS plus FCS [2].

    - MED: Talent placing tube(s) into centrifuge

    - CU: Shot of pellet(s) if visible, then PBS + FCS being added to tube, with PBS + FCS container label visible in frame

- Flow Cytometric Analysis

  - Immediately before the analysis, add 1 microliter of propidium iodide to each tube to allow exclusion of the dead cells [1] and gate the lymphocytes according to their forward and side scatter areas [2].

    - WIDE: Talent adding PI to tube(s), with PI container visible in frame

    - LAB MEDIA: Figure 1A: JoVE Video Editor please emphasize gate

  - To exclude the apoptotic cells, gate the forward scatter area versus propidium iodide-negative cells [1] and use the unstained cells to set a voltage baseline for the non-fluorescent cells [2].

    - LAB MEDIA: Figure 1B: JoVE Video Editor please emphasize gate

    - MED: Talent loading tube onto cytometer

  - Set the voltages for the CD4 antibody fluorophore and the CFSE signal so that the fluorescence signal is below 1,000 for each [1] and use the single-color control CFSE [2] and CD4 samples to confirm a positive fluorescent signal for each color using the voltages set with unstained cells [3].

    - LAB MEDIA: Figure 1C: JoVE Video Editor please emphasize cell cluster

    - LAB MEDIA: Figures 1D and 1E: JoVE Video Editor please emphasize cell cluster in Figure 1D

    - LAB MEDIA: Figures 1D and 1E: JoVE Video Editor please emphasize top cell cluster in Figure 1E

  - As CFSE and propidium iodide have some spectral overlap, adjust the compensation [1] to subtract the propidium iodide fluorescence from the CFSE fluorescence until the CFSE-only sample does not yield a signal in the propidium iodide channel [2].

    - MED-over the shoulder: Talent at cytometer, adjusting compensation

    - SCREEN: To be provided by Authors: PI being subtracted

  - When all of the samples have been analyzed, calculate the cell division index by dividing the number of divided cells by 5000 undivided cells from the antigen-stimulated group [1] by the mean number of divided cells per 5,000 undivided cells from the cells cultured without antigen [2].

    - LAB MEDIA: Table 2: JoVE Video Editor: please emphasize Number of divided cells CFSEdim/5000 CFSE bright column

    - LAB MEDIA: Table 2: JoVE Video Editor: please emphasize Mean divided cells CFSEdim/5000 CFSE bright column

# Section – Results

- Results: Representative CFSE-Labeled, Activated CD4+ T Cell Proliferation

  - Almost all donors demonstrate a strong T cell response to tetanus toxoid after in vitro stimulation because the donors have been vaccinated, making tetanus toxoid a useful positive control antigen [1].

    - LAB MEDIA: Figures 2D, 2E, and 2F: JoVE Video Editor please emphasize top left gate/cells in top left gate

  - The proliferation of CD4-positive T cells from unstimulated PBMCs is minimal, however [1].

    - LAB MEDIA: Figures 2A, 2B, and 2C: JoVE Video Editor please emphasize top left gate/cells in top left gate

  - After 7 days of stimulation with human proinsulin C-peptide, proinsulin C-peptide-specific CD4-positive T cells can be detected in the peripheral blood of an individual with type 1 diabetes [1].

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize top left gate in in C-peptide dot plot/cells in top left gate

  - PBMCs stimulated with influenza A virus matrix protein also demonstrate proliferation [1]. Taken together, these data demonstrate that the assay can be performed using full-length proteins as well as short synthetic peptides [2].

    - LAB MEDIA: Figure 4: JoVE Video Editor please emphasize top left gate in Flu M1 dot plot/cells in top left gate

    - LAB MEDIA: Figure 4

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Anthony Di Carluccio: The FACS component can be performed on a cell sorting flow cytometer and the CFSE-dim antigen-specific T cells can be isolated at the single cell level for further analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Anthony Di Carluccio: This method has allowed the discovery of CD4+ T cell responses in individuals with early onset Type 1 Diabetes. Analysing these rare T cells can be challenging using other methods [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera