# Submission ID #: 59547

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18161883

Title: A Multi-Omics Extraction Method for the In-Depth Analysis of Synchronized Cultures of the Green Alga Chlamydomonas reinhardtii

Authors and Affiliations:  Umarah Mubeen1, Lais Albuquerque Giraldi1, Jessica Jüppner1, and Patrick Giavalisco1,2

1Max Planck Institute of Molecular Plant Physiology

2Max Planck Institute of Biology of Ageing

# Corresponding Author:

Umarah Mubeen

# Mubeen@mpimp-golm.mpg.de

Email addresses for Co-authors:

laisgiraldi@gmail.com

jessica.jueppner@hotmail.de

giavalisco@age.mpg.de

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.1.-2.6.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Umarah Mubeen: System-wide studies are crucial for an in-depth understanding of biological functions. However, multiple independent samples are required for different omics platforms, introducing high amount of variability to the data [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Umarah Mubeen: This method offers a robust and high throughput strategy for the simultaneous extraction of chlorophyll, lipids, metabolites, proteins, and starch from a single sample of the green alga Chlamydomonas reinhardtii [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Umarah Mubeen: Demonstrating the procedure with me will be Gudrun Wolter and Änne Michaelis, technicians from our laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Chlorophyll, Lipid, and Metabolite Extraction and Fraction Allocation

  - For chlorophyll, lipid, and metabolite extraction, arrange the tubes of harvested Chlamydomonas cell pellets in liquid nitrogen [1-TXT] and resuspend the pellet in each tube with 1 milliliter of minus twenty-degree extraction buffer one [2-TXT].

    - WIDE: Talent placing tube(s) into liquid nitrogen TEXT: See text for cell harvest details

    - MED: Talent resuspending pellet in extraction buffer TEXT: See text for all solution preparation details

  - To avoid evaporation of the low viscosity extraction buffer, quickly vortex the tubes until the cells are well homogenized within the extraction mixture [1] and aliquot the solution into 2-milliliter microcentrifuge tubes [2].

    - MED: Talent vortexing tube(s)

    - MED: Talent adding mixture to tube(s)

  - Sonicate the cultures in a sonication bath in ice-cooled water for 10 minutes [1] before incubation on an orbital shaker at 1000 rotations per minute for 60 minutes at 4 degrees Celsius [2].

    - CU: Culture(s) being sonicated

    - MED: Talent placing tube(s) onto shaker

  - At the end of the incubation, add 650 microliters of extraction buffer two [1] and briefly vortex the samples before centrifugation [3-TXT].

    - MED: Talent adding buffer to tube(s), with buffer container visible in frame

    - CU: Sample being vortexed TEXT: 5 min, 20,000 x g, 4 °C

  - To aliquot the fractions, transfer 500 microliters of the upper MTBE (M-T-B-E)-lipid phase into a labeled 1.5-milliliter tube [1-TXT].

    - MED: Talent adding layer into tube TEXT: MTBE: methyl tert-butyl ether

  - Use a 200-microliter pipette to remove the lipid-phase [1] and transfer 650 microliters of the lower, polar, and semi-polar metabolite phase into new labeled tubes [2].

    - CU: MTBE-phase being removed

    - CU: Lower phase being added to tube(s), with label(s) visible in frame as possible

  - Aspirate the excess volume to remove the remaining lower phase [1] and freeze the solid pellets in liquid nitrogen for minus 80-degree storage [2].

    - CU: Lower phase being aspirated

    - MED: Talent freezing sample

- Polar (Primary) and Non-Polar (Lipid) Metabolite and Chlorophyll Content Determination

  - For polar metabolite determination, resuspend the dried pellet of the polar phase in methoxyamine-hydrochloride-pyridine solution for methoxymization of the carbonyl groups [1] and heat the samples at 30 degrees Celsius for 90 minutes [2].

    - WIDE: Talent resuspending pellet, with solution container visible in frame

    - MED: Talent placing tube(s) at 37 °C

  - At the end of the incubation, derivatize the samples with N-methyl-N-trimethylsilyltrifloracetamide for 30 minutes at 37 degrees Celsius according to standard protocols [1] and use gas chromatography coupled to time-of-flight mass spectrometry to analyze the primary metabolites [2-TXT].

# MED: Talent placing sample(s) for derivatization Author comment: Shot combined with the one above as it is derivatization

    - Transfer the derivatized samples to the glass vials

    - MED: Talent loading sample onto spectrometer TEXT: See text for full derivatization/GC-TOF-MS details

# MED: looking at the monitor (GCMS chromatogram) Author comment: chromatogram screenshot to be provided.

  - For non-polar metabolite determination, re-suspend the dried pellet of the non-polar phase in a mixture of 7:3 volume to volume acetonitrile:isopropanol [1] and sediment the pellets by centrifugation [2-TXT].

    - MED: Talent adding acetonitrile:isopropanol to tube(s), with acetonitrile:isopropanol container visible in frame

    - MED: Talent adding tube(s) to centrifuge TEXT: 5 min, 20,000 x g, RT

    - Transfer the derivatized samples to the glass vials

  - Then separate the samples on a reverse phase C8 column on an ultra performance liquid chromatography system [1-TXT].

    - MED: Talent adding sample to LCMS system TEXT: See text for full UPLC separation details

    - 3.2.2.	MED: looking at the monitor (LCMS chromatogram )

  - Mix 100 µL of the MTBE-phase with 900 µL of 90% methanol for a method blank as well as the experimental samples.

    - MED: Talent adding MTBE-phase to methanol, with 90% methanol container visible in frame

  - Then measure the absorbance on a spectrophotometer at 665- and 652-nanometer wavelengths to distinguish between chlorophyll a and chlorophyll b [1] and calculate the chlorophyll a and b content and the total chlorophyll content [2-TXT].

    - MED: Talent loading sample onto spectrophotometer

    - MED-over the shoulder: Talent at computer, calculating content, with monitor visible in frame TEXT: See text for chlorophyll content calculation details

- Protein Content, Digestion, and Analysis Extraction and Determination

  - For protein extraction, dissolve the lower phase pellet in 200 microliters of protein buffer [1] and incubate the sample at room temperature for 30 minutes.

    - WIDE: Talent adding protein buffer to tube, with protein buffer container visible in frame

  - At the end of the incubation, centrifuge the sample [1-TXT] and transfer the protein-containing supernatant to a new tube [2].

    - MED: Talent placing tube(s) into centrifuge TEXT: 5 min, 20,000 x g, RT

    - CU: Supernatant being added to tube

  - To determine the protein concentration by Bradford assay, reduce 50 micrograms of the sample in 5-millimolar dithiothreitol for 30 minutes [1] followed by alkylation with 10-millimolar iodoacetamide for 30 minutes at room temperature protected from light [2].

    - MED: Talent adding DTT to tube, with DTT container visible in frame

    - CU: Iodoacetamide being added to tube, with iodoacetamide container label visible in frame

  - At the end of the alkylation, mix Trypsin-Lys-C solution at a 25:1 protein:protease ratio [1] and incubate the sample for 3 hours at 37 degrees Celsius [2].

    - MED: Talent mixing solution, with trypsin-lys-C container visible in frame

    - MED: Talent placing sample at 37 °C

  - Dilute the samples six-fold in 50-millimolar TrisHCl (triss-H-C-L) for an overnight incubation at 37 degrees Celsius [1].

    - MED: Talent adding TrisHCL to tube, with TrisHCL container visible in frame

  - The next morning, terminate the digestion with trifluoroacetic acid to a final concentration of 0.5-1% [1].

    - MED: Talent adding acid to tube, with acid container visible in frame

  - After the digestion, concentrate the samples to near dryness, leaving 2-5 microliters of solution in a vacuum concentrator without heating [1].

    - CU: Shot of nearly-dried sample

  - Resuspend the sample in loading buffer [1] and analyze the peptide mixtures by liquid chromatography-tandem mass spectrometry using a high-resolution mass spectrometer connected to a nano-ultra pressure liquid chromatography system [2].

    - MED: Talent adding loading buffer to sample

    - MED: Talent loading sample onto instrument

  - To separate the peptides, load 4 microliters of sample onto a 20-centimeter reverse phase charged surface hybrid column with an inner diameter of 75 micrometers and a particle size of 1.7 micrometers [1].

    - MED: Talent setting system parameters

  - Use partial loop-offline settings with an isocratic gradient set at 3% of buffer B held for 14 minutes [1] before the loop is shifted to the online position with the column, after which the gradient will be increased linearly for 50 minutes until 20% buffer B is reached [2].

    - MED: Talent at system, setting offline parameters, with monitor visible in frame

# Section – Results

- Results: Representative Synchronized Culture Analyses

  - A shift in the cell volume can be observed as the cells grow in size throughout the light phase [1], followed by the release of daughter cells starting at the end of light phase from 10 hours [2].

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize 0-8 h graphs

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize 10 h graph

  - Once all of the daughter cells have been released, a shift in the cell volume can be observed as the newly released daughter cells are disposed to begin the next cycle [1].

    - LAB MEDIA: Figure 1: JoVE Video Editor please emphasize 12-14 h graphs

  - Based on the gas chromatography-mass spectrometry analysis of the polar fraction, in this representative experiment, 65 metabolites were annotated [1].

    - LAB MEDIA: Figure 2A GCMS graph

  - The liquid chromatography-mass spectrometry analysis of the lipid-containing neutral phase led to the identification of 204 distinct lipid species, covering various lipid classes [1].

    - LAB MEDIA: Figure 2A LCMS graph

  - Principal component analysis can be used to visualize global shifts in the metabolites and lipids across the cell cycle [1], with a separation of light [2] and dark phases [3], as well as semi-cyclic phases observed for both metabolomics and lipidomic data [4].

    - LAB MEDIA: Figure 3B

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize 0-8 data points in both graphs

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize 10-24 data points in both graphs

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize break in circles between 8 and 10 h data points

  - Here an overview of the functional enrichment of 2463 identified, enriched proteins is shown [1].

    - LAB MEDIA: Figure 4A

  - The remaining pellet after protein extraction can be used for reproducible quantification of the starch, as indicated by the low standard deviation among various replicates [1].

    - LAB MEDIA: Figure 4B

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Umarah Mubeen: (Step: 2.2., 2.5.) It is important to avoid drying of the upper, chlorophyll-containing phase, as this can influence the dissolved chlorophyll levels in the solvent, affecting the normalization factor for the samples [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Umarah Mubeen: Various analytical procedures can be implemented for the biochemical characterization of the extracted molecular species [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera