# Submission ID #: 59550

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18162798

# Title: Droplet Digital TRAP (ddTRAP): Adaptation of the Telomere Repeat Amplification Protocol to Droplet Digital Polymerase Chain Reaction

# Authors and Affiliations: Mohammed E. Sayed1, Aaron L. Slusher1, Andrew T. Ludlow1

1School of Kinesiology, University of Michigan, Ann Arbor, MI, USA

# Corresponding Author:

# Andrew T. Ludlow

# atludlow@umich.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Generating the droplets and the analysis are the most critical steps. That being said, 3.3, 3.4, 3.5, 3.6, 4.4, 4.5 and 4.6 would be the 6 steps that we consider the most important.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Generating high quality droplets (greater than or equal to 10,000) is critical and often requires careful and precise pipetting skills. Therefore, steps 3.2 and 3.3 are the most difficult.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Mohammed E. Sayed: The ddTRAP assay provides the ability to obtain a sensitive, robust and highly quantitative measurement of telomerase enzymatic activity in cells [1].

    - INTERVIEW

  - Mohammed E. Sayed: The ability to run up to 96 samples per run in medium throughput fashion offers us a great advantage. We can run the controls and replicates for proper statistical analysis on data collected [1].

    - INTERVIEW

# Section - Protocol

- Cell Lysis and Telomerase Extension Reaction

  - Immediately prior to cell lysing, thaw a frozen aliquot of NP-40 lysis buffer [1]. Once thawed, place the lysis buffer on ice [2]. Add PMSF protease inhibitor to the NP-40 lysis buffer to reach a final concentration of 0.2 millimolar [3-TXT].

    - WIDE: Talent takes out the buffer and puts on a surface.

    - MED: Talent places the thawed buffer on ice.

    - MED: Talent adds solution into buffer. TEXT: PMSF: phenylmethylsulfonyl fluoride

  - Then, add 40 microliters of the lysis buffer to the tube containing a cell pellet to reach a cell equivalence of 25,000 cells per microliter. Gently pipet the lysate up and down in order to break open the cells [1]. Try to avoid making bubbles [2].

    - CU: Talent adds buffer into a tube, and pipets up and down. Videographer: Take multiple shots, as this will be used later.

    - ECU: Talent shows the tube without bubbles.

  - Allow the cells to lyse on ice for 30 minutes [1]. Gently vortex the lysate every 10 minutes [2] to prevent clusters of cell debris from forming [3].

    - MED: Talent places the tube on ice. Videographer: Take multiple shots, as this will be used later.

    - MED: Talent takes out the tube from the ice to vortex.

    - CU: Talent shows the tube with homogenized mixture and puts back to ice.

  - During the cell lysis, prepare a master mix in a microcentrifuge tube [1] for the telomerase extension reaction [2-LM], and store on ice [3]. After the cell lysis, pipet 48 microliters of extension master mix into each PCR tube [4].

    - MED: Talent prepares solution.

    - Table 1. Video editor: emphasize cell A2-C6

    - MED: Talent places the microcentrifuge tube on ice.

    - MED: Talent pipets mixture into PCR tubes.

  - Add 2 microliters of diluted lysate to each PCR tube to reach a final cell equivalence of 50 cells per microliter and continue the telomerase extension reaction according to the manuscript [1-TXT].

    - CU: Talent adds solution into PCR tubes. TEXT: 1,250 cells/µL -> 50 cells/µL

- Droplet Digital PCR Setup

  - Prepare a master mix in a microcentrifuge tube for the ddTRAP [1-LM], and keep it at room temperature [2]. Pipet 19.8 microliters of ddPCR master mix into each PCR tube [3].

    - Table 3. Video editor: emphasize cell A2-C6

    - MED: Talent places the tube on a surface.

    - MED: Talent pipets solution into PCR tubes.

  - Add 2.2 microliters of the previous extension reaction solution to each tube [1], leaving a total volume of 22 microliters [2].

    - MED: Talent transfers solution from PCR tubes into other PCR tubes.

    - CU: Shot of solution in the tube.

  - To set up the droplet generation cartridge, first load 20 microliters of the prepared solution into the middle sample well in the cartridge [1]. Gently tap the side of the cartridge to move any bubbles to the top of the solution [2]. All wells of the cartridge must be loaded with sample prior to loading oil [3].

    - MED: Talent loads solution into cartridge.

    - CU: Talent taps the cartridge. Close up of the solution and any bubbles.

    - MED: Shot of the cartridge with sample.

  - Then, load 70 microliters of droplet generation oil into the left oil well [1]. Secure the gasket in place by tethering it to the ends of the cartridge [2], and place the loaded and assembled cartridge into the droplet generator [3].

    - MED: Talent loads oil into cartridge.

    - MED: Talent tethers the gasket to the cartridge.

    - MED: Talent places the cartridge into droplet generator.

  - The generator shows a solid green light to inform the cartridge is placed properly [1]. After 60 to 90 seconds, when the generator light stops blinking, the cycle is complete. Now remove the cartridge [2].

    - MED: Talent shows the solid green light.

    - MED: The generator indicates complete cycle, and the author removes the cartridge.

  - Gently remove the gasket from the cartridge [1]. Use a multichannel pipette to pipet approximately 40 microliters of the newly generated droplets from the right well into a 96-well PCR plate [2].

    - MED: Talent removes gasket.

    - MED: Talent transfers droplets into PCR plate.

  - Heat seal the plate with aluminum foil PCR plate seals once all the samples are loaded in the 96-well plate to prevent evaporation [1]. Then, load the 96-well plate into the thermocycler to perform PCR reaction [2].

    - MED: Talent seals the plate.

    - MED: Talent loads plate into thermocycler.

- Detection of Telomerase Extension Products and Data Analysis

  - To begin, load the 96-well plate in the droplet reader [1]. Orient the plate properly so that the A1 sample matches with that of the holder [2].

    - MED: Talent loads the plate into the reader.

    - CU: Shot of the plate in good orientation.

  - Open the software associated with the droplet reader [1]. Double-click the first well A1 to open the sample well editor screen [2]. Click Experiment and select the type of assay to be used from the drop-down menu [3].

    - MED: Talent operates on the computer.

    - SCREEN: Talent opens the sample/well editor.

    - SCREEN: Talent selects ABS.

  - Select QX200 (pronounce as Q-X-two-hundred) ddPCR Evagreen Supermix as the correct detection method [1]. Click Apply in the lower right-hand side of the well editor screen to save the user-defined settings to all of the highlighted wells [2].

    - SCREEN: Talent selects QX200.

    - SCREEN: Talent clicks Apply.

  - Next, click on TARGET in the well editor screen and click the TARGET drop-down menu to select either unknown, reference, or no-template control to define the TYPE of sample [1].

    - SCREEN: Talent selects TARGET and shows the three types.

  - In the Sample Name section, label all the samples, and click Apply [1]. Click Run to read the plate. Select either Columns or Rows in the RUN OPTIONS screen when prompted to inform about the orientation the plate should be read in [2].

    - SCREEN: Talent labels all samples.

    - SCREEN: Talent clicks Run and select orientation of the plate.

  - Determine the number of accepted droplets for each sample by double-clicking on individual wells or column and row headers to provide a table of information [1]. For the ddTRAP, samples with 10,000 or more accepted droplets are valid for further analysis [2].

    - SCREEN: Talent clicks on wells to show table, and click on column, row headers to show tables.

    - SCREEN: Talent points to wells with 10,000 or more accepted droplets.

  - Highlight the wells representing sample replicates and NTC (pronounce as N-T-C) samples [1]. Manually set the threshold for the samples by clicking on the icon for setting thresholds on the bottom left of the screen [2].

    - SCREEN: Talent highlights wells.

    - SCREEN: Talent sets threshold.

# Section – Results

- Results: Telomerase Activity

  - In this protocol, telomerase activity was measured in a cell panel consisting of the nine cell lines of lung cancer and telomerase-negative fibroblasts [1]. A threshold was set at around 2,000 fluorescence amplitude for all three biological replicates for SHP77 (pronounce as S-H-P-7-7), H2887 (pronounce as H-2-8-8-7), and NTC [2].

    - Figure 1A

    - Figure 1A – Video editor: emphasize the purple line.

  - Positive droplets had a fluorescence intensity around 6,000 fluorescence amplitude which formed a clear population at the top [1] and separate from negative droplets around 1,100 fluorescence amplitude [2].

    - Figure 1A – Video editor: emphasize the blue concentrated part at 6000.

    - Figure 1A – Video editor: emphasize the grey concentrated part at 1,100.

  - The total telomerase extension products per cell equivalent between all the samples were estimated from the measured concentration of the nucleic acids [1], which represents the telomerase activity in lung cancer lines [2].

    - Figure 1B– Video editor: emphasize the y axis.

    - Figure 1B

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Mohammed E. Sayed: Any RNAse contamination during lysis and/or extension reaction steps will destroy telomerase activity since it is a ribonucleoprotein complex [1] [2].

    - Use 2.2.1& 2.3.1

    - INTERVIEW

  - Mohammed E. Sayed: ddTRAP can be followed up with ddPCR on hTERT mRNA expression levels in the cell. The two datasets allows us to correlate expression of hTERT to telomerase activity and dig deeper into potential telomerase regulatory mechanism such as alternative splicing [1].

    - INTERVIEW

  - Mohammed E. Sayed: We can explore manipulations to specific splicing factors and their effects on telomerase activity. Currently, we are designing oligonucleotide splicing modulators as potential drugs targeting telomerase activity [1].

    - INTERVIEW