Date: 28. Feb. 2019

To,

JoVE Senior Review Editor

1 Alewife Center #200

Cambridge, MA 02140

TEL: +1-617-674-1888

Subject: Manuscript-JoVE59551

Dear Dr. Alisha Dsouza,

Thank you very much for your review of our manuscript entitled "Extraction of aqueous metabolites from cultured adherent cells for metabolomic analysis by capillary electrophoresis-mass spectrometry," for publication in JoVE.

We have modified the original manuscript according to the editorial members and reviewers’ comments and are submitting a revised manuscript for your consideration. We believe that this version of the manuscript has corrected the deficiencies of the original manuscript. We greatly appreciate the editorial members and reviewers for their insightful comments, which have helped us to improve the paper significantly.

The detailed line-by-line responses are provided below. We hope this revised version of our manuscript can be published in JoVE.

Sincerely yours,

Hideki Makinoshima, Ph.D.

6-5-1, Kashiwanoha, Kashiwa, Chiba, 277-8577, Japan

Division of Translational Informatics, Exploratory Oncology Research and Clinical Trial Center, National Cancer Center

E-mail: hmakinos@east.ncc.go.jp, TEL: +81-4-7134-8786

Line-by-line replies to the editorial commentsCancelSave

Editorial Comments:
• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

Response: Thank you very much for your comment. We carefully read our manuscript to ensure that there are no spelling or grammatical errors in the revised manuscript.

• Introduction: Please expand your Introduction to include the following: The advantages over alternative techniques with applicable references to previous studies; Description of the context of the technique in the wider body of literature; Information that can help readers to determine if the method is appropriate for their application.

Response: We thank the editorial members for careful reading of our manuscript.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

Response: We thank again the editorial members for reading our manuscript carefully and giving constructive comments on the manuscript. The detailed line-by-line replies are provided below.

1) 1 Note: what is the surface treated with? Please mention reagent and concentration used. Add to the table of materials as well.
Response: We thank the editorial members for raising this concern and we agree with it. Therefore, we have revised this sentence as follows.

NOTE: Each sample for metabolite extraction should be prepared from a single 100 mm tissue culture dish that is moderately but not fully confluent (containing approximately 2–5 million cells). We also added this material in the table.

2) 1.1: mention cell lines used here (or tested by you). Mention culture media and environmental conditions.

Response: We have added this sentence as follows.

1-1. Culture HCC827 and PC-9 cells in 5% CO2 at 37 °C in RPMI-1640 medium supplemented with 10% fetal bovine serum (FBS).

3) 1.4: Prewarmed to what temperature? Mention pipette tip size to avoid cell damage.
Response: We have revised this sentence as follows.

1-5. Warm 0.25% trypsin-EDTA solution to 37 °C and add 2 mL of trypsin-EDTA solution with 5 ml stripette. Gently rock each dish so that the trypsin completely covers the surface of the dish.

4) 1.9 what is the trypan blue concentration?
Response: We have revised this sentence as follows.

1-10. Determine the total number and percent viability of the cells using the automated cell counter and 0.4% trypan blue solution.

5) 2.1: define the composition of the internal standard solution 1
Response: This product is commercially available. Therefore, we have revised this sentence as follows.

2-1. Dilute the commercial internal standard solution 1000-fold in ultrapure water.

6) 2.2: provide concentration in mol/L or g/mL to avoid ambiguity.
Response: We have rewritten this sentence as follows.

2-2. Prepare a 0.05 g/mL mannitol solution in ultrapure water as wash buffer.

7) 4.3: is diamide diluted in DMSO? What is the DMSO concentration? Please provide examples of drug to be diluted in DMSO or PBS.

Response: Diamide was dissolved in PBS. Thus, we have revised this sentence as follows.

4-3. Add 10 mL of cell culture medium that includes the appropriate concentrations of compounds or drugs to each dish, taking care to not disturb the cell layer.

For demonstration purposes, we added 10 μL of 250 mM diamide dissolved in PBS (final concentration 250 μM) in this experiment.

8) 4.4: mention example of the appropriate time period.
Response: We have rewritten this sentence as follows.

4-4. Incubate the culture dishes at 37 °C for 30 min in the presence of diamide or PBS as a control.

9) 5.1: 100% methanol?
Response: We have revised this sentence as follows.

5-1. Add 800 μL of 99.7% methanol per culture dish.

10) 5.4: internal standard solution 1? Please clarify.

Response: This product is commercially available. The detail information is described in Material Table.

11) 7.3: What is the vacuum strength? For how long is evaporation performed?
Response: We have added this sentence as follows.

Note: Typical configurations for the number of rotations and pressure are 1,500 rpm and 1,000 Pa, respectively, and it usually takes approximately 3 h to completely evaporate the samples.

12) 8.2: Please describe the exact steps. Mention all software actions in detail. How is the analysis performed? Citing a reference is insufficient.
13) 8.3: Mention software button clicks and selections in detail.

Response: We thank the editorial members for raising this concern and we agree with it. However, the main focus of this article is on how to extract aqueous metabolites from cultured adherent cells for metabolomic analysis. Our study is designed to focus specifically on culturing and washing cells, treating cells with methanol, extracting metabolites, removing proteins and macromolecules this time. In addition, this CE-MS part is not filmed this time. Thus, we would like to keep the focus intact, but we have changed three sentences as following your suggestion.

1. We have deleted the sentence “setting up CE-MS metabolomic analysis” from Abstract.

2. We have revised the 8. Metabolomic analysis by CE-MS section as follows.

----------------------------------------------

8. Metabolomic analysis by CE-MS

8-1. Resuspend the filtrate in 50 μL of ultrapure water immediately before CE-MS analysis.

8-2. Perform CE-MS analysis by methods described previously12,13 using capillary electrophoresis system and time-of-flight mass spectrometer system equipped with an isocratic pump, a CE-MS adapter, and a CE-ESI-MS sprayer.

Note: Both systems can be controlled by the software of the system vendors and are connected by a fused silica capillary (50 μm internal diameter × 80 cm total length).

8-2-1. Set up instruments and sample vials, prepare the capillary with a capillary cassette, replenish sheath liquids and appropriate electrophoresis buffers depending on anion or cation analysis mode, and then apply voltages.

Note: Instrumentations and analytical conditions are described in detail elsewhere12,13.

8-2-2. Open the software and prepare a worklist containing data acquisition methods and sample information.

8-2-3. Start a test run and check the data such as the signal intensity and the peak shape of internal standards and the peak resolution of other standard compounds.

8-2-4. Fine-tune the analytical conditions if necessary.

8-2-5. Inject the sample solutions at 50 mbar for 3 s and a voltage of 30 kV.

Note: CE-MS was conducted either in the positive or negative ion mode. Set the spectrometer to scan the mass range m/z 50–1000The capillary voltage was set at 4 kV; the flow rate of nitrogen gas (heater temperature 300°C). For positive mode, the fragmentor, skimmer and OCT RFV voltage were set at 75, 50 and 125 V, respectively. For negative ion mode, the fragmentor, skimmer, and OCT RFV voltage was set at 100, 50, and 200 V, respectively.

8-3. Analyze spectrum data.

8-3-1. Extract peaks from the mass spectral data using automatic integration software in order to obtain peak information including m/z, peak area, and migration time (MT).

Note: The method is described in detail elsewhere14.

8-3-2. Exclude signal peaks corresponding to isotopomers, adduct ions, and other product ions of known metabolites.

8-3-3. Annotate remaining peaks with information from the HMT metabolite database according to m/z values and MTs.

8-3-4. Normalize areas of the annotated peaks to internal standard levels and numbers of cells per sample.

8-3-5. Evaluate the concentration of each metabolite in the cultured cells (pmol/106 cells) using standard curves prepared for each metabolite.

8-3-6. Use the quantified metabolite concentrations for subsequent statistical analyses and biological interpretations14.

----------------------------------------------

3. We have added the sentence “In this paper we could not describe how to set up CE-MS in detail because the focus of the present manuscript is different, however describing detailed steps to set up CE-MS may require a separate dedicated article.” in Discussion.

• Protocol Highlight: Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps. Please see JoVE’s instructions for authors for more clarification. Remember that the non-highlighted protocol steps will remain in the manuscript and therefore will still be available to the reader.
1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.

2) The highlighted steps should form a cohensive naarative, that is, there must be a logical flow from one highlighted step to the next.
3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.
4) Notes cannot be filmed and should be excluded from highlighting.
5) Please bear in mind that theory/calculations cannot be filmed.

Response: I have highlighted protocol step which will be filmed in yellow.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Response: Thank you very much for this comment.

• Figures:
1) Please remove the text “Maruyama et al… from all figures”
Response: We have removed the text from all figures.

2) Fig 1: Change “hrs” to “h”
Response: We have changed “hrs” to “h”.

3) Fig 2: Axis ticks and labels are too small to read.
Response: We have re-labeled the axis ticks.

• References: Please spell out journal names.

Response: We have corrected it.

• Commercial Language: JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are Countess™ Automated Cell Counter (Invitrogen, H3304-1002, Human Metabolome Technologies (HMT), Milli-Q, UltrafreeMC-PLHCC 250/pk, Agilent 7100 CE, Agilent 6210, 1100 isocratic HPLC pump, G1603A CE-MS adapter kit, and G1607A CE-ESI-MS sprayer kit (Agilent Technologies, G2201AA ChemStation software version B.03.01 for CE (Agilent Technologies), H3301-1001, H3302-1021, HMT, MasterHands,
1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

2) Please remove the registered trademark symbols TM/R from the table of reagents/materials.

Response: We revised the words containing commercial sounding language to generic names.

• Table of Materials:
1) Please revise the table of the essential supplies, reagents, and equipment. The table should include the name, company, and catalog number of all relevant materials/software in separate columns in an xls/xlsx file. Please include items such as cell lines, filters, software etc
2) Sort items in alphabetical order based on Name of material.
Response: We updated the table and sorted items in alphabetical order.

Line-by-line replies to the Peer-reviewers’ comments

Reviewer #1: 
Manuscript Summary:
In this study, the authors applied the capillary electrophoresis- mass spectrometry (CE-MS) to analyze the cells subjected to diamide treatment. They used two cell lines, namely HCC827 and PC-9 in their study. They found that a number of metabolites related to pentose phosphate pathway increased in abundance in these cells after treatment.
Major Concerns:
This manuscript should have focused on the CE-MS analysis which is more eye catching to the scientist of the field. Instead, the authors described the procedures of cell cultivation and methanolic extraction in detail. These procedures can be easily performed by most scientists. It is better to add more details about CE-MS analysis, such as preparation of capillary; preparation of running buffer; preparatory work involved in interfacing between CE and MS; running conditions of CE and MS; peak picking; and data analysis. Such information is more useful to any analytical scientists working in the field.
Response: We agree with the reviewer that it would be interesting to show the details on how to use CE-MS. However, the main focus of this article is on how to extract aqueous metabolites from cultured adherent cells for metabolomic analysis. This study was designed to focus specifically on culturing and washing cells, treating cells with methanol, extracting metabolites, removing proteins and macromolecules this time. Thus, we would like to keep the focus of the paper intact, but we have changed three sentences as following reviewers’ suggestion.

1. We have deleted the sentence “setting up CE-MS metabolomic analysis” from Abstract.

2. We have revised the 8. Metabolomic analysis by CE-MS section as follows.

----------------------------------------------

8. Metabolomic analysis by CE-MS

8-1. Resuspend the filtrate in 50 μL of ultrapure water immediately before CE-MS analysis.

8-2. Perform CE-MS analysis by methods described previously12,13 using capillary electrophoresis system and time-of-flight mass spectrometer system equipped with an isocratic pump, a CE-MS adapter, and a CE-ESI-MS sprayer.

Note: Both systems can be controlled by the software of the system vendors and are connected by a fused silica capillary (50 μm internal diameter × 80 cm total length).

8-2-1. Set up instruments and sample vials, prepare the capillary with a capillary cassette, replenish sheath liquids and appropriate electrophoresis buffers depending on anion or cation analysis mode, and then apply voltages.

Note: Instrumentations and analytical conditions are described in detail elsewhere12,13.

8-2-2. Open the software and prepare a worklist containing data acquisition methods and sample information.

8-2-3. Start a test run and check the data such as the signal intensity and the peak shape of internal standards and the peak resolution of other standard compounds.

8-2-4. Fine-tune the analytical conditions if necessary.

8-2-5. Inject the sample solutions at 50 mbar for 3 s and a voltage of 30 kV.

Note: CE-MS was conducted either in the positive or negative ion mode. Set the spectrometer to scan the mass range m/z 50–1000The capillary voltage was set at 4 kV; the flow rate of nitrogen gas (heater temperature 300°C). For positive mode, the fragmentor, skimmer and OCT RFV voltage were set at 75, 50 and 125 V, respectively. For negative ion mode, the fragmentor, skimmer, and OCT RFV voltage was set at 100, 50, and 200 V, respectively.

8-3. Analyze spectrum data.

8-3-1. Extract peaks from the mass spectral data using automatic integration software in order to obtain peak information including m/z, peak area, and migration time (MT).

Note: The method is described in detail elsewhere14.

8-3-2. Exclude signal peaks corresponding to isotopomers, adduct ions, and other product ions of known metabolites.

8-3-3. Annotate remaining peaks with information from the HMT metabolite database according to m/z values and MTs.

8-3-4. Normalize areas of the annotated peaks to internal standard levels and numbers of cells per sample.

8-3-5. Evaluate the concentration of each metabolite in the cultured cells (pmol/106 cells) using standard curves prepared for each metabolite.

8-3-6. Use the quantified metabolite concentrations for subsequent statistical analyses and biological interpretations14.

----------------------------------------------

3. We have added the sentence “In this paper we could not describe how to set up CE-MS in detail, because the focus of the present manuscript is different, however describing detailed steps to set up CE-MS may require a separate dedicated article.” in Discussion.

Minor Concerns:
1. A detailed procedure for cell number determination should be given.
Response: We thank the reviewer for raising this concern and we agree with it. In accordance with the reviewer’s comment, we have inserted the following sentences.

----------------------------------------------

1-10. Determine the total number and percent viability of the cells using the automated cell counter and 0.4% trypan blue solution.

1-10-1. Mix 10 μL of cell suspension and 10 μL of 0.4% trypan blue solution.

1-10-2. Load 10 μL of sample into the cell counting chamber slide through capillary action.

1-10-3. Insert chamber slide into the automated cell counter.

1-10-4. The transmitted light automatically illuminates and the instrument auto focuses on the cell.

1-10-5. Press the capture button to capture the image and to display the results.

1-10-6. If necessary, add further growth medium to obtain the desired cell concentration.

----------------------------------------------

2. The manuscript is well written.
Response: We thank the reviewer for carefully reading of our manuscript and giving constructive comments on the manuscript.

Reviewer #2:
Well written manuscript with detail protocol for extraction of metabolites from cell cultures and their analysis by CE-MS. I have no comments on it and, in my opinion, manuscript may be accepted in its present version.

Response: We are grateful to the reviewer for the recognition of our work.