# Submission ID #: 59559

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18165543

Title: X-Ray Diffraction of Intact Murine Skeletal Muscle as a Tool for Studying the Structural Basis of Muscle Disease

Authors and Affiliations: Weikang Ma and Thomas C. Irving

BioCAT, Dept. of Biological Sciences, Illinois Institute of Technology

# Corresponding Authors:

Weikang Ma

wma6@iit.edu

# Thomas C. Irving

# irving@iit.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? Y, Zeiss Stemi SV 6 (binocular head) or a Zeiss Stemi 2000 with a trinocular head.

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

3. Which steps from the protocol section below are the most important for viewers to see?

2.7.1., 2.11.1., 3.2.2., 3.4.2., 5.3.1.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

The whole dissection process is critical. If we had to choose two steps, it would be the following:

3.1.2 Trim the extra fat, fascia,and tendon as much as possible without damage the muscle.

5.3 Positioning the muscle in the beamline without hitting the collagen.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Weikang Ma: Physiologically intact mouse skeletal muscle can produce high quality X-ray diffraction patterns containing much structural information that can provide insights into physiological processes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Weikang Ma: X-ray diffraction is the only technique that allows the acquisition of high-resolution structural information from living muscle tissue under real physiological conditions in real physiological time [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Thomas Irving: Many muscle diseases are inherited. With the increased availability of genetically modified mouse models of myopathies, X-ray diffraction can provide structural insights into disease mechanisms and indicate therapeutic strategies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Thomas Irving: Mouse extensor digitorium longus and soleus muscles are particularly convenient for this purpose, but many other muscles from small animals can be dissected intact and handled in a similar way [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) of the Illinois Institute of Technology.

# Section - Protocol

- Muscle Preparation

  - Before beginning the procedure, turn on the combined motor-force transducer [1], the motor-force transducer controller with a high-power bi-phasic current stimulator [2], and a computer-controlled data acquisition-control system [3].

    - WIDE: Talent turning on transducer

    - MED: Talent turning on controller

    - MED: Talent turning on system

  - Next, spray the skin on the hind limb of the mouse with cold Ringer’s solution [1-TXT] and use fine dissection scissors to cut the skin around the thigh [2].

    - CU: Skin being sprayed TEXT: Euthanasia: CO2 asphyxiation + cervical dislocation

    - CU: Skin being cut

  - Using #5 forceps, quickly pull the skin down to expose the muscles [1] and amputate the hind limb [2].

    - CU: Skin being pulled

    - CU: Limb being amputated

  - Place the limb in an elastomer-coated dissecting dish containing oxygenized Ringer’s solution [1-TXT] and place the dish under a binocular dissecting microscope [2].

    - CU: Limb being placed into dish, with solution container label visible in frame TEXT: See text for all reagent preparation details

    - MED: Talent placing dish under microscope

  - To harvest the soleus muscle, pin the hind limb with the gastrocnemius muscle facing upwards [1] and use fine scissors to cut the distal tendon of the gastrocnemius-soleus muscle group [2].

    - SCOPE: Limb being pinned

    - SCOPE: Distal tendon being cut

  - Cut away the fascia on either side of the gastrocnemius muscle [1] to allow the muscles to be lifted gently and slowly away from the bone [2]. Then, free the proximal tendon of the soleus muscle [3].

    - SCOPE: Fascia being cut

    - SCOPE: Muscles being lifted

    - SCOPE: Proximal tendon being cut NOTE: Authors moved shot from 2.6.1.

  - Pin down the muscle group containing the gastrocnemius muscle and the distal tendon in the dish [1] and lift the soleus muscle gently via the proximal tendon to separate it from the gastrocnemius muscle [2], leaving as much of the soleus distal tendon intact as possible [3]. Author NOTE: Use the second shot of 2.7

    - SCOPE: Muscle being pinned

    - SCOPE: Muscle being lifted

    - SCOPE: Shot of whole soleus muscle

  - To harvest the extensor digitorium longus, or EDL (E-D-L), muscle, pin the hind limb in the dish with the tibialis anterior muscle facing upwards [1] and cut the fascia along the tibialis anterior muscle [2].

    - SCOPE: Hind limb being pinned

    - SCOPE: Fascia being cut

  - Use forceps to pull the fascia clear [1] and cut the distal tendon of the tibialis anterior muscle [2]. Author NOTE: Use the second shot

    - SCOPE: Fascia being pulled

    - SCOPE: Tendon being cut

  - Lift the tibialis anterior muscle and cut it out carefully without pulling on the EDL muscle [1] and cut open the lateral side of the knee to expose the two tendons [2].

    - SCOPE: Muscle being lifted and cut Videographer: Can split action into separate shots as necessary

    - SCOPE: Lateral side of knee being opened Author NOTE: Only show the final work

  - Cut the proximal tendon, leaving as much of the tendon as possible still attached to the muscle [1], and gently pull on the tendon to lift the EDL muscle [2].

    - SCOPE: Tendon being cut

    - SCOPE: Tendon being pulled/muscle being lifted

  - Then cut the distal tendon once it is exposed [1].

    - SCOPE: Shot of exposed tendon, then tendon being cut

- Muscle Mounting

  - To mount the harvested muscle, pin down the muscle via the tendons [1] and trim as much of the extra fat, fascia, and tendon as possible [2].

    - WIDE: Talent at microscope, pinning down muscle

    - SCOPE: Muscle being trimmed

  - Insert one tendon into a pre-tied knot [1] and use suture tying forceps to tie the suture tightly [2].

    - SCOPE: Tendon being inserted into pre-tied knot

    - SCOPE: Suture being tied

  - Tie the second knot on around the metal hook [1] and repeat the procedure on the other end of the tendon [2-TXT].

    - SCOPE: Knot being tied

    - SCOPE: Other end being tied to hook TEXT: Ensure as little muscle body contacted by sutures as possible

  - Then attach the short hook to the bottom of the experimental chamber [1] and the long hook to the dual mode force transducer-motor [2] and bubble the solution in the experimental chamber with 100% oxygen [3].

    - CU: Hook being attached to chamber bottom Author NOTE: Don’t use this step, show next step.

    - CU: Hook being attached to dual mode force transducer-motor

    - CU: Solution being bubbled

- Stimulation and Muscle Length Optimization

  - To optimize the stimulation protocol and muscle length, adjust the micromanipulators attached to the transducer-motor to generate a baseline tension between 15-20 millinewtons to find the best stimulus parameters to stretch the muscle [1].

    - WIDE: Talent adjusting micromanipulators

  - Set the stimulation voltage to 40 volts [1-TXT]. The stimulation current will be systematically increased until there is no additional increase in twitch force [2].

    - MED: Talent setting voltage TEXT: Highest current found increased by about 50% to ensure supra-maximal activation

    - CU: Shot of stimulation current being increased Author NOTE: Use Video 4-2-2.

  - To find the optimal length, increase the muscle length and activate the muscle with a single twitch until the active force stops increasing [1-TXT].

    - Author NOTE: Use Video 4-3-1, one twitch force video. TEXT: LO = muscle length that gives maximum twitch force

  - Perform a 1-second tetanic contraction to test the mounting [1] and stretch the muscle back to the optimal baseline force as necessary [2]. Author NOTE: (It is hard to see the muscle contracts, narrate it and use contraction force trace instead) Use Video 4-4-1.

    - CU: Muscle being contracted

    - CU: Muscle being stretched

  - Then record the muscle length in millimeters with a digital caliper [1].

    - CU: Muscle length being recorded

- X-ray Diffraction

  - To determine the beam position, use a piece of X-ray sensitive paper that produces a dark spot in response to X-rays [1] and a video cross-hair generator to create a cross-hair aligned with the burn mark on the paper [2-TXT].

    - WIDE: Talent selecting paper

    - CU: Shot of paper with burn mark, then cross-hair finding burn mark

    - Push the mechanical system into the beamline. Author NOTE: the number might not right

  - Using the BioCAT (bio-cat) supplied graphical user interface to the sample positioner [1], center the muscle on the beam position [2] and move the sample stage to oscillate the sample chamber at 10-20 millimeters/second to spread the X-ray dose all over the muscle during the exposure [3].

    - MED-over the shoulder: Talent at GUI, centering muscle on beam position with monitor visible in frame

    - CU: Muscle being centered on beam position

    - CU: Stage being moved/chamber being oscillated

  - Observe the sample as it moves to avoid large regions of fascia that contain collagen and to ensure that it stays illuminated during the entire path of its travel [1-TXT].

    - CU: Shot of sample being moved within beam Video Editor: please indicate a large region of collagen when mentioned as possible TEXT: Collagen pollutes diffraction patterns

  - Arm the detector [1] and wait for the trigger from the data acquisition system [2]. NOTE: Authors changed VO text and may have changed numbering.

    - MED: Talent arming detector

    - SCREEN: To be provided by Authors: Shot of trigger appearing in system

  - Then trigger the mechanical and X-ray data at the same time to synchronize them. The X-ray patterns will be collected continuously throughout the protocol with a 1-millisecond exposure time and a 2-millisecond exposure period [1].

    - SCREEN: To be provided by Authors: Data being triggered/synchronized, then patterns being collected  Author NOTE: Video 5-4-1 has two parts. Maybe put two of them side by side. The mechanic video is static, but a moving line from left to right to synchronize the moving X-ray pattern would be great.

# Section – Results

- Extensor Digitorium Longus (EDL) X-Ray Diffraction Patterns and Analysis

  - In this representative isometric tetanic contraction [1], the EDL muscle was held at rest for 0.5 seconds [2] before it was activated for 1 second [3].

    - LAB MEDIA: Figure 1B

    - LAB MEDIA: Figure 1B: JoVE Video Editor please emphasize Resting section of data line

    - LAB MEDIA: Figure 1B: JoVE Video Editor please emphasize Contracting section of data line

  - The muscle X-ray diffraction pattern can give nanometer resolution structural information from structures inside the sarcomere [1].

    - LAB MEDIA: Figure 2

  - Myosin-based layer lines, containing thick filaments, are strong and sharp in patterns from resting muscle [1], while actin-based layer lines, containing thin filaments, are more prominent in patterns from contracting muscle [2].

    - LAB MEDIA: Figure 2A: JoVE Video Editor please emphasize MLL4 and ALL6 texts

    - LAB MEDIA: Figure 2B: JoVE Video Editor please emphasize ALL6 and ALL7 texts

  - Difference patterns obtained by subtracting the resting pattern from the contracting pattern can shed light on structural changes during force development in healthy and diseased muscle [1].

    - LAB MEDIA: Figure 2C

  - By following these structural changes at the millisecond time scale of the molecular events during muscle contraction, the X-ray diffraction patterns can reveal substantial structural information [1].

    - LAB MEDIA: Figure 2D

  - In this representative equatorial reflections analysis using the “equator” routine in the open-source MuscleX package [1], the equatorial intensity ratio indicates the proximity of myosin to actin in resting muscle [2] and is closely correlated to the number of attached cross-bridges in contracting murine skeletal muscle [3-4].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize Figure 3A and the histograms

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize Figure 3B and the histograms

    - Added result: Video 5-4-1-X-ray Equatorial intensity ratio increase during muscle contracts

  - The distance between the two 1,0 reflection [1] is inversely related to the inter-filament spacing [2].

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize 1,0 text in both graphs

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize 2*S1,0 text in both graphs

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Weikang Ma: A clean dissection is the key for a successful intact muscle X-ray experiment, so try to avoid any mechanical damage during the muscle preparation (steps 2.1.-2.12.) [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Thomas Irving: Any standard physiological protocol with whole muscles can be implemented in these experiments and can be used to study muscle activation, relaxation, and crossbridge behavior during rapid mechanical transients [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Thomas Irving: Genetic manipulations of mice are becoming increasingly sophisticated. New transgenic mouse models will allow more specific and insightful experiments to be designed to indicate new therapeutic directions for human myopathies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera