# Submission ID #: 59562

# Scriptwriter Name: Melissa Ceo

# Project Page Link: http://www.jove.com/files_upload.php?src=18166458

Title: Measurement of the Potential Rates of Dissimilatory Nitrate Reduction to Ammonium Based on 14NH4+/15NH4+ Analyses via Sequential Conversion to N2O

Authors and Affiliations: Megumi Kuroiwa1, Keitaro Fukushima2,3, Kazuma Hashimoto2, Yukiko Senga4, Tsubasa Sato4, Chie Katsuyama5, Yuichi Suwa1

# 1Department of Biological Sciences, Faculty of Science and Engineering, Chuo University

# 2Faculty & Graduate School of Urban Environmental Sciences, Tokyo Metropolitan University

# 3Center for Ecological Research, Kyoto University

# 4Department of Chemistry, Faculty of Science, Toho University

# 5Graduate School of Integrated Arts and Sciences, Hiroshima University

# Corresponding Author:

# Megumi Kuroiwa

# mkuro.25w@g.chuo-u.ac.jp

# Email addresses for Co-authors:

# Keitarktaro.f@gmail.com

# tgs.bloom@gmail.com

# yukiko.senga@sci.toho-u.ac.jp

# t.casiare@gmail.com

# ckatsu@hiroshima-u.ac.jp

# y-suwa@bio.chuo-u.ac.jp

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see? 2.4, 2.5, 3.8, 4.7

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? The most difficult steps are 2.4 and 2.5 (actually, entire part of the section 2).
The steps to make “Teflon envelops” require practice for beginners.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) – All interview statements may be edited for length and clarity.

  - Megumi Kuroiwa: Coastal or marine ecosystems are important as reservoirs for removing nitrate from terrestrial ecosystems. Nitrate in aquatic environments can be consumed by several processes simultaneously, such as denitrification, anammox, and DNRA. While previous studies have shown that DNRA is potentially comparable to denitrification for nitrate removal, studies measuring the DNRA activity are still very limited compared to those measuring denitrification. In our protocol, we provide a detailed procedure for the measurement of the potential DNRA rate in environmental samples [1].

    - INTERVIEW: Megumi Kuroiwa says the statement above in an interview-style shot, looking slightly off-camera.

  - Megumi Kuroiwa: Briefly, the potential DNRA rate can be calculated from the fifteen nitrogen labeled ammonium accumulation with fifteen nitrogen labeled nitrate addition. The advantage of our method compared to other methods is that ammonium is ultimately converted to nitrous oxide, which has a low atmospheric background. Also, it is noteworthy that we measured nitrous oxide by a quadrupole gas chromatography–mass spectrometer, which is less expensive and easier to manage than an isotope ratio mass spectrometer [1].

    - INTERVIEW: Megumi Kuroiwa says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Preparation of a PTFE Envelope for Quantitatively Capturing Gaseous NH3

  - First, place a 60 millimeter piece of PTFE tape on a small sheet of aluminum foil [1-TXT].

    - MED: Talent places a piece of PTFE tape on the aluminum foil. TEXT: 300 x 450 mm, wiped with EtOH. Video Editor: Overlay should appear at mention of “a small sheet of aluminum foil”.

  - Ash a glass fiber filter at 450 degrees Celsius for 4 hours in a muffle furnace [1-TXT]. Then, place the glass fiber filter a little above the midpoint of the longer axis of the tape [2].

    - MED: Talent places a glass fiber filter in the muffle furnace. TEXT: 10 mm diameter, 2.7 mm pore size. Video Editor: Overlay should appear at mention of “a glass fiber filter”.

    - CU: Close-up shot of the PTFE tape as talent places the glass fiber filter on it.

  - Next, spot 20 microliters of 0.9 moles per liter of sulfuric acid on the center of the glass fiber filter, and immediately fold the PTFE tape using flat-ended stamp and straight-ended tweezers [1].

    - MED: Talent spots the sulfuric acid solution on the glass fiber and folds the PTFE tape using the tweezers. Videographer: Show sulfuric acid container label in frame if possible.

  - Flip the PTFE tape over the glass fiber filter [1]. Then, seal both sides of the PTFE tape by folding and then tightly pressing the edge with the tweezers [2-TXT]. Video Editor: The authors have indicated that this step is important (questionnaire question 4).

    - MED: Talent flips the PTFE tape over the glass fiber filter. [Shots 2.4.1 and 2.4.2 combined]

    - MED: Talent folds both sides of the PTFE tape and presses with edges with the tweezers. TEXT: Do not press hard and scratch tape.

  - Using the tweezers, fold the open end of the PTFE tape and press the edge [1]. Video Editor: The authors have indicated that this step is important (questionnaire question 4).

    - MED: Talent folds the open end of the PTFE tape and presses the edge.

  - Seal the open end of the PTFE tape by tightly pressing the edge with the tweezers, taking care not to press the glass fiber filter [1].

    - MED: Talent presses the edge of the PTFE tape with the tweezers.

- Capturing Diffused NH4+ in 2M H2SO4 absorbed to the GF/D Filter in the PTFE Envelope and the Persulfate Oxidation of NH4+ to NO3−

  - Transfer 30 milligrams of ashed magnesium oxide to a 20-milliliter glass vial, and place the PTFE envelope in the vial [1].

    - MED: Talent adds the ashed magnesium oxide and PTFE envelope in the glass vial.  (Videographer Comment: 3 Takes)

# 3.1.1 A [Added Shot]: Continuation of 3.1.1 at different location.  (Videographer Comment: 2 takes) (Editor: Unsure if this needs to be used)

  - Transfer 5 milliliters of a previously prepared sample or standard into the vial containing the magnesium oxide and the PTFE envelope, and immediately close the vial with a gray butyl rubber stopper [1-TXT]. Then, seal the vial with an aluminum cap [2-TXT].

    - MED: Talent adds one of the samples or standards into the glass vial and seals the vial with a rubber stopper. Videographer: Show samples and standards in frame if possible. TEXT: See text for sample and standard preps.

    - MED: Talent seals the vial with an aluminum cap. TEXT: Dilute if NH4+ exceeds 500 mmol/L.

  - Shake the vials at 150 rpm for 3 hours at 4 degrees Celsius under dark conditions [1].

    - MED: Talent places the vials on a reciprocating shaker and turns the shaker on.

# 3.3.1-0 [Added Shot]: Extra shot prepping vials (Editor: Unsure if this needs to be used)

# 3.3.1 A [Added Shot]: Entering climate controlled room (Editor: Unsure if this needs to be used)

  - Following this, remove the aluminum cap and the butyl rubber stopper from each vial [1]. Remove the PTFE envelope from each vial using point-ended tweezers and thoroughly rinse the envelope and the tweezers with ion-exchanged water [2]. Then, wipe the envelope and the tweezers with wiping paper and place the envelope on fresh wiping paper [3].

    - MED: Talent removes the aluminum cap and the rubber stopper from one of the vials.

    - MED: Talent removes the PTFE envelope from one of the vials with tweezers and rinses the envelope and the tweezers with ion-exchanged water. (Videographer Comment: Slated as shooting together with 3.4.3 but also shot 3.4.3 after)

    - MED: Talent wipes the envelope and the tweezers with wiping paper and then places the envelope on fresh wiping paper. (Videographer Comment: End of this includes some of 3.5.1)

  - Open the PTFE envelope with flat-ended and pointed-ended tweezers in reverse order of the folding steps [1].

    - CU: Close-up shot of PTFE envelope as talent opens it with the tweezers.

  - Using flat-ended tweezers, hold the peripheral area of the glass fiber filter, where the sulfuric acid is supposed to be unabsorbed, and transfer it into an 11-milliter screw cap test tube [1]. Rinse the tweezers with ion-exchanged water, and wipe them with wiping paper [2-TXT].

    - MED: Talent picks up the glass fiber filter with the flat-ended tweezers and transfers it to a screw cap test tube.

    - MED: Talent rinses the tweezers with ion-exchanged water and wipes them with wiping paper. TEXT: Repeat previous steps for all envelopes.

  - Add 1 milliliter of ion-exchanged water to each test tube [1]. Close the test tubes with PTFE-lined screw caps and allow them to stand for at least 30 minutes at room temperature to completely elute the ammonium cation from the glass fiber filter [2].

    - MED: Talent adds ion-exchanged water to each test tube.

    - MED: Talent closes the test tubes with the screw caps and places them on a lab bench.

  - Following this, open the screw cap, add 2 milliliters of a previously prepared persulfate-oxidizing solution reagent to the test tube, and close the tube tightly with a screw cap to prevent any loss or contamination during the following steps [1-TXT].

    - MED: Talent opens the screw cap of one of the tubes, adds the persulfate-oxidizing solution reagent, and closes the test tube with a screw cap. Videographer: Show persulfate-oxidizing solution reagent container label in frame if possible. TEXT: See text for POR reagent prep.

# 3.8.1 A [Added Shot]: Extra shot of tightening cap hard (Editor: Unsure if this needs to be used)

  - Stand the test tubes on a rack, wrap them in double-layered aluminum foil, and autoclave them in an upright position for 1 hour at 121 degrees Celsius [1-TXT].

    - MED: Talent places the test tubes in a rack, wraps them in aluminum foil, and places them in the autoclave. TEXT: Avoid rapid temp changes after autoclaving.

# 3.9.1 A [Added Shot]: continuation in different location (Editor: Unsure if this needs to be used)

- Determining the NO3− Converted from NH4+ by the Denitrifier Method Using Quadrupole GC/MS

  - Mix 100 milliliters of sterile 40 millimoles per liter phosphate buffer and 100 milliliters of sterile 30 millimoles per liter glucose aseptically [1].

    - MED: Talent mixes the phosphate buffer and glucose in an Erlenmeyer flask on a clean bench.

  - Add a glycerol stock of P. chlororaphis to 200 milliliters of the phosphate-buffered glucose solution in a 300-milliliter Erlenmeyer flask, and purge with an ultra-pure helium stream for 1 hour [1-TXT].

    - MED: Talent adds a glycerol stock solution of P. chlororaphis to an Erlenmeyer flask containing the phosphate-buffered glucose solution and purges the solution with an ultra-pure helium stream. TEXT: 1/7.2 volume. Video Editor: Overlay should appear at mention of “a glycerol stock of P. chlororaphis”.

# 4.2.1 A [Added Shot]: Purge solution in different location (Editor: Unsure if this needs to be used)

# 4.2.1 B [Added Shot]: CU of bubbles - no slate (Editor: Unsure if this needs to be used)

  - Next, dispense 2 milliliters of a previously prepared denitrifier suspension into 5-milliliter vials [1-TXT]. Cap each vial with a gray butyl rubber stopper and an aluminum closure [2].

    - MED: Talent dispenses the denitrifier suspension into the vials. TEXT: See text for denitrifier prep.

    - MED: Talent caps each vial with a rubber stopper and an aluminum closure.

  - Replace the headspace air with ultra-pure helium by vacuuming for 3 minutes and charging the helium for 1 minute [1]. Set the headspace gas positive pressure to 1.3 atmospheres to avoid unintentional air contamination [2].

    - MED: Talent turns on the vacuum.

    - MED: Talent sets the headspace positive pressure and introduces ultra-pure helium to each vial. Videographer: Show headspace gas positive pressure reading in frame if possible.

  - Inject 1 milliliter of a sample or standard through the butyl rubber stopper using a 1-milliliter disposable syringe [1-TXT]. Then, incubate the vials overnight at 25 degrees Celsius under dark conditions [2].

    - MED: Talent injects a sample or standard into each vial with a syringe. TEXT: Note exact amount. (Videographer Comment: Added element of weighing and setting to 0 before adding sample.)

# 4.5.1 A [Added Shot]: CU

    - MED: Talent places the vials in a laboratory incubator.

  - On the following day, inject 0.3 milliliters of 6 moles per liter sodium hydroxide to stop the denitrification and absorb the headspace carbon dioxide, which will otherwise disturb the nitrous oxide analysis because carbon dioxide and nitrous oxide have the same molecular weight [1].

    - MED: Talent injects sodium hydroxide into each vial.

  - Determine the amounts of nitrous oxide with a molecular weight of 44, 45 and 46 in the headspace gas using quadrupole GC/MS with a modified injection port [1-TXT].

    - MED: Talent places the vials in the GC/MS instrument for the analysis. TEXT: See table 2 for GC/MS conditions.

# Section – Results

- Results: Determination of DNRA Rate Based on 14NH4+/15NH4+ Analyses

  - The representative results were derived from fifteen nitrogen-tracing experiments of salt marsh sediments created from the 2011 Great East Japan Earthquake in the Moune area of Kesen-numa city in Miyagi Prefecture, Japan [1]. An increase in the labeled ammonium concentration throughout the incubation period was observed for all sediments collected in the subtidal and intertidal zones [2].

    - LAB MEDIA: *To be provided by author.

    - LAB MEDIA: Figure 2

  - The DNRA rates were within the range of 24.8 to 177 and are comparable to values reported in previous studies, but higher than values derived from similar environments [1].

    - LAB MEDIA: Table 3 – Video Editor: Highlight DNRA rate column.

  - The high DRNA rate may be explained by the salt marsh being used as a cultivation field before the earthquake [1]. Consistent with this speculation, the DNRA rate in the intertidal zone, which is rich in organic compounds compared to the subtidal zone, was higher [2].

    - LAB MEDIA: Table 3

    - LAB MEDIA: Table 3 – Video Editor: Highlight two intertidal DNRA rates (177 and 129).

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Megumi Kuroiwa: Our protocol is widely applicable to analysis of metabolic pathways which involves ammonium formation under fifteen nitrogen tracer addition conditions [1].

    - INTERVIEW: Megumi Kuroiwa says the statement above in an interview-style shot, looking slightly off-camera.