## Sheet1
Equipment
quadrupole GCMS | Shimadzu GCMS-QP2010 Ultra
column | CP-PoraBONDQ 25m; φ 0.32mm; film thickness, 5µm
Analytical conditions
column temp | 40 °C
injection port temp | 100 °C
carrier gas stream | Total flow rate, 47.1 mL･min-1 flow rate in column, 2.10 mL･min-1
sprit ratio | 20
detection voltage | 1.5 kv
Sensitivity of N2O
lower limit of detection (LOD)* | 1.42 pmol
lower limit of quantification (LOQ)* | 4.58 pmol
*LOD and LOQ were determined by a linear relationship among a serial dilution of N2O (0.97, 1.94, 2.91, 4.75, 9.50, 14.3 ppm) in He, corresponding responses in peak area, and S/N ratio. LOD and LOQ were calculated as concentrations equivalent to S/N=3 and S/N=10, respectively.