Dear Dr. Steindel

We appreciate all of the valuable comments from you and reviewers on our manuscript, JoVE59562. We have revised the manuscript by carefully addressing the comments, suggestions, and questions. We believe the clarity of our manuscript is greatly improved because of these changes. Please find our detailed response to all comments below; the comments are in italics. Although it is not pointed out by editor and reviewers, we also modified the title of our manuscript, because it exceeded 150-character and used an abbreviation. We apologize that the confirmation before submitting is insufficient. Included in the revised submission is a Word file with changes visible in Track Changes. A version with changes accepted is also included.

Sincerely,

Megumi Kuroiwa

Editor:

- Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

ANSWER：Thank you for your suggestion and we are sorry for our poor English. As the editor advised, we have checked our manuscript and made revisions in terms of language and grammar.

2. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please limit the use of commercial language from your manuscript (and Table 2) and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Sigma-Aldrich, Whatman, Nissui Pharmaceutical, Maruemu, Kanda, Wako, Termo,
ANSWER：We deleted the commercial languages and company names from the protocol section to meet the journal requirement. However, we’d like to leave the details of equipment (i.e. model of the GC/MS and column, Table2), since the properties such as separation of gases via column and limit of detection/quantification are largely depend on both the equipment itself and the measurement conditions. We are concerned about lack of these information may lead to misunderstandings. As the editor commented, we modified the Table of Materials so that all commercial products are sufficiently included in the list.

Protocol:
1. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible.

ANSWER： As the editor pointed out, we have made some sentence reconstructions to be in the imperative tense from a passive voice.

2. There is a 10 page limit for the Protocol, but there is a 2.75 page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headers and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

ANSWER：We apologize for our carelessness. We have highlighted the essential steps for video filming.

3. For each protocol step, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.
ANSWER：We have revised the protocol section to meet the journal requirement.

Specific Protocol steps:
1. 1.2: Please explain the ashing procedure further or include a reference.

ANSWER：We have added a sentence for further explanation for ashing process to 1.1.2..

2. 2.1: Where do P. chlororaphis colonies come from?
ANSWER：We have added a description about incubation of P. chlororaphis on agar plate as step 2.2.1. in the protocol section.

Figures:
1. Figure 2: Please use ‘h’, not ‘hr’.
ANSWER：Addressed.

Discussion:
1. Please discuss critical steps in the protocol as well as limitations of the protocol in the Discussion section.
ANSWER：We discussed our novelty and validity in line 375-401(changes accepted version). This part includes the description of our procedures modified from previous methods. We mentioned the limitation of our protocol in line 403-409(changes accepted version).

References:
1. Please ensure references have a consistent format. Please do not abbreviate journal titles.
ANSWER：We have checked reference list and modified to meet a consistent format.

Table of Materials:
1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.

ANSWER：We checked and modified the list of Table of Materials so that all commercial products/equipments are sufficiently included in the list.

Reviewer #1:
Manuscript Summary:
Excellent idea but need more data from GC MS analysis
ANSWER：We appreciate for your positive comment and advise.

Major Concerns:
One major concern is I need to see the GC MS data. You have mentioned in line 382 that N2O can be measured in GCMS without any atmospheric interference. Can you back that up with the MS data ?
ANSWER：Under the condition shown in table 2, CO2 and N2O are completely separated by GC; the retention time of these gases are 1.15 and 1.07 min. respectively. In order to demonstrate that N2O can be measured with negligible air interference even in low concentrations, we provide an example of calibration curve of low concentration N2O (Fig. 1, in this document). Since atmospheric concentration of N2O is on the order of ppb, the influence on the quantitative determination of N2O due to atmospheric contamination associated with measurement is very limited. The calibration curve passes almost through the origin, demonstrating the influence on the concentration of N2O due to atmospheric contamination is negligible (Fig.1).

Fig. 1 The relation between N2O concentration (ppm) and GC/MS peak area. Peak area of N2O was obtained by sum of the peak area of m/z44, m/z45, and m/z 46.

Reviewer #2:
Manuscript Summary:
The method described will be useful to the community interested in DNRA. I am sure it will be of value to the community of researchers interested in comprehensively addressing the entire N-cycle in various ecosystems. Of particular interest is the potential to increase sensitivity by quantifying N2O instead of ammonium directly. Although this approach requires a series of steps the details are provided very clearly.
ANSWER：We appreciate for your positive comments for significance of our paper.

The Major Concerns:
The most serious issue with this manuscript is the poor quality of the english writing. Frankly it made it difficult to read at times. The detailed methods, however, were sufficient written to make them clear. The remaining sections require significant editing.

ANSWER：We apologize the poor quality of our English. We have used English language editing service and we have made modifications to the manuscript in terms of language and grammar. We have also made some sentence reconstructions and word choice changes for accuracy and enhanced clarity. We believe that these revisions improve readability of our manuscript.