Answers to Reviewer’s comment for manuscript: “A preparation for longitudinal two-photon imaging of dorsal hippocampal CA1 in live mice” (59598_R0)

Reviewer #1:

This manuscript by Ulivi et al. reported a protocol of a preparation for longitudinal two-photon imaging of dorsal hippocampal CA1 in live mice. The authors described a chronic preparation that allows optical access to the hippocampus of living mice, and demonstrated in vivo two-photon fluorescence imaging of dendritic spine structure and activated neurons repeatedly over several weeks. Furthermore, authors showed the effect of three-photon microscope for deep fluorescence imaging of hippocampal dentate gyrus neurons. The experimental protocol and the fluorescence imaging results are very clear, should be interesting to the wide readership of Journal of Visualized Experiments.

We thank Reviewer #1 for her/his positive comment.

The following are minor comments.

1. In the two-photon and three-photon fluorescence imaging, authors should indicate the information of fluorescence emission wavelength for Enhanced GFP from Thy1-GFP mice, d2Venus and TurboFP635 in addition to the excitation information.

We have added this information in the figure legends (lines 506, 514 and 522 of the revised version of the manuscript).

2. In Figure 3B fluorescence images, it would be better to show d2Venus (green) and TurboFP635 images separately in addition to the merge images. This will enable to track the each fluorescence changes over the days in addition to the ratio.

We have updated Figure 3B to include the single channels in addition to the merge images.

3. It could be helpful for reader to have a schematic drawing how to fix the anesthetized animals under objective lens (perhaps in Figure 1) as authors discussed the tissue motion during the fluorescence imaging due to the animal breathing and heartbeat.

We have updated Figure 1 to include a new panel describing the head fixation of the mouse.

4. In line 495 "three-photon (3P) excitation with KHz pulsed lasers tuned to 1400 nm", perhaps authors specify the range of pulsed laser frequency as this is unique setup.

Line 658 now reports the repetition frequency of our 3P laser.

5. In line 297 and 455, "1 NA" should be "1.0 NA"

We have corrected these mistakes (lines 392, 435 and 617).

Reviewer #2:

Manuscript Summary:
The authors describe a protocol to chronically implant optical windows to gain access to the hippocampus for 2-P (or 3-P) imaging. They provide detailed and nice examples of dendritic spine imaging using Thy1-GFP mice, imaging of activity-dependent plasticity, and structural imaging from deep hippocampal areas (DG granule cells). The protocol is clearly described and the data examples convincingly underscore the power of the method. This protocol will therefore be of great use for the scientific community.

We thank Reviewer #2 for her/his positive comment.

Major Concerns:
One aspect I feel could further improve the protocol is to explain the actual imaging procedure as part of the protocol (steps of placing the animal in the imaging station, microscope settings etc). This would enable other labs to implement all required steps to achieve live imaging from hippocampal neurons.

In the first version of the manuscript we focused mostly on the preparation as we thought this would be the scope of our paper. To satisfy the request of Reviewer #2, in the revised version of the manuscript we have added two more subheadings detailing the in vivo imaging procedure. However, it is very difficult to describe a “standard” imaging protocol as the details of imaging are highly dependent on the time and spatial scales one wants to image. We then feel that the most appropriate place to report these details is the section Representative Results close to the kind of imaging they refer to. So we have decided to add the more procedural details to the Protocol section and to keep the more specific details in the Representative Results section. We hope that Reviewer #2 will agree with our view and accept the revised manuscript.

Minor Concerns:

1) Line 129: The authors should state the animal license number under which the procedures described in the protocol have been authorized.

The revised version of the manuscript now contains this relevant information (lines 148-149).

2) The authors do not apply post-surgical analgesia, which might be required depending on local regulations. The authors could provide specific alternatives for pain relief during the recovery period (e.g. with their statement in lines 189-190).

We thank Reviewer #2 for this comment. In fact we had overseen this aspect. We do apply both anti-inflammatory drugs as well as pain killers after surgery. This is now detailed from line 358 (Postoperative Care section).