Responses to Editorial Comments

We have responded fully to all editorial comments raised.

All changes in the manuscript are marked (red italics).

Please note that as a response to the editorial comments steps 4 and 5 of the protocols have been partially merged and re-arranged as requested, see details below.

- Comment ll 138 ff

Author response: We have added a new table (Table 2 in this revision) detailing the composition of the enzymatic solution. The components were already listed in the table of materials.

- Comment l 141

Author response: We have added this information (supergrip forceps and small spring scissors).

- Comment ll 145 ff: How much modified tyrode’s solution does the storage solution contain? The  composition of the storage solution is currently a bit vague.

Author response: We have clarified this. The storage solution consists of modified Tyrode’s solution with BSA and BDM.

- Comment l 149: Cut up into small pieces? What size? Using scissors?

Author response: We have clarified this.

- Comment l 152: Unclear why more that one pipette is needed

Author response: We have explained this (New step 1.13 in the revised version, ll152-154)

- Comment l173: Without striations?

Author response: We have clarified this.

- Comment l177: What is the concentration of laminin?

Author response: We have added laminin to the table of materials (this includes the concentration). As this is natural mouse laminin, the concentration ranges from 0.5-2.0 mg/ml.

- Comment l 180:Unclear how electric stimulation is applied. What is the field strength (V/cm)?

Author response: We have explained this in more detail. We have added the cell stimulator system to the table of materials and have added the most suitable settings for external field stimulation. Note: there is no catalog number for the cell stimulator.

- Comment l 186

Author response: We have added the figure number.

- Comments ll 193- 196: Please remove or replace the commercial name. Please remove or replace the commercial name with a generic alternative

Author response: Since there are no generic alternatives to Pluronic we have rephrased the sentence. Unfortunately, this leaves this particularly important step very vague.

- Comment ll 212: Concentrate how? Do you use a centrifugal concentrator? Mention filter size, centrifuge speed (in g) and approximate duration.

Author response: The concentration of the cell suspension is performed in step 3.5. We have rephrased this sentence and refer back to step 3.5 ll 212-214

- Comment l 213: Concentration?

Author response: please see response to comment 7

- Comment l 216: Please delete the product name

Author response: We have done this.

- Comment l 226: Fig 6 is referenced before figures 4 and 5. Figure must be listed in the order of reference.

Author response: We have corrected this (Figure 6 is Figure 4 in the revised version).

- Comment l 250: Unclear what exactly is being done here. If this was described elsewhere in the protocol please mention the step numbers.

Author response: This refers to the measurements of [Na+]i. Depending on what the research question entails this is, of course, variable (e.g. [Na+]i in quiescent cells or cells undergoing external field stimulation, drug treatment etc.). We have rephrased this and added step 4.9 (l 242) which indicates the start of the data acquisition.

- Comment l 264: define

Author response: [Na+]o refers to the solutions prepared in step 5.1. We have added a reference to step 5.1.

- Comment l 270: unclear when the experiment was performed and what was done in it.

Author response: please see response to comment 15.

- Comment l270: Step does not exist.

Author response: This refers to step 4.10. We have corrected this.

- Comment l 279: Why don’t we move 4.10 down after 5.4 in this case??

Author response: We have rearranged the protocol as suggested. Protocol steps 4 and 5 are now arranged chronologically.

- Comments l 310 Fig 5C? 5A?

Author response: We have corrected this

- Comment l 320 Reference?

Author response: There was a problem with the formatting of the two references used (# 17 & 18). We have reformatted the references. Ll 320-321

- Comment l 338: Define the error bars in panels A-C.

Author response: We have added this information. L 338

- Comment l 356: Check the units here.

Author response: We have changed this to uM

- Comment l 424: Remove commercial names.

Author response: We have done this. L 424. Please see response to comment 10.

- Comment l 469: define

Author response: We have defined ROS as reactive oxygen species. L469

- Comment l 510: define

Author response:  We have amended this accordingly.

- Comment ll 524-525: sentence is incomplete.

Author response:  ‘=’  reads as ‘equals’  thus completing the sentence.