## Sheet1
Calibration Parameter | Calibration Inputs
Wand Length [mm] | 100
L-Frame Floor offset [mm] | 7
Iterations for outlier-detection | 4
Allowed wand-length-deviation | 0.3
Wand must be visible in at least __ cameras | 4
Fix aspect ratio | Checked
Fix skew parameter | Checked
Fix principal point | Checked