## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
AKTA pure | GE Healthcare | 29-0182-26 | fast protein liquid chromatograph (FPLC)
AKTA UNICORN | GE Healthcare |  | FPLC control software
ASTRA | Wyatt Technology |  | MALS data acquisition and analysis software
Bovine serum albumine (purity >97%) | Sigma | A1900 | analyte
DAWN or miniDAWN | Wyatt Technology | WH2 or WTREOS | multi-angle light scattering (MALS) detector
Increase 200 10/300 | GE Healthcare |  | size exclusion column, 200 Å pores, 10 mm i.d., 300 mm length
Optilab | Wyatt Technology | WTREX | differential refractive index (RI) detector
Sodium chloride NaCl | Sigma | 71382 | HPLC grade NaCl
Stericup bottle top filter polyether sulfone 0.1 µm 1000 mL | Millipore | SCVPU11RE | mobile phase filter
Whatman Anotop 10 syringe filter 0.02 µm | GE Healthcare | 6809-1002 | sample filter
Whatman Anotop 10 syringe-tip filter, 0.1 µm pore, 10 mm diameter | GE Healthcare | 6809-1012 | sample filter
Whatman Anotop 25 syringe filter 0.1 µm | GE Healthcare | 6809-2012 | mobile phase filter
WyattQELS | Wyatt Technology | WIQ | dynamic light scattering detector

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=