# Submission ID #: 59634

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18188418

Title: Mapping the Emergent Spatial Organization of Mammalian Cells using Micropatterns and Quantitative Imaging

Authors and Affiliations: Darren Wisniewski, Sally Lowell, and Guillaume Blin

MRC Centre for Regenerative Medicine, Institute for Stem Cell Research, School of Biological Sciences, University of Edinburgh

# Corresponding Author:

# Guillaume Blin

# guillaume.blin@ed.ac.uk

Email addresses for Co-authors:

s1668999@sms.ed.ac.uk

# sally.lowell@ed.ac.uk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

2.2., 2.4., 2.5., 2.7., 3.1., 3.3.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.3. (Washing off excess of cells). It is important to test several adhesion time and matrix composition when setting up the technique for the first time. Then the experimenter must get a feel for how intense the washes must be to remove the excess cells.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Guillaume Blin: This method makes it possible to manipulate and quantify how cells organise collectively. This is important because we can model patterning in vitro and disentangle cues tightly coupled in vivo. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Guillaume Blin: The technique requires minimal specialist equipment, allowing it to be established in a standard biology lab, and it is quantitative, making possible the discovery of sub-visual patterning events [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Darren Wisniewski: The method can easily be applied to any cell system in which patterning can emerge to discover non-random patterns of differentiation, proliferation, or cell competition [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Darren Wisniewski: The main bottleneck in this method is the systematic optimisation of micropatterning parameters for new cell-types. For example, pattern shape and size, type of matrix and cell-adhesion time. [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style, looking slightly off-camera

# Section - Protocol

- Micropattern Manufacturing Procedure

  - Wearing gloves, place a piece of laboratory film into the bottom of a 10-centimeter-square Petri dish [1] and use a 12-millimeter hole punch to cut hydrophobic plastic slides to create 12-millimeter round coverslips and place the coverslips in a new Petri dish [2].

    - WIDE: Talent placing film into dish

      - CU of 2.1.1

    - MED: Talent cutting coverslips  Author comment: 2.1.2 and 2.2.1 all in same shot

  - [1] and use tweezers to carefully remove the protective film from the coverslips [2].

    - MED OS: Talent placing coverslips into Petri dish

    - CU: Film being removed

    - Same as 2.2.2 ECU

  - Place the photomask on a clean and stable surface, chrome side up [1], and add a 2-microliter drop of double-distilled water at the position of the desired chip design [2].

    - CU: Photomask being placed chrome-side up

    - CU: Drop being added

  - Gently press a coverslip onto the drop [1] and place the holder on top of the plastic slides [2].

    - CU: Coverslip being placed/pressed

    - CU: Holder being placed

  - Carefully fix this sandwich with clamps to maintain the plastic pieces in contact with the photomask [1] and place the assembly in an ultraviolet-ozone lamp at approximately 2 centimeters from the light source for a 10-minute illumination [2].

    - CU: Sandwich being fixed

    - CU: Shot of assembly in lamp, then light source being switched on

  - At the end of the illumination period, grasp the sandwich with the photomask at the bottom [1] and carefully remove the clamps while maintaining pressure with one hand to prevent the slides from moving about while disassembling the sandwich [2].

    - CU: Sandwich being grasped

    - CU: Clamps being removed/pressure being maintained   Author comment: 2.6.1 and 2.6.2 in one shot

  - When all of the clamps have been removed, remove the holder, taking care that all of the plastic pieces are still on the mask and not stuck to the holder [1] and add double-distilled water to the chips to gently detach the chips from the photomask [2].

    - CU: Holder being removed

    - CU: Shot of photomask with plastic pieces, then water being added to chips

    - Same as 2.7.2 ECU

  - Place the photopatterned chips within the matrix deposition chamber, illuminated-side up [1], and add 200 microliters of coating solution onto each chip [2-TXT].

    - CU: Chip(s) being placed

    - CU: Coating solution being applied TEXT: Film prevents drop from falling outside of chip

  - Then add a 3-cenimeter Petri dish filled with double-distilled water to the chamber to limit evaporation at 4 degrees Celsius overnight [1].

    - MED: Talent placing dish into chamber and going to fridge.

- Seeding Procedure

  - For seeding of embryonic cells onto the chips, wash the chips with two, at least 5-minute washes in fresh, sterile PBS per wash [1] before dispensing 1 x 105 cells in 200 microliters of the appropriate cell culture medium onto each chip, then close the seeding chamber[2-TXT].

    - WIDE: Talent adding PBS to chip(s), with PBS container visible in frame

    - CU: Cells being added to chip(s), with medium container label visible in frame if possible TEXT: e.g., mESC

  - Incubate for 1hour to allow the cells to adhere to the chips for 1 hour [1].

    - MED: Talent taking the chamber to incubator

  - When the cells have attached, fill the wells of a multiwell plate with 500 microliters of warm medium/well [1] and use sterile tweezers to transfer the chips into individual plate wells [2].

    - MED: Talent adding medium to well(s), with medium container visible in frame

    - CU: Chip being placed into well  Author comment: 2 takes, both slated as take 1

  - Shake the plate vigorously to detach any non-adherent cells [1] and immediately replace the supernatant with fresh warm medium [2].

    - CU: Plate being shaken

    - MED OS: Talent adding medium to well(s), with medium container visible in frame

  - Then check under the microscope to observe whether patterning is visible [1-TXT].

    - LAB MEDIA: Figure 2A TEXT: Repeat until patterning clearly visible

- Fixation

  - Forty-eight hours after their plating, the cells should form dense colonies that rigorously follow the shape of the patterns [1].

    - LAB MEDIA: Figure 2B

  - Leaving the chips in the plate, remove all but just enough medium to prevent the chips from drying [1], and add at least 500 microliters of paraformaldehyde, or PFA (P-F-A), -based fixation solution per well [2].

    - WIDE: Talent removing medium from well(s)

      - CU of 4.2.1

    - CU: PFA being added to well(s), with PFA container label visible in frame

  - After 10 minutes, briefly wash the wells three times with washing solution [1-TXT] followed by one wash with 50-millimolar ammonium chloride diluted in washing solution to quench residual PFA cross-linking activity [2].

    - MED: Talent adding washing solution to well(s), with washing solution container visible in frame TEXT: See text for all solution preparation details Author comment: 2 takes, both slated as take 1

    - CU: NH4Cl being added to well, with NH4Cl container label visible in frame

  - After the last wash, treat the samples with blocking solution for at least 30 minutes [1].

    - MED: Talent adding blocking solution to well(s), with blocking solution container visible in frame

- Immunostaining

  - For immunostaining of the chip cultures, transfer the chips into a staining chamber cell-side up [1] and immediately add 100 microliters of the primary antibody solution of interest to each chip [2-TXT].

    - WIDE: Talent placing chips into chamber

    - CU: Ab being added to chip(s), with Ab container label(s) visible in frame TEXT: See text for Ab suggestion/preparation details

  - After 1 hour on a rotating platform at room temperature [1], wash the chips three times with washing solution as demonstrated [2] and incubate the chips with the appropriate secondary antibodies for 1 hour on the rotating platform [3].

    - CU: Chips rotating on platform

    - MED: Talent adding washing solution to chip(s), with washing solution container visible in frame Videographer: Shot will be used again

    - CU: Ab being added to chip(s), with Ab container label(s) visible in frame

  - At the end of the secondary antibody incubation, wash the chips three times in washing solution [1] and mount the chip on a microscopy slide 20 microliters of any standard mounting medium [2].

    - Use 5.2.2. Talent washing chip(s)

    - CU: Chip being mounted, with mounting medium container label visible in frame as possible

- Imaging and Image Analysis

  - To image the chips, first adjust the scanning speed [1], image resolution, frame averaging, and detector gains to identify an optimum between the image quality and the imaging time [2].

    - WIDE: Talent adjusting scanning speed, with monitor visible in frame Author comment: slated as 6.1.2

    - MED: Talent setting parameter, with monitor visible in frame  Author comment: slated as 6.1.3

  - Then acquire images of each chip [1].

    - LAB MEDIA: Figure 3A

  - When all of the images have been acquired, install and run PickCells following the documentation available online [1], create a new experiment [2] and import the images into the program [3].

    - SCREEN: 6_3_1: PickCells being started and user logging in

    - SCREEN: 6_3_2: User creating a new experiment and launching the new experiment.

    - SCREEN: 6_3_3: Image(s) being imported

  - Use the Nessys module to segment the nuclei based on the nuclear envelope signal [1-TXT].

    - SCREEN: 6_4_1: Some nucleus segmentation TEXT: See link for more nucleus segmentation details: https://pickcellslab.frama.io/docs/use/features/segmentation/nessys/

  - Use the Basic Segmentation module to identify the patterns autofluorescence signal. [1].

    - SCREEN: 6_5_1_and_6_6_1: Pattern being segmented

  - Then click Finish and wait for all of the images to be processed [1].

    - SCREEN: 6_5_1_and_6_6_1: Finish being clicked, then image(s) being processed

  - To create nuclei objects and to compute basic object features, launch the Intrinsic features module from the task bar and close the Ellipsoid Fitter and Surface Extractor panels to keep only the Basic Features panel open [1].

    - SCREEN: 6_7_to_6_9_features_patterns: Intrinsic features being launched, the Ellipsoid Fitter and Surface Extractor panels being closed

  - Select Nucleus as the object type and select the provided prefix given for the “segmented images” [1].

    - SCREEN: 6_7_to_6_9_features_patterns: Nucleus and prefix being selected

  - Then click Compute and wait for all the images to be processed [1].

    - SCREEN: 6_7_to_6_9_features_patterns: Compute being clicked, then image(s) being processed

  - To store the name of the image each nucleus belongs to as a nucleus attribute, click Data and New Attribute and select Nucleus in the popup dialog [1].

    - SCREEN: 6_10_to_6_15: Data and New Attribute being clicked, then Nucleus being selected

  - Click Ok, select Collect data from other objects connected to the node, and click Next [1].

    - SCREEN: 6_10_to_6_15: Ok being clicked, then Collect data being selected, then Next being clicked

  - In the left panel, select Image and double click on the interrogation mark to set the image node as target of the path [1].

    - SCREEN: 6_10_to_6_15: Image being selected, then interrogation mark being clicked

  - Expand the Available Attributes pane and select the Name attribute [1].

    - SCREEN: 6_10_to_6_15: Available Attributes being expanded, then Name being selected

  - Expand the Reduction operation pane and select Get One before clicking Change and Next [1].

    - SCREEN: 6_10_to_6_15: Pane being expanded, then Get One being selected and Change and Next being clicked

  - Enter “Image Name”, press the tab key, and click OK [1].

    - SCREEN: 6_10_to_6_15: Image Name being entered, Tab being pressed, then OK being clicked

  - Then export the data to a tab separated value file [1].

    - SCREEN: 6_16: Data being exported

  - For R analysis, move the exported data to the ‘data’ folder of the R script folder [1].

    - SCREEN: 6_17_to_6_19: data being moved to proper directory

  - Open Rstudio and open the binned map template R script [1].

    - SCREEN: 6_17_to_6_19: Rstudio and binnedmap_template.R script being opened

  - Then set the working directory to the source file location and run the script to generate density maps [1].

    - SCREEN: 6_17_to_6_19: Working directory being set to source file location, then script being run/density map(s) being generated

# Section – Results

- Results: Representative Micropattern Shape Analyses

  - At 1 hour after cell seeding, the individual cell culture patterns may not be fully confluent [1], as the cells proliferate over time, however, the patterns will become fully colonized with only very few cells outside the adhesive surfaces [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2B

  - Patterning that is not clear up to 2 hours after seeding indicates a failure of the procedure [1].

    - LAB MEDIA: Figures 2C and 2D

  - The spatial confinement of mouse embryonic stem cells on small disc [1] or ellipse micropatterns guides the patterning of a subpopulation of cells expressing the mesodermal brachyury marker, for example [2].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize Disc image row

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize Ring image row

  - When the mouse embryonic stem cells are grown on large disc micropatterns [1], the brachyury-positive cells are preferentially restricted to the periphery of the pattern [2], where the local cell density is the lowest [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A: JoVE Video Editor please emphasize Trba Density image

    - LAB MEDIA: Figure 5A: JoVE Video Editor please emphasize white/light dots in center of All Cells image

  - This patterning is confirmed by the map of mean brachyury intensity [1].

    - LAB MEDIA: Figure 5A: JoVE Video Editor please emphasize Tbra Mean Intensity image

  - These data demonstrate that the method can reveal sub-visual information [1], as the inspection of one colony is not sufficient to identify any form of spatial organization in marker of interest expression [2].

    - LAB MEDIA: Figure 3B

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize red signal in Tbra/LamininB1 images

  - This is notably explained by the important colony to colony variability [1].

    - LAB MEDIA: Figure 5A: JoVE Video Editor please emphasize Tbra Std Dev image

  - The technique also demonstrates that no detectable patterning exists for inhibitor of DNA binding 1 [1], which may indicate that T patterning is not driven by bone morphogenetic protein signaling in this context [2].

    - LAB MEDIA: Figure 5A: JoVE Video Editor please emphasize Id1 image row

    - LAB MEDIA: Figure 5A

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Darren Wisniewski: (Step: 2.4., 2.7., 3.1., 3.3.) Always remember which side of the coverslip has been illuminated and coated and be sure that the cells have properly adhered before washing off the excess cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Guillaume Blin: This method allows the study of which environmental cues are important in guiding self-organization of cells, and can inform mathematical models that also help us better understand developmental patterning [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera