# Submission ID #: 59637

# Scriptwriter Name: Laura Rigolo

# Project Page Link: http://www.jove.com/files_upload.php?src=18189333

Title: Use of a Wireless Video-EEG System to Monitor Epileptiform Discharges Following Lateral Fluid-Percussion Induced Traumatic Brain Injury

# Authors and Affiliations:

Matthew J McGuire1, Steven M Gertz1, Jolie D McCutcheon2, Chelsea R Richardson3, David J Poulsen1

1Department of Neurosurgery, Jacobs School of Medicine and Biomedical Science, Buffalo, NY, USA

2Comparative Medicine Laboratory Animal Facilities, University at Buffalo, Buffalo, NY, USA

3emka Technologies, Arlington, VA, USA

# Corresponding Author:

David J Poulsen		(davidpou@buffalo.edu)

# Email addresses for Co-authors:

Email Addresses of Co-authors:

Matthew J McGuire 		(mm474@buffalo.edu)

Steven M Gertz 		(smgertz@buffalo.edu)

Jolie D McCutcheon 		(joliemcc@buffalo.edu)

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  Yes, we will be using a stereo microscope to

perform surgery.

Can you record movies/images using your own microscope camera? (Y/N) No

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

We have a Leica A60 stereo microscope with 5-30 X zoom. The scope does have its own

lamination source. We also have a fiber optic lamp.

2. Does your protocol include software usage? (Y/N) N

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.3, 2.5, 2.7, 3.3, 4.3, 4.6, 5.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.7: It’s important to ensure the luer lok hub is completely sealed tight to the bone. We apply a second bead of glue around the edge before adding dental cement. We then fill the hub with saline to ensure there is no leakage.

4.3: It is critical that a solid connection is made between the screw in the skull and the electrode wire. We wrap the exposed end of the electrode multiple times around the screw, tightly securing it to the screw.

5. Will the filming need to take place in multiple locations? (Y/N) Yes, 2 rooms.

If yes, how far apart are the locations? They are on the same floor, just down the

hall.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement. If only one author is giving the REQUIRED statements, the same author may speak both statements.

# Why is your protocol significant? OR What key questions can this method help answer?

  - Dr. David Poulsen: This example seeks to harmonize studies which use the lateral FPI model of TBI coupled with videoEEG telemetry.

# It can be used to monitor drug interventions which potentially prevent the progression of post traumatic epilepsy.

# What is the main advantage of this technique?

  - Dr. David Poulsen: This approach permits long-term videoEEG recording of freely moving rats and allows for the moderate manipulation of animals without the interruption of EEG recording.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- These OPTIONAL statements must be spoken by different authors than those who gave the Required Interview Statements.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Dr. David Poulsen: This approach can be helpful in the identification of electrographic biomarkers and the testing of potential treatments to prevent epileptogenesis.

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Author Name: ___________ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Why is visual demonstration of this method critical?

  - Dr. David Poulsen: Visualization of this method can help to improve harmonization between studies from multiple labs.

# Introduction of Demonstrator: (Said by you on camera)

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Dr. David Poulsen: Demonstrating the procedure will be Mathew McGuire, an MD/PhD student from my laboratory.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the University at Buffalo Institutional Animal Care and Use Committee (IACUC).

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single work day, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and work spaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Carniectomy

  - See the manuscript accompanying this protocol for detailed surgical procedures [1].  Using a fully anesthetized Wistar rat, use a 23-gage needle to inject 0.5% bupivacaine hydrochloride intradermally into the scalp at the incision site 10 to 15 minutes prior to making an incision [2].

    - WIDE: Show the rat already set up in the stereotaxic frame.

    - MED: Talent uses a 23-gage needle to inject 0.5% bupivacaine hydrochloride intradermally into the scalp.

  - Then, make a 1.5 to 2.5 cm midline incision through the skin and muscle of the scalp using a #10 scalpel blade [1]. Retract the skin and muscle to expose the skull and provide a clear surgical field [2]. Reflect the underlying fascia and fatty tissue away from the bone with sterile cotton swabs [3].

    - MED: Talent makes a midline incision through the skin and muscle.

    - CU: Talent retracts the skin and muscle to expose the skull.

    - CU: Talent reflects the underlying fascia and fatty tissue with sterile cotton swabs.

  - Next, shave down the lateral ridge of the left parietal bone using a surgical curette to produce a smooth flat surface so that the base of the female-female Luer lock hub can rest flush with the skull [1].

    - CU: Talent shaves down the lateral ridge of the left parietal bone to produce a smooth flat surface.

  - Irrigate the skull surface and surrounding tissues with 0.5 mg/mL gentamicin solution in sterile saline, and blot excess solution with a sterile gauze [1]. Then apply 3% hydrogen peroxide to the skull to dry the bone [2].

    - MED: Talent irrigates the skull surface and surrounding tissues, then blots.

    - CU: Talent applies 3% hydrogen peroxide to the skull.

  - At this point create a 5 millimeter diameter craniectomy site through the left parietal bone [1]. Remove the bone flap with the surgical curette and smooth tissue forceps [2].

    - CU: Talent creates the 5 mm craniectomy site.

    - SCOPE: Talent removes the bone flap

  - Next, using  a stereomicroscope, gently remove the thin rim of bone remaining with smooth tissue forceps, taking care not to rupture the dura [1].  Then swab the skull with 70% ethanol to remove any bone dust and to dry the skull [2].

    - SCOPE: The thin rim of bone is gently removed. (scope shot if possible, otherwise CU)

    - MED: Talent swabs the skull with 70% ethanol to remove bone dust.

  - Apply a thin layer of cyanoacrylate glue around the bottom edge of the Luer lock hub [1] and secure it to the skull over the craniectomy without obstructing the opening, and without allowing the glue to contact the dura [2]. Then seal the Luer lock in place with a thin layer of glue around the outside base of the hub [3].

    - CU: Talent applies a thin layer of cyanoacrylate glue around the bottom edge. (Authors, is the stereomicroscope in use here or for any other shots? (see comment)) yes

    - CU: the hub is secured in place over the craniectomy.

    - CU: Talent seals the Luer lock in place with glue.

  - Next, prepare a slurry of dental cement, and apply this to the surface of the skull around and over the base of the Luer lock hub to secure it in place [1].

    - MED: Talent applies the dental cement to the surface of the skull around and over the base of the Luer lock hub.

  - Then fill the Luer lock hub with a sterile preservative free solution containing multiple electrolytes using a syringe and needle [1].  A convex bolus of saline should be seen above the top of the rim [2].

    - MED: Talent fills the Luer lock hub with the solution.

    - CU: show the convex bolus of saline above the top of the rim.

  - Once the dental cement is completely cured, discontinue gas anesthesia and remove the rat from the stereotaxic frame [1].

    - MED: talent discontinues the gas anesthesia and removes the rat from the stereotaxic frame.

- Lateral Fluid Percussion Injury (FPI)

  - Place the rat on a platform next to the fluid percussion injury device [1]. Then, secure a 12-centimeter length of pressure tubing to the end of the device’s curved tip [2] with the opposite end terminating in a 2 centimeter male Luer lock twist connector [3].

    - MED: Talent places the rat on a platform next to the FPI device.

    - MED: Talent secures a 12-centimeter length of pressure tubing to the end of the device’s curved tip.

    - CU: show the 2 centimeter male Luer lock twist connector.

  - Secure the rat to the device by connecting the female end of the hub on the rat’s skull to the male connector [1]. Place the animal in sternal recumbency (authors, is the animal placed in sternal recumbency at this point, or when it is first placed on the platform in 3.1 (when it is first placed on the platform)  and repeatedly check for return of withdrawal reflex [2].

    - MED: Talent secures the rat to the device as described.

    - MED: With the animal in sternal recumbency, talent checks for return of withdrawal reflex (no response yet).

  - As soon as the rat regains withdrawal reflex but is still sedated [1], release the pendulum of the device to cause a single 20 millisecond pressure pulse and induce injury [2].

    - MED: talent checks withdrawal reflex, and it has returned.

    - MED: talent releases the pendulum of the device.

  - Then immediately disconnect the rat from the FPI device, place it in sternal recumbency [1], and provide supplemental oxygen via a nose cone until spontaneous breathing returns [2].

    - MED: Talent disconnects the rat from the device, then places it in sternal recumbency.

    - MED: Talent provides supplemental oxygen via a nose cone.

  - Note that apnea is an anticipated consequence of the injury. If necessary, provide periodic manual breaths via a bag valve mask until the rat begins to spontaneously breathe on its own [1]. Monitor continuously and record the time of return of righting reflex [2].

    - MED: talent provides manual breaths via a bag valve mask, then checks to see if the animal is breathing.

    - MED: Show return of righting reflex (stable ambulation on all four limbs).

- Implantation of cortical EEG electrodes and video-EEG recording

  - Four hours after injury, again anesthetize the rat and place it back into the stereotactic frame to remove the Luer lock hub and dental cement [1].

    - MED: Talent anesthetizes the rat.

  - Apply a small drop of 0.5% bupivacaine hydrochloride to the skull in each of the locations where 5 pilot holes are to be drilled (see Figure 1) [1]. Then, drill the pilot holes through the skull with a hand-held 0.1 millimeter drill bit [2].

    - CU: talent applies a  small drop of 0.5% bupivacaine hydrochloride to the skull in each of the locations.

    - MED: talent drills pilot holes.

  - Next, secure a stainless-steel electrode screws. First place a reference screw caudal to the lambda over the cerebellum [1]. Then, place recording electrodes in the 4 locations as seen here [2].

    - CU/SCOPE: talent secures a srew into the reference pilot hole.

    - LM: Show figure 1A only (authors, can you please upload each panel of figure 1 as a separate file, so we can show 1A here?) panel A has been uploaded as a separate file

  - Next swab the skull with 70% ethanol to remove any bone dust [1], then cover the craniectomy site with a thin layer of sterile bone wax to cover the exposed dura [2].

    - CU: The skull is swabed with 70% ethanol.

    - CU/SCOPE: The craniectomy site is covered with a thin layer of sterile bone wax.

  - Now connect an electrode array to the 5 EEG electrodes by wrapping the exposed end of a color-coded electrode wire tightly around its designated stainless-steel electrode screw [1].

    - MED/SCOPE: Talent wraps the exposed end of a color-coded electrode wire tightly around a few of the screws .

  - Collect the electrode wires into a coil underneath the pedestal and secure the wires and pedestal into place with bone cement [1]. Hold the pedestal in position until the bone cement has cured [2].

    - MED: The coil of wires and pedestal are secured into place with bone cement.

    - MED: Talent holds the pedestal in position.

  - Finally, attach the wireless transmitter with fresh batteries to the pedestal before removing the animal from the stereotactic frame [1].

    - MED: Talent attaches the wireless transmitter with fresh batteries to the pedestal.

- Collection of video-EEG recordings and analysis

  - Beginning on the day of injury, use the EEG manufacturer’s collection software to continuously record video-EEG, linking each wireless transmitter via a unique frequency to a specific receiver [1].

    - MED: Talent turns on the video EEG software and navigates to the window showing the EEG signal.

  - Record video of each rat with its own camera configured to record at 30 frames per second [1].. Manually screen through the EEG recordings to identify index events that define seizure activity [2].

    - CU: show the rat with its own camera.

    - MED: Talent screens through the EEG recording and identifies (points to) an event/events that define seizure activity

  - Next, using analysis software and index events, create a configuration file that uses key parameters to define the characteristics of the potential seizure events [1].

    - SCREEN: show creation of configuration file that uses key parameters (Authors, is this something that can be shown with screen capture?) yes

  - Confirm potential convulsive seizures by using video recordings collected during acquisition, which are synchronized with each rat’s respective EEG recordings [1].

    - SCREEN:  Show video recordings collected during acquisition showing potential convulsive seizures.

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

# (Note: restricted to 200 words)

- Results: Lateral Fluid-Percussion Induced Traumatic Brain Injury

  - This figure shows unilateral, intermittent delta slowing collected on the day of a moderate TBI. Here (A) we see a 90 second EEG trace from a sham operated, uninjured control rat, with (B) FFT analysis of 2048 millisecond  selected EPOC. Then here we see an EEG trace of a moderately injured animal, which demonstrates the intermittent, unilateral delta slowing pattern. (C) and FFT analysis (D) of 2048 millisecond selected EPOC from the moderate TBI animal.

    - LM: Figure 2 A B C D Authors, can you please submit all Figure panels as separate image files? This is so we can have the Jove video editor show each panel one at a time as they are describeb.  All directions to the editor will be in blue.

  - This figure shows bilateral, continuous delta slowing collected on the day of a severe TBI using the same analysis techniques.  Here we see a 90 second EEG trace, which demonstrates the continuous, bilateral delta slowing pattern of a severely injured animal (C)

    - LM: Figure 3  Jove Video editor: highlight C with “90 second EEG trace”

  - Here we see Nonconvulsive electrographic seizure activity collected 3 days post severe TBI. Data from a control rat 3 days after surgery is shown, as well as a 90 second EEG trace three days post severe injury and FFT analysis of a 2048 millisecond selected EPOC.

    - LM: Figure 4 Jove Video editor: highlight C with “90 second EEG trace”

  - And finally, here we see convulsive electrographic seizure activity collected 9 days post TBI.

    - LM: Figure 5 Jove Video editor: highlight seizure activity in C.

  - Finally, this Figure presents representative images of occasional intermittent signal drop out and loss of signal due to battery failure.

    - LM: Figure 6

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Mathew McGuire: (Step: 2.6) It is important to ensure that the dura is not disruoted and remains intact after the craniectomy and that the luer lok hub is securely sealed to the skull.

  - Mathew McGuire: (Step: 4.5) It is also important to make sure the electrode wires make good contact with the recording screws placed in the skull.

  - Mathew McGuire: (4.6) Make sure the skull is clean of dust and is dry to ensure bone cement retains the head stage long-term.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.