TITLE:

Calcium Carbonate Formation in the Presence of Biopolymeric Additives

AUTHORS AND AFFILIATIONS:

David N. Azulay1,2, Liraz Chai1,2

1Institute of Chemistry, Edmond J. Safra Campus, The Hebrew University of Jerusalem, Jerusalem, Israel

2The Harvey M. Krueger Family Center for Nanoscience and Nanotechnology, Edmond J. Safra Campus, The Hebrew University of Jerusalem, Jerusalem, Israel

Corresponding author:

Liraz Chai		(Liraz.chai@mail.huji.ac.il.)

Email address of co-author:

David N. Azulay	(david.azulay@mail.huji.ac.il)

KEYWORDS:

biomineralization, calcium carbonate, biopolymers, TapA, bacterial extracellular matrix, precipitation, biofilms

SUMMARY:

We describe a protocol for the precipitation and characterization of calcium carbonate crystals that form in the presence of biopolymers.

ABSTRACT:

Biomineralization is the formation of minerals in the presence of organic molecules, often related with functional and/or structural roles in living organisms. It is a complex process and therefore a simple, in vitro, system is required to understand the effect of isolated molecules on the biomineralization process. In many cases, biomineralization is directed by biopolymers in the extracellular matrix. In order to evaluate the effect of isolated biopolymers on the morphology and structure of calcite in vitro, we have used the vapor diffusion method for the precipitation of calcium carbonate, scanning electron microscopy and micro Raman for the characterization, and ultraviolet-visible (UV/Vis) absorbance for measuring the quantity of a biopolymer in the crystals. In this method, we expose the isolated biopolymers, dissolved in a calcium chloride solution, to gaseous ammonia and carbon dioxide that originate from the decomposition of solid ammonium carbonate. Under the conditions where the solubility product of calcium carbonate is reached, calcium carbonate precipitates and crystals are formed. Calcium carbonate has different polymorphs that differ in their thermodynamic stability: amorphous calcium carbonate, vaterite, aragonite, and calcite. In the absence of biopolymers, under clean conditions, calcium carbonate is mostly present in the calcite form, which is the most thermodynamically stable polymorph of calcium carbonate. This method examines the effect of the biopolymeric additives on the morphology and structure of calcium carbonate crystals. Here, we demonstrate the protocol through the study of an extracellular bacterial protein, TapA, on the formation of calcium carbonate crystals. Specifically, we focus on the experimental set up, and characterization methods, such as optical and electron microscopy as well as Raman spectroscopy.

INTRODUCTION:

Biomineralization is the formation of minerals in the presence of organic molecules, often related with functional and/or structural roles in living organisms. Biomineralization may be intracellular, as in the formation of magnetite inside magnetotactic bacteria1, or extracellular, as in the formation of calcium carbonate in sea urchin spikes2, of hydroxyapatite that is related with collagen in bones3 and of enamel that is associated with amelogenin in teeth4. Biomineralization is a complex process that depends on many parameters in the living organism. Therefore, in order to simplify the system under study, it is necessary to evaluate the effect of separate components on the process. In many cases, biomineralization is induced by the presence of extracellular biopolymers. The purpose of the method presented here are as follows: (1) To form calcium carbonate crystals in the presence of isolated biopolymers in vitro, using a vapour diffusion method. (2) To study the effect of the biopolymers on the morphology and structure of calcium carbonate.

Three principal methods to precipitate calcium carbonate in vitro in the presence of organic additives are used5,6. The first method, which we will refer to as the solution method, is based on mixing a soluble salt of calcium (e.g., CaCl2) with a soluble salt of carbonate (e.g., sodium carbonate). The mixing process may be performed in several ways: inside a reactor with three cells that are separated by porous membranes7. Here, each of the outer cells contains a soluble salt and the central cell contains a solution with the additive to be tested. Calcium and carbonate diffuse from the outer to the middle cell, resulting in the precipitation of the less soluble calcium carbonate when the concentrations of calcium and carbonate exceed their solubility product, Ksp = [Ca2+][CO32-]. An additional mixing method is the double-jet procedure8. In this method, each soluble salt is injected from a separate syringe to a stirred solution containing the additive, where calcium carbonate precipitates. Here, the injection and therefore the mixing rate is well controlled, in contrast with the previous method where mixing is controlled by diffusion.

The second method used to crystallize CaCO3 is the Kitano method9. This method is based on the carbonate/hydrogen carbonate equilibrium (2HCO3- (aq) + Ca2+(aq) ⇋ CaCO3 (s) + CO2 (g) + H2O (l)). Here, CO2 is bubbled into a solution containing CaCO3 in a solid form, shifting the equilibrium to the left and therefore dissolving the calcium carbonate. The undissolved calcium carbonate is filtered and the desired additives are added to the bicarbonate-rich solution. CO2 is then allowed to evaporate, thereby shifting the reaction to the right, forming calcium carbonate in the presence of the additives.

The third method of calcium carbonate crystallization, which we will describe here, is the vapor diffusion method10. In this set-up, the organic additive, dissolved in a solution of calcium chloride, is placed in a closed chamber near ammonium carbonate in a powder form. When ammonium carbonate powder decomposes into carbon dioxide and ammonia, they diffuse into the solution containing calcium ions (e.g., CaCl2), and calcium carbonate is precipitated (see Figure 1 for illustration). The calcium carbonate crystals can grow by slow precipitation or by fast precipitation. For the slow precipitation, a solution containing the additive in CaCl2 solution is placed in a desiccator next to the ammonium carbonate powder. In the fast precipitation, described in length in the protocol, both the additive solution and the ammonium carbonate are placed closer together in a multi-well plate. The slow precipitation method will produce fewer nucleation centers and larger crystals, and the fast precipitation will result in more nucleation centers and smaller crystals.

The methods described above differ in their technical complexity, in the level of control and in the rate of the precipitation process. The mixing method requires a special set-up6 for both the double jet and the three-cell system. In the mixing method, the presence of other soluble counter ions (e.g., Na+, Cl-)6 is inevitable, whereas in the Kitano method, calcium and (bi) carbonate are the only ions in solution and it does not involve the presence of additional counter ions (e.g., Na+, Cl-). Furthermore, the mixing method requires relatively large volumes and therefore it is not suitable for working with expensive biopolymers. The advantage of the double jet is that it is possible to control the rate of solution injection and that it is a rapid process in comparison to other methods.

The advantage of the Kitano method and the vapor diffusion method is that the formation of calcium carbonate is controlled by diffusion of CO2 into/out of a CaCl2 solution, thus allowing to probe slower nucleation and precipitation processes11,12. Furthermore, calcium carbonate formation by diffusion of CO2 may resemble calcification processes in vivo13-15. In this method, well-defined and separated crystals are formed16. Last, the effect of single or multiple biopolymers on calcium carbonate formation can be tested. This enables a systematic study of the effect of a series of additive concentrations on calcium carbonate formation as well as a study of mixtures of biopolymers – all performed in a controlled manner. This method is suitable for use with a large range of concentrations and volumes of additives. The minimal volume used is approximately 50 µL and therefore this method is advantageous when there is a limited amount of the available biopolymers. The maximal volume depends on the accessibility of a larger well-plate, or the desiccator into which the plate or beaker containing CaCl2 are to be inserted. The method described below has been optimized for working in a 96-well plate with a biopolymer chosen to be the protein TapA17.

PROTOCOL:

- Calcium carbonate crystallization

1.1. Control preparation and optimization

1.1.1. Prepare clean glass pieces. Use the same cleaning procedure to clean the glassware.

1.1.1.1. Use a diamond pen to cut pieces of a glass microscope slide so that they fit in a well of a 96-well plate.

NOTE: 5 mm x 5 mm pieces should largely fit.

1.1.1.2. Place the glass pieces in a beaker with triple distilled water (TDW) so that water covers the glass slides and sonicate in a bath sonicator for 10 min.

1.1.1.3. Decant the water, add ethanol to cover the glass slides, and sonicate in a bath sonicator for 10 min.

1.1.1.4. Dry the slides and the glassware with a stream of nitrogen gas and place them in an air plasma cleaner for 10 min at 130 W.

1.1.2. Optimize the concentration of the CaCl2 used in the calcification experiments performed under the desired experimental conditions to achieve a sample rich with smooth-faceted calcite crystals (without or at least with a scarce number of vaterite crystals).

1.1.2.1. Fill the wells at the corners of a 96-well plate with ammonium carbonate powder and seal the plate using aluminum foil; cover the foil with paraffin film. Clean any residual ammonium carbonate using nitrogen gas.

CAUTION: Ammonium carbonate irritates nose and lungs; use only inside the fume hood.

1.1.2.2. Prepare a stock solution of 0.5 M CaCl2. This stock solution will be used to prepare a gradient of concentrations of CaCl2 solutions in the multi-well plate.

NOTE: A 10 mL stock solution is sufficient for the whole experiment.

1.1.2.3. Place the previously cut and cleaned glass pieces into five different wells. Use the closest wells to the center.

1.1.2.4. Fill each well bearing a glass piece with 100 µL of CaCl216. Mix TDW and 0.5 M CaCl2 (stock) to achieve an increasing concentration gradient of CaCl2 across the different wells. If a different sized well-plate is used, adjust the concentration of CaCl2 to achieve separate calcite crystals (step 1.1.2.10, and see Discussion section).

NOTE: An increasing CaCl2 gradient of 10, 20, 30, 40 ,50 mM concentrations in separate wells is used in this protocol. To increase the concentration range or the number of concentrations tested, use additional wells.

1.1.2.5. Puncture the cover of each of the wells containing ammonium carbonate 3x with a needle.

1.1.2.6. Put back the lid, seal the borders with paraffin film and keep it at 18 °C in an incubator for 20 h.

1.1.2.7. After the incubation, open the lid carefully inside a fume hood and remove the crystals formed at the water/air interface with a loop.

1.1.2.8. Use a tweezer to transfer the glass pieces into a beaker containing double distillated water (DDW). Remove the samples from the beaker, dry excessive water touching the borders of the slide with tissue wipers.

1.1.2.9. Place the slides in a covered Petri dish. Use a double-sided tape to fix the glass pieces onto the bottom of the Petri dish. Place the Petri dish in a desiccator for 24 h.

1.1.2.10. Observe the crystals formed on the glass pieces with a stereoscope (3.5x magnification) and/or an upright optical microscope (10x–40x magnification). If the control solutions are clean, rhombohedral crystals (most likely calcite) will be observed with an optical microscope (Figure 2A).

1.1.2.11. If in addition to the rhombohedral crystals, the control contains spherical crystals (most likely vaterite, Figure 2B), or if scan electron microscope (SEM) images show rhombohedral crystals with rough rather than smooth faces (Figure 3A,B), repeat the crystallization protocol making sure that the cleaning step (1.1.1) is performed correctly. Furthermore, make better care that there is no ammonium carbonate in areas on the plate other than the dedicated wells. Otherwise, continue to the next step.

1.2. Crystallization in the presence of the additives

1.2.1. To study the effect of the additives on the crystallization of CaCO3, set up a multi-well plate that contains (in different wells), a control CaCl2 solution without the additives, and CaCl2 solutions with the additives. Use the optimal concentration of CaCl2 found in section 1.1.2 for the experiment.

NOTE: The protocol below uses optimal conditions as those reported in a previous study16.

1.2.2. Repeat step 1.1.2.2.

1.2.3. Place ammonium carbonate powder in the corners of the plate as described in step 1.1.2.1.

1.2.4. In each well where precipitation will occur, place a glass piece that was cut and cleaned as described in section 1.1.1.

1.2.5. To prepare control wells, pipette 90 µL of TDW into the control wells. Prepare at least one replicate of each well including the control. If the additive used is in a buffer solution, then pipette 90 µL of buffer instead of TDW water.

1.2.6. Prepare the additive-containing wells. Repeat step 1.2.5 by adding 90 µL of the additive solution in water. If the additive is in buffer (instead of TDW), pre-adjust the concentration of the additive with buffer to meet the desired final concentration. Keep a total volume of 90 µL; pipette first the additive, then the buffer.

NOTE: A final concentration of 10 µM of the protein TapA in 100 mM NaCl, 25 mM Tris pH 8.0 buffer16 is used in this protocol.

1.2.7. Add 10 µL of the 0.5 M CaCl2 stock solution (prepared in step 1.2.2) to both the controls and the additives-containing wells to reach a final concentration of 50 mM CaCl2.

1.2.8. Repeat steps 1.1.2.5–1.1.2.9.

- Characterization of calcium carbonate crystals

2.1. With a scanning electron microscope, observe the calcium carbonate crystals formed in the presence of the additives at a higher resolution than that obtained by optical microcopy (see step 1.1.2.10).

2.1.1. Mount the glass pieces containing the crystals on an aluminum stub with double-sided carbon tape.

2.1.2. Coat with a layer of Au/Pd for 40−50 s.

2.1.3. Acquire the images at 5 kV acceleration voltage.

NOTE: Figure 3A shows a representative SEM image of calcium carbonate crystals formed in a proper control experiment, while Figure 4 shows representative images of calcium carbonate crystals formed in the presence of the protein TapA.

2.2. Perform micro Raman spectroscopy to determine the calcium carbonate polymorphs formed. Micro Raman allows the collection of a Raman spectrum from single crystals rather than from a whole powder.

2.2.1. Use a 20x objective of the microscope to choose the crystal of interest.

2.2.2. Collect the Raman spectrum in a range of 100−3200 cm-1 using a 514 nm argon laser.

NOTE: Figure 5 shows representative spectra of calcite (A) and vaterite (B). For the spectrum of aragonite, refer to reference18.

2.3. Quantification of the mass percentage of the additives in the CaCO3 precipitates

2.3.1. Verify/measure the extinction coefficient (ε) of the additive used. The extinction coefficient of a protein can be given by online servers19. If the extinction coefficient is unknown, measure the absorbance of the additive at different concentrations, plot the absorbance vs. concentration and calculate the extinction coefficient from the slope of the curve.

2.3.2. Weigh the glass pieces where the crystals formed, preferably use a microbalance.

2.3.3. Scrap the crystals off the glass into 1.2 mL of 0.1 M acetic acid solution, vortex and sonicate the sample. Store the sample at room temperature for 24 h.

CAUTION: Acetic acid is very hazardous in case of skin or eye contact; handle with caution and dispose following the regulations.

2.3.4. Weigh the glass slide after scraping off the crystals.

2.3.5. Measure the UV/vis absorbance (A) spectrum of the solution. If the additive is a protein, measure the absorbance at 280 nm and calculate its concentration (C), using the Beer-Lambert equation:

C=Aε∙l

where l is the optical path inside the cuvette.

2.3.6. Use the concentration (C) found in 2.3.5 and the volume used (V = 1.2 mL) to calculate the mass (m) of the additives in/on the crystals. If the concentration is in mg/mL, use the equation C∙V=m.

2.3.6.1. If the concentration is in mol/L, then calculate the moles (n) applying C∙V=n. Then use the molecular weight (Mw) to calculate the mass (m) of the additives (m=n∙Mw).

2.3.7. Calculate the weight percentage of the additives in/on the crystals using the equation: Wt%= mΔms∙100, where m is the mass of the additives, and Δms is the mass of the calcium carbonate crystals that were scrapped off the glass piece.

REPRESENTATIVE RESULTS:

A schematic of the experimental set up is shown in Figure 1. Briefly, the diffusion method is used in order to form calcium carbonate crystals in 96-well plates and test the effect of biopolymers on the morphology and structure of the calcium carbonate crystals. In these experiments, ammonium carbonate is decomposed into ammonia and CO2, which diffuse into calcium carbonate solutions, resulting in the formation of calcium carbonate crystals (Figure 1 and Figure 2).

The effect of the biopolymers is evaluated by comparison of the calcium carbonate crystals formed with and without (control) the additives. Prior to the addition of the additives, the optimized calcium carbonate concentration is chosen and the cleanliness of the solutions and glassware is tested. Figure 2A shows a representative image of a control experiment, where distinct rhombohedral calcium carbonate crystals are formed. These crystals are most likely calcite (see Figure 5). If the solutions or plastic or glassware have not been properly cleaned then spherical crystals will form (Figure 2B, marked with red circles), in addition to the rhombohedral calcite crystals. The spherical crystals are most likely vaterite (see Figure 5). An additional indication for the use of proper conditions, is the smoothness of the calcite faces in the control experiment. This can be observed with SEM, as shown in Figure 3. Figure 3A shows a proper control with smooth calcite faces, whereas Figure 3B shows calcite crystals with faces composed of steps. The spherical crystals here are vaterite. The control crystals need to be separated and smooth-faceted so that the effect of the additives on the crystal morphology is clear.

To demonstrate the effect of a biopolymer on the morphology of calcium carbonate, we have used here the protein TapA. Figure 4 shows the crystals of calcium carbonate formed in the presence of TapA in the solution. The crystals are distinct from the control crystals. They form a complex spherical calcium carbonate assembly, composed of multiple calcite microcrystals (see Raman spectrum in Figure 5). One method to characterize the structure of the crystals is Raman spectroscopy. Figure 5 shows the typical spectra of calcite (Figure 5A) and vaterite (Figure 5B), taken from successful (A) and unsuccessful (B) control experiments. Typical absorbance peaks20 are in the range of 100−400 cm-1 (lattice modes), a peak at ~710 cm-1 (symmetric bending of the CO32−) and at ~1090 cm-1 (symmetric stretching of the CO32−). Note the split of the Raman shift at ~1080 cm-1 that is the most evident characteristic of vaterite21. Refer to reference22 for a full spectrum of aragonite. The Raman spectrum of the crystals formed in the presence of TapA is similar to the spectrum of calcite (Figure 5A). In cases where additional peaks appear which do not correspond to a single spectrum of a single calcium carbonate polymorph, or a combination of those, they may be attributed to an excess of calcium chloride that has not been washed thoroughly in step 1.1.2.8.

In the final section of the protocol, we have measured the percentage (weight/weight) of the organic content inside or on the calcium carbonate crystals. The crystals were dissolved in acetic acid and the biopolymer was released into the solution. In cases where the biopolymer has a characteristic absorbance spectrum, its concentration in the solution can be determined. In the case of proteins containing aromatic side groups, as in the case study here of TapA, the absorbance at 280 nm is used. The absorbance spectrum of TapA, measured following dissolution of the crystals in acid, is shown in Figure 6 (green) together with the spectrum of the control (acid-dissolved calcium carbonate crystals without the additive; black). Using Beer-Lambert's law (see step 2.3.5) and using an extinction coefficient of 29,700 M-1 cm-1, we have found that the mass percent of TapA was 1.8% ± 0.2%. Measuring the absorbance of the solution following the crystal dissolution in acid is possible when the biopolymers do not aggregate at low pH. A null signal of the absorbance of the solution containing the additive is indicative of its aggregation. In this case, different analysis methods, such as thermal gravitational analysis (TGA) may be used to estimate the mass of additives present inside/on the crystals.

FIGURE LEGENDS:

Figure 1: Schematic description of the fast vapor diffusion method for the formation of calcium carbonate crystals. A calcium-containing soluble salt (e.g., calcium chloride) is placed near an ammonium carbonate powder. Here we show two wells in a 96-well plate. The plate is then sealed, and the ammonium carbonate decomposed into ammonia and carbon dioxide that diffuse into the calcium-containing well, resulting in the precipitation of calcium carbonate crystals (shown here by the SEM image of a calcite crystal).

Figure 2: Optical microscope images of the calcium carbonate crystals. A clean control contains mostly calcite, which is characterized by rhombohedral crystals (A). When the control sample includes spherical crystals (such as those marked by a red circle) (B), repeat the cleaning protocol as suggested in section 1.1.1.

Figure 3: Scanning electron micrographs of calcium carbonate crystals formed in two control experiments. (A) An image of a sample that contains mostly rhombohedral crystals (calcite). (B) A micrograph of a sample with broken calcite facets and spherical crystals that are most probably vaterite. In this case, control experiments need to be repeated. This figure has been modified from Azulay et al.16.

Figure 4: SEM images of calcite crystals formed in the presence of the protein TapA. Scale bars represent 50 µm (A) and 10 µm (B), respectively. This figure has been modified from Azulay et al.16.

Figure 5: Raman spectra of two polymorphs of calcium carbonate. (A) Calcite. (B) Vaterite.

Figure 6: UV/vis absorbance spectra of TapA (green) and a buffer solution (100 mM NaCl, 25 mM Tris pH 8.0; black). The absorbance was used to calculate the concentration of TapA in the calcium carbonate crystals, following their dissolution in acid.

DISCUSSION:

The method described here is aimed at forming calcium carbonate crystals in the presence of organic additives and evaluating the effect of organic biopolymers on the morphology and structure of calcium carbonate crystals in vitro. The method is based on the comparison of the crystals formed in the presence of the organic additives to the calcite crystals formed in the control experiment. We have shown how to use the diffusion method to form the calcium carbonate crystals, how to characterize their morphology using optical and electron microscopy, how to characterize their structure using Raman spectroscopy, and how to determine the organic content (weight/weight percentage) of the crystals.

We described the protocol that we have used to evaluate the effect of a bacterial extracellular protein, TapA, on the morphology and structure of calcium carbonate, but the protocol can be expended to any other polymer that is biologically purified or synthesized. In addition to the effect of a single biopolymer, this method can be used with mixtures of biopolymers in order to evaluate any mutuality between different polymers in their effect on calcium carbonate precipitation. We have limited the experimental set-up to a 96-well plate; however, any other set-up where calcium carbonate solutions are positioned and physically separated from the ammonium carbonate source (i.e., the solutions and powder are placed in a sealed vessel), is possible. Typical vessels used are multi-well plates and a typical concentration range of 10−50 mM is used for an experimental set-up with 96-well plates10,16,23. A sealed beaker or a desiccator can also be used.

This method is easy to use and it is compatible with low concentrations and low volumes of the biopolymeric additives. Working in a multi-well plate allows the screening of multiple parameters at the same time in one multi-well plate experiment. This method may be sensitive to the relative position of the calcium carbonate wells with respect to the position of the ammonium carbonate powder. Therefore, care needs to be taken to always use wells at the same position in the multi-well plate and also to check that changing the location of the wells does not affect the results. Normally, using a large enough distance between the wells where the experiments take place and the ammonium carbonate powder, ensures that the results are reproducible. In addition, it is critical to adjust the concentration of CaCl2 so that separate crystals are formed in the control experiment, as described in section 1.1.2. The concentration of the additives should also be optimized to exceed a minimal concentration below which no effect is observed. Note that the method is highly sensitive to the concentration of the additives; different additive concentrations may induce a different effect on the morphology and structure of calcium carbonate crystals24.

One major limitation of this method is that ammonia and CO2 both diffuse into the calcium chloride test solutions and therefore there is poor control of the pH throughout the experiment. As a result of the diffusion of ammonia, the pH in solution increases (when ammonia becomes ammonium), as shown in the equilibrium equations5,6 ((NH4)2CO3(s) →2NH3(g) + CO2(g) + H2O(l), NH3(aq) + H2O(l) →NH4+(aq) + OH-(aq), Ca2+(aq) + CO2(aq) +2OH-(aq) ⇋ CaCO3 (s) + H2O (l)) and it favors the formation of calcium carbonate.

Compared to the additional methods described in the introduction, this method is technically simple. Due to the slow precipitation process, crystal growth can be followed in real time, using absorbance or scattering techniques from the transparent multi-well technique. In addition, in order to follow the kinetics of the crystal growth, one can also probe the crystal morphology and structure at different time points, rather than after 20 hours, as performed in our study. This method can be expanded to study the precipitation of other salts of carbonate bearing a small enough Ksp, such as magnesium, barium and cadmium carbonates.

ACKNOWLEDGMENTS:

The authors would like to thank Prof. Lia Addadi, Prof. Jonathan Erez, and Dr. Yael Politi for fruitful discussions. This research has been supported by the Israeli Science Foundation (ISF), grant 1150/14.

DISCLOSURES:

The authors have nothing to disclose.

REFERENCES:

1. Blakemore, R. Magnetotactic bacteria. Science. 190 (4212), 377-379 (1975).

2. Politi, Y., Arad, T., Klein, E., Weiner, S., Addadi, L. Sea Urchin Spine Calcite Forms via a Transient Amorphous Calcium Carbonate Phase. Science. 306 (5699), 1161−1164 (2004).

3. Nudelman, F., Lausch, A. J., Sommerdijk, N. A. J. M., Sone, E. D. In vitro models of collagen biomineralization. Journal of Structural Biology. 183 (2), 258−269 (2013).

4. Sigel, A., Sigel, H., Sigel, R. K. Biomineralization: from nature to application. Vol. 12 (John Wiley & Sons, 2008).

5. Nielsen, M. H., Lee, J. R. I. in Methods in Enzymology Vol. 532 (ed James J. De Yoreo) 209−224 (Academic Press, 2013).

6. Page, M. G., Cölfen, H. Improved Control of CaCO3 Precipitation by Direct Carbon Dioxide Diffusion:  Application in Mesocrystal Assembly. Crystal Growth & Design. 6 (8), 1915−1920 (2006).

7. Wang, H., Huang, W., Han, Y. Diffusion-reaction compromise the polymorphs of precipitated calcium carbonate. Particuology. 11 (3), 301−308 (2013).

8. Sedlák, M., Antonietti, M., Cölfen, H. Synthesis of a new class of double-hydrophilic block copolymers with calcium binding capacity as builders and for biomimetic structure control of minerals. Macromolecular Chemistry and Physics. 199 (2), 247−254 (1998).

9. Kitano, Y., Park, K., Hood, D. W. Pure aragonite synthesis. Journal of Geophysical Research. 67 (12), 4873−4874 (1962).

10. Politi, Y., Mahamid, J., Goldberg, H., Weiner, S., Addadi, L. Asprich mollusk shell protein: in vitro experiments aimed at elucidating function in CaCO3 crystallization. CrystEngComm. 9 (12), 1171−1177 (2007).

11. Gehrke, N., Cölfen, H., Pinna, N., Antonietti, M., Nassif, N. Superstructures of Calcium Carbonate Crystals by Oriented Attachment. Crystal Growth & Design. 5 (4), 1317−1319 (2005).

12. Rudloff, J. et al. Double-Hydrophilic Block Copolymers with Monophosphate Ester Moieties as Crystal Growth Modifiers of CaCO3. Macromolecular Chemistry and Physics. 203 (4), 627−635 (2002).

13. Boquet, E., Boronat, A., Ramos-Cormenzana, A. Production of Calcite (Calcium Carbonate) Crystals by Soil Bacteria is a General Phenomenon. Nature. 246, 527 (1973).

14. Cohen, A. L., McConnaughey, T. A. Geochemical Perspectives on Coral Mineralization. Reviews in Mineralogy and Geochemistry. 54 (1), 151−187 (2003).

15. Erez, J. Vital effect on stable-isotope composition seen in foraminifera and coral skeletons. Nature. 273, 199 (1978).

16. Azulay, D. N. et al. Biopolymers from a Bacterial Extracellular Matrix Affect the Morphology and Structure of Calcium Carbonate Crystals. Crystal Growth & Design. 18 (9), 5582−5591 (2018).

17. Abbasi, R. et al. The Bacterial Extracellular Matrix Protein TapA Is a Two-Domain Partially Disordered Protein. ChemBioChem. (2018).

18. Gauldie, R. W., Sharma, S. K., Volk, E. Micro-raman spectral study of vaterite and aragonite otoliths of the coho salmon, Oncorhynchus kisutch. Comparative Biochemistry and Physiology Part A: Physiology. 118 (3), 753−757 (1997).

19. Gasteiger, E. et al. in The Proteomics Protocols Handbook.  571−607 (Springer, 2005).

20. Gunasekaran, S., Anbalagan, G., Pandi, S. Raman and infrared spectra of carbonates of calcite structure. Journal of Raman Spectroscopy. 37 (9), 892−899 (2006).

21. Trushina, D. B., Bukreeva, T. V., Kovalchuk, M. V., Antipina, M. N. CaCO3 vaterite microparticles for biomedical and personal care applications. Materials Science and Engineering: C. 45, 644−658 (2014).

22. Weiss, I. M., Tuross, N., Addadi, L., Weiner, S. Mollusc larval shell formation: amorphous calcium carbonate is a precursor phase for aragonite. Journal of Experimental Zoology. 293 (5), 478−491 (2002).

23. Yamamoto, Y., Nishimura, T., Saito, T., Kato, T. CaCO3/chitin-whisker hybrids: formation of CaCO3 crystals in chitin-based liquid-crystalline suspension. Polymer Journal. 42, 583 (2010).

24. Magnabosco, G. et al. Insights on the interaction of calcein with calcium carbonate and its implications in biomineralization studies. CrystEngComm. 20 (30), 4221−4224 (2018).