# Submission ID #:  59639

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18189943

# Title:   Construction of CRISPR Plasmids and Detection of Knockout Efficiency in Mammalian Cells through a Dual Luciferase Reporter System

# Authors and Affiliations:

# Hegang Li1*, Jinshan Zhao1*,Huaiyuan Qin1*, Jingjing Xin1, FM Perez Campo2, Huawei Liu1

- Qingdao Agricultural University, Qingdao, China

- University of Cantabria, Santander y Torrelavega, Spain

# *These authors contributed equally.

# Corresponding Authors:

# Huawei Liu

# 201601005@qau.edu.cn

# Email Addresses for All Authors:

# 26305216@qq.com

707589159@qq.com

651772986@qq.com

# 1134729694@qq.com

# f.perezcampo@unican.es

# 201601005@qau.edu.cn

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   No

NOTE to Video Editor: APV, authors said they followed the script precisely.

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Huaiyuan Qin: This protocol describes key steps in the generation and optimization of efficient sgRNA vectors. A pre-selection of candidate sgRNA targets will save time and effort.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Huaiyuan Qin: The main advantage of this protocol is that it makes it possible to analyse the DNA cutting efficiency for each of the sgRNAs without editing endogenous genes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Huaiyuan Qin: This pre-selection method can also be applied to other gene editing methods through double-stranded breaks.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Oligonucleotide Annealing and sgRNA/CRISPR Vector Digestion

  - Begin by diluting the lyophilized oligonucleotides to a final concentration of 10 micromolar in double-distilled water [1]. Mix forward and reverse oligonucleotides in a thin wall PCR tube at a one to one ratio without adding any extra buffer [2].

    - WIDE: Establishing shot of talent diluting the oligos.

    - Talent mixing the forward and reverse oligos.

  - Incubate the mixture at 95 degrees Celsius for 5 minutes [1], then ramp down the temperature to 72 degrees Celsius for 10 minutes [2]. Remove the oligonucleotide mix from the PCR machine and allow it to cool at room temperature [3]. Videographer: This step is important!

    - Talent putting the tube in the PCR machine and closing the lid.

    - Talent adjusting the temperature on the machine.

    - Talent taking the tube out of the PCR machine and setting it on the lab bench.

  - To digest the pX330-xCas9 (pronounce ‘p-X-three-three-zero-x-Cas-nine’) vector with BbsI (pronounce ‘B-B-S-one’), combine the vector, enzyme, and digestion buffer in a 50-microliter volume [1] and incubate the reaction at 37 degrees Celsius for 2 hours [2].

    - Talent combining the reagents. TEXT: 10 units BbsI per 1 μg of plasmid

    - Talent putting the reaction tube in the incubator. Authors: Will you be using the PCR machine for this?

- Identification of the Correct Recombinant Plasmids by PCR

  - After performing cell transformation, choose 5 to 10 bacterial colonies from the LB plate [1] and use each of them to inoculate 1 milliliter of LB media with 60 milligrams ampicillin in a 1.5-milliliter tube [2], then incubate the tubes on a rotary shaker for 2 to 3 hours [3].

    - Talent picking a colony from a plate.

    - Talent transferring the bacteria to the 1mL of LB.

    - Talent placing the tubes in the rotary shaker and starting it.

  - Perform PCR to screen for recombinant plasmids as described in the text manuscript [1], then run the products on a 2% agarose gel under 10 Volts per centimeter [2]. After identifying the positive plasmids, use them along with a reporter vector to co-transfect an appropriate cell line [3-TXT]. Videographer: This step is difficult and important!

    - Talent putting reaction tubes in the PCR machine and closing the lid.

    - Gel running.

    - Talent in front of the lab bench preparing to perform transfection, with all reagents set up and the cells on ice. TEXT: Use an empty vector for negative control

- Dual-luciferase Detection

  - To lyse the cells, remove the growth medium from the cultured cells [1], gently wash the surface of the culture vessel with PBS [2], and dispense 100 microliters of PLB into each culture well to completely cover the cell monolayer [3].

    - Talent removing medium from a few wells.

    - Talent adding PBS to a well, with the PBS container in the shot.

    - Talent adding PLB to a few culture wells, with the PLB container in the shot.

  - Let the plate incubate at room temperature for 20 minutes [1], then transfer the lysate to a tube or vial for further handling or storage [2].

    - Plate on the lab bench.

    - Talent transferring lysate to a tube or vial.

  - To perform the dual-luciferase assay, program the luminometers to provide a 2-second pre-read delay, followed by a 10-second measurement period [1]. Then, dispense 100 microliters of luciferase assay reagent into the appropriate number of luminometer tubes [2]. Videographer: This step is important!

    - Talent programming the luminometer.

    - Talent dispensing the assay reagent into a few tubes.

  - Carefully add up to 20 microliters of cell lysate into the luminometer tube and mix by pipetting 2 or 3 times [1]. Place the tube in the luminometer and initiate the reading [2]. Remove the sample tube from the luminometer [3], add 100 microliters of stop reagent, and vortex briefly to mix [4].

    - Talent adding cell lysate into a luminometer tube and pipetting to mix.

    - Talent placing the tube in the luminometer and starting the read. Videographer: Obtain multiple usable takes, it will be reused in 4.5.1.

    - Talent removing the tube from the luminometer.

    - Talent adding stop reagent to the tube and vortexing it.

  - Return the sample to the luminometer and initiate reading [1]. Record the renilla luciferase activity normalized to the firefly luciferase activity, specifically the reciprocal of the ratio displayed on screen [2]. Discard the reaction tube when finished [3]. Videographer: This step is important!

    - Use 4.4.2.

    - Talent looking at the read results on the screen.

    - Talent discarding the tube.

# Results

- Results: Design of sgRNA to Target Sheep DKK2 Exon 1

  - This method was used to generate 3 sgRNA vectors for sheep DKK2 exon 1. SgRNA and xCas9 expressing vectors were built by predigesting the vector backbone, followed by ligating it in a series of short double-strand DNA fragments through annealing oligo pairs [1-TXT].

    - LAB MEDIA: Figure 2. Video Editor: Label the second lane of the gel “pX330-xCas9” and the third lane “pX330-xCas9 digested with BbsI”.

  - Seven bacterial colonies were screened with specific primer pair-guided PCR and the positive colonies were detected [1].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the bands in lanes 1, 3, 4, 6, and 7.

  - The gene targeting capacities of pX330-xCas9-T1, -T2 and -T3 were simultaneously detected with the dual luciferase assay [1]. The last sgRNA vector displayed the highest detection signal and was subsequently used for sheep gene editing research [2].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize the yellow bar.

# Conclusion

- Conclusion Interview Statements

  - Huaiyuan Qin: Following this protocol, the T7E1 assay or Surveyor nuclease assay can be performed. These additional methods give more accurate efficiencies of endogenous gene editing.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.