Rebutal Letter

Editorial comments:

Changes to be made by the Author(s):

1.Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

We have done our best as not native English speaking persons. Last time one of mine manuscripts was corrected by native English speaking person before sending, I had the same remark that you are doing, both for spelling, grammar and style issues…! May be each Editor should define his Editing rules/language and edit manuscripts accordingly. Several do for the quality and the homogeneity of their publications…

2. Please format the manuscript as: paragraph: Indentation 0 for both left and right and special: none, Line spacings: single. Please leave a single line space between each step, substep and note in the protocol section.

Done, I hope the manuscript is soft to see as it stands

3. Please reword the title to remove colon or any punctuation marks and make it crisp to reflect the protocol described in the manuscript.

Done

4. Please provide at least 6 keywords or phrases.

We have added one to make 6

5. Please rephrase the Short Abstract/Summary to clearly describe the protocol and its applications in complete sentences between 10-50 words: “Here, we present a protocol to …”

Done (48 words).

6. The Protocol should be made up almost entirely of discrete steps without large paragraphs of text between sections. Please consider moving lines 107-122 to the introduction section.

Small paragraphs have been done all over the protocol and results sections. The lines 107-122 have been moved in the introduction section.

7. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.) with all specific details in a stepwise manner. The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.”

The imperative tense has been used. Note have been added when necessary

8. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary. Please refrain from using bullets or dashes.

This has been modified

9. The Protocol should contain only action items that direct the reader to do something.

Done

10. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed?

We have added more details to describe the actions that are now completely described (including some repetitions)

11. 1.1: What is the appropriate dilution and how is it determined? Citation for previous tests?

« Appropriate » has been replaced by « recommended » and the text has been modified in lines 147-150 to explain how the dilution was calibrated in our lab in order to obtain a sigmoid reference curve with a linear part with the optimal signal/background ratio.

12. In which step did you add the serum? Where did you add the virus? Please write exactly how you perform your experiment, detailing everything in a step wise fashion.

Steps have been well separated now : Step 3 (and sub-steps) for adding the mAb-D1, Step 5 (and sub-steps) for adding the vaccine

13. 3.3: where did you get the vaccine from? What is the difference between reference vaccine and the one described in 3.4? Please detail the dilutions used in your experiment. Please do not generalize and be specific to your experiment throughout the protocol.

The reference vaccine we are classically using is “Lot 09” as indicated in lines 179-180. To clarify the point, we have added a specific note at the beginning of the “Results” (lines 238-243) explaining that this vaccine has been calibrated with the WHO 6th International Standard (IS) for Rabies Vaccine (NIBSC code: 07/162). The latter can also be use used directly as the reference vaccine.

14. Please remove the embedded Table of buffer and reagents from the manuscript. All tables should be uploaded separately to your Editorial Manager account in the form of an .xls or .xlsx file. Each table must be accompanied by a title and a description after the Representative Results of the manuscript text.

Done

15. Please provide the result for the glycoprotein content of the test vaccine as determined by your experiment.

The results for the tested vaccine are shown in representative results, the dilution 1/40  which is giving an OD 1,534, well fitted in the linear part of the reference curve is taken as an example to calculate the G protein titre of the tested vaccine, namely 20 µg/ml (lines 259-268).

16. Once done please highlight 2.75 pages of the protocol including headings and spacing in yellow for filming purpose. The highlighted steps should form a cohesive narrative with a logical flow from one highlighted step to the next. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

Done

17. Please alphabetically sort the materials table.

Done

18. Please include a title and a description of each figure and/or table. All figures and/or tables showing data must include measurement definitions, scale bars, and error bars (if applicable). Please include all the Figure Legends together at the end of the Representative Results in the manuscript text.

Done

Reviewer #1:

Manuscript Summary:

This article focused on the development of indirect ELISA method to evaluate rabies vaccine potency. The core of this method is based on two hypotheses: 1) the neutralizing monoclonal antibody (mAb-D1) used for both coating and detection can recognize specific and conservative antigenic site existing in the surface of rabies virus glycoprotein trimer, and 2) the content of rabies virus glycoprotein trimer can be positively correlated to vaccine potency. I have no doubt about them as several published studies have already confirmed them. In my opinion, the indirect ELISA method is very useful in the evaluation of vaccine stability and may be used as supplement of NIH test in potency evaluation of rabies vaccine. However, few points need to be revised or supplemented before acceptance for publication.

Minor Concerns:

1. It should be clarified that all buffers should be filtered through sterile filter system (0.45 or 0.22 um) as all regents may probably be at the level of analytical purity.

This has been added in lines 137-139

2. On page 9, in the part of Passivation buffer, does BSA mean BSA (Fraction V)?

Yes, this has been added in lines 158-159

3. It would be better to supplement some key points or tips for the protocol, such as the possible effect of pH and temperature on the conformation conversion of rabies virus glycoprotein, and therefore the robustness of this protocol.

A sentence has been added in the discussion to clarify this point, lines 303-305

Reviewer #2:

Manuscript Summary:

The authors detailed the protocol of an ELISA to determine the content of the trimeric form of rabies virus glycoprotein. This protein is known to be responsible for the synthesis of neutralizing rabies virus antibodies, and also is involved in the pathogenicity of the virus and its attachment to the receptor. The trimeric form the glycoprotein is more immunogenic that the monomer form. Therefore estimation of the immunogenic form is of paramount importance in rabies vaccine production.

Major Concerns:

We think that the title of the manuscript is not adequate; it is premature and not correct to say that "in vitro test of rabies vaccine potency is ready to replace the NIH test". Morgeaux et al. (2017) (Vaccine. 2017 Feb 7; 35(6):966-971) have shown that the ELISA described by the authors does not give the correct titer of the rabies vaccine produced using different rabies virus strains. Morgeaux et al. recommend to conduct an international collaborative study using two different mAbs (one for coating and the other of detection); to set up an ELISA test that can replace the NIH test. Therefore I recommend that the authors modify the title of the manuscript, and modify its content accordingly

It is clear that using monoclonal antibody(ies) for Elisa offer(s) the risk of having one vaccine escaping to the recognition due to the Mab’ specificity. This is the reason why we have written in lines 115-117: “It is of note that the same assay can be applied using different mAbs recognizing different antigenic sites of the RABV glycoprotein35”. We have also recalled this possible limit in the discussion section (lines 297-302). Finally, the Morgeaux’s publication cited by the reviewer was already mentioned in the text (Ref 35) in several parts including the “Perspective Section”. One author of the present manuscript was co-authors of this publication which concluded that an ELISA design combining mAb-D1 (antigenic site III ; for revelation) and a different mAb-WI-1112 (antigenic site II ; for coating) was better than the D1/D1 presented in the present protocol. This has been specifically mentioned in line 324-333. However, (1) the present protocol, as indicated, can be adapted to various mAbs and (2) the D1/D1 system is successively used since decades by many companies, including those participating to the Morgeaux’s trial. We are not claiming that it is the only possible cocktail as written in the text but D1, being used for capture or for revelation or for both, is the only MAbs so far demonstrated to recognise the trimeric form of G, which is the immunogenic one (see refs 15 and 34).

Page 5/lines 131-132: the authors mean "and covered with sealer sheet" instead of "or covered …"

Thank you very much, we have changed all over the text

Page 8/lines 180-184: please explain how to convert from IU/ml to EIU/ml

When the WHO 6th International Standard (IS) for Rabies Vaccine (NIBSC code: 07/162), calibrated in UI/ml by in vivo testing, is used to test in vitro potency, the results are expressed as equivalent International Units par ml (EIU/mL). Here, the reference vaccine Lot 09 is calibrated in µg/mL.

Page 9: Please indicate for all buffers and reagents the storage conditions and their shelf life

We have added a paragraph in section 2 (preparation) to deal globally with this point (lines 137-141)

Page 9/lines 194-195: Please indicate the exact amount of each solution to mix to prepare the carbonate buffer for coating

This has been specified in the table “materials”

Reviewer #3:

Manuscript Summary:

Conventional rabies vaccine potency testing still rests on mouse inoculation and challenge experiments. With regard of increasing concerns for animal welfare, alternative in vitro methods are recommended. This manuscripts described an ELISA based method to quantify the amount of trimeric rabies virus glycoprotein complexes in order to assess vaccine potency. Because a monoclonal antibody was used that only recognizes an epitope in the trimeric RABV, which is most likely a conformational epitope, the authors conclude that the immunogenic fraction of G protein in the vaccine is selectively detected, whereas denatured or monomeric G are not detected. Comparison of obtained results with vaccine potency detected by conventional in vivo NIH potency test (Fig. 2) indeed revealed a correlation of determined G levels with potency, thus making the provided protocol an important for the future use of such assays in rabies vaccine potency testing.

Overall, the manuscript is well written and in most cases the described steps are easy to follow. JoVE style has not been addressed in all parts of the manuscript (e.g. 1st para in protocol section, list of buffers on pages 9 and 10) and revision according to the specific requirements is recommended.

Major Concerns:

With regard to the structure of the manuscript, it is puzzling that the protocol starts with microplate sensitization although exact quantification of the glycoprotein content in a reference vaccine (as shown in fig. 1 of expected results) is crucial for the whole assay. In order to allow readers to use the described protocol, I suggest to add a step by step description of rabies virus glycoprotein quantification in the reference vaccine as a first point of the protocol with a standard curve as shown in figure 1 as an exemplary result. A second figure could show results from the ELISA related to the previously determined standard curve and comparison to in vivo NIH potency testing as shown in the recent figure 2 could be added as a third figure to highlight the correlation of the two tests, although this is not part of the provided protocol.

We thank the reviewer for this excellent suggestion and we have modified the manuscript accordingly. Only the last request about the correlation between the in vivo and the in vitro test cannot be satisfied. Because of the large variability of the NIH test (ref 38) we can claim only concordance and not correlation between both test, as explained in lines 282-286  and ref 4.

In addition to the above comments about general structure of the manuscript, there are some further points to be addressed: It is not clear whether the protocol is worthwhile for all licensed rabies vaccines. This is an important point, since there can be a difference between vector vaccine expression only G (not in vector virus particle), attenuated live vaccines (G in particle and expression of G after infection of host cells) and inactivated rabies virus particles (multiple G copies on the surface). In the latter two cases, the argumentation in line 49ff that the "potentially denatured monomers of glycoprotein (with only one binding site available) cannot be captured and detected with the same mAB-D1" is not plausible. Given that a virus particle has multiple G copies on the surface, also in case of some "denaturation" multiple monoclonal antibodies may bind to the particles. It may be more important that the mAB-D1 recognizes a conformational epitope only present in the trimer. Any indications for that? If live vaccines are tested, biosafety requirements and inactivation procedures prior to ELISA testing should be explained.

We thank the reviewer for this other clever remark. As explained earlier in the rebuttal, we cannot exclude that a different vaccine strain will escape to the mAb-D1, but this is true for all mAbs. Up to now, D1 recognizes the trimers of all human vaccine tested so far (PV, PM- derived vaccines). It is true that the main advantage of D1 is to recognize the trimers and Ref 15, working with purified protein (which may also be a potential vaccine) clearly demonstrate that DI used in capture and revelation was exclusively recognizing trimers of G. This being said, this is true that this is not crucial for a vaccine consisting of inactivated or attenuated viruses having many trimers on G on their surface and we have moderated the sentence accordingly in lines 49-52.

. 

Minor Concerns:

The method relies on the availability of mAB-D1 antibody but information about availability of the monoclonal antibody in a not conjugated and conjugated form is not provided (commercially available?). Is it possible to replace it by other antibodies?

Yes it is possible to use other antibodies and we have explained that extensively in  the rebuttal. D1 is currently available through MTA at the Institut Pasteur (I have added the contact in the Material section) and will be commercialized soon through a company (discussion on their way).

line 150: it is emphasized that the lowest dilution must have a content about 1 µg/mL of rabies virus glycoprotein. Please provide information about how to assess before measurement by the method.

This concentration of the reference vaccine was calibrated when the ELISA with mAb-D1 was optimized in order to obtain an optimal signal/background ratio and a decent sigmoid curve.

line 157: what is an "approximate dilution" of the peroxidase-labelled mAb-D1. If no concentration is available, provide used dilution and highlight that it may vary dependent on the antibody or mAb-D1 batch.

We did a mistake and have replaced “approximate” by “recommended” dilution which is  1/2000. It is mentioned in lines 147-150 and 211-214.

Reviewer #4:

Manuscript Summary:

The manuscript outlines the methods of an indirect ELISA test to evaluate the potency of rabies vaccines during production using monoclonal antibodies which bind to immunogenic glycoproteins. The manuscript is well written throughout and reporting of a standardized method is highly relevant to the objectives of the 3R strategy. The argument for use of this test is clearly presented and the methods appear sound.

My comments are minor and are limited to phrasing and typos. Congratulations to the authors on a clear and useful manuscript.

Major Concerns:

None

Minor Concerns:

Line 59 – typo

Done

Line 64 – phrasing

Done

Line 94 – phrasing

Done

Line 113 – phrasing

Done

Line 155 – phrasing

I don’t see the problem, sorry

Line 147 - 153 - Sections 3.2 to 3.4, it would be helpful to have a figure showing an annotated illustration of the microplate to refer to and avoid any ambiguity about these steps. I appreciate that this may become redundant once the video is available.

There is such a figure in the current new version of the manuscript. Thank you for the advise.

Line 170 – phrasing

Done

Line 254 – phrasing

Done