# Submission ID #: 59652

# Scriptwriter Name: Qingyun Ping

Project Page Link: http://www.jove.com/files_upload.php?src=18193908

# Title: Designing Automated, High-Throughput Continuous Cell Growth Experiments Using eVOLVER

# Authors and Affiliations:  Zachary J. Heins1,2, Christopher P. Mancuso1,2, Szilvia Kiriakov1,3, Brandon G. Wong1,2, Caleb J. Bashor4, Ahmad S. Khalil1,2,5

1 Biological Design Center, Boston University, Boston, MA 02215, USA

2 Department of Biomedical Engineering, Boston University, Boston, MA 02215, USA

3 Program in Molecular Biology, Cell Biology and Biochemistry, Boston University, Boston, MA 02215, USA

4 Department of Bioengineering, Rice University, Houston, TX 77005, USA

5 Wyss Institute for Biologically Inspired Engineering, Harvard University, Boston, MA 02115, USA

# Corresponding Author:

# Caleb J. Bashor

# caleb.bashor@rice.edu

# Tel: (713)-348-8231

# Ahmad S. Khalil

# khalil@bu.edu

# Tel: (617)-358-6957

# Email addresses for Co-authors:

# heinsz@bu.edu

# cmancuso@bu.edu

# kiriakov@bu.edu

# brandon@fynchbio.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

Software is run on Mac.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.3

2.8

2.9

4.3

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.8 and 2.9 are the most critical steps. Taking care to ensure that all the Luer components are properly connected and that all pumps are functioning correctly helps prevent leaks and overflows later in the experiment. The most common modes of failure are a pump not actuating causing an overflow, or a Luer component coming disconnected or leaking because it wasn’t properly attached.

5. Will the filming need to take place in multiple locations? (Y/N) N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Ahmad Khalil: eVOLVER gives researchers experimental freedom, the ability to easily define their own culture growth experiments with automated feedback on multiple parameters and scale it to whatever size they need [1].

    - INTERVIEW

  - Zachary Heins:  eVOLVER is more flexible than other devices. Users can easily customize software in Python as well as the hardware by modifying the Smart Sleeves that hold sensors for each culture [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Zachary Heins: While designed for aerobic culturing of bacteria and yeast in  varying conditions, eVOLVER could also be modified for anaerobic fermentation or to maintain mammalian cells in suspension [1].

    - INTERVIEW

  - Chris Mancuso: Proper setup is critical. Be sure to understand what each component does so you can confirm they are working. Ensure everything is routed correctly and connected tightly [1].

    - INTERVIEW

  - Zachary Heins: The system can appear complicated at first glance with multiple components and connections - a visual guide gives first time users more confidence in running experiments on their own [1].

    - INTERVIEW

# Section - Protocol

- Setting Up an Experiment

  - The day before the experiment, prepare media, vials and inoculum according to the manuscript [1]. In three large beakers, prepare 500 milliliters of 10% bleach, 200 milliliters of 10% bleach, and 300 milliliters of 70% ethanol [2].

    - MED: Shot of the prepared media, vials and inoculum.

    - MED: Talent prepares three solutions.

  - Using the switches on the eVOLVER device, turn on the 5-Volt power supply on the eVOLVER [1], wait for 5 seconds, then turn on the 12-Volt power supply [2].

    - CU: Talent turns on 5V power supply on the touchscreen.

    - MED: Talent waits for 5s, and turns on 12 V power supply. Shot from top, showing the touchscreen.

  - If running several vials from the same media bottle, connect multiple media input lines with tubing splitters [1]. Custom tubing splitters can be constructed with Luer components [2].

    - MED: Talent connects tubings with splitters.

    - CU: Talent shows splitter with Luer.

  - Submerge the media input lines in the first bleach beaker, and the media efflux lines in the second bleach beaker [1]. Connect the downstream end of the media input lines to the second beaker with the efflux lines [2]. Place waste lines into a waste carboy [3].

    - CU: Talent submerges input and efflux lines in the first and second beakers.

    - MED: Talent connects the end of media input lines to the second beaker.

    - MED: Talent places waste lines into a large waste bottle.

  - Add 1 to 2 liters of bleach into the waste carboy, to sterilize waste generated during experiment [1]. Using the touchscreen on the eVOLVER, navigate to the setup section, and run all pumps for 20 seconds [2] to fill fluid lines with 10% bleach [3].

    - MED: Talent pours bleach into the waste bottle.

    - CU: Talent adjusts settings on the touchscreen to run all pumps. Videographer: Take multiple shots, as this will be used later.

# Author comment: shot_2.5.2.mov – Screen capture provided if more clarity needed

    - CU: Shot of one line from the beginning to the end, following the filling solution.

  - Allow bleach to sit in the lines for at least 30 minutes to sterilize [1]. Run pumps again using the touchscreen [2] until lines are no longer submerged, pushing air through the lines to get as much of the bleach out as possible [3].

    - MED: Shot of the lines.

    - Use 2.5.2

    - CU: Shot of one beaker with solution being extracted and air pushing through the line.

  - Place media input lines in the ethanol beaker [1] and fill the lines with ethanol and flushing with air [2]. Then, attach media input lines to the media bottles with the Luer connectors [3] and run the pumps [4] until the media fully runs through the lines, flushing out any residual ethanol [5].

    - MED: Talent puts input lines in the ethanol beaker.

    - CU: Shot of one line filling with ethanol and then flushing with air.

    - MED: Talent connects media input lines to media bottles.

    - Use 2.5.2

    - MED: Shot of the media running through the lines.

  - Partially insert sterilized vials into the eVOLVER Smart Sleeves [1] and hook up the input lines to the short influx straw [2], and then waste lines to the long efflux straw according to the color coding [3-TXT].

    - MED: Talent inserts vials into eVOLVER sleeves.

    - MED: Talent connects lines to proper positions. TEXT: CAUTION: Loose connections and incorrectly routed lines will cause overflows and damage the Smart Sleeve.

    - [Added Shot] Talent connects blue efflux lines to proper position

  - Adjust on the eVOLVER touchscreen to run all pumps in 10 second increments [1] to fill the vials with media [2]. Ensure by visual inspection efflux pumps are efficiently removing media through the efflux straws, to prevent overflows [3].

    - CU: Talent adjusts settings on the touchscreen.

# Author comment: shot_2.9.1.mov – Screen capture provided if more clarity needed.

    - CU: Shot of the vials filling up.

    - CU: Shot of the efflux straws and efflux pumps.

  - Then, push vials down until fully encased by the Smart Sleeve [1]. On the eVOLVER touchscreen, interactive setup page, drag a finger across the touchscreen or press the “Select All” button to select all of the vials [2], and set the initial conditions of temperature at 30 degrees Celsius and the stir to 10 [3].

    - MED: Talent push vials down.

    - CU: Talent selects all vials.

    - CU: Talent sets temperature and stir condition.

- Configuring eVOLVER Software and Programming Algorithmic Culture Routines

  - On a computer, specify the eVOLVER device that the experiment will be run on [1]. Be sure that the desired calibration settings have been selected [2].

    - SCREEN: Talent specifies name of the device.

    - SCREEN: Talent points to the desired calibration settings.

# Author comment: 3.2 and 3.1 switched. It makes more sense to specify the device and the calibrations before specifying experiment details. - shot_3.2.1_and_3.2.2.mov

  - Open the eVOLVER dashboard [1], and navigate to the experiment manager page. Select the base experiment in the experiment navigator panel [2] or an existing experiment as a starting point and click clone [3].

    - MED: Talent opens the eVOLVER dashboard.

    - SCREEN: Talent selects base experiment.

    - SCREEN: Talent clones new existing experiment.

    - [Added Shot] SCREEN: Talent specifies name of experiment. Author comment: shot_3.1 – Screen capture contains all four steps.

  - Navigate to the Experiment Editor page. Use the vial selector and parameter definition panels to adjust the temperature to 30 degrees Celsius [1], and set an upper and lower threshold of OD for each vial [2-TXT]. Save the experiment by clicking Save, then click the arrow to go back to the Experiment manger page and click the play button to run [3].

    - SCREEN: Talent selects vials 0-4, and sets parameter definition to 30, and clicks Set.

    - SCREEN: Talent sets upper and lower threshold of OD. TEXT: OD: optical density

    - SCREEN: Talent saves and runs the experiment.  Author comment: shot_3.3 contains all parts

- Initiating Experiment and Monitoring in Real-Time

  - Once the experiment is underway, navigate to the real-time data panel in the interactive dashboard [1]. For each vial, check that OD values are holding at zero [2]. Browse through the temperature graphs to check that temperatures are at or progressing towards 30 degrees Celsius [3].

    - CU: Talent operates in the dashboard to navigate to data panel. Author comment: shot_4.1.mov – screen capture provided if more clarity needed.

    - CU: Talent points to OD values.

    - CU: Talent shows the temperature graphs.

  - To prepare inoculum, first measure the OD of overnight cultures [1], and calculate the desired fold dilution for overnight cultures assuming a vial volume of 25 milliliters and a desired starting OD of about 0.05 [2-TXT]. Through the sampling port, pipette calculated volume of inoculum into vials [3].

    - MED: Talent measures on the photometer.

    - MED: Talent does calculation on paper. TEXT: V = CV / C

# Author comment: Please note: in the upper right corner of the paper an incorrect volume is written. Please block this out if possible.

    - CU: Talent pipets inoculum into vials through port.

  - Check the graphs on the dashboard to see that the OD is increasing to 0.05 [1]. Track different data types, such as OD, temperature, growth rate, generations, and media consumption throughout the experiment [2].

    - CU: Talent checks OD values on the dashboard

# Author comment: shot_4.3.1.mov – Screen capture provided if more clarity is needed.

    - CU: Talent browses through different graphs.

# Author comment: shot 4.3.2.mov – Screen capture provided if more clarity is needed.

# Section – Results

- Results: Fitness Surface Construction

  - eVOLVER is an automated, continuous culture platform allowing multiparameter control of culture conditions [1].

    - Figure 1B

  - Qualitative differences were shown between the wild type, temperature sensitive, and salt sensitive groups when the log-ratios were plotted against generations interpolated from eVOLVER growth rate data [1]. Color indicates the temperature of selection while dashes distinguish salt concentrations [2].

    - Figure 3A– Video editor: emphasize the corresponding graph when VO says the three groups.

    - Figure 3A – Video editor: emphasize the description of symbols on the right.

  - A slope fit through the linear portion of each plot using a minimum of three points yields a quantitative fitness value that describes how the variant strain competes against the reference strain [1]. Negative fitness values indicate that the variant strain is outcompeted by the reference strain [2].

    - Figure 3B

    - Figure 3B – Video editor: emphasize the red and yellow lines.

  - Constructing heatmaps from all the fitness calculations permits visualization of the two-dimensional fitness landscape, revealing subtle quantitative differences in performance between strains and conditions [1].

    - Figure 3C

  - The top right corner condition at 39 degrees Celsius and 1 molar sodium chloride for the wild type and ΔPBS2 (pronounce as P-B-S-2) were not included in this analysis as the cultures went through insufficient generations [1].

    - Figure 3C – Video editor: emphasize the two grey squares.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Chris Mancuso: Always check that all pumps are running efficiently, and that fluid lines are clear of any clogs. An overflow can ruin an experiment and potentially damage the Smart Sleeves [1] [2].

    - Use 2.9.2&2.9.3

    - INTERVIEW

  - Zachary Heins: Sample taken from eVOLVER can be subsequently sequenced to check for genomic alterations as a result of the experiment. This information can be used to engineer new strains or systems [1].

    - INTERVIEW

  - Chris Mancuso: For researchers using lab evolution or library selection, it’s easy to apply unique selection pressures in each eVOLVER experiment. Feedback control and dynamic environments are now very accessible as well [1].

    - INTERVIEW

  - Zachary Heins: The waste carboy will contain small amounts of bleach and ethanol after an experiment. Consult your lab safety coordinator for proper disposal of waste [1].

    - INTERVIEW