jbiesbro

2019-08-12 16:50:15

--------------------------------------------

Comment 1. Please insert author "Meta VCI Map consortium" here, between Dr Duering en Dr Biessels. This consortium was also mentioned in the author list of the final version of the manuscript.

jbiesbro

2019-08-14 15:57:34

--------------------------------------------

Comment 3: replace or with 'and'

jbiesbro

2019-08-14 15:57:38

--------------------------------------------

Comment 4: typo, replace remain with 'remained'

jbiesbro

2019-08-14 15:57:42

--------------------------------------------

Comment 5: typo, delete 'the'

nweaver

2019-08-14 15:57:28

--------------------------------------------

Comment 2: typo; please remove  "have"

Video Article

Brain Infarct Segmentation and Registration on MRI or CT for Lesion- Symptom Mapping

J Matthijs Biesbroek1, Hugo J. Kuijf2, Nick A. Weaver1, Lei Zhao3, Marco Duering4, Geert Jan Biessels1 1Department of Neurology and Neurosurgery, UMC Utrecht Brain Center, University Medical Center Utrecht, Utrecht University 2Image Sciences Institute, University Medical Center Utrecht

3BrainNow Research Institute

4Institute for Stroke and Dementia Research, University Hospital, LMU Munich

Correspondence to: J Matthijs Biesbroek at J.M.Biesbroek@umcutrecht.nl URL: https://www.jove.com/video/59653

DOI: doi:10.3791/59653

Keywords: lesion-symptom mapping, lesion-behavior mapping, infarct, stroke, segmentation, registration, image registration, spatial normalization, vascular cognitive impairment

Date Published: 8/12/2019

Citation: Biesbroek, J.M., Kuijf, H.J., Weaver, N.A., Zhao, L., Duering, M., Biessels, G.J. Brain Infarct Segmentation and Registration on MRI or CT for Lesion-Symptom Mapping. J. Vis. Exp. (), e59653, doi:10.3791/59653 (2019).

Abstract

In lesion-symptom mapping (LSM), brain function is inferred by relating the location of acquired brain lesions to behavioral or cognitive symptoms in a group of patients. With recent advances in brain imaging and image processing, LSM has become a popular tool in cognitive neuroscience. LSM can provide fundamental insights into the functional architecture of the human brain for a variety of cognitive and non-cognitive functions. A crucial step in performing LSM studies is the segmentation of lesions on brains scans of a large group of patients and registration of each scan to a common stereotaxic space (also called standard space or a standardized brain template). Described here is an open-access, standardized method for infarct segmentation and registration for the purpose of LSM, as well as a detailed and hands-on walkthrough based on exemplary cases. A comprehensive tutorial for the manual segmentation of brain infarcts on CT scans and DWI or FLAIR MRI sequences is provided, including criteria for infarct identification and pitfalls for different scan types. The registration software provides multiple registration schemes that can be used for processing of CT and MRI data with heterogeneous acquisition parameters. A tutorial on using this registration software and performing visual quality checks and manual corrections (which are needed in some cases) is provided. This approach provides researchers with a framework for the entire process of brain image processing required to perform an LSM study, from gathering of the data to final quality checks of the results.

Video Link

The video component of this article can be found at https://www.jove.com/video/59653/

Introduction

Lesion-symptom mapping (LSM), also called lesion-behavior mapping, is an important tool for studying the functional architecture of the human brain1. In lesion studies, brain function is inferred and localized by studying patients with acquired brain lesions. The first case studies linking neurological symptoms to specific brain locations performed in the nineteenth century have already provided fundamental insights into the anatomical correlates of language and several other cognitive processes2. Yet, the neuroanatomical correlates of many aspects of cognition

or other brain functions remain elusive. In the past decades, improved structural brain imaging methods and technical advances have enabled large-scale in vivo LSM studies with high spatial resolution (i.e., at the level of individual voxels or specific cortical/subcortical regions of interest)1,2. With these methodological advances, LSM has become an increasingly popular method in cognitive neuroscience and continues to offer new insights into the neuroanatomy of cognition and neurological symptoms3. A crucial step in any LSM study is the accurate segmentation of lesions and registration to a brain template. However, a comprehensive tutorial for the preprocessing of brain imaging data for the purpose of LSM is lacking.

Provided here is a complete tutorial for a standardized lesion segmentation and registration method. This method provides researchers with a pipeline for the standardized brain image processing and an overview of potential pitfalls that must be avoided. The presented image processing pipeline was developed through international collaborations4 and is part of the framework of the recently founded Meta VCI map consortium, whose purpose is performing multicenter lesion-symptom mapping studies in vascular cognitive impairment <www.metavcimap.org>5. This method has been designed to process both CT and MRI scans from multiple vendors and heterogeneous scan protocols to allow combined processing of imaging datasets from different sources. The required RegLSM software and all other software needed for this protocol is freely available except for MATLAB, which requires a license. This tutorial focuses on the segmentation and registration of brain infarcts, but this image processing pipeline can also be used for other lesions, such as white matter hyperintensities6.

Prior to initiating an LSM study, a basic understanding of the general concepts and pitfalls is required. Several detailed guidelines and a hitchhiker's guide are available1,3,6. However, these reviews do not provide a detailed hands-on tutorial for the practical steps involved in

jbiesbro

2019-08-14 15:57:47

--------------------------------------------

Comment 6: replace 'required for' with 'of'

gathering and converting brain scans to a proper format, segmenting the brain infarct, and registering the scans to a brain template. The present paper provides such a tutorial. General concepts required for LSM are provided in the introduction with references for further reading on the subject.

### General aim of lesion-symptom mapping studies

From the perspective of cognitive neuropsychology, brain injury can be used as a model condition to better understand the neuronal underpinnings of certain cognitive processes and to obtain a more complete picture of the cognitive architecture of the brain1. This is a classic approach in neuropsychology that was first applied in post-mortem studies in the nineteenth century by pioneers like Broca and Wernicke2. In the era of functional brain imaging, the lesion approach has remained a crucial tool in neuroscience because it provides proof that lesions in

a specific brain region disrupt task performance, while functional imaging studies demonstrate brain regions that are activated during the task performance. As such, these approaches provide complementary information1.

From the perspective of clinical neurology, LSM studies can clarify the relationship between the lesion location and cognitive functioning in patients with acute symptomatic infarcts, white matter hyperintensities, lacunes, or other lesion types (e.g., tumors). Recent studies have shown that such lesions in strategic brain regions are more relevant in explaining cognitive performance than global lesion burden2,5,7,8. This approach has the potential to improve understanding of the pathophysiology of complex disorders (in this example, vascular cognitive impairment) and may provide opportunities for developing new diagnostic and prognostic tools or supporting treatment strategies2.

LSM also has applications beyond the field of cognition. In fact, any variable can be related to lesion location, including clinical symptoms, biomarkers, and functional outcome. For example, a recent study determined infarct locations that were predictive of functional outcome after ischemic stroke10.

### Voxel-based versus region of interest-based lesion-symptom mapping

To perform lesion-symptom mapping, lesions need to be segmented and registered to a brain template. During the registration procedure, each patient's brain is spatially aligned (i.e., normalized or registered to a common template) to correct for differences in brain size, shape, and orientation so that each voxel in the lesion map represents the same anatomical structure for all patients7. In standard space, several types of analyses can be performed, which are briefly summarized here.

A crude lesion-subtraction analysis can be performed to show the difference in lesion distribution in patients with deficits compared to patients without deficits. The resulting subtraction map show regions that are more often damaged in patients with deficits and spared in patients without deficits1. Though a lesion-subtraction analysis can provide some insights into correlates of a specific function, it provides no statistical proof and is now mostly used when the sample size is too low to provide enough statistical power for voxel-based lesion-symptom mapping.

In voxel-based lesion-symptom mapping, an association between the presence of a lesion and cognitive performance is determined at the level of each individual voxel in the brain (Figure 1). The main advantage of this method is the high spatial resolution. Traditionally, these analyses have been performed in a mass-univariate approach, which warrants correction for multiple testing and introduces a spatial bias caused by inter- voxel correlations that are not taken into account1,10,11. Recently developed approaches that do take inter-voxel correlations into account (usually referred to as multivariate lesion-symptom mapping methods, such as Bayesian analysis13, support vector regression4,14, or other machine learning algorithms15) show promising results and appear to improve the sensitivity and specificity of findings from voxel-wise LSM analyses compared to traditional methods. Further improvement and validation of multivariate methods for voxel-wise LSM is an ongoing process. The best method choice for specific lesion-symptom mapping depends on many factors, including the distribution of lesions, outcome variable, and underlying statistical assumptions of the methods.

In the region of interest (ROI)-based lesion-symptom mapping, an association between the lesion burden within a specific brain region and cognitive performance is determined (see Figure 1 in Biesbroek et al.2 for an illustration). The main advantage of this method is that it considers the cumulative lesion burden within an anatomical structure, which in some cases may be more informative than a lesion in a single voxel.

On the other hand, ROI-based analyses have limited power for detecting patterns that are only present in a subset of voxels in the region16. Traditionally, ROI-based lesion-symptom mapping is performed using logistic or linear regression. Recently, multivariate methods that deal better with collinearity have been introduced (e.g., Bayesian network analysis17, support vector regression4,18, or other machine learning algorithms19), which may improve the specificity of findings from lesion-symptom mapping studies.

### Patient selection

In LSM studies, patients are usually selected based on a specific lesion type (e.g., brain infarcts or white matter hyperintensities) and the time interval between diagnosis and neuropsychological assessment (e.g., acute vs. chronic stroke). The optimal study design depends on the research question. For example, when studying the functional architecture of the human brain, acute stroke patients are ideally included because functional reorganization has not yet occurred in this stage, whereas chronic stroke patients should be included when studying the long-term effects of stroke on cognition. A detailed description of considerations and pitfalls in patient selection is provided elsewhere7.

### Brain image preprocessing for the purpose of lesion-symptom mapping

Accurate lesion segmentation and registration to a common brain template are crucial steps in lesion-symptom mapping. Manual segmentation of lesions remains the gold standard for many lesion types, including infarcts7. Provided is a detailed tutorial on criteria for manual infarct segmentation on CT scans, diffusion weighted imaging (DWI), and fluid-attenuated inversion recovery (FLAIR) MRI sequences in both acute and chronic stages. The segmented infarcts (i.e., the 3D binary lesion maps) need to be registered before any across-subject analyses are performed. This protocol uses the registration method RegLSM, which was developed in a multicenter setting4. RegLSM applies linear and non-linear registration algorithms based on elastix20 for both CT and MRI, with an additional CT processing step specifically designed to

enhance registration quality of CT scans21. Furthermore, RegLSM allows for using different target brain templates and an (optional) intermediate registration step to an age-specific CT/MRI template22. The possibility of processing both CT and MRI scans and its customizability regarding

intermediate and target brain templates makes RegLSM a highly suitable image processing tool for LSM. The entire process of preparing and segmenting CT/MRI scans, registration to a brain template, and manual corrections (if required) are described in the next section.

Figure 1: Schematic illustration of the concept of voxel-based lesion-symptom mapping. The upper part shows the brain image pre- processing steps consisting of segmenting the lesion (an acute infarct in this case) followed by registration to a brain template (the MNI-152 template in this case). Below, a part of the registered binary lesion map of the same patient is shown as a 3D grid, where each cube represents a voxel. Taken together with the lesion maps of 99 other patients, a lesion overlay map is generated. For each voxel, a statistical test is performed to determine the association between lesion status and cognitive performance. The chi-squared test shown here is just an example, any statistical test could be used. Typically, hundreds of thousands of voxels are tested throughout the brain, followed by a correction for multiple comparisons. Please click here to view a larger version of this figure.

Protocol

This protocol follows the guidelines of our institutions human research ethics committee.

# Collection of scans and clinical data

  - Collect brain CT or MRI scans of patients with ischemic stroke. Most scanners save the scans as DICOM (Digital Imaging and Communications in Medicine) files that can be copied to a hard disk or server.

NOTE: Scans from every scanner type, scan protocol, and MRI field strength can be used, as long as 1) the time window requirements for the used scan type are met (see Table 1) and 2) there are no artifacts that hamper accurate infarct delineation. A detailed tutorial on

artifact detection on CT and MRI is provided elsewhere23,24. An example of commonly occurring motion artifacts on CT is provided in Figure 2, and examples of scans of good quality are provided in the exemplar cases in the results section. Infarcts can be segmented on scans with any slice thickness and any in-plane image resolution. However, thin slices and high in-plane resolution will enable a more accurate representation of the infarct to the brain template.

  - Collect the clinical variables in a data file (e.g., Excel) by making separate rows for each case and columns for each clinical variable. For infarct segmentation, include at least the variables date of stroke and date of imaging or a variable that indicates the time interval between stroke and imaging.

jbiesbro

2019-08-14 20:06:34

--------------------------------------------

Comment 8. Please ure the original  text from the accepted version of the manuscript here:

'In the chronic stage (months to years), the infarct will consist of a hypodens cavitated center (with a similar density as the cerebrospinal fluid) and a less hypodense rim which represents damaged brain tissue. Both the cavitated center and hypodens rim must be segmented as infarct. In case of large infarct, there can be ex vacuo enlargement of adjacent sulci or ventricles.'

jbiesbro

2019-08-14 15:58:15

--------------------------------------------

Comment 9. Typo. Please replace  'DWI' with 'CT' for both examples here.

Ensure that ethical guidelines and regulations regarding privacy are followed. Ensure that the data is either anonymized or coded. Pay specific attention to the removal of patient data such as name, address, and date of birth that are stored in the DICOM files as tags. These tags can be cleared using dcm2niix (free download available at <https://github.com/rordenlab/dcm2niix>)25.

# Conversion of DICOM images to nifti files

  - To convert the DICOM images to uncompressed nifti files using the dcm2niix tool, type "[folder path of dcm2niix.exe]\dcm2niix %d_%p [folder path of dicom files]" in the command prompt. An example of the command with the folders paths inserted could be C:\users\matthijs\dcm2niix

%d_%p C:\users\matthijs\dicom\. This command will run the dcm2niix executable, convert the DICOM images in the selected folder and save the nifti files in the same folder.

NOTE: The addition %d_%p ensures that the series description and protocol name are inserted in the file name. Additional features including options for batch conversion are provided in the dcm2niix manual at <https://www.nitrc.org/plugins/mwiki/index.php/dcm2nii:MainPage>.

Other open source tools can be used for the conversion of DICOM images to nifti files, as well.

  - Ensure that the name of the scan type (CT, FLAIR, DWI, or other sequence names) is copied into the file name during conversion (this option is available in dcm2niix).

  - For MRI scans, select DWI or FLAIR sequences for segmentation. Alternatively, any other structural sequence on which the infarct is visible can be used. See Table 1 for appropriate time windows after stroke in which CT, DWI, or FLAIR can be used for infarct segmentation.

  - Organize the nifti files in a convenient folder structure with a subfolder for each case (see the manual of RegLSM and Supplementary Figure 1). This manual can be downloaded from <www.metavcimap.org/support/software-tools>.

NOTE: This folder structure is a requirement for the registration software RegLSM (see section 4). An update of RegLSM, making it BIDS (brain imaging data structure26, see <http://bids.neuroimaging.io>) compatible, is currently being developed and will soon be released.

# Infarct segmentation

### General remarks applying to all scan types

    - Ensure that the person who performs and evaluates segmentation and registration is blinded to the outcome variable (usually a cognitive measure) to avoid bias.

    - Note that infarcts are usually segmented on transversal slices, but segmentation can be performed in any slice orientation.

jbiesbro

2019-08-14 20:06:25

--------------------------------------------

Comment 7. Please use the original text  in the accepted version of the manuscript here:

'In the acute stage (first weeks), large infarcts can cause mass effect resulting in displacement of surrounding tissues, compression of ventricles, midline shift and obliteration of sulci. There can be hemorrhagic transformation which is visible as regions with high signal (i.e. hyperdens) within the infarct'

Ensure ideal viewing conditions during infarct segmentation by using a high-resolution monitor display and optimal ambient light to provide a comfortable setting. Manually adjust the image contrast during segmentation to provide optimal contrast between healthy brain tissue. Be consistent in applying similar settings across subjects.

### Infarct segmentation on CT

    - First check whether the scan was performed at least 24 h after stroke symptom onset. Within 24 h, the acute infarct is not or only partially visible on CT and the scan cannot be used for segmentation7. See Figure 3 for an illustration.

    - Open the native CT using ITK-SNAP software (free download available at <www.itksnap.org>)27. In ITK-SNAP, click File | open main image from the dropdown menu. Click browse and select the file to open the scan. If the default contrast setting provides poor contrast between healthy brain tissue and the lesion, adjust the contrast settings. To do so, click Tools | image contrast | contrast adjustment.

NOTE: Any open source software can also be used.

    - If available, open a CT that was performed within 24 h after stroke symptom onset in a separate instance as the reference to distinguish the acute infarct from old ischemic lesions such as lacunes, (sub)cortical infarcts, or white matter hyperintensities.

    - Identify the infarct based on the following characteristics. Infarcts have a low signal (i.e., hypodense) compared to normal brain tissue.

      - Consider the infarcts to be in the acute stage (first weeks) if there are large infarcts that can cause mass effect resulting in the        displacement of surrounding tissues, compression of ventricles, midline shift, and obliteration of sulci. Check for the presence of

hemorrhagic transformation, which is visible as regions with high signal (i.e., hyperdense) within the infarct.

      - Consider the infarcts to be in the chronic stage (months to years) if the infarct consists of a hypodense cavitated center (with a similar density as the cerebrospinal fluid) and less hypodense rim, which represents damaged brain tissue. Segment both the cavitated center and hypodense rim as an infarct. In case of large infarct, there can be ex vacuo enlargement of adjacent sulci or ventricles.

NOTE: Tissue displacement due to mass effect or ex vacuo enlargement of structures should not be corrected for during segmentation (i.e., only the full extent of the infarct has to be segmented). Correction for tissue displacement takes place during the registration and subsequent steps.

    - Segment the infarcted brain tissue using the paintbrush mode from the main toolbar (left-click to draw, right-click to erase). Alternatively, use the polygon mode to place anchor points at the borders of the lesion (these points are automatically connected with lines) or hold the left mouse button while moving the mouse over the borders of the lesion. Once all anchor points are connected, click accept to fill the delineated area.

    - Avoid the fogging phase, which refers to the phase in which the infarct becomes isodense on CT (which co-occurs with infiltration of the infarcted tissue with phagocytes). This typically occurs 14-21 days after stroke onset, but in rare cases can occur even earlier28. During this period, the infarct can become invisible or its boundaries become less clear, making this stage unsuitable for infarct segmentation. After the fogging phase, the lesion becomes hypodense again when cavitation and gliosis occur. See Figure 4 for two examples.

    - After finishing the segmentation, save it as a binary nifti file in the same folder as the scan by clicking segmentation | save segmentation image from the dropdown menu, then save the segmentation by giving it the exact same name as the segmented scan, with the extension of .lesion (e.g., if the scan was saved as "ID001.DWI.nii", save the segmentation as "ID001.DWI.lesion.nii").

### Infarct segmentation on DWI

    - First check if the DWI was performed within 7 days of stroke onset. Infarcts are visible on DWI within several hours after stroke onset and their visibility on DWI gradually decreases after approximately 7 days (see paragraph 2 in the discussion for more details).

jbiesbro

2019-08-14 15:58:22

--------------------------------------------

Comment 10. Typo, it should read as follows: '...until ADC normalizes on average 1 week after stroke'.

jbiesbro

2019-08-14 15:58:26

--------------------------------------------

Comment 11. Please remove '(see step 3.2.5)' here and add 'in the same way as done in step 3.2.5' to the end of the first sentence of this step.

jbiesbro

2019-08-14 20:06:45

--------------------------------------------

Comment 12. Please replace this with the exact sentence from the accepted version of the manuscript:

'In the acute stage (first few weeks), the infarct is visible as a more or less homogeneous hyperintense lesion, with or without apparent swelling and mass effect (Figure 5).'

jbiesbro

2019-08-14 20:06:56

--------------------------------------------

Comment 13. Please replace this with the exact sentence from the accepted version of the manuscript:

'In the chronic stage (months to years), the infarct is cavitated, meaning the center becomes hypo- or isointense on FLAIR. This cavity can be most accurately identified on the T1. In most cases, the cavitated center is surrounded by a hyperintense rim on the FLAIR, representing gliosis.33'

jbiesbro

2019-08-12 17:37:54

--------------------------------------------

Comment 13. This is a distinct point. Please start the highlighted part with 'NOTE:'

nweaver

2019-08-14 15:58:45

--------------------------------------------

Comment 14: Please capitalize the H  and W in "hemorrhagic" and "white matter hyperintensities"

nweaver

2019-08-14 15:58:57

--------------------------------------------

Comment 15: Please remove "-" to  improve consistent layout in the table.

Open the DWI in ITK-SNAP (in the same way as done in step 3.2.2).

NOTE: A DWI sequence generates at least two images for most scan protocols, one with a b-value = 0, which is a standard T2- weighted image, and one with a higher b-value, which is the scan that captures the actual diffusion properties of the tissue. The higher the b-value, the stronger the diffusion effects. For ischemic stroke detection, a b-value around 1000 s/mm2 is often used, as this provides a good contrast-to-noise ratio in most cases29. The image with a high b-value is used for infarct segmentation.

    - Open the apparent diffusion coefficient (ADC) sequence in a separate instance of ITK-SNAP for reference.

    - Identify and annotate the infarcted brain tissue based on the high signal (i.e., hyperintense) on DWI and low signal (i.e., hypointense) on the ADC (see Figure 5). ADC values in the infarct gradually increase until ADC normalizes to average, 1 week after the stroke30, but in some cases, the ADC may already be (nearly) normalized after several days if there is much vasogenic edema (see step 3.2.5). NOTE: In DWI images with low b-values, brain lesions with an intrinsic high T2 signal (such as white matter hyperintensities) can also appear hyperintense. This phenomenon is called T2 shine-through31. However, with increasing b-values, this phenomenon becomes less relevant, as the signal on the DWI image more strongly reflects diffusion properties instead of intrinsic T2 signal. With modern DWI scan protocols (usually with b-value=1000 or higher), the T2 shine-through effects are limited32.

    - Do not mistake a high DWI signal near interfaces between air and either tissue or bone, which are a commonly observed artifact, for an infarct. See Figure 5.

    - Save the annotation as a binary nifti file, giving it the exact same name as the segmented scan, with the extension of .lesion (in the same way as done in step 3.2.7).

### Infarct segmentation on FLAIR

    - First, check if the scan was performed >48 h after stroke symptom onset. In the hyperacute stage, the infarct is usually not visible on the FLAIR sequence or the exact boundaries of the infarct are unclear31 (see Figure 6).

    - Open the FLAIR in ITK-SNAP in the same way as done in step 3.2.2.

    - Open the T1 a separate instance of ITK-SNAP for reference, if available.

    - Identify and segment the infarcted brain tissue based on the following characteristics.

      - Annotate the tissue in the acute stage (within the first few weeks), if the infarct is visible as a homogeneous hyperintense lesion, with or without apparent swelling and mass effect (Figure 5).

      - Annotate the tissue in the chronic stage (months to years) if the infarct is cavitated (i.e., the center becomes hypo- or iso-intense on FLAIR). Identify this cavity on the T1. In most cases, the cavitated center is surrounded by a hyperintense rim on the FLAIR, representing gliosis33.

NOTE: However, there is a considerable amount of variation in the degree of cavitation and gliosis of chronic infarcts. Segment both the cavity and the hyperintense rim as infarcts (see step 3.2.5). A FLAIR hyperintense lesion is not always an infarct. In the acute stage, small subcortical infarcts can easily be distinguished from white matter hyperintensities or other chronic lesions such as lacunes of presumed vascular origin when there is a DWI available (see Figure 5). In the chronic stage, it can be more difficult. See paragraph 3 in the discussion for more information on how to discriminate these lesion types in the chronic stage.

    - Save the annotation as a binary nifti file, giving it the exact same name as the segmented scan, with the extension of .lesion (in the same way as done in step 3.2.7).

Scan type

CT

Time window after stroke

> 24 hours

Infarct properties Acute: hypodense

Chronic: hypodense cavity with CSF and less hypodense rim

Hyperintense

Reference scan

-

Pitfalls

- Fogging phase

- hemorrhagic transformation

DWI

< 7 days

ADC: typically hypointense

FLAIR

> 48 hours

Acute: hyperintense

Chronic: hypointense or isointense (cavity), hyperintense rim

- T2 shinethrough

- High DWI signal near interfaces between air and bone/tissue

Acute: DWI/ADC, T1	- white matter (isointense or hypointense) hyperintensities

- Chronic: T1 (hypointense	- Lacunes cavity with CSF

characteristics).

### Table 1: Summary of criteria for infarct segmentation for different scan types.

- Registration to standard space

  - Download RegLSM from <www.metavcimap.org/features/software-tools>4. Use this tool to process CT scans and any kind of MRI sequence. The registration procedure is illustrated in Figure 7.

NOTE: Optional features in RegLSM include registration to an intermediate CT/MRI template that more closely resembles the scans of older patients with brain atrophy22. By default, the CT and MRI scan are registered to the MNI-152 template34, but this can be replaced by other templates if this better suits the study. Different registration schemes are illustrated in Figure 7. Other open source registration tools can also be used for this step.

  - Check 1) if the nifti files are not compressed, 2) that the file name of the segmented scan contains the term CT, FLAIR, or DWI, and 3) that the file name of the lesion annotation contains the same term with an appended ".lesion". If these first three steps are followed, the data is fully prepared for registration and nothing needs to be changed.

Asus

2019-08-14 20:07:28

--------------------------------------------

Comment 16. Please replace the text of this step with 'Open the registered brain scan in a separate instance of ITK-SNAP for reference'

This change was made after the manuscript was accepted but before the procedure was filmed. But it seems it has not been incorporated in this version.

Asus

2019-08-14 20:07:38

--------------------------------------------

Comment 17. Please remove the words  'ensure that'.

Asus

2019-08-14 20:07:44

--------------------------------------------

Comment 18. Typo, should be 'exemplar'.

Asus

2019-08-14 20:07:50

--------------------------------------------

Comment 19. Typo, should be 'shows'

Open MATLAB (version 2015a or higher), set the current folder to RegLSM (this folder can be downloaded from 35 (version 12 or higher, free download at <https://www.fil.ion.ucl.ac.uk/spm/>) by typing addpath {folder name of SPM}. Next, type RegLSM to open the GUI.

  - Select test mode in the registration dropdown menu to perform the registration for a single case. In the test mode panel, select the scan (CT, FLAIR, or DWI), annotation, and optionally the T1, using the open image button. Select the registration scheme: CT, FLAIR with or without T1, DWI with or without T1.

  - Alternatively, select batch mode to register the scans of all cases in the selected folder in batch mode.

  - Ensure that RegLSM saves the resulting registration parameters and the registered scans (including intermediate steps) and the registered lesion map in subfolders that are automatically generated. During this process, the registered scans and lesion maps are resampled to match the resolution (isotropic 1 mm3 voxels) and angulation of the MNI-152 template.

# Review registration results

  - Select the option check results in the RegLSM GUI and browse to the main folder with the registration results. The GUI will automatically select the registered scan with the registered lesion map, and the MNI-152 template with the registered lesion map in transverse, sagittal, and coronal orientations (see Figure 8).

  - Scroll through the registered scan and use the crosshair to check the alignment of the registered scan and the MNI-152 template. Pay specific attention to the alignment of recognizable anatomical landmarks such as the basal ganglia, ventricles, and skull.

  - Mark all failed registrations in a separate column in the data file (made in step 1.2) for the subsequent manual correction in section 6.

NOTE: Common errors in the registration are imperfect alignment due to the mass effect caused by the lesion in the acute stage, or ex vacuo enlargement of ventricles in the chronic stage. See Figure 3 and Figure 5 for examples of such misalignment. Another common error is a misalignment of the tentorium cerebelli, in which case an occipital infarct can overlap with the cerebellum in the template. Misalignment of tissues that are not lesioned is not an issue when only the binary lesion maps are used in the subsequent lesion-symptom mapping analyses. In such cases, only the lesions need to be perfectly aligned.

# Manually correct registration errors

  - 6.1. For the lesion maps that need correction, open the MNI-152 T1 template in ITK-SNAP and select from the segmentation menu | open segmentation | registered lesion map, which is now overlaid on the template.

  - In RegLSM, open the results for the reference, as explained in step 5.1.

  - Correct the registered lesion map in ITK-SNAP for any type of misalignment that is mentioned in step 5.3 using the brush function to add voxels (left click) or remove voxels (right click). Carefully compare the registered scan and overlaid lesion map (see step 5.2) with the

MNI-152 template and overlaid lesion map in ITK-SNAP (see step 6.1) to identify the regions of misalignment. See Figure 3 and Figure 5.

  - After manually correcting lesion map in MNI space, perform a final check by comparing the segmented native scan of the patient with the corrected lesion map in MNI space (i.e., the results of step 6.3). Ensure that the corrected lesion map in MNI space now accurately represents the infarct in native space. Pay specific attention to the recognizable landmarks such as basal ganglia, ventricles, and skull (similar to step 5.2).

  - Save the corrected lesion map in MNI space as a binary nifti file in the same folder as the uncorrected lesion map in MNI-152 space, giving it the exact same name as the uncorrected lesion map, with the extension of .corrected.

# Preparing data for lesion-symptom mapping

  - Rename all the lesion maps. By default, RegLSM saved the lesion maps in a subfolder with the file name "results". Include the subject ID in the file name. In the case of manual correction, be sure to select and rename the corrected file.

  - Copy all the lesion maps into a single folder.

  - Perform a sanity check of the data by randomly selecting and inspecting several lesion maps in ITK-SNAP and compare these with the native scans to rule out systematic errors in data processing such as left-right flipping.

5.

Use MRIcron <https://www.nitrc.org/projects/mricron> to perform another sanity check of the data by creating a lesion overlap image to check if no lesions are located outside the brain template. Do this by selecting the draw dropdown menu | statistics | create overlap images. NOTE: The resulting lesion overlay map can be projected on the MNI-152 template and inspected using, for example, MRIcron or ITK-SNAP. Ensure that the lesion maps are now ready to be used for voxel-based lesion-symptom mapping or for calculation of infarct volumes within specific regions of interest using an atlas that is registered to the same standard space as the lesion maps (in this case, MNI-152 space for which many atlases are available, only a few of which are cited below36,37,38).

## Representative Results

Exemplar cases of brain infarct segmentations on CT (Figure 3), DWI (Figure 5), and FLAIR (Figure 6) images, and subsequent registration to the MNI-152 template are provided here. The registration results shown in Figure 3B and Figure 5C were not entirely successful, as there was misalignment near the frontal horn of the ventricle. The registered lesion maps of these unsuccessful registrations were manually corrected, the results of which are shown in the figures. After this manual correction, the lesion maps of each of these three exemplary cases are an accurate representation of the infarcts in native space, and the lesion maps are ready to be used for subsequent lesion-symptom mapping. Figure 6C show an example of an adequate registration result that does not require any manual correction.

These figures also highlight several potential pitfalls in brain infarct segmentation on each of these scan modalities. Figure 2 shows an example of motion artifacts on a CT scan, in which case the patient should be excluded from LSM studies. Figure 4 shows an example of fogging on a CT scan, which typically occurs 14-21 days after stroke, leading to an underestimation of the infarct size. CT scans made in this time interval should therefore not be used for lesion-symptom mapping. Figure 7 shows the results of three typical brain image registration schemes generated using the RegLSM software. Figure 8 shows the results of the registration of a DWI image to the MNI-152 T1 template in the RegLSM registration result viewer.

These results illustrate the entire process of infarct segmentation on CT and MRI, registration to standard space, subsequent quality checks, and when necessary, the manual correction of the registration results. The resulting lesion maps are ready to be used in voxel-based or region of interest-based lesion-symptom mapping.

Figure 2: Example of motion artifacts on a CT scan, presenting as shading, streaking and blurring in the image. Two different slices of a single CT scan are shown. Some examples of streaks and shades in the image are indicated by arrows. In this case, an infarct with a

hemorrhagic component in the right cerebellar hemisphere is clearly visible, but a precise delineation of the lesion's anterior and medial border is difficult due to these artifacts. This scan should, therefore, not be used for LSM. Please click here to view a larger version of this figure.

Asus

2019-08-14 20:08:02

--------------------------------------------

Comment 20. Typo, should be 'show'

nweaver

2019-08-14 20:08:07

--------------------------------------------

Comment 21: Please remove "Shown  is the" and capitalize the first word in the sentence as follows: "The result of registration..."

Figure 3: Segmentation and registration of an infarct on a CT scan. (A) CT scans at three timepoints for a single patient. The CT <24 h cannot be used for segmentation because the infarct is not yet visible even though the CT-perfusion maps shows ischemia in a large right frontal region. Legends to CT-perfusion maps: cerebral blood flow (CBF in mL/100 g/min) ranging 0 (dark blue) to 200 (red) and mean transit time

(MTT in s) ranging from 0 (red) to dark blue (20). The CT scan on day 6 shows swelling of the infarcted brain tissue, with slight midline shift and hemorrhagic transformation visible as a region with higher density within the infarct. The CT scan after 4 months shows brain tissue loss with ex vacuo enlargement of ventricles and nearby sulci. The registration will have to compensate for the resulting displacement of adjacent structures.

(B) Shown is the the result of registration to the MNI-152 template. The registration algorithm insufficiently compensated for the midline shift and compression of the left ventricle, which required a manual correction (shown on the right). Please click here to view a larger version of this figure.

Figure 4: Examples of the fogging effect on CT imaging. Scans at three different timepoints are shown for two different patients to illustrate why a CT scan made in the fogging phase (i.e., 14-21 days after stroke) should be avoided.(A) For patient 1, the CT scan performed 24 h after stroke onset shows a well-demarcated infarct in the left frontal lobe. 20 days after stroke onset, the infarct is not well-demarcated, and using this scan for segmentation would result in the underestimation of the infarct size. The follow-up MRI (3 years after) shows that the CT scan after 24 h was an accurate representation of the infarct size, whereas the CT scan at day 20 was not. (B) For patient 2, the CT scan within 24 h shows subtle early signs of ischemia with loss of gray-white matter differentiation and diffuse swelling in the right temporal and insular regions. The CT scan at day 4 shows a well-demarcated infarct. On the CT scan at day 18, a large part of the hypodense infarcted region has become isodense, which would result in undersegmentation of the infarct. Please click here to view a larger version of this figure.

Figure 5: Segmentation and registration of an infarct on an MRI DWI sequence. MRI scan performed 12 h after stroke onset. (A) the acute ischemic lesion is hyperintense on the DWI sequence (b-value = 1000) and hypointense on the ADC, indicating restricted diffusion due to cytotoxic edema. The infarct is segmented on the DWI image. It should be noted that there is a subtle increase in signal on the FLAIR, but

this is insufficiently clear to allow for lesion segmentation at this timepoint. (B) The dotted ellipse shows artifacts near bone-air configurations on the DWI (upper image) and ADC (lower image). (C) Comparison of the registered DWI sequence (left image; same scan as shown in panels A and B) and the corresponding registered infarct with the MNI-152 template (middle image). Note the slight error at the head of the right caudate nucleus, where the ventricles are not perfectly aligned. This required a manual correction of the segmentation in standard space (shown on the right). Please click here to view a larger version of this figure.

Asus

2019-08-14 20:08:21

--------------------------------------------

Comment 22. Typo. Should be 'on'

Figure 6: Segmentation and registration of an infarct on an MRI FLAIR sequence. MRI scans were performed at two different timepoints after stroke for a single patient. (A) In the MRI scans for day 3 the acute lacunar infarct (indicated with white arrows) can be reliably distinguished from chronic hyperintense lesions, such as white matter hyperintensities (indicated with dashed circles), because only acute infarcts show diffusion restriction on the DWI. It should be noted that at this timepoint, the DWI can also be used for segmentation. (B) At 7 months, the DWI

is no longer useful for distinguishing the infarct from white matter hyperintensities. Instead, the T1 should be used to identify the infarct based on the presence of a cerebrospinal fluid-filled cavity that has a low signal on T1 (and high signal on ADC). At this chronic stage, both the cavity and the surrounding hyperintense signal on FLAIR should be segmented as an infarct. (C) This shows the results of the registration of the FLAIR on day 3, which is adequate and requires no manual correction. Please click here to view a larger version of this figure.

nweaver

2019-08-14 20:08:30

--------------------------------------------

Comment 23: Could this figure be enlarged to fit the full width of the page? This would improve readability of the figure.

Figure 7: Overview of frequently used registration schemes implemented in RegLSM. The use of intermediate templates that provide a better match with the patient than the target template is optional. This is of particular importance when a CT scan is registered to an MRI

template (see patient 1). When segmenting on FLAIR or DWI, the segmented scan can either be co-registered to a native T1 image (see patient 2), if available or directly registered to the T1 template (patient 3). Other alternatives are also available, as explained in the relevant sections of the discussion. Please click here to view a larger version of this figure.

Figure 8: Registration result viewer implemented in RegLSM. The left three panels show the MNI-152 template in three planes (transversal, sagittal, coronal), and the right three panels show a registered DWI image in three planes. The crosshair helps can be used to verify if anatomical structures are accurately aligned. Please click here to view a larger version of this figure.

Supplementary Figure 1: Typical folder structure during an image processing for LSM. The first subfolder for subject ID002 contains three native scans in nifti format (FLAIR, T1 and T2, in red box) and the segmentation of the FLAIR sequence (in blue box). The three subfolders are created during the registration process by RegLSM. The subfolder to_MNI contains the registered segmented scan (in this case the FLAIR, in green box). The subsequent subfolder contains the registered lesion map in standard space (purple box). Of note, RegLSM will be made BIDS- compatible in the upcoming update. Please click here to download this figure.

Discussion

LSM is a powerful tool to study the functional architecture of the human brain. A crucial step in any lesion-symptom mapping study is the preprocessing of imaging data, segmentation of the lesion and registration to a brain template. Here, we report a standardized pipeline for lesion segmentation and registration for the purpose of lesion-symptom mapping. This method can be performed with freely available image processing tools, can be used to process both CT and structural MRI scans, and covers the entire process of preparing the imaging data for lesion-symptom mapping analyses.

The first major step in processing brain imaging data for lesion-symptom mapping is lesion segmentation. This protocol provides a detailed tutorial including criteria for infarct delineation, several examples, and pitfalls to facilitate accurate and reproducible segmentation. As mentioned in the protocol and summarized in Table 1, each scan type has a specific time window in which it can be used for infarct segmentation. Infarcts are visible on DWI within several hours after stroke onset as hyperintense on DWI and hypointense on ADC (reflecting restricted water diffusion due to cytotoxic edema), whereas other MRI sequences, including FLAIR, (and CT scans) are not sensitive enough to reliably detect infarcts within 48 h39. After the first week, the ADC image becomes isointense and eventually hyperintense as vasogenic edema develops30, while the

DWI usually remains hyperintense for several more weeks31,39,40. It is therefore advised to use DWI only within 7 days and to use the FLAIR sequence after 7 days.

As noted in step 3.4, a FLAIR hyperintense lesion is not always an infarct. White matter hyperintensities and other chronic lesions can resemble a subcortical infarct on a FLAIR sequence. In the acute stage, small subcortical infarcts can easily be distinguished from white matter hyperintensities or other chronic lesions such as lacunes of presumed vascular origin when there is a DWI available, as mentioned in the protocol (see Figure 5). In the chronic stage, the T1 sequence needs be closely reviewed to look for small cavities (of at least 3 mm) within a lesion, indicating the lesion is not a white matter hyperintensity (see Figure 6). Cavities of <3 mm, particularly when elongated in shape, within a FLAIR hyperintense lesion are more likely to be a perivascular space than an infarct and are not to be segmented as infarcts33. If a chronic cavitated lesion fits the criteria for a lacune (i.e., the cavity is 3-15 mm)33, it can still be challenging to ensure that this is in fact the symptomatic infarct, because lacunes can occur in individuals without overt neurological symptoms, and some individuals have multiple lacunes41. It helps to know the clinical stroke phenotype in these cases to ensure that the infarct is located in a structure that fits the initial stroke symptoms. When there is doubt whether a lacune corresponds with the stroke symptoms, it is best to exclude the patient.

There are several considerations regarding accurate infarct identification that need to be taken into account. The first concerns reliability of the scans in detecting brain infarcts. In minor ischemic stroke patients with small infarcts, final infarct size on follow-up FLAIR is often smaller than the initial DWI lesion42. In large (cortical) infarcts, there is considerable evidence that the DWI lesion in the hyperacute stage (<24 h) accurately represents the infarct core (i.e., represents irreversible damage), even when DWI imaging is performed before the reperfusion

therapy43,44. However, in some cases, the DWI lesion seen within 24 h is an underrepresentation of the final infarct size, because the penumbra (hypoperfused but potentially salvageable brain tissue) is not visible as a DWI lesion, but it may still progress to form part of the final infarct43 (particularly if reperfusion therapy is not performed in patients with large artery occlusions).

Another issue with using DWI within 24 h is that DWI lesions are to some extent dynamic and may show reversal after reperfusion therapy. However, follow-up scans showed that this reversal was transient and that the initial DWI lesion did accurately represent the infarct core. However, this does indicate that DWI performed several hours after reperfusion therapy might result in further underestimation of the final infarct size43. This potential underestimation of the final infarct size is an important limitation of using DWI performed within 24 h after stroke onset in lesion-symptom mapping studies. However, it should be noted that there are limitations to using other scan protocols as well. First of all, scans of any modality that are performed >24 h after the stroke can show mass effect due to swelling of the infarct in the acute stage, and ex vacuo enlargement of ventricles, sulcal widening, and displacement of surrounding structures in the chronic stage7. This displacement should be corrected by the registration algorithm and, if necessary, a manual correction should be performed by an expert reviewer. Still, both conditions can affect the accuracy of the translation of the infarcted region to standard space, even when rigorous quality checks are performed.

Of note, DWI in the hyperacute stage does not suffer from this limitation, since there is no significant mass effect within 24 h. In light of these scanner type-specific limitations, consideration of obtaining a homogeneous dataset should be made when designing a lesion-symptom mapping study, using a single scan type at a standardized timepoint. However, this will introduce a systematic bias in patient inclusion, as in most clinics, stroke patients that undergo MRI are different (i.e., often have smaller infarcts and less, more isolated symptoms) compared to patients that undergo CT. As such, systematically excluding patients with a specific imaging modality will limit the variability in lesion distribution, which in turn has a negative impact on the validity of the lesion-symptom mapping results45.

Finally, a limitation of all structural imaging modalities is that they do not capture the presence of decreased perfusion around the infarct, even though abnormal perfusion in brain regions that appear normal on structural imaging can interfere with brain function7,46. In summary, CT and several structural MRI sequences can be used to segment infarcts for the purpose of lesion-symptom mapping, as long as the proper time windows and criteria for lesion detection are followed, and the registration results are carefully checked. Taking into account scanner type- specific and time window-specific limitations is crucial when designing and interpreting lesion-symptom mapping studies.

An important issue in any lesion segmentation method is evaluating its reproducibility. Adequate training and knowledge of brain anatomy are crucial to distinguish lesions from normal anatomical structures and anatomical variants. Also, evaluation of inter- and intra-observer reproducibility prior to performing infarct segmentations for the purpose of lesion-symptom mapping is recommended. We have previously

demonstrated high inter-observer agreement for the manual infarct segmentation protocol on CT scans in both the acute [mean Dice Similarity Coefficient (DSC) 0.77; SD 0.11] and chronic (DSC 0.76; SD 0.16) stages, as well as high intra-observer agreement (DSC 0.90, SD 0.05 in acute stage; DSC 0.89, SD 0.06 in chronic stage)16. The inter-observer agreement for infarct segmentation on DWI and FLAIR is also known to be high47.

The main limitation of the method described here is that manual segmentation, quality checks, and manual corrections are time-consuming. Fully automated infarct segmentation tools that can process both CT and MRI scans with varying scan protocols in a reliable manner are lacking7,47. Automated infarct segmentation tools that are optimized for specific scan protocols do provide promising results (e.g., for DWI where the contrast between infarcted and normal brain tissue is very high48), and further improvements are likely to be made in the near future. Semi-automated methods can reduce the time needed for segmenting infarcts but also require an expert to ensure accurate lesion classification47. This quality check is crucial, because even a few failed infarct segmentations may significantly reduce the validity of the lesion-symptom mapping results.

Thus, manual infarct segmentation remains the gold standard7.

The second major step in processing brain imaging data for lesion-symptom mapping is the registration of the lesion maps to a brain template. RegLSM provides multiple validated registration schemes. For CT scans, histogram equalization is performed to improve soft-tissue contrast21, and an intermediate registration step to a CT template22 is performed to optimize the registration quality. For MRI scans, the scan on which the segmentation was performed is co-registered to the corresponding T1 sequence, if available, using linear registration. Subsequently, the native T1 is registered to an intermediate age-specific T1 template22 or directly to the target T1 template34 using linear and non-linear registration20.

The intermediate templates, both CT and T1, have been aligned with the target T1 template using a linear and non-linear registration that was manually optimized and verified. When the intermediate template is used, this pre-computed transformation is appended as the final transformation step.

Asus

2019-08-14 20:08:41

--------------------------------------------

Comment 24. Typo. Please replace with  'which'

When no T1 is available, the scan on which the segmentation was performed (usually a FLAIR or DWI) can be registered directly to the target T1 template using a linear and non-linear registration20. For DWI images, a brain tissue mask is created using unified segmentation as implemented in SPM35, to guide the linear registration after with a non-linear registration completes the procedure. The registration schemes in RegLSM are highly customizable, and the commonly used MNI-152 T1 template and intermediate template can be replaced by any template that may provide a better match with the segmented scan. An interesting possibility would be the development of FLAIR and DWI brain templates that provide a better match with individual stroke patients. A limitation of the described registration method is that the registration fails in some cases, meaning a visual inspection of the registration results is required for all patients, followed by a manual correction in some cases. The number of cases that require a manual correction varies with stroke subtype. In our previous experience, manual corrections are needed in up to one-third of large brain infarcts49,50,51 but only 13% of patients with small lacunar infarcts4. The majority of failed registrations is caused by anatomical distortions due to the lesion (as discussed previously), which is particularly likely to happen in cases of large infarcts with either severe swelling or ex

vacuo enlargement of surrounding structures. The manual correction of these misalignments is time-consuming but crucial before performing lesion-symptom mapping analyses. The number of cases that require manual correction is lower when studying white matter hyperintensities compared to infarcts, probably because these lesions do not cause significant anatomical distortion. In our recent lesion-symptom mapping study in patients with white matter hyperintensities, only 3% were of insufficient quality to proceed without manual correction6.

By default, RegLSM does not apply any form of lesion masking nor lesion filling, although the customizable nature of RegLSM allows users to enable it. The use of mutual information metric52 in the registration procedure avoids most of the issues previously raised with the presence of  a lesion affecting the registration quality. Mutual information is well-suited for multi-modal registrations (e.g., FLAIR to T1) and is less affected by the presence of pathology than other metrics or cost-functions. Even for intra-modal registration (e.g., the subject T1 to the template T1), mutual information should be used to cope with the presence of pathology. Lesions will have their own cluster in the joint histogram that can be optimized without affecting registration quality. In some cases, lesion masking can even degrade the registration quality, since insufficient image information remains to guide the registration when the lesion volume is large.

As a general comment regarding the software used, including conversion from DICOM to nifti format, scan visualization, and annotation, it should be noted that many open-access tools exist. We did not provide a systematic overview of all the available tools, because this was beyond the scope of this article. Also, many institutions develop their own image visualization and annotation tools. Here, we chose to provide a comprehensive framework that covers the entire process of CT/MRI preprocessing, segmentation, and registration for the purpose of lesion- symptom mapping using several commonly used open-access tools. When using this method, the proposed image conversion, visualization, or annotation tools could be replaced by other available tools or by custom-made tools, if this better suits the data or is considered more

convenient. Also, the image processing pipeline can be further customized by implementing available (semi-)automated infarct segmented tools, if this fits the study design of a particular lesion-symptom mapping study. This paper focuses on processing scans of patients with ischemic stroke, but the framework can be used for processing other lesion types as well (e.g., white matter hyperintensities or lacunes) by replacing the lesion segmentation procedure (section 3 of the protocol) with another appropriate segmentation procedure.

An important issue in lesion-symptom mapping is how to deal with co-occurring pathologies. For example, when performing a study in patients with acute ischemic stroke, there may be a substantial amount of co-occurring white matter hyperintensities or even previous infarcts. When studying white matter hyperintensities, some patients may also have (silent or clinically overt) brain infarcts. Co-occurring pathologies on brain imaging can have an independent contribution to cognitive impairment and should ideally be taken into account. A straightforward way of dealing with this issue is to exclude patients with co-occurring pathologies [e.g., exclude patients with (large) brain infarcts when focusing on white matter hyperintensities], but this has the disadvantage of limiting the generalizability of the findings to patients with a single type of pathology.

An alternative approach that is often used is regressing out the effects of co-occurring pathologies (e.g., adjust for white matter hyperintensity volume or the presence of brain infarcts) on the outcome variable prior to or during the lesion-symptom mapping analysis. However, a limitation of this approach is that the location of these co-occurring pathologies is not taken into account, even though this is known to be relevant for infarcts and white matter hyperintensities2, and likely for other lesion types. Therefore, on theoretical grounds, the best approach is to perform an integrated lesion-symptom mapping analysis in which the VLSM results are corrected for the location of co-occurring pathologies at the

voxel-level. In a recent study, a multivariate support vector regression-based method was used to perform integrated voxel-wise lesion-symptom mapping on multiple lesion types and identified brain regions where white matter hyperintensities are associated with cognitive decline after stroke, independent of acute infarct location53. This study shows how an integrated voxel-wise analysis of multiple lesion types can provide new insights into the complex interaction between different lesion types in the development of cognitive impairment and dementia53.

In summary, the image processing pipeline provided here serves as a standardized method of brain lesion segmentation and registration for the purpose of lesion-symptom mapping. The strengths of this method are the (1) reliability of the segmentation and registration method, which comes at the cost of rigorous quality checks, and in some cases corrections by a trained rater, (2) customizability of the registration pipeline

in which the registration scheme and templates can be adjusted to fit the data in the best possible way, and (3) possibility to process highly heterogeneous brain imaging data, including CT and structural MRI sequences. Future challenges include the development of robust, automated lesion segmentation tools for CT and MRI, further improvements of the registration methods, and development of brain templates that provide a better match with individual stroke patients, including DWI and FLAIR templates. These improvements may further increase the reproducibility of lesion segmentation and reduce the time spent on performing visual checks and manual corrections.

Disclosures

The authors disclose no conflicts of interest.

## Acknowledgments

The work of Dr. Biesbroek is supported by a Young Talent Fellowship from the Brain Center Rudolf Magnus of the University Medical Center Utrecht. This work and the Meta VCI Map consortium are supported by Vici Grant 918.16.616 from ZonMw, The Netherlands, Organisation for

Health Research and Development, to Geert Jan Biessels. The authors would like to thank Dr. Tanja C.W. Nijboer for sharing scans that were used in one of the figures.

References

- Rorden, C., Karnath, H.O. Using human brain lesions to infer function: A relic from a past era in the fMRI age? Nature Reviews Neuroscience. 5 (10), 812-819 (2004).

- Biesbroek, J.M., Weaver, N.A., Biessels, G.J. Lesion location and cognitive impact of cerebral small vessel disease. Clinical Science (London, England: 1979). 131 (8), 715-728 (2017).

- Karnath, H.O., Sperber, C., Rorden, C. Mapping human brain lesions and their functional consequences. NeuroImage. 165, 180-189 (2018).

- Zhao, L., et al. Strategic infarct location for post-stroke cognitive impairment: A multivariate lesion-symptom mapping study. Journal of Cerebral Blood Flow and Metabolism : An Official Journal of the International Society of Cerebral Blood Flow and Metabolism. 38 (8), 1299-1311 (2018).

- Weaver, N. A. et al. The Meta VCI Map consortium for meta-analyses on strategic lesion locations for vascular cognitive impairment using lesion-symptom mapping: design and multicenter pilot study. Alzheimer's and Dementia: Diagnosis, Assessment and Disease Monitoring. (2019).

- Biesbroek, J. M. et al. Impact of Strategically Located White Matter Hyperintensities on Cognition in Memory Clinic Patients with Small Vessel Disease. PLoS One. 11 (11), e0166261 (2016).

- de Haan, B., Karnath, H. O. A hitchhiker's guide to lesion-behaviour mapping. Neuropsychologia. 115, 5-16 (2018).

- Duering, M. et al. Strategic role of frontal white matter tracts in vascular cognitive impairment: A voxel-based lesion-symptom mapping study in CADASIL. Brain. 134, (Pt8), 2366-2375 (2011).

- Biesbroek, J. M. et al. Association between subcortical vascular lesion location and cognition: a voxel-based and tract-based lesion-symptom mapping study. The SMART-MR study. PLoS One. 8 (4), e60541 (2013).

- Wu, O. et al. Role of Acute Lesion Topography in Initial Ischemic Stroke Severity and Long-Term Functional Outcomes. Stroke. 46 (9), 2438-2444 (2015).

- Mah, Y. H., Husain, M., Rees, G., Nachev, P. Human brain lesion-deficit inference remapped. Brain. 137 (Pt8) 2522-2531 (2014).

- Sperber, C., Karnath, H. O. Impact of correction factors in human brain lesion-behavior inference. Human Brain Mapping. 38 (3), 1692-1701 (2017).

- Chen, R., Herskovits, E. H. Voxel-based Bayesian lesion-symptom mapping. NeuroImage. 49 (1), 597-602 (2010).

- Zhang, Y., Kimberg, D.Y., Coslett, H.B., Schwartz, M.F., Wang, Z. Multivariate lesion-symptom mapping using support vector regression.

Human Brain Mapping. 35 (12), 5861-5876 (2014).

- Corbetta, M. et al. Common behavioral clusters and subcortical anatomy in stroke. Neuron. 85 (5), 927-941 (2015).

- Biesbroek, J. M. et al. The anatomy of visuospatial construction revealed by lesion-symptom mapping. Neuropsychologia. 62, 68-76 (2014).

- Duering, M. et al. Strategic white matter tracts for processing speed deficits in age-related small vessel disease. Neurology. 82 (22), 1946-1950 (2014).

- Yourganov, G., Fridriksson, J., Rorden, C., Gleichgerrcht, E., Bonilha, L. Multivariate Connectome-Based Symptom Mapping in Post-Stroke Patients: Networks Supporting Language and Speech. The Journal of Neuroscience. 36 (25), 6668-6679 (2016).

- Zavaglia, M., Forkert, N. D., Cheng, B., Gerloff, C., Thomalla, G., Hilgetag, C. C. Mapping causal functional contributions derived from the clinical assessment of brain damage after stroke. NeuroImage: Clinical. 9, 83-94 (2015).

- Klein, S., Staring, M., Murphy, K., Viergever, M. A., Pluim, J. P. W. Elastix: A toolbox for intensity-based medical image registration. IEEE Transactions on Medical Imaging. 29 (1), 196-205 (2010).

- Kuijf, H. J., Biesbroek, J. M., Viergever, M. A., Biessels, G. J., Vincken, K. L. Registration of brain CT images to an MRI template for the purpose of lesion-symptom mapping. Lecture Notes in Computer Science (including subseries Lecture Notes in Artificial Intelligence and Lecture Notes in Bioinformatics). (2013).

- Rorden, C., Bonilha, L., Fridriksson, J., Bender, B., Karnath, H. O. Age-specific CT and MRI templates for spatial normalization. NeuroImage.

61 (4), 957-965 (2012).

- Barrett, J. F., Keat, N. Artifacts in CT: Recognition and Avoidance. RadioGraphics. (2007).

- Zhuo, J., Gullapalli, R. P. AAPM/RSNA physics tutorial for residents: MR artifacts, safety, and quality control. Radiographics: a review publication of the Radiological Society of North America, Inc. (2007).

- Rorden, C., Brett, M. Stereotaxic display of brain lesions. Behavioural Neurology. 12 (4), 191-200 (2000).

- Gorgolewski, K. J. et al. The brain imaging data structure, a format for organizing and describing outputs of neuroimaging experiments.

Scientific Data. 3, 160044 (2016).

- Yushkevich, P. A. et al. User-guided 3D active contour segmentation of anatomical structures: Significantly improved efficiency and reliability.

NeuroImage. 31 (3), 1116-1128 (2006).

- Becker, H., Desch, H., Hacker, H., Pencz, A. CT fogging effect with ischemic cerebral infarcts. Neuroradiology. 18 (4), 185-192 (1979).

- Kingsley, P. B., Monahan, W. G. Selection of the Optimum b Factor for Diffusion-Weighted Magnetic Resonance Imaging Assessment of Ischemic Stroke. Magnetic Resonance in Medicine. 51, 996-1001 (2004).

- Shen, J. M., Xia, X. W., Kang, W. G., Yuan, J. J., Sheng, L. The use of MRI apparent diffusion coefficient (ADC) in monitoring the development of brain infarction. BMC Medical Imaging. 11 (2) (2011).

- Lansberg, M. G. et al. Evolution of apparent diffusion coefficient, diffusion-weighted, and T2-weighted signal intensity of acute stroke.

American Journal of Neuroradiology. 22 (4), 637-644 (2001).

- Geijer, B., Sundgren, P.C., Lindgren, A., Brockstedt, S., Ståhlberg, F., Holtås, S. The value of b required to avoid T2 shine-through from old lacunar infarcts in diffusion-weighted imaging. Neuroradiology. 43 (7), 511-517 (2001).

- Wardlaw, J. M. et al. Neuroimaging standards for research into small vessel disease and its contribution to ageing and neurodegeneration.

The Lancet Neurology. 12 (8), 822-838 (2013).

- Fonov, V., Evans, A. C., Botteron, K., Almli, C. R., McKinstry, R. C., Collins, D. L. Unbiased average age-appropriate atlases for pediatric studies. NeuroImage. 54 (1), 313-327 (2011).

- Ashburner, J., Friston, K. J. Unified segmentation. NeuroImage. 26 (3), 839-851 (2005).

- Desikan, R. S. et al. An automated labeling system for subdividing the human cerebral cortex on MRI scans into gyral based regions of interest. NeuroImage. 31 (3), 968-980 (2006).

- Hua, K. et al. Tract probability maps in stereotaxic spaces: Analyses of white matter anatomy and tract-specific quantification. NeuroImage.

39 (1), 336-347 (2008).

- Eickhoff, S. B. et al. A new SPM toolbox for combining probabilistic cytoarchitectonic maps and functional imaging data. NeuroImage. 25 (4), 1325-1335 (2005).

- Ricci, P. E., Burdette, J. H., Elster, A. D., Reboussin, D. M. A comparison of fast spin-echo, fluid-attenuated inversion-recovery, and diffusion- weighted MR imaging in the first 10 days after cerebral infarction. American Journal of Neuroradiology. 20 (8), 1535-1542 (1999).

- Eastwood, J. D., Engelter, S. T., MacFall, J. F., Delong, D. M., Provenzale, J. M. Quantitative assessment of the time course of infarct signal intensity on diffusion-weighted images. American Journal of Neuroradiology. 24 (4), 680-687, (2003).

- Wardlaw, J. M. What is a lacune? Stroke. 39, 2921-2922 (2008).

- Kate, M. P. et al. Dynamic Evolution of Diffusion-Weighted Imaging Lesions in Patients With Minor Ischemic Stroke. Stroke: a Journal of Cerebral Circulation. 46, 2318-2341 (2015).

- Inoue, M. et al. Early diffusion-weighted imaging reversal after endovascular reperfusion is typically transient in patients imaged 3 to 6 hours after onset. Stroke. 45, 1024-1028 (2014).

- Campbell, B. C. V. et al. The infarct core is well represented by the acute diffusion lesion: Sustained reversal is infrequent. Journal of Cerebral Blood Flow and Metabolism. 32 (1) (2012).

- Sperber, C., Karnath, H. O. On the validity of lesion-behaviour mapping methods. Neuropsychologia. 115, 17-24 (2018).

- Hillis, A. E. et al. Restoring Cerebral Blood Flow Reveals Neural Regions Critical for Naming. Journal of Neuroscience. 26 (31), 8069-8073 (2006).

- Wilke, M., de Haan, B., Juenger, H., Karnath, H. O. Manual, semi-automated, and automated delineation of chronic brain lesions: A comparison of methods. NeuroImage. 56 (4), 2038-2046 (2011).

- Zhang, R. et al. Automatic Segmentation of Acute Ischemic Stroke From DWI Using 3-D Fully Convolutional DenseNets. IEEE Transactions on Medical Imaging. 37 (9), 2149-2160 (2018).

- Biesbroek, J. M. et al. Distinct anatomical correlates of discriminability and criterion setting in verbal recognition memory revealed by lesion- symptom mapping. Human Brain Mapping. 36 (4), 1292-1303 (2015).

- Biesbroek, J. M., van Zandvoort, M. J. E., Kappelle, L. J., Velthuis, B. K., Biessels, G. J., Postma, A. Shared and distinct anatomical correlates of semantic and phonemic fluency revealed by lesion-symptom mapping in patients with ischemic stroke. Brain Structure & Function. 221 (4), 2123-2134 (2016).

- Ten Brink, A. F. et al. The right hemisphere is dominant in organization of visual search-A study in stroke patients. Behavioural Brain Research. 304, 71-79 (2016).

- Pluim, J. P. W., Maintz, J. B. A. A., Viergever, M. A. Mutual-information-based registration of medical images: A survey. IEEE Transactions on Medical Imaging. 22 (8), 986-1004 (2003).

- Zhao, L. et al. The additional contribution of white matter hyperintensity location to post-stroke cognitive impairment: Insights from a multiple- lesion symptom mapping study. Frontiers in Neuroscience. 12 (MAY) (2018).