## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Reagents
Acetone | VWR | 20063.365
AZ 40 XT | Merck KGaA (Darmstadt, Germany) | - | Positive Photoresist
AZ 726 MIF Developer | Merck KGaA (Darmstadt, Germany) | - | Developer Positive Photoresist
Isopropanol | Merck KGaA (Darmstadt, Germany) | 109634
Microscope slides | VWR | ECN 631-1550
mr Dev 600 | Microresist Technology GmbH (Berlin, Germany) | - | Developer Negative Photoresist
Silicon Free Heat Sink Grease | Circuit Works | CW7270 | Thermal Compound
Silicon wafers | Silicon Materials | - | <1-0-0> orientation, 100 mm diameter, 525 µm thickness
SU-8 3050 | Microchem Corp. (Newton, MA) | - | Negative Photoresist
Sylgard 184 Elastomer Kit (PDMS) | The Dow Chemical Company | 01317318
trichloro(1H,1H,2H,2H-perfluorooctyl)silane | Sigma-Aldrich | 448931-10G
Equipment
4 channel digital input/output module | WAGO Kontakttechnik GmbH | 750-504 | 8x
Camera lens | The Imaging Source | -
Compression fitting | Koolance, Inc. | FIT-V06X10 | Fitting for tubing with 6mm ID and 10mm OD. 4x
Controller end module | WAGO Kontakttechnik GmbH | 750-600
Device connecting tubing | Saint-Gobain Performance Plastics | AAD04103 | 0.02" ID, 0.06" OD, Tygon Tubing (ND-100-80)
Device connector pins | Unimed SA (Lausanne, Switserland) | 200.010-A | AISI 304 tubing, 0.35mm ID, 0.65mm OD, 8mm L
Ethernet Controller | WAGO Kontakttechnik GmbH | 750-881
Female bus connector | Encitech | DTCK15-DBS-K | 15 pole female bus connector
Fluid reservoirs | Fluigent | Fluiwell-4C
Fluigent pressure system | Fluigent | MFCS-EZ | 0 - 345 mbar
Hg short arc lamp | Advanced Radiation Corporation | - | 350W
Hot plate | Torrey Pines Scientific | HP61
Inverted microscope | Nikon Instruments | Eclipse Ti-E
LabVIEW Software | de Greef Lab, Eindhoven University of Technology | https://github.com/tfadgreef/Microfluidic-Device-Control-Software
Liquid coolant | Koolance, Inc. | LIQ-705CL-B
Luer stubs | Instech Laboratories, Inc. | LS23
Male Luer to barb connectors | Cole Parmer | 45505-32 | 3/32" ID
Matlab Software | de Greef Lab, Eindhoven University of Technology | https://github.com/tfadgreef/Microfluidic-Device-Control-Software
Microcamera | The Imaging Source | DMK 42AUC03
Microscope camera | Hamamatsu Photonics | OrcaFlash4.0 V2 (C11440-22CU)
Orbital shaker | Cole Parmer | EW-513000-05
Oven | Thermo Scientific | Heraeus T6P 50045757
Oxygen plasma asher | Quorum Technologies | K1050X
PDMS puncher | SYNEO | Accu-Pucnh MP10
PEEK tubing | Trajan | 1301005001-5F | 0.005" ID, 1/32" OD, Red
Peltier element | European Thermodynamics | APH-127-10-25-S
Peltier temperature controller | Warner Instruments | CL-100
Photomask | CAD/Art Services, Inc. | -
Photomask Design | Maerkl Lab, EPFL | https://zenodo.org/record/886937#.XBzpA8-2nOQ
Pneumatic valve array | FESTO | - | 1x 22 valve array and 1x 8 valve array, Normally closed valves.
Power adapter | Koolance, Inc. | ADT-EX004S | 110/220V AC Power Adapter
PTFE tubing | Cole Parmer | 06417-21 | #24 AWG Thin Wall PTFE
Punching pin | SYNEO | CR0320245N21R4 | OD: 0.032" (0.8128 mm), ID: 0.024" (0.6090 mm)
PVC Tubing | Koolance, Inc. | HOS-06CL | 6 mm ID, 10 mm OD
Single edge blades | GEM Scientific | -
Soft tubing | Fluigent | - | Supplied with fluid reservoirs. (1 mm ID, 3mm OD)
Spin coater | Laurell Technologies Corporation | WS-650MZ-23NPPB
Stereo microscope | Olympus Corporation | SZ61
Thermistor cable | Warner Instruments | TA-29 | Cable with bead thermistor
UV exposure system | ABM, USA | - | Near UV Exposure System, 350W
Vacuum pump | Vacuumbrand GmbH | MD1C
Water cooled cold plate block | Koolance, Inc. | PLT-UN40F
Water cooler | Koolance, Inc. | EX2-755
Weighing scales | Sartorius | M-prove

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=