# Submission ID #: 59658

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18195738

Title: In Vivo Functional Study of Disease-Associated Rare Human Variants using Drosophila

Authors and Affiliations: J. Michael Harnish1*, Samantha L. Deal2*, Undiagnosed Diseases Network%, Hsiao-Tuan Chao1,3,4,5, Michael F. Wangler1,2,4, and Shinya Yamamoto1,2,4,5

*These Authors contributed equally to the work

1Department of Molecular and Human Genetics, Baylor College of Medicine

2Program in Developmental Biology, Baylor College of Medicine, Houston

3Department of Pediatrics, Section of Neurology and Developmental Neuroscience, Baylor College of Medicine

4Jan and Dan Duncan Neurological Research Institute, Texas Children’s Hospital

5Department of Neuroscience, Baylor College of Medicine

# Corresponding Author:

# Shinya Yamamoto

# yamamoto@bcm.edu

Email addresses for Co-authors:

Jacob.Harnish@bcm.edu

Samantha.Deal@bcm.edu

hc140077@bcm.edu

mw147467@bcm.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? Y, Olympus SZ40

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.11.1., 2.11.2.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.11.2. There is no guaranteed way to ensure success on this. You can tell upon recording if it is not placed correctly, and you will just need to re-place it if the recording looks bad.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Shinya Yamamoto: This protocol allows us to determine whether missense variants in human genes that are linked to diseases affect protein function. This is difficult to accomplish computationally even with state-of-the-art algorithms [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Shinya Yamamoto: This technique allows a rapid analysis of missense variants in human proteins using an in vivo system, Drosophila melanogaster, which is faster and more cost-efficient than vertebrate model organisms [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Mike Harnish: Demonstrating that a specific variant affects protein function directly contributes to the diagnoses of rare diseases and serves as a starting point for disease mechanism analyses and potential therapies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Mike Harnish: This protocol is particularly useful when studying variants linked to rare diseases, but it can be applied to more common diseases, like autism and cancer [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Samantha Deal: Identifying reproducible phenotypes in flies that reflect protein function can be challenging. The phenotypes may vary from gene to gene and can be subtle [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Functional Analyses of Human Disease Associated Missense Variants

  - Functional studies of variants in human proteins using Drosophila can be performed based on rescue experiments or over-expression studies [1-TXT].

    - LAB MEDIA: To be provided by the authors: Schematic diagram of rescue-based strategy and over-expression-based strategy TEXT: See text for other strategy details

  - Before beginning the procedure, gather information about the human gene of interest and its model organism orthologs [1-TXT].

    - WIDE: Talent (Mike Harnish) at computer, entering information into marrvel.org website, with monitor visible in frame TEXT: See text and http://marrvel.org for details

  - To test variant function by over-expressing reference and variant human proteins in the fly visual system [1], generate transgenic flies that express reference or variant human cDNAs of interest under the control of the GAL4 (gal-4)-Upstream Activating Sequence, or UAS (U-A-S), system [2-TXT].

    - LAB MEDIA: Figure 1A

    - Talent (Mike Harnish) performing a representative molecular biology action TEXT: See text for transgenic fly generation details

  - To select a specific GAL4 line to express the human proteins in a specific fly tissue, cross 3-5 virgin females from the GAL4 line [1] with 3-5 males from each of the UAS human cDNA transgenic lines in single vials or in duplicates [2].

    - Talent (Mike Harnish) isolating female and male flies from fly vial with strain name on vial visible in frame

    - Talent (Mike Harnish) adding female and male flies into new culture vials with strain name on vial visible in frame

  - Transfer the crosses every 2-3 days to obtain as many animals eclosing from a single cross as possible [1] and examine the eclosed animal under a dissection microscope to identify any differences between the reference and variant strains [2].

    - Flies being transferred

    - Talent (Mike Harnish) placing flies under microscope

  - If there is a visible defect, image the flies to document the phenotypes [1].

    - Talent (Mike Harnish) taking photographs of fly eye using a camera attached to a microscope

  - To generate flies to test for functional defects in the visual system [1], cross virgin females from the Rhodopsin-1 Gal4 line [2] to males with reference or variant UAS-human cDNA transgenes to express the human proteins of interest in photoreceptors R1-R6 (R-one, R-six) in the fly retina [3].

    - LAB MEDIA: Figure 4A

    - Talent (Samantha Deal) adding female flies to vial, with strain name on vial visible in frame

    - Talent (Samantha Deal) adding male files to vial, with strain name on vial visible in frame

  - Once the flies begin to eclose [1], gather the progeny into fresh vials [2] and return the vials to an incubator set to the appropriate experimental temperature for an additional 3 days to allow the visual system to mature [3].

    - Shot of enclosed flies (this can be shot by the film crew, or we can provide videos using the camera attached to our fly room microscope) (Videographer Comment: This will be provided by the authors)

    - Flies being added to vial

    - Talent (Samantha Deal) placing vial(s) into incubator

  - At the end of the incubation, immobilize the flies with an appropriate anesthesia method [1] and gently glue one side of each fly onto a glass microscope slide [2].

    - Talent (Samantha Deal) placing flies on ice or CO2 pad

    - Fly being glued to slide

  - After setting up an electroretinogram rig [1-TXT], place a 1.2-millimeter glass capillary into a needle puller [2] and break the capillary tube [3] to obtain two, sharp, hollow, tapered electrodes with less than 0.5-millimeter diameters [4].

    - Shot of ERG

    - Capillary being placed into puller

    - Capillary being broken

    - Shot of electrodes

  - Fill the capillaries with 100-millimolar saline solution, taking care to avoid air bubbles [1], and slide the glass capillaries over the silver wire electrodes [2].

    - Capillary being filled Videographer: Important step

    - Capillary being slid over electrode Videographer: Important step

  - Clamp the capillaries in place [1] and acclimate the flies to complete darkness for at least 10 minutes at room temperature [2-TXT].

    - Capillary being secured [Shots 2.12.1 and 2.12.2 combined]

    - Talent covering flies TEXT: Red light source can be used during dark habituation

  - At the end of the habituation, place the slide containing the flies onto the recording apparatus [1] and move the micromanipulators carrying the reference and recording electrodes close to the fly of interest [2].

    - Slide being placed onto apparatus

    - Electrode(s) being moved close to fly

  - Watching the tip of the electrode, carefully place the reference electrode into the thorax of the fly penetrating the cuticle [1] and place the recording electrode on the surface of the eye [2].

    - SCOPE: Reference electrode being placed onto thorax OR ECU: Shot of electrode on thorax [Shots 2.14.1 and 2.14.2 combined] (Videographer Comment: No scope kit provided, and extra footage will be provided by the author)

    - SCOPE: Electrode being placed onto eye OR ECU: Shot of electrode on eye

  - Samantha Deal: For successful electroretinogram recordings, take care to apply an appropriate amount of pressure to the recording electrode so that it causes a small dimple without penetrating the eye [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - When the electrodes are in place, turn on a halogen light source with a closed shutter for 3 minutes to re-acclimate the flies to the dark environment [1].

    - Shot of flies, then lights turning out

  - At the end of the re-acclimation period, open and close the shutter once a second for 20 seconds [1], recording the electroretinograms from at least 15 flies per slide per genotype per condition using the same electrodes [2].

    - Cover being placed over light source/shot of light going on and off over fly

    - Talent placing electrode onto fly

  - When the recordings from the reference and variant flies are complete, compare the electroretinogram recordings from the reference, variant, and controls to assess for differences [1].

    - Talent (Samantha Deal) at computer, assessing ERGs

  - Then evaluate the electroretinogram data for changes in on-transients, depolarization, off-transients, and repolarization [1].

    - LAB MEDIA: Figure 4B

# Section – Results

- Representative Results: Over-expression Based Functional Analyses of Disease Associated Variants in TBX2.

  - In this representative experiment, UAS transgenic flies were generated for over-expression-based studies, as reference human TBX2 is unable to functionally replace the orthologous fly gene [1].

    - LAB MEDIA: Figure 3A right side of figure

  - When reference human TBX2 is over-expressed in the developing eye and parts of the brain using eyeless-GAL4 [1], the over-expression results in an approximately 85% lethality [2] and a significant reduction in the eye size [3].

    - LAB MEDIA: Figure 3B right side of figure

    - LAB MEDIA: Figure 3C right side of figure: JoVE Video Editor: please emphasize UAS-TBX2 data line

    - LAB MEDIA: Figure 4B top row of images: JoVE Video Editor please emphasize small eye in middle image (ey-GAL4>UAS-TBX2) compared to the in the left image (control, ey-GAL4)

  - In contrast, the variant transgene is less potent in causing lethality [1] and induces a small eye phenotype using the same driver under identical experimental conditions, suggesting that the variant affects protein function [2].

    - LAB MEDIA: Figure 3C right side of figure: JoVE Video Editor: please emphasize UAS-TBX2-R20Q data line

    - LAB MEDIA: Figure 4B top row of images: JoVE Video Editor please emphasize right image (mild eye defect: ey-GAL4>UAS-TBX2R20Q) compared to the (severe eye defect: ey-GAL4>UAS-TBX2)

  - In addition, when a reference human TBX2 is over-expressed in the photoreceptors using Rhodopsin-GAL4 [1], the over-expression causes a significant alteration in the electroretinogram trace [2].

    - Figure 4B bottom side left and middle panel: JoVE Video Editor: please emphasize UAS-TBX2 data

    - Figure 4B bottom side right panel: JoVE Video Editor please emphasize right image (ey-GAL4>UAS-TBX2R20Q)

  - This phenotype is milder when the variant protein is expressed, providing further evidence that the variant of interest affects protein function in vivo [1].

    - LAB MEDIA: Figure 4B: JoVE Video Editor please emphasize middle image (ey-GAL4>UAS-TBX2)

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Mike Harnish: It is important to note that every gene is unique so there is no single experiment that can assess the impact of all disease-associated variants [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Samantha Deal: In addition to working with human cDNAs, one can also determine if the variant has functional consequences by introducing analogous variants into evolutionarily-conserved residues of the orthologous fly gene [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Shinya Yamamoto: Using this method, we have contributed to a number of human disease gene discovery studies in collaboration with the Undiagnosed Diseases Network and other groups [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera