Dear Editors,

You will find here enclosed a revised version of our manuscript entitled “Use of Atomic Force Microscopy to measure mechanical properties and turgor pressure of plant cells and plant tissues”, by Simone Bovio, Yuchen Long  and Françoise Monéger. Below, you will find in bold what has been done to answer the points you raised. We hope these changes will be acceptable and we look forward to hearing your response.

Best regards,

Françoise Monéger

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

The manuscript has been proofread again.

2. Please highlight complete sentences (not parts of sentences) for filming.

This has been corrected.

3. JoVE cannot publish manuscripts containing commercial language. This company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.

Company names and commercial language have been removed.

4. Please use h, min, s for time units.

This has been corrected.

5. Please revise the text in Protocol to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

This has been corrected.

6. Please do not use A, B to section the protocol into two parts.

This has been corrected.

7. Step 2.1: Please ensure that all text is written in the imperative tense.

This has been corrected.

8. 2.2: Please ensure that all text is written in the imperative tense.

This has been corrected.

9. The highlighted protocol steps are over the 2.75 page limit (including headings and spacing). Please highlight fewer steps for filming.

The length of the highlighted part has now been reduced and fit the 2.75 page limit (see below)

Measure of cell wall mechanical properties: example of the developing gynoecium of Arabidopsis

1.2. Put the gynoecium on double side tape placed at the center of the cover of a small petri dish (diameter 5cm).

1.3. Rapidly add water until the sample is completely covered to avoid dehydration.

3.1. Place the sample on the AFM stage, and place the head over the sample.

3.3. In “QI” mode approach with a “setpoint” force of 50 nN.

3.4. Set a Z length of 4 µm and a scan area to 80 x 80 µm² with a number of pixels of 40 x 40.

3.4.1. In the “advanced imaging settings” panel set the mode to constant speed. Set extend and retract speed to 200 µm/s and “sample rates” to 25 kHz.

3.5. Start scanning and use this rapid low-force scanning for checking if the sample moves.

3.6. Once an area of interest has been located, select a region of 40 x 40 to 60 x 60 µm² around it and increase the pixel number to reach 2 pixels per µm.

3.6.1. Increase the “setpoint” to 500 nm to obtain 100-200 nm of indentation. Adjust this value, if necessary, at the beginning of the experiment.

3.6.2. Decrease the Z length to 2 µm. Decrease extend and retract speed to 100 µm/s and increase the sample rate to 50 kHz.

3.7. Start scanning and save the output (generally composed by an Image and a Data file).

4.2. Click on “Use this map for batch processing” button in order to use the same analysis parameters on all the curves of the map.

4.3. In “load pre-defined process” select “Hertz fit”.

4.8. In “Elasticity fit” tab, select the appropriate fit model.

4.8.1. Set tip geometrical parameters based on nominal tip shape. Here “Tip Shape” is sphere and “Tip Radius” 400 nm.

4.9.1. Add a second “Elasticity fit” routine by clicking on the icon on the main window.

4.9.2. Set again all the fit parameters and specify in “X min” the desired indentation.

4.10. Click on “Keep and apply to all” to iterate the previous steps on all the curves of the map.

Measure of turgor pressure: example of the oryzalin-treated inflorescence meristem of Arabidopsis

5.2.2. For measurement with rapid solution changes: mount sample in Petri-dish holding a small piece of Patafix (UHU), and quickly seal the gap between Patafix and sample base with bio-compatible glue. Wait for glue to solidify (less than 2 min), then submerge sample in liquid ACM containing 0.1 % PPM.

7.2.1. In “Check parameter” window set “Spring constant” to the cantilever’s manufactured spring constant or the determined spring constant as in step 2.8. In this example it is set at 42 N/m.

7.2.2. Set “Tip radius” to 400 nm in this example.

7.2.3. Set “Sample Poisson’s ratio” to 0.5, since water contributes mainly to turgor pressure.

7.2.4. Set “Sample/Line” to 128 to ensure rapid acquisition.

7.2.5. Set “Scan rate” to 0.2 Hz.

7.2.6. Set “Scan size” to 1 μm.

7.2.7. In “Ramp” window set “Ramp size” to 5 μm.

7.2.8. Set “Trig threshold” to maximum.

7.2.9. Set “Number of samples” to 4608.

7.4. With care, manually approach towards the sample. When the probe is relatively close to sample surface, click “Approach”.

7.5. Upon contact, gradually increase “Scan size” and/or “Scan rate” until a desired balance without damaging the sample and/or the cantilever.

7.6. When satisfied, click the button “Point and Shoot” to initiate the point and shoot window.

Specify save directory and file name. Then click “Ramp on next scan” to initiate recording.

Click on the scanned image to specify positions that you would like to indent.

7.9. Choose at least three indentation sites per cell near its barycentre, and repeat indentation for three times per site. When satisfied with indentation site placement, click “Ramp and capture”.

8.1. In the analysis software, open the *.mca file.

8.3. Click the “Baseline correction” button, drag the blue dash lines on the force curve until “Extend Source Baseline Start” and “Extend Source Baseline Stop” are at 0 % and 80 %, respectively. Click “Execute”.

8.4. Click the “Boxcar Filter” button, and click “execute” to smooth force curve.

8.5. Click the “Indentation” button.

8.5.1. In the “Input” window set the “Active Curve” to “Extend”.

8.5.2. Set the “Fit Method” to “Linearized Model” and “Include Adhesion Force” to “Yes”.

8.5.3. Set “Max Force Fit Boundary” to 99 % and “Min Force Fit Boundary” to 75 %.

8.5.4. Set “Fit Model” to “Stiffness” (Linear).

Click the “Run History” button, specify report directory and add all other force curves that require the same treatment. When satisfied, click “Run”.

8.7. When k is batch fitted, click “History” tab  “5 Indentation” to return to the indentation window.

8.7.1. Change “Max Force Fit Boundary” to 10 % and “Min Force Fit Boundary” to 0 %.

8.7.2. Set “Fit Model” to “Hertzian” (Spherical).

In “Height” channel window, click “Section” button.

8.9.1. Draw a line across the long axis of one cell, move the dash line boundaries to the cell edges, and record the “Radius” value r1.

8.11. Calculate mean E, k and P per cell.