## Sheet
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
PBMC separation /cell culture
Histopaque-1077 | Sigma | 10771 | Cell isolation
DMEM | Corning | 10-013-CVR | Cell culture
DPBS | Corning | 21-031-CVR | Cell culture
FBS | Corning | 35-076-CV | Cell culture
Penicillin-Streptomycin, Liquid | Gibco | 15140-163 | Cell culture
Trypsin-EDTA (0.25%), phenol red | Gibco | 25200-114 | Cell culture
Matrigel | Corning | 356237 | CDX inoculation
FACS analysis
Deoxyribonuclease I from bovine pancreas | Sigma | DN25 | Sample preparation
Collagenase Type I | Sigma | C0130 | Sample preparation
Anti-mouse/human CD11b (M1/70) antibody | BioLegend | 101206 | FACS
Anti-mouse Ly-6C (HK1.4) antibody | BioLegend | 128008 | FACS
Anti-mouse Ly-6G (1A8) antibody | BioLegend | 127614 | FACS
Anti-human CD8 (OKT8) antibody | Sungene Biotech | H10082-11H | FACS
Anti-human CD279 (MIH4) antibody | eBioscience | 12-9969-42 | FACS
Anti-human CD3 (HIT3a) antibody | 4A Biotech | -- | FACS
Guava easyCyte 8HT Benchtop Flow Cytometer | Millipore | 0500-4008 | FACS
Tumor/PDX implantation /dosing / measurement
Cyclophosphamide | J&K | Cat#419656, CAS#6055-19-2 | In vivo efficacy
Disulfiram | J&K | Cat#591123, CAS#97-77-8 | In vivo efficacy
Syringe | BD | 300841 | CDX inoculation
Hypodermic needles (14G) | Shanghai SA Mediciall & Plastic Instruments Co., Ltd. | 0.7*32 TW SB | PDX inoculation
Vernier Caliper (MarCal) | Mahr | 16ER | Tumor measurement
IVC individual ventilated cages | Lingyunboji Ltd. | IVC-128 | Animal facility
IHC
Leica ASP200 Vacuum tissue processor | Leica | ASP200 | IHC
Leica RM2235 Manual Rotary Microtome for Routine Sectioning | Leica | RM2235 | IHC
Leica EG1150 H Heated Paraffin Embedding Module | Leica | EG1150 H | IHC
Ariol-Clinical IHC and FISH Scanner | Leica | Ariol | IHC
Anti-human CD8 (EP334) antibody | ZSGB-Bio | ZA-0508 | IHC
Anti-human PD1 [NAT105] antibody | Abcam | ab52587 | IHC
Anti-human PD-L1 (E1L3N) antibody | Cell Signaling Technology | 13684S | IHC
Polink-2 plus Polymer HRP Detection System | ZSGB-Bio | PV-9001/9002 | IHC

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | AAAAAH384Q8=