# Submission ID #: 59685

# Scriptwriter Name: Maja Fiket

# Project Page Link: https://www.jove.com/account/file-uploader?src=18203973

# Title: Using Near-Infrared Fluorescence and High-Resolution Scanning to Measure Protein Expression in the Rodent Brain

Authors and Affiliations:

Brianna Kimmelmann-Shultz1, Negin Mohammadmirzaei1, Jeffrey Caplan2, Dayan Knox1

1Department of Psychological and Brain Sciences, University of Delaware, Newark, DE, USA

# 2Plant and Soil Sciences, Delaware Biotechnology Institute, University of Delaware, Newark, DE, USA

# Corresponding Author:

# Dayan Knox		(dknox@psych.udel.edu)

# Email addresses for Co-authors:

Brianna Kimmelmann-Shultz	(briannak@udel.edu)

Negin Mohammadmirzaei	(nmohammadmirzaei@psych.udel.edu)

# Jeffrey Caplan			(jcaplan@udel.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? No

2. Does your protocol include software usage? Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.) 3.4.1, 3.4.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.) 2.4.1

5. Will the filming need to take place in multiple locations? Yes

If yes, how far apart are the locations? 3 Rooms all in the same hallway

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

Authors, interview statements have been edited for length. Also, one statement has been moved from introduction to conclusion.

  - Brianna Kimmelmann Shultz: This protocol is significant because it allows for quantification of two proteins in the same brain region. This allows the experimenter to look at activity in molecular signaling pathways in brain regions by assaying pan and phospho-proteins. It can also be used to assay proteins that are makers of different cognitive phenomena [1].

    - Interview

  - Author Name: We are using a relatively simple technique, such as immunohistochemistry to answer questions that typically require more involved techniques, including examining the activity of molecular signaling pathways, examining AMPA/NMDA ratio [1]. Who will be speaking this part?

    - Interview

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - The following protocol was approved by the Institutional Animal Care and Use Committee (IACUC) of the University of Delaware. Male Sprague Dawley rats approximately 55–75 days old were used for this protocol.

# Section - Protocol

- Single Immunohistochemical Reaction

  - Using a cryostat maintained between -9 °C and -12 °C [1] slice previously isolated and frozen rat brain in regions of interest at 30–50 micrometers [2-TXT]. Directly mount slices onto glass slides and store at -80 °C until immunocytochemistry [3].

    - MED: Talent at the cryostat.

    - CU: Talent starts slicing. TEXT: Hippocampus and amygdala in this protocol.

    - CU: Talent placing a few slices on a slide.

  - Remove the glass slides from the freezer and allow them to equilibrate to room temperature for 30 min [1]. Working under a fume hood, place the slides in 4% paraformaldehyde in 0.1-molar PBS for 1−2 h at room temperature for tissue fixation [2].

    - MED: Talent remove slides from the freezer

    - MED: Talent placing slides in PFA under a hood.

  - Then rinse the slides in 0.1-M TBS three times for 10 min each [1]. To permeabilize cell membranes incubate the slides in a mild detergent for 30−60 min [2-TXT] and rinse again in TBS three times for 15 min each [3].

    - MED: Talent placing slides in TBS and starts the timer for 10 min

    - MED: Talent placing slides in detergent and starts the timer for 30 min. TEXT: 0.01% detergent

    - MED: Talent placing slides in TBS and starts the timer for 15 min

  - Dilute primary antibody for protein of interest in PBS in the correct concentration, as described in the manuscript [1]. Pipette primary antibody solution directly onto the brain tissue [2-TXT].

    - MED: Talent starts diluting primary antibody.

    - CU: Talent pipetting primary antibody solution directly onto the tissue. TEXT: ~ 200 µL

  - Place coverslips on the slides [1] and incubate the brain tissue in primary antibody dilution for 1−2 h at room temperature [2-TXT].

    - CU: Talent placing coverslip onto 1 slide.

    - CU: Talent placing the slides on the side for incubation and starts the timer. TEXT: Or overnight at 4 °C

  - After incubation, remove the coverslips [1] and wash the slides in TBS that has a small amount of detergent added to it four times for 15 min each [2-TXT].

    - CU: Talent removing coverslip.

    - MED: Talent placing slides in TBS-T and starts the timer for 15 min. TEXT: TBS-T; 0.01% detergent

  - Dilute secondary antibody in a diluent containing TBS, detergent, and 1.5% of host serum [1]. Add secondary antibody to the slides [2], cover with coverslips and incubate at room temperature for 2 hours [3].

    - MED: Talent starts diluting secondary antibody.

    - CU: Talent pipetting secondary antibody.

    - CU: Talent starts placing coverslips.

  - After incubation, rinse the slides in TBS-T four times for 20 min each [1], and then in TBS four times for 20 min each [2]. Dry the slides at room temperature in the dark overnight [3].

    - MED: Talent placing slides in TBS-T and starts the timer for 20 min.

    - MED: Talent placing slides in TBS and starts the timer for 20 min.

    - MED: Talent covering the slides for incubation.

- Imaging and Protein Expression Analysis

  - Place slides onto near-infrared scanning interface with the tissue facing down [1]. Image multiple slides at a time using a selection tool [2].

    - MED: Talent placing slides tissue facing down onto scanning interface.

    - SCREEN to be provided by the authors: Talent starts imaging, opening selection tool.

  - Image the slides using the highest quality setting with an offset of 0 nanometers and a resolution of 21 micrometers [1]. Import images into image analysis software to view and mark for semi-quantitative protein analysis [2].

    - SCREEN to be provided by the authors: Talent adjusting settings with an offset of 0 nm and a resolution of 21 µm.

    - SCREEN to be provided by the authors: Talent importing images.

  - After opening the image analysis software select the “Work Area” into which the image was scanned [1].

    - SCREEN to be provided by the authors: Talent opening the image analysis software select the “Work Area” into which the image was scanned.

  - Then open the scanned image in the image analysis software to view the scan [1], and adjust wavelengths, contrast, brightness, and magnification shown without altering the raw image or the total quantified emission [2].

    - SCREEN to be provided by the authors: Talent opening the scanned image in the image analysis software.

    - SCREEN to be provided by the authors: Talent adjusting wavelengths, contrast, brightness, and magnification.

  - After identifying the key regions for quantification select the “Analysis” tab along the top of the page [1], then select “Draw Rectangle” to draw a rectangle over the area that will be quantified [2-TXT].

    - SCREEN to be provided by the authors: Talent selecting the “Analysis” tab along the top of the page.

    - SCREEN to be provided by the authors: Talent selecting “Draw Rectangle”. TEXT: or Draw Ellipse/ Draw Freehand

  - To view the rectangle size, select “Shapes” along the bottom left of the screen [1], then select “Columns” along the bottom right [2]. Then add “Height” and “Width” columns to identify the shape size [3].

    - SCREEN to be provided by the authors: Talent selecting “Shapes” along the bottom left of the screen

    - SCREEN to be provided by the authors: Talent selecting select “Columns” along the bottom right

    - SCREEN to be provided by the authors: Talent adding “Height” and “Width” columns to identify the shape size.

  - Finally, name the shape and repeat [1]. Once all regions are sampled proceed with combining and analyzing of the data available from the columns tab [2].

    - SCREEN to be provided by the authors: Talent naming the shape.

    - SCREEN to be provided by the authors: Talent starts analyzing.

# Section – Results

- Results: Detection and Measurement of Protein Expression in the Rodent Brain

  - To verify that this protocol works, brain sections were incubated with primary and secondary antibodies, secondary antibody alone, or neither primary nor secondary antibody [1].

    - Figure 2 Video editor emphasize first panel when “primary and secondary antibodies” are mentioned, then second panel when “secondary antibody alone” is mentioned, and third panel when “neither primary nor secondary antibody” is mentioned.

  - The immediate early gene c-Jun expression was detected in the dorsal hippocampus and amygdala only when both primary and secondary antibodies were applied to the brain tissue [1].

    - Figure 2 Video editor emphasize first panel here, then the word when “hippocampus” is mentioned, and Amy when “amygdala” is mentioned.

  - GluR1 (Glue-are-1) subunit of AMPA (Am-Pa) receptor and the NR2A subunit of NMDA receptor were assayed in this dual protein detection in amygdala nuclei. This allowed examining the ratio of AMPA/NMDA receptors in sub-nuclei of the amygdala, which is a neurobiological signature of learning and memory [1].

    - Figure 3 Video editor emphasize first panel with green staining marked with GluR1 when GluR1 is mentioned, and then the panel below with red staining marked with NR2A when NR2A is mentioned. For the last sentence emphasize the panel with both green and red staining marked “Merge”.

  - Mean and normalized measures of protein expression were obtained from high-resolution scans in the ventral hippocampus [1]. Using the image analysis software, a rectangle is placed in the region of interest and mean intensity of light from the shape was used as a measure of fluorophore expression, which is a measure of protein expression [2].

    - Figure 4

    - Figure 4 A Video editor emphasize the arrow and the rectangle it is pointing at in the left panel, when rectangle is mentioned, and then emphasize the right panel when “was used as a measure of fluorophore expression, which is a measure of protein expression” is mentioned.

  - To obtain a normalized curve, a shape was placed across a region that expresses high signal and low signal, and the area under the curve was used as a measure of protein expression [1].

    - Figure 4 B Video editor emphasize the arrow and the rectangle it is pointing at in the left panel, when shape is mentioned, and then emphasize the right panel when “the area under the curve was used as a measure of protein expression” is mentioned.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Brianna Kimmelmann Shultz: The biggest struggle with this procedure is finding an antibody and making sure that it works. The application is simple. My advice would be to first attempt a regular immunohistochemical procedure, then try this technique, always performing a validation assay first.

    - Interview

  - Brianna Kimmelmann Shultz: The most important thing to remember [1] is to check your antibody dilution and make sure it is applied correctly, without these steps the procedure will fail [2].

    - Interview

    - Use 2.4, 2.7

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.