# Submission ID #: 59688

# Scriptwriter Name: Brigid Stadinski

# Project Page Link: http://www.jove.com/files_upload.php?src=18204888

Title: Assessment of Vascular Tone Responsiveness using Isolated Mesenteric Arteries with a Focus on Modulation by Perivascular Adipose Tissues

# Authors and Affiliations:

Daniels Konja1, Cuiting Luo1, Wai Yan Sun1, Kangmin Yang1, Andy W. C. Man1, Aimin Xu1, Paul M. Vanhoutte1, Yu Wang1

1The State Key Laboratory of Pharmaceutical Biotechnology and the Department of Pharmacology and Pharmacy, the University of Hong Kong, Hong Kong SAR, China

# Corresponding Author:

Paul M. Vanhoutte	(vanhoutt@hku.hk)

Yu Wang 		(yuwanghk@hku.hk)

# Email addresses for Co-authors:

Daniels Konja		(kdaniels-1@outlook.com)

Cuiting Luo		(cuiting@hku.hk)

Wai Yan Sun		(kiwisun@hku.hk)

Andy WC Man	 	(an_dybot@hotmail.com)

Aimin Xu         	 	(amxu@hku.hk)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  No.

Can you record movies/images using your own microscope camera? (Y/N) No.

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Olympus SZX7 DF PLAPO JAPAN

2. Does your protocol include software usage? (Y/N) Yes.

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Answer: Steps 2.4, 2.5 2.6 2.7 and 2.9

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Answer: Step 2.1

Extra caution is taken during this step, in order not to damage arterial rings before they are mounted.

5. Will the filming need to take place in multiple locations? (Y/N) Yes.

If yes, how far apart are the locations? Within 50 meters.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Professor Paul Vanhoutte: A strict protocol is required to set-up the preparations properly so that we can compare them between different animals, with or without the presence of fat that surrounds arteries [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Professor Paul Vanhoutte: The main advantage of this technique, which measures changes in isometric tension, is that several rings of the same small artery can be studied in parallel [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Dr. Wai Sun: This protocol provides insight into modulation of vascular responsiveness by perivascular adipose tissues of different genetically modified mice models. Adipose dysfunction represents an independent risk factor for hypertension and its associated cardiovascular complications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Mr. Daniels Konja: Wire myography involves multiple complicated steps that require extreme caution at every point to avoid damaging the blood vessels before mounting and to ensure that ring preparations respond appropriately to various stimuli [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Authors, Daniels Konja will be introduced with on-screen text as he speaks, so an introductory statement is not necessary.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the departmental Committee on Use of Laboratory Animals for Teaching and Research at The University of Hong Kong [1].

    - Title Card

# Section - Protocol

- Normalization to Determine the Optimal Initial Tension

  - Begin this procedure with preparations and dissection of the mesenteric arterial rings as described in the text protocol [1].

    - : Prepared mesenteric arterial ring as talent displays to camera. LAB MEDIA: photos of mesenteric arterial rings with or without perivascular fat.

  - Switch on the computer and open the data recording software [1].

    - MED-over the shoulder: Talent opens the data recording software.

  - Save the experiment as a “LabChart data file” with a new name to avoid overwriting the original setting file. Open the normalization settings window and set the k factor as 1. Accept the default values for eyepiece calibration, target pressure, online averaging time and delay time. Click OK to save the settings [1].

    - SCREEN: To be provided by the authors – Screen capture movie as talent saves the experiment as a “LabChart data file” with a new name to avoid overwriting the original setting file. Open the normalization settings window and set the k factor as 1. Accept the default values for eyepiece calibration (0.3, if vessel length is unknown, or 1 if vessel length is known), target pressure (13.3), online averaging time (2) and delay time (60). Click OK to save the settings. Authors, please upload this screen capture to your project page.

  - Select channels of interest, and input the wire diameter, tissue endpoints, and initial micrometer reading in the normalization window [1].

    - SCREEN: To be provided by the authors – Screen capture movie as talent selects channels of interest, and inputs the wire diameter (40 µm), tissue endpoints (a1: 0; a2: tissue length as measured), and initial micrometer reading in the normalization window. Authors, please upload this screen capture to your project page.

  - To start the normalization procedure, apply the first passive stretch to the blood vessel by turning the micrometer screw counter-clockwise [1].

    - CU: Micrometer screen as talent turns if counter-clockwise.

    - CU: The computer screen after talent turned counter-clockwise.

  - After waiting 3 minutes for the vessel to stabilize, input the new micrometer reading in the normalization window. The wall tension is automatically calculated and shown as a point on the graph [1].

    - SCREEN: To be provided by the authors – Screen capture movie as talent inputs the new micrometer reading in the normalization window. The wall tension is automatically calculated and shown as a point on the graph. Authors, please upload this screen capture to your project page.

  - After each passive stretch, replace the control Krebs buffer with an iso-osmotic high potassium Krebs containing 115 milliMolar potassium chloride [1].

    - MED: Talent replaces the control Krebs with an iso-osmotic high potassium Krebs containing 115 milliMolar potassium chloride. Use labeled containers whenever possible for viewer clarity.

    - MED: Computer screen after talent added potassium chloride buffer.

  - When the contraction reaches a plateau at about 3 minutes [1], record the active force by subtracting the passive force at each stretch from the potassium-activated force.  Calculate the wall tension as well as the internal circumference values [2-TXT].

    - MED-over the shoulder or CU: Talent observes the contraction plateauing on screen.

    - SCREEN: To be provided by the authors – Screen capture movie as talent records the active force by subtracting the passive force at each stretch from the potassium-activated force. Talent calculates the wall tension as well as the internal circumference values. Authors, please upload this screen capture to your project page. TEXT: See text for equation

  - Remove the high potassium condition by replacing the high potassium buffer with fresh Krebs buffer [1]. Repeat washing for three times over 5 minutes [2].

    - CU: Buffers as talent replaces the high potassium condition with fresh Krebs. Use labeled containers whenever possible for viewer clarity.

    - MED: Talent repeats the washing. Use labeled containers whenever possible for viewer clarity.

  - Repeat the normalization steps by inducing passive stretches followed by active contraction in alternate turns until the active tension starts to decrease [1].

    - MED: Talent working at the instrument to repeat normalization steps- passive stretches.

# 2.10.1 B: talent repeated normalization steps- active contraction using potassium chloride buffer.

  - Thoroughly wash out the high potassium Krebs buffer and equilibrate the preparations for another 30 to 45 minutes [1]. Reset the basal tensions to "zero" so that only active contractile responses will be recorded during the subsequent experiment [2].

    - MED: Talent washes out the high potassium Krebs.

    - SCREEN: To be provided by the authors – Screen capture movie as talent resets the basal tensions to "zero" so that only active contractile responses will be recorded during the subsequent experiment. Authors, please upload this screen capture to your project page.

- Phenylephrine-Induced Contractions

  - Prepare and mount paired arterial rings as described in the text protocol from the adjacent sections of each artery. Prepare one arterial ring with PVAT (P-vat) intact and the other with PVAT removed [1-TXT].

    - - Mounted paired arterial rings as talent retrieves them from storage. TEXT: PVAT = Perivascular adipose tissue

# Replaced 3.1.1. with LAB MEDIA: see 2.1.1.

  - After normalization, pre-contract the arterial segments with high potassium Krebs buffer by adding 115 milliMolar potassium chloride solution to the chamber containing Krebs [1].

    - CU: Chamber containing Krebs as talent adds high potassium Krebs buffer by adding 115 milliMolar potassium chloride solution to the chamber.

  - Following contraction to the plateau period, wash out the high potassium and replace the buffer with fresh aerated Krebs buffer. Repeat washing three times over 5 minutes [1].

    - MED: Talent washes out the high potassium and replace with fresh aerated Krebs buffer.

  - Repeat the potassium chloride stimulation and washing three times and record the maximal contractile response to potassium chloride by subtracting the baseline tension from the tension due to potassium chloride stimulation [1].

    - SCREEN: To be provided by the authors – Screen capture movie as talent records the maximal contractile response/tension to potassium chloride by subtracting the baseline tension from the tension due to potassium chloride stimulation. Authors, please upload this screen capture to your project page.

  - After the last contraction and washing, refill the chamber with warm, aerated Krebs buffer and allow the artery to recover for about 30 minutes before performing the next task [1].

    - CU: Chamber as talent refills with warm, aerated Krebs buffer.

  - To each chamber, add cumulative amounts of phenylephrine to induce the concentration-dependent increases in isometric tension of the quiescent preparations [1-TXT].

    - CU: Chamber as talent adds phenylephrine. Use labeled containers whenever possible to aid in viewer clarity. TEXT: Half-log increments from 10−10 to 10−4 M

  - After adding the last dose of agonist, wash out the drug thoroughly and refill the chamber with fresh Krebs buffer [1]. Plot the concentration-dependent responses as increasing percentages of the potassium chloride-induced maximal contractions [2].

    - MED: Talent washes out the drug and refills the chamber with fresh Krebs buffer.

    - MED-over the shoulder: Screen as talent plots the concentration-dependent responses as increasing percentages of the KCl-induced maximal contractions.

  - To assess the contribution of nitric oxide, incubate the preparations with the nitric oxide synthase inhibitor, L-NAME (L-name), for 30 minutes prior to the addition of phenylephrine [1-TXT].

    - CU: Chamber as talent adds L-NAME. Use labeled containers whenever possible to aid in viewer clarity. TEXT: 10−4 M L-NAME

  - For performing a second concentration-response curve sequentially, wash the chamber completely and repeatedly to remove all of the previous agonists, until no further changes in tone are observed [1].

    - CU: Chamber as talent washes the chamber completely.

# Section – Results

- Results: Optimal Initial Tensions and Output Recordings of the Vasoconstrictor Responses to Phenylephrine in Mesenteric Arteries With or Without Surrounding PVAT

  - Normalization of the length/tension relationship was performed for mesenteric arteries isolated from mouse models [1] fed with standard chow… [2] or a high fat diet [3].

    - LAB MEDIA: Figure2_video.tif

    - LAB MEDIA: Figure2_video.tif – Video editors, please emphasize the top panels.

    - LAB MEDIA: Figure2_video.tif – Video editors, please emphasize the bottom panels.

  - A passive length/tension relationship was established by incremental stretching of the artery segments until an internal circumference corresponding to 100 millimeters of mercury transmural pressure, or IC100 (I-C-one hundred), was obtained [1].

    - LAB MEDIA: Figure2_video.tif – Video editors, please zoom into the left panels.

  - After each stretch… [1], 115 milliMolar potassium chloride was applied to stimulate contractions [2].

    - LAB MEDIA: Figure2_video.tif – Video editors, staying zoomed in, please emphasize the blue arrows.

    - LAB MEDIA: Figure2_video.tif – Video editors, staying zoomed in, please emphasize the green arrows.

  - The active length/tension curves were plotted from the active force data on the Y-axis and the calculated IC values from the micrometer data on the X-axis [1].

    - LAB MEDIA: Figure2_video.tif – Video editors, staying zoomed in, please pan over to the right panels and emphasize the red curves in each right panel.

  - An IC value lying within the peak plateau is IC1 (I-C-one) [1]. The normalization factor, k, was calculated as the ratio of IC1 and IC100, which could then be applied to samples of the same vessel type in the subsequent experiment [2].

    - LAB MEDIA: Figure2_video.tif – Video editors, staying zoomed in, please emphasize the red dotted vertical line in each right panel.

    - LAB MEDIA: Figure2_video.tif – Video editors, staying zoomed in, please emphasize the k value on each right panel.

  - Shown here are output recordings of the vasoconstrictor responses to phenylephrine in mesenteric arteries with or without surrounding PVAT [1].

    - LAB MEDIA: Figure3_video.tif

  - Cumulative concentrations of phenylephrine were applied to stimulate the contractions of mesenteric arteries collected from 16-week old Adipo-SIRT1 (ad-uh-poh set-one) mice [1].

    - LAB MEDIA: Figure3_video.tif – Video editors, please emphasize the left panels.

  - The contractile responses were recorded and calculated as percentage of 120 milliMolar potassium chloride-induced maximal contraction [2].

    - LAB MEDIA: Figure3_video.tif – Video editors, please zoom into the top-right panel.

  - The area-under-the contraction curves were plotted for comparison [1]. Note that PVAT from Adipo-SIRT1 mice elicited an anti-contractile effect on the response to phenylephrine [2].

    - LAB MEDIA: Figure3_video.tif – Video editors, staying zoomed in, please pan down to the bottom right panel.

    - LAB MEDIA: Figure3_video.tif – Video editors, staying zoomed in, please emphasize the green bar.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - -Mr Daniels Konja: When obtaining KCl-induced contractions, the responses have to be stable and steady. If the response is still increasing after three incremental administrations of KCl, more KCl stimulations may be needed [1]/[2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

    - Shot 2.8.1 can be shown as this point is narrated.

  - -Dr Wai Sun: To achieve optimal conditions of distension, the normalization step is very important as it determines the optimal force to open the blood vessel, which may affect the whole experiment if not performed properly [1]/[2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

    - Shot 2.4.1 can be shown as this point is narrated.

  - Professor Yu Wang: This procedure can be applied to different tests other than phenylephrine-induced contractions per se, for example: contraction or relaxation in the presence or absence of PVAT, autonomic nerves, or endothelial cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Professor Yu Wang: With this protocol, researchers can examine and compare small blood vessels of animals subjected to different pathophysiological conditions and disease models, including diabetes, obesity, and cardiovascular diseases [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.