# Submission ID #: 59689

# Scriptwriter Name: Melissa Ceo

# Project Page Link: http://www.jove.com/files_upload.php?src=18205193

Title: A Two-Step Pyrolysis-Gas Chromatography Method with Mass Spectrometric Detection for Identification of Tattoo Ink Ingredients and Counterfeit Products

# Authors and Affiliations: Ines Schreiver, Christoph Hutzler, Andreas Luch

Department of Chemical and Product Safety, German Federal Institute for Risk Assessment (BfR)

# Corresponding Author:

# Ines Schreiver

# Email: Ines.Schreiver@bfr.bund.de

# Email addresses for Co-authors:

# Christoph.Hutzler@bfr.bund.de

# Andreas.Luch@bfr.bund.de

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? 2.1, 2.2, 2.5, 2.6

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? 3.18: manual comparison of substances with known decomposition products. If available, use the CAS number for searching compound lists. Identification is limited by the availability of pigment decomposition libraries. Frequently update the library by literature search and additional pyrolysis experiments of additional pigments.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Andreas Luch: Tattoo inks as well as other inks are complex mixtures of ingredients. Our method provides a quick and easy way to analyze multiple components at the same time [1].

    - INTERVIEW: Andreas Luch says the statement above in an interview-style shot, looking slightly off-camera.

  - Christoph Hutzler: Pyrolysis online coupled to gas chromatography with mass spectrometric detection allows the analysis of volatile and non-volatile compounds in two consecutive runs [1].

    - INTERVIEW: Christoph Hutzler says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ines Schreiver: In addition to pure analysis of ink ingredients, this method can also be used to differentiate original and counterfeit products [1].

    - INTERVIEW: Ines Schreiver says the statement above in an interview-style shot, looking slightly off-camera.

  - Christoph Hutzler: In general, this method can be used for the analysis of all kinds of liquid samples. The data evaluation approach may also be applied to any other pyrolysis data [1].

    - INTERVIEW: Christoph Hutzler says the statement above in an interview-style shot, looking slightly off-camera.

  - Ines Schreiver: As with most analytical techniques, data analysis of pyrograms is the Achilles heel of this method. Therefore, we provided libraries with pyrograms and single analyte spectra to ease interpretation of the data [1].

    - INTERVIEW: Ines Schreiver says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Tattoo Ink Preparation and Sample Mounting

  - First, hold a 25 millimeter hollow glass pyrolysis tube with specialized tweezers…[1] and insert the necessary amount of quartz wool into the tube with pointed tweezers [2].

    - MED: Talent picks up a glass pyrolysis tube with the tweezers.

    - CU: Close-up shot of tube as talent inserts quartz wool into it with tweezers.

  - Insert two steel sticks at each side of the pyrolysis tube and compress the wool into a 1 to 2 millimeter thick stopper [1]. The stopper must be positioned at the lower third of the pyrolysis tube to achieve adequate heating during the pyrolysis process [2].

    - MED: Talent inserts the steel sticks into the pyrolysis tube and compresses the wool in the tube.

    - CU: Close-up of pyrolysis tube to show position of stopper after compressing the wool.

  - Ignite a gas burner and bake the pyrolysis tube and filling for 2 to 3 seconds from each side to remove contaminants [1].

    - MED: Talent ignites a gas burner and bakes the pyrolysis tube.

  - Next, manually shake the tattoo ink bottles vigorously for 1 minute to ensure homogeneity [1-TXT].

    - MED: Talent shakes the tattoo ink bottles. TEXT: Some inks require prolonged homogenization.

  - Dip a 2 microliter microcapillary tip in the ink and aspirate about 1 microliter of ink by filling half of the capillary [1].

    - CU: Close-up shot of the ink bottle as talent dips a microcapillary tip in it and fills the capillary with the ink.

  - Insert the capillary into the pyrolysis tube and stain the quartz wool stopper with the ink [1]. A clear color staining must be visible without adding too much ink to the sample [2].

    - MED: Talent inserts the capillary into the pyrolysis tube and stains the quartz wool stopper with the ink.

    - CU: Close-up shot of the pyrolysis tube to show the stained quartz wool stopper.

  - Using the specialized tweezers, attach the prepared pyrolysis tube to a steel transport adapter for the automated injection unit and check that the pyrolysis tube is perfectly vertical and does not fall off during shaking [1].

    - MED: Talent picks up the pyrolysis tube with the tweezers and attaches it to a steel transport adapter and checks it position.

  - [1].

    - CU: Close-up shot of pyrolysis tube in steel transport adapter as talent checks it position. (Author Comment: added to point 2.7.1)

  - Place the transport adapter in the tray of the automated injection unit at the desired position for pyrolysis-GC-MS analysis [1].

    - MED: Talent places the transport adapter in the tray of the automated injection unit.

- Data Evaluation Approaches

  - For data evaluation of volatile compounds, start the GC-MS analysis/MS library searching software and open the chromatogram of the desorption run [1].

    - SCREEN: 3_1_1.mov: Talent clicks on File, selects Load Data File and clicks on OK.

  - Select commercial libraries by clicking on Spectrum and Select Library. Then, load the library of interest [1].

    - SCREEN: 3_2_1.mov: Talent clicks on Spectrum, chooses Select Library and clicks on OK.

  - Select integration parameters and perform a library search by clicking on Spectrum and Library Search Report [1].

    - SCREEN: 3_3_1.mov: Talent clicks on Chromatogram, selects MS Signal Integration Parameters and clicks on OK. Talent clicks on Spectrum, selects Library Search Report and clicks on OK.

  - For pyrolysis data evaluation, open the chromatogram of the pyrolysis run. Mark the whole chromatogram in the GC-MS evaluation software with the right mouse button pressed down to obtain an average mass spectra, or AMS [1].

    - SCREEN: 3_4_1.mov: Talent clicks on File, selects Load Data File, selects the pyrolysis data file and clicks on OK. Talent drags the cursor across the top TIC window.

  - In order to establish a self-made library, click on Spectrum and Edit Library. Select the library of interest followed by Add New Entry and fill in all information of interest [1].

    - SCREEN: 3_5_1.mov: Talent clicks on Spectrum, selects Edit Library, chooses Select Library and clicks on OK. Talent selects the file, clicks on OK, selects Add New Entry and clicks on OK. Talent indicates information to be filled in with cursor.

  - Generate an AMS of the investigated ink pyrogram and use the library search for comparison to the self-made AMS library. Exclude masses from column bleed or other column noises [1].

    - SCREEN: 3_6_1.mov: Talent clicks on Spectrum, chooses Select Library, clicks on Browse, selects the AMS file and clicks on OK twice. Talent clicks on Spectrum and selects PBM Quick Search.

  - To identify non-volatile compounds with specialized pyrogram evaluation software, build a folder with all pyrogram entries that should serve as a library, such as a pigment pyrogram library for pigment identification or pyrograms of an original ink to compare it to putative counterfeit products [1].

    - SCREEN: 3_7_1.mov: Talent clicks on the appropriate folder and scrolls across folder to show the pyrogram entries.

  - Load the unknown pyrogram in the tab Library Search by clicking on Browse [1].

    - SCREEN: 3_8_1.mov: Talent clicks on Browse, selects the appropriate folder, selects the pyrogram file and clicks on Open.

  - Next, load the library folder and select only MS matching and RT matching in the Search options, since the overall abundance will vary compared to pyrogram of reference pigments [1].

    - SCREEN: 3_9_1.mov: Talent clicks on ellipsis, selects the appropriate folder and clicks on OK. Talent selects MS matching and RT matching in the Search options box.

  - Click on advanced in the Search options. Select an RT window width of interest, an Area threshold of 0.1 percent, and Allow multiple matching. In the Mass Spec Options, select the parameter use only peaks with specified MS spectra and use a fit threshold of 850 [1].

    - SCREEN: 3_10_1new.mov: Talent clicks on advanced in the Search options box and indicates the specified parameters with the cursor. Talent clicks on the Mass Spec Options tab.

  - Load the file “Pigment_search_spectra.spf” or click on Add to save specified MS spectra from each pyrogram of reference pigments or polymers from the library in the advanced search options [1].

    - SCREEN: 3_11_1.mov: Talent click on the open file button, selects the appropriate file and clicks Open. Talent clicks on Add.

  - Press OK to return to the main window. Then, click on Search to start the comparison [1].

    - SCREEN: 3_12_1.mov: Talent clicks on OK and clicks on Search.

  - If needed, go to the Chromatogram Match tab and select a compound under the Chromatogram Match tab. Right click and select Search spectrum in NIST (Pronounce as one word, rhymes with fist) to forward the spectra to the MS library software and identify the compound [1].

    - SCREEN: 3_13_1_full.mov: Talent clicks on a compound, right clicks and selects Display chromatogram match. Talent clicks on the peaks in the chromatogram. Talent right clicks and selects Search spectrum in NIST and clicks on Overwrite.

  - For manual data evaluation for non-volatile compounds, start the GC-MS analysis/MS library searching software and open the chromatogram of the pyrolysis run [1].

    - SCREEN: 3_14_1_and_3_15_1.mov: Talent clicks on File and clicks on OK. Video Editor: Show up to 0:04.

  - Select commercial and pyrolysis libraries by clicking on Spectrum and Select Library. Load all libraries of interest [1].

    - SCREEN: 3_14_1_and_3_15_1.mov: Talent clicks on Spectrum, chooses Select Library, clicks on Browse twice, selects the appropriate folders twice and clicks on OK. Video Editor: Show from 0:06 to end.

  - Integrate the pyrogram in the GC-MS evaluation software and consider all peaks with an area not less than 0.2 percent of the total area [1].

    - SCREEN: 3_16_1_and_3_17_1.mov: Talent clicks on Chromatogram, selects MS Signal Integration Parameters and clicks on OK. Video Editor: Show up to 0:07.

  - Next, start the library search by clicking on Spectrum and Library Search Report [1].

    - SCREEN: 3_16_1_and_3_17_1.mov: Talent clicks on Spectrum, selects Library Search Report and clicks on OK. Video Editor: Show from 0:09 to end.

  - Manually compare all library matches to specific pigment and polymer decomposition products in the text protocol or fragments stated in literature [1].

    - SCREEN: 3_18_1.mov: Talent highlights numbers in bottom window with cursor, opens Excel spreadsheet and clicks on Find Next multiple times.

# Section – Results

- Results: Analysis of Multi-component Tattoo Inks by Two-Step Pyrolysis-Gas Chromatography Mass Spectrometry

  - Well produced inks with highly pure ingredients and a limited number of components result in chromatograms easy to interpret with standard libraries, since most peaks can be identified [1]. But even in the high-quality inks, non-declared ingredients such as propylene glycol are often found in addition to the declared glycerol [2].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 3 – Video Editor: Show figure A and highlight propylene glycol and glycerol peaks when mentioned.

  - Inks containing multiple ingredients and impurities will result in a pyrogram that is difficult to interpret [1]. Most peaks occurring in the second run may not be baseline separated from each other, making identification difficult [2]. Some substances might also result in peaks below the threshold set during data evaluation [3].

    - LAB MEDIA: Figure 3 – Video Editor: Show both figures A and B and highlight figure B.

    - LAB MEDIA: Figure 3 – Video Editor: Zoom into figure B and highlight overlapping peaks under 1 and 10/11.

    - LAB MEDIA: Figure 3 – Video Editor: Continue showing figure B and highlight small peaks in spectra between 17 and 32 minutes.

  - A solution to interpreting complex data might be a step-wise approach using 400, 600, and 800 degrees Celsius in consecutive pyrolysis steps for the same sample [1].

    - LAB MEDIA: Figure 4 – Video Editor: Highlight each spectrum when 400, 600 and 800 degrees Celsius is mentioned in the voiceover.

  - Some pigment decomposition products may descend from multiple pigments [1].

    - LAB MEDIA: Supplementary Table 1 – Video Editor: Show as much of the table as possible.

  - A positive result for counterfeit product identification is demonstrated for three “lemon inks” purchased from different vendors [1]. Using a forward match factor above 0.9, the chromatogram from the first desorption run and the pyrogram from the second run of the original ink were compared against three independent acquisitions of the original ink and the two counterfeit products using pyrogram evaluation software [2].

    - LAB MEDIA: Figure 5 – Video Editor: Show the spectra only.

    - LAB MEDIA: Figure 5 – Video Editor: Highlight figure A at mention of “the chromatogram from the first desorption run and the pyrogram from the second run of the original ink” and highlight figures B and C at mention of “the two counterfeit products”.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Andreas Luch: Pyrolysis is useful to identify multiple components with just one analytical method. Quantification of specific substances can be performed afterwards with more specialized methods [1].

    - INTERVIEW: Andreas Luch says the statement above in an interview-style shot, looking slightly off-camera.