# Submission ID #: 59692

# Scriptwriter Name: Petti Pang

# Project Page Link: http://www.jove.com/files_upload.php?src=18206108

# Title: Wide-Field Single-Photon Optical Recording in Brain Slices Using Voltage-Sensitive Dye

# Authors and Affiliations:

Yoko Tominaga, Makiko Taketoshi, Naoko Maeda, Takashi Tominaga

Laboratory for Neural Circuit Systems, Institute of Neuroscience, Tokushima Bunri University

# Corresponding Author:

Takashi Tominaga

# Email Address: tominagat@kph.bunri-u.ac.jp

# Email addresses for Co-authors:

# tominagay@kph.bunri-u.ac.jp

# makiko_taketoshi@kph.bunri-u.ac.jp

# naoko828matsui@gmail.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Y

Can you record movies/images using your own microscope camera? Y Through our acquisition software

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.5, 2.6, 2.7, 2.8, 4.1, 4.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.8 Staining slices with VSD

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Takashi Tominaga: The optical recording method with voltage-sensitive dye is thought to be an ideal technology to visualize how the brain works [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Takashi Tominaga: The method allows us to record the neural circuit dynamics stably and reliably over 12 hours as well as giving us a view on circuit activity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Yoko Tominaga: We are trying to expand the application to detect circuit changes caused by chemicals on the early stage of development, such as valproic acid application to mothers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Makiko Teketoshi: The technique is already well established. Please try to reproduce the results by following the method presented here [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - All the animal experiments were performed according to protocols approved by the Animal Care and Use Committee of Tokushima Bunri University.

# Section - Protocol

- Brain Slice Preparation and Staining

  - To begin this procedure, immerse the decapitated head in ice-cold ACSF in a stainless-steel surgical tray [1]. Extract the brain within 1 minute and place it in a beaker containing chilled ACSF for 5 minutes [2].

    - MED: Talent places the head in ice-cold ACSF

    - CU: Close up of the brain as it is extracted and placed in a beaker

  - Next, using a scalpel, trim the brain into a block [1]. Then, place the brain block with both hemispheres onto a 4% agar block [2]. Wipe the excess ACSF from the block with a filter paper [3].

    - CU: Close up of the brain as it is trimmed into a block

    - CU: Close up of the brain block as it is placed onto an agar block

    - CU: Close up of the block as excess ACSF is wiped off

  - Subsequently, apply super glue to the vibratome platform [1]. Place the agar block on it and wipe the excess adhesive with a filter paper [2]. Gently apply a small amount of ice-cold ACSF from the top of the brain-agar block to help solidify excess super glue and to prevent the glue from covering the brain and disturbing the slicing [3].

    - MED: Talent applies super glue to the vibratome platform

    - CU: Close up of the agar block as it is placed on the platform and the excess adhesive is wiped off

    - CU: Close up of the brain-agar block as ice-cold ACSF is applied

  - Afterward, fix the platform to the vibratome tray and pour the modified ACSF [1]. Set the vibratome to a slow speed, with the blade frequency at maximum [2]. Then, set the slice thickness to 350 to 400 micrometers and start slicing [3].

    - MED: Talent fixes the platform to the vibratome tray and pours ACSF

    - CU: Close up of the vibratome as it is set to slow speed and maximum frequency

    - CU: Close up of the vibratome as the slice thickness is set to 350-400 um

  - Place the slices in the corner of the slice chamber in sequence, so that the order of the slices can be easily distinguished [1]. Usually three to five slices can be obtained from one hemisphere [2].

    - CU: Close up of the chamber as the last slice is being cut

    - CU: Close up of the chamber as 3-5 slices are placed in sequence

  - Next, cut off the brain stem portion using a 30 gauge needle [1]. Using a small tipped paint brush, place the slice on the membrane filter held with a Plexiglass ring [2]. Place the ring in a moist recovery chamber and secure the cover to keep the inner pressure high [3].

    - CU: Close up of a slice as its brain stem portion is cut off  Videographer comment: Mis-slate: The first take of this shot does not contain 2.6.2 content.

    - MED: Talent places the slice in the center of the membrane filter

    - MED: Talent places the ring in a moist recovery chamber and secures the cover

  - When placing the slice onto the membrane filter, adjust the direction and position of the slice within the ring to ensure it is well centered and has a consistent direction [1]. Leave the specimen at 28 degrees Celsius for 30 minutes, and then at room temperature for at least 10 to 30 minutes for recovery [2-TXT].

    - CU: Close up of the slice within the ring as its position is adjusted

    - MED: Talent places the slice in the incubator. Text: 28 °C for 30 min, then RT for 10-30 min

  - To stain the slices, gently apply 100 microliters of the staining solution onto each slice and incubate for 20 minutes in room temperature [1-TXT]. Next, prepare 50 to 100 milliliters of ACSF in a container [2]. Place the ring with the specimen in it to rinse the staining solution [3].

    - MED: Talent applies staining solution onto each slice. TEXT: 20 min, RT

    - MED: Talent places a disposable container of 50-100mL ACSF on the bench

    - CU: Close up of the ACSF as the specimen is placed in it

  - Then, transfer the rinsed slices to another incubation chamber [1]. Wait more than 1 hour for recovery before the experiment [2].

    - MED: Talent transfers the rinsed slices to another incubation chamber

    - CU: Close up of the slices in the incubation chamber

- Preparation of Experimental Apparatus

  - To begin this procedure, turn on the amplifier, computer, and camera system, and open the software [1]. Pour ACSF in a 50 milliliter tube and bubble it with carbogen [2]. Use a peristaltic pump to circulate the ACSF and adjust the flow rate to approximately 1 milliliter per minute [3].

    - MED: Talent turns on the amplifier, computer, and camera system, and opens the software

    - MED: Talent pours ACSF in a 50 mL tube and places a carbogen tube in it

    - MED: Talent adjusts the pump to 1mL/ min Videographer comment: This content can be found in shot 3.1.2

  - Then, adjust the height of the suction pipette so that the liquid level inside the experiment chamber is always constant [1]. Place the ground electrode in the chamber [2].

    - CU: Close up of the suction pipette as it is adjusted to give constant liquid level

    - MED: Talent places the ground electrode in the chamber

  - Subsequently, fill the glass electrode with a small amount of ACSF [1-TXT] and place it in the electrode holder [2]. Attach the holder to the rod of the manipulator [3]. Using an amplifier, ensure that the electrode resistance is approximately 1 megaohm [4].

    - MED: Talent fills the glass electrode with a small amount of ACSF. TEXT: 1 mm OD, 0.78 mm ID

    - CU: Close up of the electrode as it is placed in the holder Videographer comment: Mis-slate: The first take has no 3.3.3 content

    - CU: Close up of the holder as it is attached to the rod of the manipulator

    - MED: Talent adjusting the amplifier to show the electrode resistance as 1MΩ

- Recording Session

  - In the recording session, transfer a slice from the moist chamber to an experimental chamber [1]. Press the edge of the ring firmly into the silicone O-ring. Be careful not to break the membrane or the bottom of the experiment chamber [2].

    - MED: Talent transfers a slice from the moist chamber to an experimental chamber

    - CU: Close up of the ring as its edge is pressed firmly into the silicone O-ring

  - Under the microscope, place the tip of the stimulating electrode and the field potential recording electrode on the slice [1]. Check the evoked response by delivering a stimulus [2]. Confirm the usual electrophysiological recording with given configuration [3].

    - *To be submitted by authors. SCREEN: Show that the tip of the stimulating electrode and the field potential recording electrode are placed on the slice

    - *To be submitted by authors. SCREEN: Show the evoked response

    - *To be submitted by authors. SCREEN: Show the arrangements of the electrode on the slice

  - Next, adjust the excitation light intensity to approximately 70-80% of the maximum capacity at the camera [1-TXT]. Using the fluorescent light source, adjust the focus with the acquisition system [2]. Then, start the recording and analyze the data in an image acquisition software after the acquisition [3].

    - MED: Talent adjusts the excitation light intensity. Text: 530 nm excitation light wavelength, emission filter > 590nm

    - *To be submitted by authors. SCREEN: Show the focus of the slice being adjusted

    - *To be submitted by authors. SCREEN: Show the data acquisition

# Section – Results

- Results: Comparison of Optical Signal between Mouse and Rat Hippocampal Slices

  - This figure shows the representative optical signal upon electrical stimulation of the Schaffer collateral in area CA1 of a mouse hippocampal slice. These consecutive images show the optical signal before any spatial and temporal filters were applied [1], while these images show the same data after applying a 5 by 5 by 5 cubic filter twice [2].

    - LAB MEDIA: Figure 5A- Video editor, please show Figure 5A

    - LAB MEDIA: Figure 5B - Video editor, continue with 5.1.1, please add Figure 5B

  - Due to the high frame rate and high spatial resolution [1-TXT], the application of the filter did not change the signal but filtered out the noise [2], which can also be observed in the time course recorded in pixels in a single trial [3].

    - LAB MEDIA: Figure 5C -Video editor, please show Figure 5C and add text “No filter” at the bottom of Figure 5C

# Text: 0.1 ms/ frame, 100 pixels × 100 pixels

    - LAB MEDIA: Figure 5D- Video editor, continue with 5.2.1, please add Figure 5D and add text “With filter” at the bottom of Figure 5D

    - LAB MEDIA: Figure 5E- Video editor, continue with 5.2.2, please add Figure 5E and add text “Superimposed” at the bottom of Figure 5E

  - Here is the comparison of the typical responses in area CA1 of the hippocampal slices between mouse and rat [1]. The small hyperpolarizing response is observed in the distal side of the CA1 after 24 milliseconds in the mouse hippocampal slice, but more massive hyperpolarizing response overtook the depolarizing response in the rat hippocampal slice [2].

The authors want to use video they uploaded: mouseEnhanced.mp4 after 5.3.1 and then ratenhanced.mp4 after 5.3.2. If there is no extra time on the film for this, they wish to switch Figure 6A with mouseEnhanced.mp4 and Figure6B with ratenhanced.mp4.

    - LAB MEDIA: Figure 6A- Video editor, please show Figure 6A images, then add the 2 curves on the right Use mouseEnhanced.mp4 here

    - LAB MEDIA: Figure 6B - Video editor, continue with 5.3.1, please add Figure 6B, then add the 2 curves in Figure 6B on the right Use ratenhanced.mp4 here

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Takashi Tominaga: Once the slices are stained, they should last for over 12 hours, and you can perform other electrophysiological recordings on them [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.