Response to Reviewers

We would like to thank the reviewers for their insightful comments and suggestions on our original manuscript. With these comments in mind, we have made a number of changes that we feel have strengthened our manuscript. Below is a point-by-point response to each concern raised by the reviewers for the previous version of our manuscript. Additionally, all changes are marked in red in the manuscript text.

Reviewer #1

1) In figure 3, it is difficult to observe Histone H3 in the nuclear fraction, and there isn't a blot to show lack of contamination from the cytoplasmic fraction (e.g. tubulin?) - CREB is both cytoplasmic and nuclear.

Response: Thank you for the suggestion of using tubulin as a cytoplasmic marker. We have included that image in revised Figure 2, which shows largely an absence of tubulin from the nuclear fraction. Additionally, we have replaced the Histone H3 image with a stronger development, making it easier to see the H3 protein. 

2) In figures 4 and 5, the synaptic proteasome activity varies a lot. The authors do mention in the text that the ionic buffer used to collect the synaptic fraction could interfere with proteasome activity. The worry with this is how repeatable and reliable these assays will be if there are issues from the buffer used. Perhaps the buffer can be optimized or the discussion can be more thorough on this point?

Response: Thank you for pointing this out. The samples within the synaptic fraction (Fig. 3) contain a combination of samples from two groups, which have opposite patterns of proteasome activity; this can account for some of the variability observed. The synaptic fraction shown in Fig. 4 has the 2 groups separated out, which should help visualize how the variability can be attributed to this group effect. Furthermore, although the buffer used for the synaptic fraction contains an ionic detergent, we have used it during other experiments and can replicate results across experiments (e.g., Jarome et al., 2016, Neurobiol Learn Mem). However, we do acknowledge that the ionic detergents could be problematic in some preparations. To account for this, we have added a note within the revised manuscript in section 3.2.1 about the use of ionic detergents in our lysis buffer.  	

3) In figure 7: it is difficult to understand how those blots in figure 7A can actually be quantified. How are they normalized? For example, how did the authors ensure equal loads among different fractions? Also, are all of the images from the same blot, cropped and rearranged? I am assuming that the images from A do not really correspond to quants from B-E. Would it be possible to see blots that were used for actual quants? How were they quantified? How were these done, compared, loaded, probed? For figure 7A, kD ladders are necessary for the viewer to know where different bands are running, especially to also see if there is any mono-UB present.

Response: Thank you for pointing this out. All of our western blots were normalized to -actin, which was used as a loading control, though we never explicitly stated that in the previous version of the manuscript. We have now included text in the manuscript to indicate this (Figure 6 caption). For the western blot images, originally we meant to show that the different ubiquitin tags/modifications could be visualized in all subcellular compartments using our protocol. However, we now realize that this may be confusing since these images do not reflect the graphs presented in the second part of the figure. In the revised manuscript we have corrected this by including representative western blot images for each of the bar graphs. Additionally, we have included ladder markers and actin loading control images. 

4) Lastly, the proteasome activity assays described ONLY report 20S core activity, not ub-dependent activity. This specific and highly important differentiation needs to be made clear at multiple stages, otherwise those who are not well versed with the Ub field might misinterpret the use and outcome of the results. While it is beneficial to know the activity of the core, it is not, in any direct way, a read-out of the actual proteasome activity. It can only be used as a proxy of proteasome levels and if the core is active, but not whether the activity of the ub-proteasome system itself is compromised or enhanced. This is a significant limitation of the current methodology out there, and not the authors' fault. Nevertheless, I think that the authors should address this head-on from the very beginning, perhaps even in the abstract.

Response: This is an excellent point raised by Reviewer #1. This is an important distinction that needs to be made and was not clearly stated in the previous version of our manuscript. In the revised manuscript we have added information about the indirect nature of this assay where appropriate, including the abstract, introduction and methods (section 4.1.).

Reviewer #2

1) All buffers used were supplemented with a cocktail of protease inhibitors. Because this cocktail of inhibitors can also inhibit the proteasome, how can we assure that the proteasome activity measured is not underestimated at the end?

Response: This is an interesting question raised by Reviewer #2. While it is possible that our protease inhibitor cocktail could cause a slight reduction in proteasome activity, it is essential to preserve proteins and ensure that the data obtained from this assay can be attributed directly to proteasome activity as opposed to other proteases. As shown in Figure 3G-H, application of the highly specific proteasome inhibitor lac completely blocks AMC release in our assay, suggesting that all AMC release is likely due specifically to the proteasome. However, you are right in stating that overall proteasome activity may be reduced some, providing an underestimation in the end. We have included a brief statement acknowledging this in the revised manuscript, Section 2.1.2.

2) The buffers used (e.g. Lysis buffer, Extraction buffer and TEVP buffer) lack glycerol and/or ATP. This may induce proteasome disassembly, favoring the presence of only the catalytic core. Can you please comment on this?

Response: It is correct that our buffers generally lack glycerol and ATP, with the exception of the nuclear extraction buffer. While this may not result in the perfect conditions in which to extract proteasomes, we are able to consistently recover subcellular fractions that retain high levels of proteasome function, based on activity levels using our in vitro proteasome activity assay. However, the addition of glycerol and ATP could potentially improve proteasome recovery/activity on our assay. To ensure that the reader knows all options available, we have included a brief note to sections 2 and 3 indicating that the buffers could be supplemented with ATP and glycerol if desired.

3) Step 4.13.4: the way the results were calculated, as percentage of increase in fluorescence considering the last and the first scan, gives values that are above 100%, which may induce some misinterpretation. This may suggest that the proteasome is being stimulated under the conditions used. The authors may consider expressing the results using the slope of the line calculated based on the measurements performed.

Response: Thank you for this comment. Originally, we added the percentage of baseline calculation to account for any variance in baseline readings. However, we realize that this may be misleading in terms of describing proteasome activity. As the steps listed in 4.13.1 - 4.13.3 provide the necessary steps for calculation of proteasome activity against the AMC standard curve, we have removed section 4.13.4 in the revised manuscript and modified Figure 3 for the use of this analysis.

4) Figure 7A: In order to allow comparing the results obtained with the different subcellular fractions (for each antibody), the same membrane should be shown. Moreover, the results obtained with a loading control are missing.

Response: These images have been corrected and loading control information included in the revised manuscript. Please see response to Reviewer #1 comment 3 for more information.

5) Information should be provided i) regarding the methodology used in sample denaturation and ii) the reducing agent used for the immunoblotting experiments.

Response: For denaturing, normalized samples were mixed with an equal volume of Laemmli sample buffer (Bio-rad #1610737) supplemented with -mercaptoethanol (Fisher Scientific #ICN19024280) to a percentage of 5% by volume, per the manufacturer’s instruction. We have added this information to the manuscript in section 5.1 and the materials list.

6) Can you please provide information about the company and catalog number for the anti-H3, -PSD95 and -CREB antibody

Response: We have added the company and catalog information to the materials list. The image including the CREB antibody was not used in the revised manuscript, so we did not provide the information on that antibody.                                                                                           										
7) Please provide information regarding the plate reader and the imaging system used to measure proteasome activity and in the immunoblot experiments, respectively.

Response: We have added this information to the materials list.

8) Page 11 (lines 375-379): These sentences suggest that proteasomes are more abundant in the cytoplasm than in the nuclear compartment, which contrasts with the results previously published (J Neurosci16, 6331-6341 [1996]). This should be clarified.

Response: We apologize for incorrectly stating that proteasomes were most abundant in the cytoplasm. We have corrected this statement to indicate that proteasomes are abundant in the nucleus and cytoplasm.

9) The results of Figure 6 suggest that CaMKII activity regulates proteasome activity. This is surprising considering that the lysis and the assay buffers contain EDTA which chelates Ca2+. This should also be clarified.

Response: This is an interesting point. The AIP peptide acts as a selective inhibitor of CaMKII, targeting its autoinhibitory domain. In our brain lysates some CaMKII is in an autophosphorylated state, which likely occurred from calcium influx when the animal was alive (especially after learning). In the lysed samples, the CaMKII phosphorylation state is preserved but can be manipulated by selective inhibitors such as AIP. Without AIP, CaMKII that is already phosphorylated can target the proteasome, controlling its activity. When AIP is applied, the amount of phosphorylated CaMKII is reduced, leading to a reduction in proteasome activity. While EDTA chelates Ca2+, it would have no effect on CaMKII that is already in a phosphorylated state. As a result, we can still manipulate proteasome function in our lysates via targeting of CaMKII that is already in a phosphorylated state. 

10) Page 5, line 109: for rapid flash freezing perhaps it would advisable to use liquid nitrogen.

Response: We have added this information to the revised manuscript (Section 1.1).

11) Page 5, line 118: should the microscope slide be chilled in order to preserve the tissue?

Response: Yes, the slide should be chilled. Thank you for pointing out that we did not include this important information. We have added this information to the revised manuscript (Section 1.2.2.).

12) Page 6 (line 149): the sentence should be corrected to '... 1.5 ml centrifuge microtube...'

Response: We made the correction to the revised manuscript.

13) Page 6 (sections 2.4 and 3.4): The supplier and reference of the glass Teflon homogenizer used should be provided.

Response: This information has been added to the material list, per journal instructions

14) Page 8 (line 268): the sentence should be corrected to '...substrate (Suc-LLVY-AMC) provided...'

Response: We made this correction in the revised manuscript.

15) Page 9, step 4.7: although it is understandable that the authors always use the same amount of protein for measurement of the proteasome activity, the changes in protein volume (directly influenced by the protein concentration in each sample) loaded in each well may increase pipetting errors. Therefore, it would be advisable to normalize protein concentration to the less concentrated sample, and from there using the same sample volume in all conditions.

Response: Thank you for suggesting this alterative. In the past we have used this method for protein normalization and have obtained similar results. In the revised manuscript we include this method of normalization as option for the reader/user

16) Page 9, step 4.9: does the plate need to be under constant agitation in order to keep the sample homogeneous? And during the measurement of proteasome activity?

Response: Thank you for asking this question. The plate does not need to be under constant agitation to get reliable signal on the proteasome activity assay, though can be should the user choose to. We have included this information in the revised manuscript (Section 4.12)

17) Page 10, step 5.1.2: incubation of the membrane with the secondary antibody after stripping should be recommended in order to confirm that membrane stripping was done properly.

Response: We have added the additional recommended information to the revised manuscript.

18) Page 10, step 5.2: please indicate which software was used to develop the immunoblots.

Response: The software used, Image Studio Ver 5.2, is provided by our imaging system, which is listed in the materials section. As the software is included with the imaging system, we did not include a separate listing for it in the revised manuscript.

19) The composition of the TBS solution should be indicated.

Response: We buy our TBS commercially. We have included the TBS product information in the materials list of the revised manuscript.

20) Figure 1: The units of temperature are missing.

Response: We apologize for this error, which occurred during conversion of the image to a tif format. The revised Figure 1 includes the temperature information

21) Figures 2 and 3 should be merged in a single figure.

Response: Thank you for this suggestion. In the revised manuscript we have merged Figures 2 and 3

22) Figure 7A: please indicate which protein standards were used in the Western blot experiments, the supplier and catalog number.

Response: We have added this information to the materials list of the revised manuscript.

23) Figure 2A-B: please indicate the molecular weight of the protein markers.

Response: All molecular weight markers are now included in the revised Figure 2

24) Can you please indicate the company and catalog number for Tween?

Response: We have added this information to the materials list of the revised manuscript

25) Clasto-lactacystin ß-lactone is already included in the 20S Proteasome activity kit. It should be deleted from the list of reagents.

Response: The proteasome inhibitor lactacystin is included in the 20S Proteasome activity it. While it is the parent compound to clasto lactacystin -lactone, they have very different potencies. Since we choose to use the more potent clasto-lactacystin -lactone, we have included it in the list of reagents because it has to be purchased separately from the proteasome kit.

Reviewer #3

1) The proteasome activity measured is that of the core of the proteasome (called the 20S proteasome) which does not degrade proteins tagged by ubiquitin (i.e. ubiquitinated proteins).While measuring this activity might be useful, it does not accurately reflect the activity of the 26S proteasome which is the type of proteasome that degrades ubiquitinated proteins. The authors need to add a caveat about this. They could perhaps suggest that the subcellular fractions can be assayed for 26S proteasome activity by citing appropriate published papers.

Response: This is an excellent point raised by Reviewer #3. In the revised manuscript, we now explicitly state the limitation of this assay. Please see Reviewer #1 comment 4 response for more information.

2) In order for others to carry out the protocol successfully, the age, strain and the sex of the rat need to be specified.

Response: We have added this information to the revised manuscript.

3) For the synaptic fraction, data are shown for presence of postsynaptic components. Does the synaptic fraction have presynaptic components? Perhaps the authors can add a sentence about the need to characterize this fraction further. Or, if evidence for presences (or absence) of presynaptic components is available from published literature (that is applicable to the present study), such evidence should be provided.

Response: Thank you for asking this important question. The synaptic preparation we use includes presynaptic and postsynaptic proteins (Dunah and Standaert, 2001, J Neurosci). We now acknowledge this important information in the representative results, including this relevant citation.

4) For rigorous quantification of western blots (Fig. 7), the signal needs to be normalized to another protein which is known not to change under the experimental conditions. Just relying on protein quantification determined by Bradford assay to ensure equal loading is not adequate.

Response: Thank you for pointing this out. All of our western blots were normalized to -actin, which was used as a loading control. This information has been added to the revised manuscript (Figure 6 caption). Please see response to Reviewer #1 comment 3 for more information regarding this.