# Submission ID #: 59701

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18208853

Title: Continuous Blood Sampling in Small Animal Positron Emission Tomography/Computed Tomography Enables the Measurement of the Arterial Input Function

Authors and Affiliations: Teresa Mann1, Jens Kurth2, Anne Möller3, Joanna Förster3, Brigitte Vollmar4, Bernd J. Krause2, Andreas Wree1, Jan Stenzel3,*, and Tobias Lindner3,*

*These Authors provided equal supervision to the work

1Institute of Anatomy, Rostock University Medical Center

2Department of Nuclear Medicine, Rostock University Medical Center

3Core Facility Multimodal Small Animal Imaging, Rostock University Medical Center

4Rudolf-Zenker-Institute for Experimental Surgery, Rostock University Medical Center

# Corresponding Author:

# Teresa Mann

# Teresa.Mann@med.uni-rostock.de

Email addresses for Co-authors:

Jens.Kurth@med.uni-rostock.de

Anne.Moeller@med.uni-rostock.de

Joanna.Foerster@med.uni-rostock.de

Brigitte.Vollmar@med.uni-rostock.de

Bernd.Krause@med.uni-rostock.de

Andreas.Wree@med.uni-rostock.de

Jan.Stenzel@med.uni-rostock.de

Tobias.Lindner@med.uni-rostock.de

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page.

Yes. We will soon upload the screen capture files.

3. Which steps from the protocol section below are the most important for viewers to see?

3.3.1., 3.3.2., 4.1.2.

What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.8.2.	SCOPE: Incision being made

Ensure success: cut in a 45 °angle, use microsurgery instruments

3.2.	WIDE: Talent placing rat onto shuttle bed Videographer: More Talent than rat in shot TEXT: Caution: Take care w/ catheters during transport

Ensure success: fix the catheters with ligament and optionally with fibrin adhensive, carry the animal very carefully, prepare everything for the online blood sampling and the PET/CT scan before carrying the animal

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Brigitte Vollmar: This continuous blood sampling protocol allows blood radioactivity to be measured over time in parallel with a PET/CT scan using an extracorporeal arteriovenous shunt [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Bernd J. Krause: The main advantages of this protocol are that it’s reproducible, generates minimal blood loss, and facilitates a high accuracy and temporal resolution of the arterial input function [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jens Kurth: It is essential to cross calibrate all of the measurement devices to be used for the determination of the blood radioactivity [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Teresa Mann: Demonstrating the procedure will be Anne Möller and Joanna Förster, technicians from the laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the state Animal Research Committee of Mecklenburg–Western Pomerania at the Core Facility Multimodal Small Animal Imaging Rostock.

# Section - Protocol

- Animal Catheterization

  - After confirming a lack of response to toe pinch in a 12-hour-fasted rat [2-TXT], place the animal in the dorsal position on a heating pad under a surgical microscope [3].

    - Added Shot: WIDE: Talent arrives at bench (Editor: I don’t believe this shot needs to be used)

    - CU: Talent pinching toe TEXT: Anesthesia: 2.5-3.5% -> 1.5-3% isoflurane

    - MED: Talent placing rat under microscope onto sterile paperVideographer: More Talent than rat in shot

  - Apply ointment to the animal’s eyes [1] and place a rectal probe for continuous monitoring and maintenance of the body temperature [2].

    - ECU: Ointment being applied

    - CU: Probe being inserted (Editor: I’m unsure if anything was filmed to cover this shot. If not, please just use 2.2.1 for all of the VO for 2.2.)

# (Additional note: The authors have marked two shots below – 2.4.4 and 2.4.5 – as containing the shots described in 2.2.2 and 2.3.1 respectively. I’m not sure if they wanted the shots/actions moved, or why they made their notes this way. For the time being, I have undone the strike-outs on 2.2.2 and 2.3.1 and recommend using them in their original locations. I have left the “added shots” below just so they are noted. If the authors want any changes, they will have to provide more details.)

  - Tape the limbs of the rat to the work surface [1] and disinfect the operating site with a mucosal disinfectant [2].

    - CU: Limb being taped

    - CU: Disinfectant being applied to hair, with disinfect container label visible in frame as possible

  - Shave the leg and groin on the surgical side of the animal [1] and cleanse the exposed skin with additional disinfectant [3].

    - CU: Hair being shaved

    - Added Shot: Shaving cream is applied (Editor: I don’t believe this shot needs to be used)

    - CU: Disinfectant being applied to hair, with disinfect container label visible in frame as possible

    - 2.2.2. CU: Probe being inserted (Editor: See the note below 2.2.2)

    - 2.3.1. Limb being taped (Editor: See the note below 2.2.2)

  - Make an approximately 20-millimeter incision at the groin [1] and dissect the fine skin layers to expose the femoral vein, artery, and nerve [2].

    - LAB MEDIA: To be provided by Authors: Incision being made

    - LAB MEDIA: To be provided by Authors: Skin being dissected/vessels and nerve being exposed

  - Place two fine filaments under the femoral vein and artery [1] and ligate the vessels with the distal filaments [2].

    - LAB MEDIA: To be provided by Authors: Filament(s) being placed

    - LAB MEDIA: To be provided by Authors: Vessel being ligated

  - Holding the vessels under tension with a bulldog clamp [1], use the proximal suture filaments to tense the vessel with the bulldog clamps without a knot [2].

    - LAB MEDIA: To be provided by Authors: Clamp being placed

    - LAB MEDIA: To be provided by Authors: Proximal suture being clamped

  - Block the vein with a proximal aneurysm clamp 2-3 millimeters distal from the suture with the bulldog clamp [1] and use corneal scissors to make an incision that is 1/3 of the vessel diameter [2].

    - LAB MEDIA: To be provided by Authors: Aneurysm clamp being placed

    - LAB MEDIA: To be provided by Authors: Incision being made

  - Teresa Mann: The vessel incision is the most critical step in our protocol. Be sure to use microsurgery instruments, like corneal scissors, and to cut the vessel carefully at a 45° angle [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Use a sterile cotton swab to remove the leaking blood [1] and dilate the vein with a dull forceps [2].

    - LAB MEDIA: To be provided by Authors: Blood being swabbed

    - LAB MEDIA: To be provided by Authors: Vein being dilated

  - Holding the vessel open, insert the sharpened catheter into the vein in the proximal direction up to the aneurysm clip [1].

    - LAB MEDIA: To be provided by Authors: Vessel being held open, then catheter being inserted

  - Open the aneurysm clip [1] and push the catheter another 2-3 centimeters. If the catheter has been placed correctly, blood will flow into the catheter [2].

  - LAB MEDIA: To be provided by Authors: Clip being opened

  - LAB MEDIA: To be provided by Authors: Catheter being pushed

  - Secure the catheter with the proximal two knots [1-TXT] and use an insulin syringe to flush and aspirate 100 microliters of heparinized saline through the catheter to check the functionality of the catheter [2].

    - LAB MEDIA: To be provided by Authors: Knot(s) being placed TEXT: Place additional suture around vein and catheter as necessary

    - LAB MEDIA: To be provided by Authors: Saline being flushed/aspirated

  - Then place a catheter into the artery as just demonstrated for the vein [1] and close the leg with sutures [2].

    - LAB MEDIA: To be provided by Authors: Catheter being inserted into artery

    - CU: Suture(s) being placed

- Image Acquisition and Reconstruction

  - For image acquisition, place the animal in a head-prone position on the shuttle bed pallet [1-TXT] and move the shuttle bed to the extended bed position for injection [2].

    - WIDE: Talent placing rat onto shuttle bed Videographer: More Talent than rat in shot TEXT: Caution: Take care w/ catheters during transport

    - MED: Talent taping the rat and placing bed into extended bed position Videographer: More Talent than rat in shot

  - Connect the catheters to the shunt system [2-TXT] and start the peristaltic pump with a flow rate of 1.52 milliliters/minute to fill the shunt system with the blood of the animal [4].

    - Added Shot: Rat comes out of CT  (Editor: I don’t believe this shot needs to be used)

    - CU: Catheter being connected TEXT: See text for shunt system setup details

    - Added Shot: CU Catheder beging connected (Editor: I don’t believe this shot needs to be used)

    - CU: Pump being started/system being filled with blood

    - Added Shot: Blood being filled (Editor: I don’t believe this shot needs to be used)

  - Move the shuttle bed to the center of the field of view of the positron emission tomography, or PET (pet), detection ring [1] and start the online blood sampling system [2].

    - MED-over the shoulder: Talent moving shuttle bed to center of FOV (Editor: I’m unsure if the authors provided anything for this shot. If they did not, use 3.3.2/3.3.3 for the entire VO for 3.3)

    - MED: Talent starting system

    - OS: Talent starting system

  - Then start the PET-computed tomography, or CT (C-T), workflow [1-TXT].

    - SCREEN: To be provided by Authors: Workflow being started TEXT: See text for workflow parameter setup details

  - After 60 seconds, inject 0.5-1 milliliter of an approximately 22 megabecquerel dose of 18 F-fluorodeoxyglucose intravenously via the T-piece [1] and flush the T-piece with about 150 microliters of heparinized saline solution [2].

    - CU: 18F-FDG being injected & T-piece being flushed

    - CU: T-piece being flushed (Editor: I’m unsure if the authors provided anything for this shot. If they did not, use 3.5.1 for the entire VO for 3.5)

  - For the PET emission acquisition, set the acquire by time option to 3600 seconds and select F-18 as the study isotope [1].

    - SCREEN: To be provided by Authors: Acquire by time being set, then F-18 being selected

  - Use 350-650 kiloelectron volts as the energy level and 3438 nanoseconds as the timing window [1].

    - SCREEN: To be provided by Authors: Energy level being set, then timing window being set

  - For the CT acquisition, select attenuation scan in the acquisition option and, in projection settings field, select 180 projection for a half total rotation [1].

    - SCREEN: To be provided by Authors: Attenuation scan being selected, then 180 projection being selected

  - For the field of view and resolution settings, select low as the magnification and 4 x 4 for the binding with a 275-millimeter axial scanning length and 3328 pixels as the transaxial charge-coupled device size [1].

    - SCREEN: To be provided by Authors: Low, 4x4, 275 mm, and 3328 being selected

  - In the exposure settings field, set 500 microamps for the current, 80 kilovolts for the voltage, and 180 milliseconds for the exposure time [1].

    - SCREEN: To be provided by Authors: 500 microamps, 80 kV, and 180 ms being selected

  - Then acquire a dynamic PET over the next 60 minutes followed by a CT scan at the end of the PET imaging [1].

    - SCREEN: To be provided by Authors: Dynamic PET being acquired, then CT scan being acquired

  - For a PET emission histogram, set a series of 20 frames as the dynamic framing and select subtract for the delays [1].

    - SCREEN: To be provided by Authors: Frame series being set, then subtract being selected

  - In the advanced settings field, select 128 as the sinogram width, 3 as the span, and 79 as ring difference and dead time correction [1].

    - SCREEN: To be provided by Authors: 128, 3, and 79 being selected

  - For PET reconstruction, use a two-dimensional ordered subset expectation maximization and apply and save the scatter sonogram with four iterations and Fourier for rebinning as the reconstruction algorithm [1].

    - SCREEN: To be provided by Authors: Expectation maximization being selected, then scatter sonogram being applied and saved

  - Then select 128 x 128 as the matrix size, use 1 as the image zoom, and select all for the frames and all for the segments [1].

    - SCREEN: To be provided by Authors: Matrix size being set, then 1 being selected, and all being selected for the frames and segments

- Manual and Online Blood Sampling

  - For manual blood sampling, 30, 60, 90, 600, and 1800 seconds after starting the imaging acquisition, open the first three-way valve [1] and collect 100 microliters of arterial blood into an EDTA (E-D-T-A) capillary blood collection tube 30 seconds after the tracer injection [2].

    - WIDE: Talent opening valve Videographer: More Talent than rat in shot [Shots 4.1.1 and 4.1.2 combined]

    - CU: Blood being collected

  - To measure the activity of the whole blood, load the sample into a well counter [1] to allow calculation of the activity of the whole blood for each time point of the manual blood sampling in kilobecquerel/milliliter [2-TXT].

    - MED: Talent loading sample into well counter

    - LAB MEDIA: Figure 3C TEXT: Apply decay correction/transfer data in time activity curve

  - For online blood sampling, use the tube guide to place the tube into the detector [1] and start the blood sampler software [2].

    - MED: Talent using tube guide to place the tube into the detector

    - MED-over the shoulder: Talent starting software, with monitor visible in frame

  - Open the acquisition interface [1] and confirm that the computer of the online blood sampling setup and of the PET-CT are time synchronized [2].

    - SCREEN: To be provided by Authors: Acquisition interface being opened

    - MED: Talent confirming program synchronization

  - Press the start button exactly 60 seconds before the tracer is injected to acquire enough data for the background correction [1] and save the raw data via the save button in the PMOD (P-M-O-D) database after the measurement [2].

    - MED: Talent pressing start button

    - SCREEN: To be provided by Authors: Raw data being saved

  - For correction and calibration of the online blood data, switch to the correction interface and enable the decay correction [1].

    - SCREEN: To be provided by Authors: Correction interface being opened, then decay correction being enabled

  - Select 18 F and define the start time of image acquisition, enabling the average button to perform background correction [1].

    - SCREEN: To be provided by Authors: 18 F being selected, then start time being defined and background correction being enabled

  - Activate the calibration and enter the calibration factor [1-TXT].

    - SCREEN: To be provided by Authors: Calibration being activated and factor being entered TEXT: See text for calibration factor determination details

  - Save the corrected and calibrated blood data using the save TAC button and select the blood.crv file [1-TXT].

    - SCREEN: To be provided by Authors: Save being saved, then file being selected TEXT: blood.crv can be used for kinetic modeling

  - [2-TXT].

    - CU: Catheter(s) being decoupled

    - MED: Talent detaching animal from scanner Videographer: More Talent than rat in shot TEXT: Euthanasia: pentobarbital

# Section – Results

- Results: Representative Continuous and Manual Blood Sampling Results

  - At the beginning of the continuous blood sampling, an initial peak in the radioactivity concentration can be observed starting at about 5 seconds after tracer injection in the online analysis [1].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasizes 5-s peak in online data line

  - After this peak, the activity in the blood declines rapidly, reaching a plateau at about 15 minutes [1].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize/trace online data line from after peak to 15 min mark

  - In the manual blood sampling data, the detected peak is smaller [1] and the plateau is not easily defined [1].

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasizes 30-s peak in manual data line

    - LAB MEDIA: Figure 3A: JoVE Video Editor please emphasize/trace manual data line from after peak to 15 min mark

  - In the image-derived data, the peak and the starting point of the plateau are clearly visible [1]. Nevertheless, the maximum of the peak is smaller compared to the continuous blood sampling data [2].

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasize peak and plateau from peak to 15-min mark in image-derived data line

    - LAB MEDIA: Figure 3B: JoVE Video Editor please emphasizes 30-s peak in online data line

  - In this sub-optimal continuous blood sampling, no data acquisition was possible during the first 3.5 minutes of the sampling due to blood clotting [1].

    - LAB MEDIA: Figure 3E: JoVE Video Editor please emphasize data line from 0-3.5 min in online data line

  - After clearing the clot, the flow in the tube system was restarted and the measurement was continued [1], revealing a peak at about 4 minutes that did not record the maximum radioactivity in the blood [2].

    - LAB MEDIA: Figure 3E

    - LAB MEDIA: Figure 3E: JoVE Video Editor please emphasize 4-5 min online data line peak

  - Manual blood sampling [1] and image-derived analyses were still possible in this sub-optimal sampling [2], however, and demonstrated outcomes comparable to those observed for correct continuous blood sampling outcomes [3].

    - LAB MEDIA: Figures 3E: JoVE Video Editor please emphasizes manual data line

    - LAB MEDIA: Figures 3F: JoVE Video Editor please emphasizes image-derived data line

    - LAB MEDIA: Figures 3E and 3F

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Andreas Wree: Keep the welfare of the animal in mind during the procedure, prepare the shunt system setup precisely as stated, and try to reduce the length of the tubing [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Bernd J. Krause: This protocol can be applied for the establishment of new diagnostic PET tracers, the characterization of new disease models, and the evaluation of new therapeutics in the preclinical stage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera